## BOQ P-A S.I. Except
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work: |  | (New Provincial ADP No: 428 of 2016-17) Rehabilitation & Provision of Missing Facilitates in Existing Colleges in Hyderabad Division (Hyderabad, Matiari, Jamshoro, T.M. Khan, Badin, Dadu, Thatta, Sujawal & T.Allahyar) in District Matiari (01 Unit) @ GGDC Hala
Item No | Quantities | Description of item to be executed at site | Rate | Unit | Amount in Rupees
1 | 2 | 3 | 4 | 5 | 6
Part-A (Schedule Items)
1 | 4394 | Dismentling Cement Concrete Plain 1:2:4 (S.I. No: 19-c/P-10) | 3327.5 | %Cft | 146210
2 | 20 | Dismentling cement concrete reiforced seperating reinforce from concrete cleaning & straiting the same (S.I. No: 20/P-10) | 5445 | %Cft | 1089
3 | 11407 | Removing Cement plaster for the walls (S.I. No: 53/P-13) | 121 | %Sft | 13802
4 | 230 | Dismentling brick work in lime or cement mortor (S.I.No: 13/ P-10) | 1285.63 | %Cft | 2957
5 | 4 | Removing Door with chowkhats (S.I. No: 33(a)/P-12) | 142.18 | P-Rft | 569
6 | 3 | Removing Windows & Sky Lights with chowkhats (S.I. No: 33(b)/P-12) | 102.85 | P-Rft | 309
7 | 22308 | Scraping white wash or colour wash | 102.85 | %Sft | 22944
8 | 404 | Excavation in foundation of buliding bridges and other structures I/c dagbelling dressing refilling arround structure with excavated earth.watering and ramming lead up to 5ft (b) in ordinary soil.(S.I.No.18 P.4) | 3176.25 | %oCft | 1283
9 | 343 | Cement concerete brick or stone ballast 1-1/2"-2" gauage ratio 1:4:8 (S.I.No:4 (c) /P-15) | 9416.28 | %Sft | 32298
10 | 287 | Pacca brik work in foundation and plinth in cement sand mortar ratio 1:6 (S.I.No 4(e) P.21) | 11948.36 | %Cft | 34292
11 |  | RCC work I/c all labor and material except the cost of steel reinforcement and its labor for bending and binding which will be paid separately this rate also include all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects (i) Ratio (1:2:4) 90Lbs cement 2 Cft sand 4 Cft shingle 1/8" to 3/4" gauge. (S.I. No: 6 a /P-17)
| 261 | a) Ground Floor | 337 | P.Cft | 87957
| 195 | b) First Floor | 349.1 | P.Cft | 68075
12 | 20.35 | Fabrication of mild steel reinforcement for cement concrete I/c cutting bending laying in position making joints and fastenings I/c cost of binding wire also includes removal of rust from bars Tor Steel (S.I. No: 8 b/P-17) | 5001.7 | P.Cwt | 101785
13 | 527 | Pacca brick work in ground floor in cement sand mortar 1:6. (S.I. No: 51/P-20) | 12674.36 | %Cft | 66794
14 | 13319 | Cement Plaster 1:6 12' height 1/2" thick (S.I.No: 13 (b) P/58) | 2206.6 | %Sft | 293897
15 | 13319 | Cement Plaster 1:4 upto 12' height (b) 3/8" thick (S.I.No: 11 (a) P/58) | 2197.52 | %Sft | 292688
16 |  | Providing & fixing galvanized iron frames / chowkats of size 7"x 2" or 4.5"x3" for doors using 20 guage G.I sheet including welded hingesand fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jams. The cost also include all carriage, tools and plants used in making & fixing. (S.I. No: 29/P-32)
| 138 | A) Doors | 228.9 | P.Rft | 31588
| 204 | B) Windows | 240.5 | P.Rft | 49062
17 | 112 | Supplying and fixing in position iron steel grill of 3/4" x 3/4" size flat iron of approved design i/c painting three coats etc. Complete (Wt not to be less that 3-7 lbs sq: ft on finishing grill (S.I. No: 20/P-47) | 194.16 | P.Sft | 21746
18 | 112 | 1st class deoder wood wrought joinery in doors and windows etc fixed in postion i/c chowkats hold fasts hinges iron tower bolts chowks cleats handless and cords with hooks etc deoder panelled and glizzed or fully glazed (b) 1-3/4" thick (S.I.No:7 (b) P/58) | 902.93 | P.Sft | 101128
19 | 209 | Cement Concerete plain placing compacting finishing and curing complete (i/c sreening and washing of stone aggregete) without shuttering ratio 1:3:6 (S.I.No: 5 (h)/P-16) | 12595 | %Cft | 26324
20 | 1473 | P/L tiles glazed 6" x 6" x 1/4" on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shpe with finishing cleaning and cast of wax polish etc complete including cutting tiles to proper profile (S.I.No: 60/P-47) | 30509.77 | %Sft | 449409
21 | 144 | Making Notice Board made with cement (S.I. No: 24 P/55) | 58.11 | P.Sft | 8368
22 |  | Providing & Laying 3" thick topping cement concerete (1:2:4) i/c surface finishing and divided into pannels (S.I. No: 6/P-47)
| 15841 | a) Ground Floor | 4411.82 | %Sft | 698876
| 6624 | b) First Floor | 4423.92 | %Sft | 293040
23 | 2076 | Two coat of bitumen laid hot using 34 lbs for % Sft. Over roof and blided with send at one Cft per %Sft (S.I.No:13/P-35) | 1887.4 | %Sft | 39182
24 | 13319 | Primary coat of chalk under distemper (S.I.No: 24 P/54) | 442.75 | %Sft | 58970
25 | 13319 | Distempering Three coast (S.I.No: 24 .c P/ 54) | 1079.65 | %Sft | 143799
26 | 668 | Painting new surface:- Preparing surface and painting of doors and windows any type (i/c edges) priming coat over two subsquent coat of paint (S.I.No: 5 .C P/70) | 2116.41 | %Sft | 14138
27 | 4070 | Painting old surface painting of Doors & Windows any type i/c edge (S.I. NO: 4/P-68) | 1662.21 | %Sft | 67652
|  |  |  | Total Part-A | 3170231
|  | Amount Total (a) | 3170231
| % above/below on the rates of CSR Rs. ____________ |  | Amount to be added/deducted on the basis
of premium quoted. TOTAL (b)
Total (A) = in words & figures: __________________________________________________
__________________________________________________________________________
| Contractor |  | Executive Engineer
Education Works Division Matiari
Note:- Any omission / error if occurs will be corrected.

## BOQ P-A N.S.I.
BILL OF QUANTITIES
(B) Cost based on Non/Offered Schedule of Rates.
Name of Work: |  | (New Provincial ADP No: 428 of 2016-17) Rehabilitation & Provision of Missing Facilitates in Existing Colleges in Hyderabad Division (Hyderabad, Matiari, Jamshoro, T.M. Khan, Badin, Dadu, Thatta, Sujawal & T.Allahyar) in District Matiari (01 Unit) @ GGDC Hala
Item No | Quantities | Description of item to be executed at site | Rate | Unit | Amount in Rupees
1 | 2 | 3 | 4 | 5 | 6
Part-A (Non Schedule Item)
1 | 1000 | Providing & laying floor of verona marble tiles of 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick paid of 1:2 grey cement mortar setting the tiles with grey slurry, jointed and washing with slurry of white cement with pigment to match rubbing and polishing complete i/c cutting tiles to proper profile (R.A.) | 310.43 | P.Sft | 310430
|  |  |  | Total Part-A | 310430
|  | Amount Total (a) | 310430
Total (A) = in words & figures: __________________________________________________
__________________________________________________________________________
| Contractor |  | Executive Engineer
Education Works Division Matiari
Note:- Any omission / error if occurs will be corrected.

## Part-B SI WS
BILL OF QUANTITIES
(A) Description and rate of Items based on Composite Schedule of Rates.
Name of Work: |  | (New Provincial ADP No: 428 of 2016-17) Rehabilitation & Provision of Missing Facilitates in Existing Colleges in Hyderabad Division (Hyderabad, Matiari, Jamshoro, T.M. Khan, Badin, Dadu, Thatta, Sujawal & T.Allahyar) in District Matiari (01 Unit) @ GGDC Hala
Item No | Quantities | Description of item to be executed at site | Rate | Unit | Amount in Rupees
1 | 2 | 3 | 4 | 5 | 6
Part-B (W/S & S/F) (S.I. Except G.I. & RCC Pipes Items)
1 | 9 | P/F orisa type white or colour glazed earthen ware w.e pan with cost of low level plastic flush tank of 3 gallon capacity of approved quailty 18/c making requisite number of hles in wall plinth & floor in making good in cement concrete 1:2:4 (S.I.No.3(A-ii)/.2) | 6116.6 | Each | 55049
2 | 2 | P/F European type white colour glazed earthern were W.C pan with coat of low level plastic flush tank of 3-gallons capacity of approved quality i/c making number requisite of hols in walls plinth and floor making good in Cement Concrete 1:2:4 (a) W.C pan orisa type 23" with plastic tank of low level down 3-gallons C.I Trap and C.I thumble superior quality (S.I.No.5/P-2). | 11477.4 | Each | 22955
3 | 10 | P/F 24"x18" Lav: Basin in white glazed earthenware complete with& i/c the cost of W.I or C.I cantilever brackets 6" built into walls plinth white in 2-coats after a primary coat of red lead paint a pair of 1/2 " dia chrome plated piller taps, 1.5" rubber plugs and chrome plated brass chain, 1.25" brass waste of approved pattern, 1.25" dia malloable iron or C.P brass traps, malloable iron or brass unions and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Foregin or Equivalent) (S.I.No.10/P-3). | 4928 | Each | 49280
4 | 10 | Add Extra labour for provideng & fixing of earthen ware pedestal white or coloured glazed (foregin or equivalent )(S.I.No.11/P.3) | 2533.47 | Each | 25335
5 | 12 | P/F 6" x 2" or 6" x 3" C.I Floor Trap of the aproved slef cleaning design with a C.I screwed down gratting with or without a vent arm complete with and i/c making requisite number of holes in walls, ;linth and floor for pipe connections and making good in cement concrete 1:2:4 (S.I.No21/P-6). | 1671.58 | Each | 20059
6 | 21 | P/Fixing in position nyloon connection complete with 1/2" dia brass stop-cock with pair of brass nuts & lining joints to nyloon connection (S.I.NO: 23/P-6) | 447.15 | Each | 9390
7 | 4 | P/F Chrome plated bross towel rail complete with brackts ficing on wooden cleats with 1" long C.P brass screws (III) Towel rail 24" long (b) 3/4" dia round or sruare superior quality (S.I.No. 1 (iii)/P-7). | 1082.95 | Each | 4332
8 | 8 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board and C.P screws fixed to wooden plent (b) Superior Quality (S.I.No. 3(b)/P-7). | 2376 | Each | 19008
9 | 40 | P/Fixing M.S Clamps of the approved design to 4" dia c.i pipe socket i/c the cost of cutting & making good to wall on M.S bolts & nuts 4" into wall i/c pipe distance pieces extra painting to match the colour of the building.(S.I.NO:2/P-9) | 72.16 | Each | 2886
10 | 12 | P/Fixing 4" x 4" x 4" dia C.I Branch of the required degree with access doors rubber washers 3/8" thick & built & nuts & extra painting to match the colour of the building. (S.I.NO:3/P-9) | 702.2 | Each | 8426
11 | 20 | P/Fixing 4" dia C.I Plain Bend of the required degree i/c extra painting to match the colour of the building.(S.I.NO:10/P-10) | 566.7 | Each | 11334
12 | 180 | P/F 4" dia C.I. Soil 20 vent: pipe o/c cutting and fitting and extra painting to match the colour of building (S.I. No: 1/p-9) | 333.29 | Each | 59992
13 | 10 | P/Fixing 4" dia C.I. Off-set of various length i/c extra painting to match the colour of the building.(S.I.NO:8/P-10) | 702 | Each | 7020
14 |  | Proviuding G.I.Pipes specials & clamps etc i/c fixing cutting & fitting complete with & i/c the cost of breaking through wall & roof making good etc painting 2-coats after cleaning the pipe ^ with white zink paint with pigment to match the colour of the building & testing water to a pressure head of 200 ft: & handling. (S.I.NO:1/P-12)
| 380 | a) G.I Pipe 1/2" Dia | 73.21 | P.Rft | 27820
| 200 | b) G.I Pipe 3/4" Dia | 95.79 | P.Rft | 19158
| 200 | c) G.I Pipe 1" Dia | 128.55 | P.Rft | 25710
| 200 | e) G.I Pipe 1-1/2" Dia | 188.97 | P.Rft | 37794
15 |  | Add: Extra Labour for Cancealled G.I.Pipe & fitting i/c making recces in the wall for pipe and making good in cement mortor etc. complete. (S.I.NO: 2/P-12)
| 180 | a) G.I Pipe 1/2" Dia | 7.82 | P.Rft | 1408
| 200 | b) G.I Pipe 3/4" Dia | 8.45 | P.Rft | 1690
16 | 12 | S/Fixing Cancealled Tee-Cock of supperior quality with C.P head 1/2" dia.(S.I.NO:12(a)/P-18) | 843.92 | Each | 10127
17 | 12 | Supplying & Fixing in position C.P Bib cock (i)(b) 1/2" dia Standard pattern (S.I.No.3/(i)/b/P ). | 1384.24 | P.Rft | 16611
18 | 2 | Supplying & Fixing Muslim Shower (S.I.No. 19/P-19). | 3432 | Each | 6864
19 | 10 | P/Fixing 4" dia C.I Terminal guard i/c extra painting to match the colour of the building.(S.I.NO:11/P-10) | 389.7 | Each | 3897
20 |  | P/Fixing HANDLE VALVES (China). (S.I.NO:5/P-17)
| 10 | a) 3/4" dia | 271.92 | Each | 2719
| 5 | b) 1" dia | 365.42 | Each | 1827
21 | 10 | S/F Sawan type piller cock of superior qaulity single crystal head 1/2" dia (S.I No:16 P/19) | 877.8 | Each | 8778
22 | 4 | S/F. Wash Basin Mixture of superior qaulity single crystal head 1/2" dia (S.I No: 14 b P/19) | 3179 | Each | 12716
23 | 400 | P/F RCC pipe & caller of class "B" and fixing in trenches fitting and joining with maxphalt composition and cement mortar (1:1) i/c testing with water to head of 22.5 meter on 75 ft 2. (a) 6" dia pipe (S.I.No.2(e)/P-2). | 199.25 | Each | 79700
24 | 125 | Boaring for tube well in all water bearing soils from ground level upto 100 ft or 30,5 meter depth i/c sinking and with drawing of casting pipe (S.I.No.1(a)P-41). | 160 | P-Rft | 20000
25 | 20 | Constructoin of main hole or inspection chamber fro the required dia meter of circular sewer and 3' - 6" (1067 mm) depth with walls of B.B in cement sand mortar 1:3 cemnet palstered 1:3, 1/2" thick in side of walls and 1" (25 mm) thick over benching and channel i/c fixing C.I. mainhole cover with frame of clear opening 1-1/2' x 1-1/2' (457 x 457 mm) of 1.75 cwt (88.9 kg) embaded in plain CC 1:2:4 and fixing 1" (25 mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" (305 mm) C/C dully painted eetc complete as per standard specification and drawing size 2' x 2' x 3' - 6" without C.I Cover (S.I.No1/P-46 PHE Schedule). | 2524.75 | Each | 50495
|  | Contructing a masonary chamber for screw down or spindle fire hydrants 2' x1-8" x2-6" clear inside dimensions of 9" thick of B.B in cement mortor 1:3 over 1/2" thick cement concrete 1:3:6 cement plastered 1/2" thick 1:3 C.C 1:4:8 as per type drawing No.WS-P/1 i/c 6" thick one way rainforced RCC slab and 15" x 13" clear opening surface box weight not less then 1.75 Cwt (88.9 kg)etc complete. (S.I.No.10/P.53)(P.H) | 14592 | Each | 0
|  | P/Fixing M.S clamps of the approved design to 4" dia C.I Pipe socket i/c the cost of cuttinh and making good to wall or M.S bolts and nuts "4" into wall i/c tope distance pieces extra painting to match the colour of the building (S.I.No.2/P.9) | 72.16 | Each | 0
|  | P/Fixing 4" dia C.I terminal guard i/c extra painting to match the colour of building .(S.I.No.11/P10) | 389.7 | Each | 0
|  | S/fixing fiber glass tank of approved quality and design and wall thicness as specified i/c cost of nuts bolts and fixing in plateform of cement concrete 1:3:6 and making connection for in let & ou let & over flow pipes etc complete (S.I.No.3/P21) (250 Gallon) | 37505.42 | Each | 0
|  | Boaring for tube well in all water bearing soils form ground level upto 100 ft or 30.5 meter depth i/c sinking and with drawing of casing pipe. (S.I.No.1/P.41)(P.H) | 242 | P-Rft | 0
|  | P/Fixing water pumping set with seimen motor & javed Pump 1 H.P 1400 PRM single phase 220 volts 2"x1 2"-0"1 1/2" suction and delivery 40 ft head i/c base plat and also making C.C 1:3:6 plate form of required size and fixing with nuts and bolts complete in all respect(S.I.No.3/P.29) schedule of rate 2004 electric | 22000 | Each | 0
|  |  |  | Total Part-B | 622280
|  | Amount Total (a) | 622280
| % above/below on the rates of CSR Rs. ____________/- |  | Amount to be added/deducted on the basis
of premium quoted. TOTAL (b)
Total (A) = in words & figures: __________________________________________________
__________________________________________________________________________
| Contractor |  | Executive Engineer
Education Works Division Matiari
Note:- Any omission / error if occurs will be corrected.

## BOQ P-B N.S.I.
BILL OF QUANTITIES
(B) Cost based on Non/Offered Schedule of Rates.
Name of Work: |  | (New Provincial ADP No: 428 of 2016-17) Rehabilitation & Provision of Missing Facilitates in Existing Colleges in Hyderabad Division (Hyderabad, Matiari, Jamshoro, T.M. Khan, Badin, Dadu, Thatta, Sujawal & T.Allahyar) in District Matiari (01 Unit) @ GGDC Hala
Item No | Quantities | Description of item to be executed at site | Rate | Unit | Amount in Rupees
1 | 2 | 3 | 4 | 5 | 6
Part-B (W/S & S/F) (Non Schedule Item)
1 | 1 | P/Fixing Water Pumping Set 1/2 H.P Mono-Block Single Phase 220 Volts with 1-1/4" x 1" suction & delivery 50 ft: head i/c making C.C.1:3:6 plate form of required size & fixing with nuts & bolts etc complete in all respect. (R.A.) | 14417.7 | Each | 14418
|  |  |  | Total Part-B | 14418
|  | Amount Total (a) | 14418
Total (A) = in words & figures: __________________________________________________
__________________________________________________________________________
| Contractor |  | Executive Engineer
Education Works Division Matiari
Note:- Any omission / error if occurs will be corrected.

## Summary of BOQ
Summary of Bill of Quantities.
Cost of Bid Amount |  |  | Amount
1. (A) Cost based on Composite Schedule of Rates. |  |  | 0
2. (B) Cost based on Non/Offered Schedule of Rates. |  |  | 0
0
TOTAL COST OF BID (C) = Total (A) + Total (B)
| Contractor |  | Executive Engineer
Education Works Division Matiari