## Sheet8
SUMMARY OF COST
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI.
| Building Repair Work Main Building |  |  | Rs: | #REF!
| Reair of Compound Wall |  |  | Rs: | 4862334.739
|  |  |  | Rs: | #REF!
|  |  |  | Rs. In Million | #REF!
Sub-Engineer
|  |  | Assistant Engineer | Executive Engineer
|  |  | Education Works Sub-Division New Karachi | Education Works Division-II
|  |  | Karachi | Karachi

## Summary of Cost (2)
SUMMARY OF COST
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI (REPAIR OF BUILDING)
PART 'A' CIVIL WORK
| Cost of Schedule Items |  |  |  |  | Rs: | 1731343 | #REF!
| Cost of Non Schedule Item No. 7, 28 |  |  |  |  | Rs: | #REF!
| Less | 20 | % On Item No. 6,10,11,27,29,& 30 |  |  | Rs: | 115341
| Add | 10 | % On Item No.13,14 |  |  | Rs: | 22288
| Cost of Carriage of Material |  |  |  |  | Rs: | #REF!
[5 empty] | Total 'A' | Rs: | #REF!
PART 'B' WATER SUPPLY
| COST OF SCHEDULE ITEM |  |  |  |  | Rs: | 213629.11
| COST OF NON SCHEDULE ITEM |  |  |  |  | Rs: | 43871
| ADD | 5 | % ON SCHEDULE ITEM |  |  | Rs: | 10681.4555
| ADD | 15 | % ON R.C.C PIPE |  |  | Rs: | 4483.2
[5 empty] | Total 'B' | Rs: | 272664.7655
PART 'C' ELECTRIFICATION
| ELECTRIFICATION |  |  |  |  | Rs: | 499900
[5 empty] | Total 'C' | Rs: | 499900
PART 'D' BOURING
| COST OF BOURING |  |  |  |  | Rs: | 247111
[5 empty] | Total 'D' | Rs: | 247111
| Net Amount |  |  |  |  | Rs: | #REF!
[6 empty] | Rs. In Million | #REF!
Sub-Engineer
|  |  |  | Assistant Engineer |  | Executive Engineer
|  |  |  | Education Works Sub-Division New Karachi |  | Education Works Division-II
|  |  |  | Karachi |  | Karachi
\

## Measurement
E S T I M A T E
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI (REPAIR OF BUILDING)
S.No | Description. |  | Qty | Rate |  | Unit |  | Amount
1 | Dismantling cement concrete plain 1:2:4. (S.I.10/19-c)
|  |  | 1285.46 | @Rs | 3327.5 |  | %Cft | 42773.6815
2 | DISMANTLING CEMENT CONCRETE PLAIN 1:4:8. (S.I. 10/19-a)
|  |  | 1202.2 | @Rs | 1663.75 |  | % Cft | 20001.6025
3 | Removing cement or lime plaster.(S.I.14/53)
|  |  | 3369.82 | @Rs | 121 |  | %Sft | 4077.4822
4 | Scraping ordinary distemper and oil bound distemper or paint on walls.S.I.(13/54-b)
|  |  | 9741.24 | @Rs | 226.88 |  | %Sft | 22100.9253
5 | Cement concrete brick or stone ballast 1.5" to 2" gauge (b) Ratio 1:4:8. (S.I.No. 4(b)/C-4)
|  |  | 1202.2 | @Rs | 9416.28 |  | % Cft | 113202.5182
6 | Nikking Concrete Surface (S.I/P18/17a)
|  |  | 5082.71 | @Rs | 272.25 |  | %Sft | 13837.678
7 | P/F WITH SUNKUN IRON SCREWS WOODEN ARCHITRAVE APPROVED DESIGN /SHAPEMHAVING WIDTH NOT LESS THAN 2-1/2 INCHES AS DIRECTED BY ENGINEER INCHARGE (S.I.NO.66/60).
|  |  | 350.85 | @Rs | 49.97 |  | P.Rft | 17531.9745
8 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 3/4" THICK. (S.I.NO.11-c/P-52)
|  |  | 3369.82 | @Rs | 3015.76 |  | %Sft | 101625.6836
9 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 1/2" THICK. (S.I.NO.11-b/P-52)
|  |  | 592.5 | @Rs | 2283.93 |  | %Sft | 13532.2853
10 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 2" thick. (S.I.No. 42/16-c)
|  |  | 4277.28 | @Rs | 3275.5 |  | %Sft | 140102.3064
11 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No.13/P-35)
|  |  | 3156.84 | @Rs | 1887.4 |  | %Sft | 59582.1982
12 | REINFORCEMENT CEMENT CONCRETE SPOUT (S.I.NO.14/P-18).
|  |  | 14 | @Rs | 261.25 |  | Each | 3657.5
13 | Scraping brushing and removing old paint from mtal surface (P.No.68/S.I-3)
|  |  | 1016.7 | @Rs | 605 |  | % Sft | 6151.035
14 | BRUSHING AND SCRAPING BLUSTER OF OLD PAINTS FROM WOOD WORK (S.I.-2/P-68)
|  |  | 556 | @Rs | 151.25 |  | %Sft | 840.95
15 | PAINTING OLD SURFACE PAINTING DOORS & WINDOWS ANY TYPE. (S.I.68/4-c)
|  |  | 556 | @Rs | 1160.06 |  | %Sft | 6449.9336
16 | PAINTING NEW SURFACE, PREPARING SURFACE AND PAINTING DOORS AND WINDOWS ANY TYPE IN/C EDGES, THREE COATS (S.I.NO:70/5-c).
|  |  | 558 | @Rs | 2116.41 |  | %Sft | 11809.5678
17 | Painting old Surface Painting guards bars gates iron bars grating railings standard braces(etc) and Simmilar open work Each Subsequent coat ( S.I No.4-d/P-69).
|  |  | 1016.7 | @Rs | 674.6 |  | %Sft | 6858.6582
18 | DISTEMPERING TWO COATS (S.I.NO.54/24-b).
|  |  | 3291.89 | @Rs | 1043.9 |  | %Sft | 34364.0397
19 | Preparing the surface and painting with plastic emulsion approved make old surface 2 coats (S.I.56/41)
|  |  | 6449.35 | @Rs | 1402.23 |  | %Sft | 90434.7205
20 | P/F COLOUR CREATE TO WALL SURFACE TO PROVIDE, DURABLE CRUST AND AESTHETICS HAVING THICKNESS UPTO 3/4" WITH SPECIFIED COLOUR HAVING WATER,FIRE & TERMITE RESISTANCE (UPTO 20' HEIGHT) (S.I.NO.44/63).
|  |  | 3306.37 | @Rs | 6319.5 |  | % Sft | 208946.0522
21 | Cutting & Removing trees within a distance of 100 feet from 2.6 feet to 6.0 feer girth (S.I.No:2-b/P-95)
|  |  | 8 | @Rs | 1043.63 |  | Each | 8349.04
22 | Jungle Clearance and removing within 100 feet thick (S.I.04-b/P-95)
|  |  | 36500 | @Rs | 151.25 |  | %0Sft | 5520.625
[7 empty] | Total | 931750.4576
S.No | Description. |  | Qty | Rate |  | Unit |  | Amount
1 | P/L Marble flooring tiles of Botisina/China Verona size (12"x12"x3/4") fine dressed on the surface without winding set in grey cement laid over 3/4"thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry jointing and washing finishing tiles with slurry of white cement in/c pigment to match the colour of tiles in/c curring grinding rubbbing and chemical polish etc complete as directed by Engineer Incharge (R.A
|  |  | 2497.1 | @Rs | 301 |  | P.sft | 751627.1
2 | P/L PROCELENCE TILE GLAZED AND POLISHED 16X16X5/16 ON FLOOR OR WALL FACING IN REQUIRED COLOUR ABD PATTER IN WHITE CEMENT SAND PIGMENT OVER A BASE OF 1:2 GREY CEMENT MORTAR 3/4"THICK IN/C WASHING AND FILLING OR JOINTS WITH SLURRY OF WHITE CEMENT AND PIGMENT IN DESIRED SHAPE WITH FINISHING CLEANING AND COST OF WAX POLISH ETC COMPLETE IN/C CUTTING TILES TO PROPER PROFILE. (R.A.APPROVED)
|  |  | 1861.5 | @Rs | 262 |  | P.sft | 487713
3 | Removing old debries rubbish construction remenants all kind and size beyond munciple limit and clearance of space in/c loading unloading etc complete as directed by Engineer Incharge (10 miles) carriage of material.
|  |  | 5857.48 | @Rs | 902.2 |  | %Cft | 52846.1846
[7 empty] | Total | 1292186.2846
S.No | Description. |  | Qty | Rate |  | Unit |  | Amount
1 | FIRST CLASS DEODAR WOOD WROUGHT JOINERY IN DOORS AND WINDOWSTC FIXED IN POSITION INCLUDING CHOWKHATS HOLD FAST HINGES IRON TOWER BOLT CHOKTS CLEATS HANDLES CORDS WITH HOOKS ETC DEODAR PANELLED OR PANELLED AND GLAZED OR FULLY GLAZED (ONLY SHUTTERS). (S.I.58/7-b)
|  |  | 123.38 | @Rs | 902.91 | P.Sft | P.Sft | 111401.0358
2 | P/F in position doors windows and ventilator of Ist Class deodar wood frame and 1-1/2" thick teak wood ply shutter of 2nd class deodar wood skilton solid stile and rails core of partal wood and teak ply wood 3 Ply on both sides in/c hold fasts hinges iron tower bolts handle cleats with cord etc complerte (Only Shutters) (P.No.65/57)
|  |  | 86.11 | @Rs | 811.73 |  | P.sft | 69898.0703
3 | P/F 3/8" THICK MARBLE TILES OF APPROVED QUALITY AND COLOUR AND SHADE SIZE 8"x4" / 6"x4" IN DADO SKIRTING AND FACING REMOVAL TUCKING OF EXISTING PLASTER SURFACE ETC 1/2" THICK BASE OF CEMENT MORTOR 1:3 SETTING OF TILES WITH WHITE CEMENT SLURRY CURRINT FINISHING CLEANING AND POLISHING ETC. COMPLETE FOR NEW WORKS. (S.I.68-a/P49)
|  |  | 78.5 | @Rs | 186.04 |  | P.Sft | 14604.14
4 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortor 1:2.(S.I.No:25/P-43)
|  |  | 88.46 | @Rs | 27747.06 |  | % Sft | 24545.0493
5 | GLAZED TILES DADO 1/4" THICK LAID IN PIGMENT OVER 1:2 CEMENT SAND MORTAR 3/4" THICK IN/C FINISHING (S.I.38/P-45)
|  |  | 362.76 | @Rs | 28299.3 |  | % Sft | 102658.5407
6 | Split tile 1/4"thick matt glazed or double glazed jointed in white cement and lead over 1:2 grey cement sand mortar 3/4"thick in/c finishing complete (Flooring and Facing)(S.I.49/69)
|  |  | 1206.42 | @Rs | 21021.11 |  | % Sft | 253602.8753
[7 empty] | Total | 395410.6052
S.No | Description. |  | Qty | Rate |  | Unit |  | Amount
1 | P/F G.I. FRAMES / CHOWKATS OF SIZE 7"X2" OR 4-1/2"X3" FOR DOORS USING 20 GAUGE G.I. SHEET IN/C WELDED HINGES & FIXING AT SITE WITH NECESSARY HOLD FASTS, FILLING WITH CEMENT SAND SLURRY OF RATIO 1:6 & REPAIRING THE JAMBS. THE COST ALSO IN/C ALL CARRIAGE TOOLS AND PLANTS IN MAKING AND FIXING. (S.I.29/P-93)
|  |  | 137 | @Rs | 228.9 |  | P.Rft | 31359.3
2 | S/F in position iron/steel grill door with angle iron frame of 1-1/2"x1-1/2"x1/4" and flat iron of 3/4"x1/4"with approved design and locking arrangment embeded in masonery as per instruction of Engineer/Incharge (S.I.94/31)
|  |  | 14.84 | @Rs | 231.6 |  | P.sft | 3436.944
3 | P/F Aluminum Sheet on doors pasted with glue as per requirement ( P.No.-66/61).
|  |  | 46.44 | @Rs | 63.77 |  | P.sft | 2961.4788
4 | Galvanized wire guage 144 mesh per sq:inch of 22 guage SWG fixed to chowkhat without deodar putty (P-66/S.I-62)
|  |  | 592.5 | @Rs | 104.15 |  | P.sft | 61708.875
[7 empty] | Total | 99466.5978

## Sheet3
CARRIAGE OF MATERIAL
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI (REPAIR OF BUILDING)
S.No | Item of work | Quantity | Cement Bages |  |  | Hill Sand % Cft |  |  | Shingle/Crush Stone % Cft |  |  | Stone Ballast % Cft |  |  | Steel
1 | C.C. 1:4:8 | #REF! | #REF! |  |  | #REF! |  |  | 0 |  |  | #REF! |  |  | -
2 | C.C Plain 1:2:4 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
3 | C.C Plain 1:3:6 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
4 | R.C.C 1:1-1/2:3 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
5 | R.C.C 1:2:4 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
6 | C.C. 1:3:6 B/M FOUND + S.S. |  | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
7 | Cement Plaster | #REF! | #REF! |  |  | #REF! |  |  | - |  |  | - |  |  | -
8 | Mosaic tiles + dado, Marble | #REF! | #REF! |  |  | #REF! |  |  | - |  |  | - |  |  | -
9 | C.C.Topping 1:2:4 2" Thick | #REF! | #REF! |  |  | #REF! |  |  | - |  |  | - |  |  | -
10 | C.C.Topping 1:2:4 3" Thick | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
11 | Random Masonary | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -
12 | Steel | 0 | - |  |  | - |  |  | - |  |  | - |  |  | 0
| Total Quantity |  | #REF! |  |  | #REF! |  |  | 0 |  |  | #REF! |  |  | 0
FOR FROM |  |  | Lucky Cement |  |  | SAND QUARY |  |  | MANGHO PIR QUERRY |  |  | MANGHO PIR QUERRY |  |  | Steel
LEAD IN MILES |  | Miles | 35 |  |  | 48 |  |  | 25 |  |  | 28 |  |  | 10
FROM |  |  | 1 | to | 2 | 1 | to | 6 | 1 | to | 6 | 1 | to | 6 | 1 | to | 3
Total |  |  | 7.53 |  |  | 771.96 |  |  | 771.96 |  |  | 771.96 |  |  | 771.96
7TH & SUBSEQUENT |  |  | 33 | X | 0.6 | 42 | X | 32.56 | 19 | X | 32.56 | 22 | X | 32.56 | 4 | x | 32.56
|  |  | 19.8 |  |  | 1366.52 |  |  | 618.64 |  |  | 716.32 |  |  | 130.24
Total Rate |  |  | 27.33 |  |  | 2139.48 |  |  | 1390.6 |  |  | 1488.28 |  |  | 902.2
Total Amount |  |  | #REF! |  |  | #REF! |  |  | 0 |  |  | #REF! |  |  | 0
[7 empty] | Total:-Amount Rs: |  |  |  |  | #REF!
Sub-Engineer
|  |  | Assistant Engineer | [8 empty] | Executive Engineer
|  |  | Education Works Sub-Division New Karachi | [8 empty] | Education Works Division-II
|  |  | Karachi | [8 empty] | Karachi

## Sheet4
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI (REPAIR OF BUILDING)
(Water Supply & Sanitary Installation)
PART 'B'
1 | Providing & fixing squating type white Glazed Earthenware W. C. Pan with front flush inlet & complete with including the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth and floor for pipe connections and making good in C.C 1:2:4.(Foreign Equivalant) W.C pan 23" & low level earthen wear flush tank 3 gallons.(S.I.1/1)
[5 empty] | 3 | 5044.6 | Each | 15134
2 | Providing & fixing European type white Glazed Earthenware W. C. Pan with in/c the cost of flushing cistern with internal fitting and flush pipe with bend and making requisite number of holes in walls, plinth and floor for pipe connections and making good in C.C 1:2:4 with 4" dia earthenwear trao & plastic thumble. (S.I. 2/4)
[5 empty] | 1 | 5339.4 | Each | 5339
3 | Provinding and fixing 22"x16" lavatory basin white glazed earthen ware complete with & I/c the cost of W.I. or C.I. Cantilover bracktes 6" inches built into walls, painted white in two coats after a primary coults of red lead paint a pair of 1/2" dia chromo plated piller taps 1-1/2" rubber plug and chromo brass waste of approved patterns, 1-1/4" dia malloable iro or brass unions and making requisite number of holes inwalls, plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Foreign or Equivalant) (S.I.No: 4/12)
[5 empty] | 2 | 4694.8 | Each | 9390
4 | P/F 24"x18x8"white glazed fire-clay sink complete with & I/c the cost of C.I or W.I brackets 6 inches built into walls 1-1/2" rubber plug and chrome plated brass chain 1-1/2" c.p brass washer 1-1/2"dia malleable iron or c.p brass trap with malleable iron of brass union and making requisite number of holes in walls plinth and floor for pipe connection and making good in c.c 1:2:4(Foreign of Equivalent)(S.I.5/18)
[5 empty] | 0 | 4722.3 | Each | 0
5 | P/F steel sinks stainless local make complete with cast iron wrught iron brackets 6 inches built in wall, 1-1/2" C.P rubber plug chrome plated brass chain, 1-1/2" C.P brass waste, with 1-1/2" PVC waste pipe & making requisite No. of Hole in wall & plinth & floor for pipe connection & making good in cement concrete 1:2:4 c) Steel sink stainless sized 33" x 18" local make (Standard Pattern) (S.I.No.19-C P-6)
| Kitchen | 1 | x | 2 | 2
[5 empty] | 0 | 5712.3 | Each | 0
6 | Providing and fixing in position nyloon connections complete with 1/2" dia brass stop cock with pair of brass nuts and lining to nyloon connection (S.I.No:6/23)
[5 empty] | 5 | 447.15 | Each | 2236
7 | Supplying and fixing in position brass bib cocks. 1/2" dia Standard patterns(S.I.16/1-1-b)
[5 empty] | 4 | 337.92 | Each | 1352
8 | Providibng R. C. C. Pipe with collars class "B" and digging the tranches to required depth and fixing in position including cutting., fitting and jointuing with maxphalt composition and cement mortar 1:1 and testing with water pressure to a head of 4 ft above the top of the highest pipe and refilling with the excavated stuff (c) 6"dia. (S.I.No. 24/2-c)
| 6" dia |  |  |  | 150 | 199.25 | P.Rft | 29888
| 9" dia (S.I.24/2-d) |  |  |  | 0 | 250.6 | P.Rft | 0
9 | Construction of main hole or inspection chamber for there or required dia circular sewer and 3'x6' depth walls Bin cement plaster 1/2" thick in site of walls and 1" thick over bending and channel and I/c RCC main hole cover with angle iron frame 2"x2"x3/8" dully welded bed with fabrication steel bars to be adjusted with 11/2 x 11/2 xc3/8 angle iron frme duly combed in plain cement concrete 1:2:4 over the wall of main hole fixing 1" dia M.S steps 6" wide projecting frams if the depth is less than the rquired the rate will be reduced at the rate of 108/85 per ft.(S.I.46/1)
[5 empty] | 6 | 14748 | Each | 88488
10 | S/F fibre glass tank of approved quality and design and wall thickness as specified in/c cost of nuts bolts & fixing in plateform of C.C 1:3:6 and making connection for inlet & outlet & over flow pipes etc complete 350 Gallons.(S.I.21/3-b)
[5 empty] | 1 | 30773.42 | Each | 30773
11 | S/F fibre glass tank of approved quality and design and wall thickness as specified in/c cost of nuts bolts & fixing in plateform of C.C 1:3:6 and making connection for inlet & outlet & over flow pipes etc complete 1000 Gallons.(S.I.21/3-d)
[5 empty] | 0 | 58962.94 | Each | 0
12 | Providing and fixing 24"x18" beveled edge minor of belgium glass complete with 1/8" thick hard board and C.P screws fixed to wooden plate Superior Quality.(S.I.No: 3b/P-7/3-d)
[5 empty] | 2 | 1711.6 | Each | 3423
13 | Add. Extra labour for P/F of e/ware padestal white or coloured glazed foreign or equivalent.(S.I.3/9)
[5 empty] | 2 | 938.47 | Each | 1877
14 | P/F 6"x2" or 6"x3" C.I floor trap of the approved self cleaning design with a C.I screwed down grating with or witnhout a vent pipe arm complete with & i/c making requisite No. of holes in walls, plinth & floor for pipe connection & making good in c.c 1:2:4.(S.I.6/20)
[5 empty] | 3 | 2042.43 | Each | 6127
15 | Providing and laying full way gun metal valves with wheals threaded or flanged or match with rubber washing standard patterns (S.I.17/4-a)
a | 1/2" dia |  |  |  | 0 | 134.42 | Each | 0
b | 3/4"dia(S.I.17/4-b) |  |  |  | 2 | 197.12 | Each | 394
c | 1" dia(S.I.17/4-c) |  |  |  | 1 | 260.92 | Each | 261
16 | S/F Swan type pillar cock of superior quality single C.P head 1/2" dia (S.I.19/16-a).
[5 empty] | 2 | 795.3 | Each | 1591
17 | P/F 6"x4" c.c gully trap with 4" outlet complete with 4” thick 1:2:4 c.c for bend & 1/2" thick cement plster (1:3) to the karb, C.I grating 6"x6" C.I cover & frame 12"x12" (INSIDE) etc, complete c.c gully trap 6"x6"x4" with C.I cover & frame.(S.I.24/1)
[5 empty] | 6 | 1193.17 | Each | 7159
18 | Providing chambers 15"x9" (inside dimensions) x24" deep for stop cocks & valves etc. with 6" thick C.C 1:3:6 cast in situ walls 6" thick c.c 1:4:8 in foundation 1/2" thick cement plaster 1:3 to all inside walls surface & top 1" thick c.c 1:2:4 flooring complete with hinged iron cover & frame 9"x6" (INSIDE) clear opening (Wt. 1/2 Qr.) etc, fixed in c.c 1:2:4 i/c cutting excavation, back filling & disposal of earth etc complete.(S.I.20/4)
[5 empty] | 0 | 4905.67 | Each | 0
19 | S/Fixing C.P Muslim Shower with Crystal head etc complete (S.I.No.19-B P-19)
| Attached Lav. |  |  |  | 2
[5 empty] | 1 | 3432 | Each | 3432
20 | S/Fixing Jet Shower with rod of superior quality single C.P head 1/2" dia (S.I.No.15 P-19)
| Hostel Block |  |  |  | 36
[5 empty] | 1 | 1142.24 | Each | 1142.24
21 | S/Fixing in long bib cocks of crystal head with 1/2"dia (S.I.No.19/ 13-B)
2
[5 empty] | 3 | 1384.24 | Each | 4152.72
22 | S/F soap tray earthenware C.P screw etc complete (S.I.NO.5 P-8)
[5 empty] | 1 | 497.2 | Each | 497.2
23 | Providing & Fixing handle valves (China) (S.I.NO.5 P-17).
a | 1/2" dia |  |  |  | 0 | 200.42 | Each | 0
b | 3/4" dia |  |  |  | 0 | 271.92 | Each | 0
c | 1" dia |  |  |  | 0 | 365.42 | Each | 0
24 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P brass screw 3/4" round or square (Super Quality) (S.I.No.1 (iiib) P-7) Towel rail 24" long
[5 empty] | 1 | 972.95 | Each | 972.95
[5 empty] | Total:- |  |  | 213629.11
NON SCHEDULE ITIMES
1 | P/F U PVC pipe Pak Arab or equalent shedule 40 on surface or concealed masonery/cement concrete or R.c.c upto required height jointing by using solovent AGM or equalent and making good with c.c in/c curring finishing etc complete This rate also in/c all kinds of labour material cartage etc as approved by Engineer/Incharge
a | 1/2" dia |  |  |  | 25 | 45 | P.Rft | 1125
b | 3/4"dia |  |  |  | 100 | 59 | P.Rft | 5900
c | 1" dia |  |  |  | 120 | 92 | P.Rft | 11040
2 | Providing & Fixing uPVC Pipe 4'' (PAK ARAB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
[5 empty] | 50 | 290 | P.Rft | 14500
3 | P/F Elbow 90 degree Pak Arab or equalent 1/2"dia of approved quality and design of various size fixed to U PVC pipe using approved athensive compound of required hight etc complete This rate also in/c all kind of labour material cartage etc complete as approved by Engineer/Incharge
a | 1/2"dia |  |  |  | 12 | 55 | Each | 660
b | 3/4"dia |  |  |  | 6 | 76 | Each | 456
c | 1" dia |  |  |  | 2 | 140 | Each | 280
4 | P/F Socket Pak Arab or equalent 1/2"dia of approved quality and design of various size fixed to U PVC pipe using approved athensive compound of required hight etc complete This rate also in/c all kind of labour material cartage etc complete as approved by Engineer/Incharge
a | 1/2" dia |  |  |  | 3 | 38 | Each | 114
b | 3/4" dia |  |  |  | 2 | 46 | Each | 92
c | 1" dia |  |  |  | 1 | 55 | Each | 55
5 | P/F Union Pak Arab or equalent of approved quality and design of various size fixed to U PVC pipe using approved athensive compound of required hight etc complete This rate also in/c all kind of labour material cartage etc complete as approved by Engineer/Incharge
a | 1/2" dia |  |  |  | 0 | 350 | Each | 0
b | 3/4" dia |  |  |  | 2 | 381 | Each | 762
c | 1" dia |  |  |  | 1 | 471 | Each | 471
6 | P/F Tee Pak Arab or equalent of approved quality and design of various size fixed to U PVC pipe using approved athensive compound of required hight etc complete This rate also in/c all kind of labour material cartage etc complete as approved by Engineer/Incharge
a | 1/2" dia |  |  |  | 10 | 109 | Each | 1090
b | 3/4"dia |  |  |  | 5 | 136 | Each | 680
c | 1" dia |  |  |  | 1 | 160 | Each | 160
7 | P/F Tee Pak Arab or equalent 4"dia of approved quality and design of various size fixed to U PVC pipe using approved adhensive compound upto required height etc complete This rate also in/c all kind of labour material cartage etc complete as approved b y Engineer/Incharge
[5 empty] | 5 | 578 | Each | 2890
8 | P/F elbow 90 degree Pak Arab or equalent 4"dia of approved quality and design of various size fixed to U PVC pipe using approved adhensive compound upto required height etc complete This rate also in/c all kind of labour material cartage etc complete as approved b y Engineer/Incharge
[5 empty] | 3 | 416 | Each | 1248
9 | P/F U PVC Plastic Clip Pak Arab or equalent 4"dia of approved quality and design of various size fixed to U PVC pipe using approved adhensive compound upto required height etc complete This rate also in/c all kind of labour material cartage etc complete as approved b y Engineer/Incharge
[5 empty] | 9 | 150 | Each | 1350
10 | P/F U PVC Plastic Cowel Pak Arab or equalent 4"dia of approved quality and design of various size fixed to U PVC pipe using approved adhensive compound upto required height etc complete This rate also in/c all kind of labour material cartage etc complete as approved b y Engineer/Incharge
[5 empty] | 3 | 303 | Each | 909
11 | Providing & Fixing uPVC Reducer Bush (PAK ARAB or equavelent) make of approved quality and design of various size fixed to uPVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge.
a | 1/2"x3/4" dia |  |  |  | 1 | 89 | Each | 89
[5 empty] | Total:- |  |  | 43871

## Sheet5
BOARING ITEMS
NAME OF WORK:- |  | MAINTINANCE / REPAIR OF GBPS 7D-2 NORTH KARACHI (REPAIR OF BUILDING)
BOURING
S.No | Description of Item |  | Qty. | Rate | Unit | Amount
1 | Boring of tube well in all water bearing soils from ground levelupto 100ft or 30.50 meter depth in/c sinking & with drawing of casing of pipe (250mm 10'' dia) (p/41/1) Public Health Engeneering Schedule of Rates.
|  |  | 100 | 639 | P.Rft | 63900
2 | Boring of tube well in all water bearing soils from depth 100.1 to 200ft or 30.51 to 61 meter below ground level in/c sinking & with drawing of casing of pipe (250mm 10'' dia) (p/42/2b) Public Health Engeneering Schedule of Rates.
|  |  | 75 | 724 | P.Rft | 54300
3 | Supplaying & installing PVC stariners 'B' Class of approved design quality & make in/c necessory socket etc, complete ( 250mm 10'' dia ) P/43/9) Public Health Engineering Schedule of Rates.
|  |  | 175 | 322.35 | P.Rft | 56411
4 | Shrounding with graded Bajri ( 3.8 to 1/8'' ) or ( 9 to 3mm ) in below bore & blind pipes for the following diameter of stainer ( 250 mm 10'' dia )P/45/13-b) Public Health Engineering Schedule of Rates.
|  |  | 175 | 154 | P.Rft | 26950
5 | Providing & Fixing uPVC Pipe (PAK ARAB or equivalent) Schedule 40 on surface or concealled masonary / cement concrete or R.c.c upto required height jointing by using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
| 1" dia |  | 224.66 | 92 | P.Rft | 20669
6 | P/F P.V.C Elbow 90* (PAK ARAB or equivalent) dia of approved quality and design of various size fixed to Upvc pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
| 1" dia |  | 10 | 140 | Each | 1400
7 | P/F uP.V.C Socket (PAK ARAB or equivalent) make of approved quality and design of various size fixed to Upvc pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
| 1" dia |  | 17 | 55 | Each | 935
8 | P/F uP.V.C Union ''Solvent'' (PAK ARAB or equivalent) Schedule 40 make of approved quality and design of various size fixed to Upvc pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
| 1" dia |  | 4 | 471 | Each | 1884
9 | P/F uP.V.C Tee ''Solvent'' (PAK ARAB or equivalent) Schedule 40 make of approved quality and design of various size fixed to Upvc pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.
| 1" dia |  | 5 | 160 | Each | 800
9 | Proving & Fixing Handle Valve ( china ). (S.I.No: 17/5-3).
| 1" dia |  | 2 | 475.42 | Each | 951
10 | Proving & Fixing Ball Valve with unsoldered copper Ball made to B.B.S. 1212 (S.I.No: 6/iii/P-18).
|  |  | 1 | 510.84 | Each | 511
11 | Providing & Fixing Deepwell Motor set 1400 RPMSingle Pahase 240 Volts section 20ft height including base plate and along with nuts and bolts complete in all respect as approved by Engineer Incharge (Sameer Pump). (M.R)
|  |  | 1 | 18400 | Each | 18400
|  |  | Total |  | = | 247111

## Summary of Cost (3)
SUMMARY OF COST
NAME OF WORK REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A) (Part B)
1 | Cost of Schedule items |  |  |  |  | Rs. | 560386.0813
2 | Cost of Non-Schedule items |  |  |  |  | Rs. | 644640.52
3 | Less | 20 | % Below | Item No. 2,3,4 |  | Rs. | 33920.8
4 | Add: Carriage |  |  |  |  | Rs. | 1025
[6 empty] | Rs. | 1172130.8013
1.1721
Million
Sub-Engineer
Assistant Engineer
Education Works Sub-Division
New Karachi
Executive Engineer
Education Works Division-II
Karachi
\

## Measurement (2)
E S T I M A T E
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A) (Part-B)
S.No | Description. | [11 empty] | Qty |  | Total
1 | P/L PROCELENCE TILE GLAZED AND POLISHED 16X16X5/16 ON FLOOR OR WALL FACING IN REQUIRED COLOUR ABD PATTER IN WHITE CEMENT SAND PIGMENT OVER A BASE OF 1:2 GREY CEMENT MORTAR 3/4"THICK IN/C WASHING AND FILLING OR JOINTS WITH SLURRY OF WHITE CEMENT AND PIGMENT IN DESIRED SHAPE WITH FINISHING CLEANING AND COST OF WAX POLISH ETC COMPLETE IN/C CUTTING TILES TO PROPER PROFILE. (R.A.APPROVED)
| H.M | 1 | x | 2 | x ( | 12 | + | 12 | ) x | 3 |  |  | = | 144
| C/Room inside | 5 | x | 2 | x ( | 24 | + | 18 | ) x | 3 |  |  | = | 1260
| Verandah inside | 1 | x | 2 | x ( | 137 | + | 7 | ) x | 3 |  |  | = | 864
| Gems Door | 6 | x | 2 | x | 0.67 | x | 3 |  |  |  |  | = | 24.12
| Gems Ver:Pillar | 15 | x | 2 | x | 0.5 | x | 3 |  |  |  |  | = | 45
| Steeps | 20 | x | 1 | x | 3.5 | x | 1 |  |  |  |  | = | 70
| Rizer | 22 | x | 1 | x | 3.5 | x | 0.42 |  |  |  |  | = | 32.34
| Landing | 1 | x | 1 | x | 7 | x | 3 |  |  |  |  | = | 21
| " | 2 | x | 1 | x | 4 | x | 3 |  |  |  |  | = | 24
| Stair Railing | 4 | x | 1 | x | 10 | x | 3 |  |  |  |  | = | 120
[12 empty] | Total A |  | 2604.46
Deduction
| Door C/Room | 6 | x | 1 | x | 3.5 | x | 3 |  |  |  |  | = | 63
| Oppening | 4 | x | 1 | x | 6.75 | x | 3 |  |  |  |  | = | 81
[12 empty] | Total B |  | 144
| Net qty A-B |  |  |  |  | 2604.46 | - | 144 |  |  |  | TOTAL | = | 2460.46
[10 empty] | @Rs |  | 262 |  | P.sft | 644640.52
2 | Providing and laying tiles glazed 6''x6''x1/4'' on floor or wall facing in required colour and patteren of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement motor 3/4'' thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete including cutting tile to proper profile. (S.I.47/60)
| Top Face Outer Side | 1 | x | 2 | x ( | 143 | + | 32 | ) x | 0.67 |  |  | = | 234.5
| Top Face Outer Side | 1 | x | 2 | x ( | 16.5 | + | 12 | ) x | 0.67 |  |  | = | 38.19
[12 empty] | Total |  | 272.69
[10 empty] | @Rs |  | 30509.77 |  | % Sft | 83197
3 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortor 1:2.(S.I.No: 43/25)
| H.M W.C | 1 | x | 1 | x | 12 | x | 5.33 |  |  |  |  | = | 63.96
[12 empty] | Total |  | 63.96
[10 empty] | @Rs |  | 27747.06 |  | % Sft | 17747
4 | GLAZED TILES DADO 1/4" THICK LAID IN PIGMENT OVER 1:2 CEMENT SAND MORTAR 3/4" THICK IN/C FINISHING (S.I. 45/38)
| H.M W.C | 1 | x | 2 | x ( | 12 | + | 5.33 | ) x | 7 |  |  | = | 242.62
[12 empty] | Total |  | 242.62
[10 empty] | @Rs |  | 28299.3 |  | % Sft | 68660
5 | P/F COLOUR CREATE TO WALL SURFACE TO PROVIDE, DURABLE CRUST AND AESTHETICS HAVING THICKNESS UPTO 3/4" WITH SPECIFIED COLOUR HAVING WATER, FIRE & TERMITE RESISTANCE (UPTO 20' HEIGHT) (S.I.NO.56/44).
| Outer Side | 1 | x | 2 | x ( | 139 | + | 28 | ) x | 14 |  |  | = | 4676
| Chajja | 1 | x | 2 | x ( | 143 | + | 28 | ) x | 2 |  |  | = | 684
| Paraphet | 1 | x | 2 | x ( | 143 | + | 32 | ) x | 2 |  |  | = | 700
| Outer Side | 1 | x | 2 | x ( | 16.5 | + | 9 | ) x | 10 |  |  | = | 510
| Chajja | 1 | x | 2 | x ( | 16.5 | + | 9 | ) x | 2 |  |  | = | 102
| Paraphet | 1 | x | 2 | x ( | 16.5 | + | 12 | ) x | 2 |  |  | = | 114
| Window Sunshade |  |  | 10 | x | 2 | x | 7 | x | 1.5 |  |  | = | 210
| Window Sunshade |  |  | 1 | x | 2 | x | 5 | x | 1.5 |  |  | = | 15
[12 empty] | Total |  | 7011
Deduction
| Door C/Room | 5 | x | 2 | x | 6 | x | 4 |  |  |  |  | = | 240
| Oppening | 11 | x | 1 | x | 6.75 | x | 5 |  |  |  |  | = | 371.25
| Oppening | 4 | x | 1 | x | 6.75 | x | 8 |  |  |  |  | = | 216
[12 empty] | Total B |  | 827.25
| Net qty A-B |  |  |  |  | 7011 | - | 827.25 |  |  |  | TOTAL | = | 6183.75
[10 empty] | @Rs |  | 6319.5 |  | %Sft | 390782.0812
[11 empty] | Schedule item |  |  |  | 560386.0813
[11 empty] | Non-Schedule item |  |  |  | 644640.52
[11 empty] | Total:- |  |  |  | 1205026.6013
Certificate
It is Certify that the items provided in the estimate are in worst condition, essentially required and not carried out non-payment is made in any other program via District ADP, Provincial ADP, MNA / MPA Program etc.
| Sub-Engineer |  |  |  |  | Assistant Engineer | [6 empty] | Executive Engineer
[6 empty] | Education Works Sub-Division New Karachi | [6 empty] | Education Works Division-II
[6 empty] | Karachi | [6 empty] | Karachi

## Sheet3 (2)
CARRIAGE OF MATERIAL
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A) (Part-B)
S.No | Item of work | Quantity | Cement Bages |  |  | Hill Sand % Cft |  |  | Shingle/Crush Stone % Cft |  |  | Stone Ballast % Cft |  |  | Steel
1 | C.C. 1:4:8 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -
2 | C.C Plain 1:2:4 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
3 | C.C Plain 1:3:6 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
4 | R.C.C 1:1-1/2:3 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
5 | R.C.C 1:2:4 | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
6 | C.C. 1:3:6 B/M FOUND + S.S. | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
7 | Cement Plaster 1:4 3/4" | 0 | 0 |  |  | 0 |  |  | - |  |  | - |  |  | -
8 | Mosaic tiles + Glazed Tile | 579.27 | 12 |  |  | 24 |  |  | - |  |  | - |  |  | -
9 | C.C.Topping 1:2:4 2" Thick | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
10 | C.C.Topping 1:2:4 3" Thick | 0 | 0 |  |  | 0 |  |  | 0 |  |  | - |  |  | -
11 | Random Masonary | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -
12 | Steel | 0 | - |  |  | - |  |  | - |  |  | - |  |  | 0
| Total Quantity |  | 12 |  |  | 24 |  |  | 0 |  |  | 0 |  |  | 0
FOR FROM |  |  | DADBHAI / PAK LAND |  |  | SAND QUARY |  |  | MANGHO PIR QUERRY |  |  | MANGHO PIR QUERRY |  |  | Earth
LEAD IN MILES |  | Miles | 22 |  |  | 48 |  |  | 25 |  |  | 28 |  |  | 10
FROM |  |  | 1 | to | 2 | 1 | to | 6 | 1 | to | 6 | 1 | to | 6 | 1 | to | 3
Total |  |  | 4.85 |  |  | 746 |  |  | 746 |  |  | 746 |  |  | 746
7TH & SUBSEQUENT |  |  | 20 | X | 0.63 | 42 | X | 52 | 19 | X | 52 | 22 | X | 52 | 4 | x | 52
|  |  | 12.6 |  |  | 2652 |  |  | 988 |  |  | 1144 |  |  | 208
Total Rate |  |  | 17.45 |  |  | 3398 |  |  | 1734 |  |  | 1890 |  |  | 954
Total Amount |  |  | 209 |  |  | 816 |  |  | 0 |  |  | 0 |  |  | 0
[7 empty] | Total:-Amount Rs: |  |  |  |  | 1025
| Sub-Engineer |  |  | Assistant Engineer | [7 empty] | Executive Engineer
|  |  |  | Education Works Sub-Division New Karachi | [7 empty] | Education Works Division -II
|  |  |  | Karachi | [7 empty] | Karachi

## Abstract
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A)
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | DISMANTLING CEMENT CONCRETE PLAIN 1:2:4. (S.I. 19-C/P-11)
|  |  | #REF! | 3327.5 | %Cft | #REF!
2 | Dismantling cement concrete reinforcement seprating reinfor cement from concrete cleaning strainthing the same (S.I.20/10
|  |  | #REF! | 5445 | % Cft | #REF!
3 | Scraping ordinary distemper and oil bound distemper
|  |  | #REF! | 226.88 | %Sft | #REF!
4 | Nikking Concrete Surface S.I/P18-17a
|  |  | #REF! | 272.25 | %Sft | #REF!
5 | Removing cement or lime plaster
|  |  | #REF! | 121 | %Sft | #REF!
6 | DISMANTLING CEMENT BLOCK MASONARY 1:3:6. (S.I. 10/14)
|  |  | #REF! | 1134.38 | %Cft | #REF!
7 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 17/6-a-i)
|  |  | #REF! | 337 | P Cft | #REF!
8 | P/l 1:3:6 c.c solid block masonry wall 6" below in thickness set in 1:6 c.m in G.F super structure I/c raking out joints & curing etc, complete. (S.I.No: 23/ 22)
|  |  | #REF! | 15771.01 | %Cft | #REF!
9 | P/L 1:3:6 C.C SOLID BLOCK MASONARY WALL 6"& ABOVE IN THICKNESS SET IN 1:6 C.M IN G.F. SUPER STRUCTURE IN/C RAKING OUT JOINTS & CURING ETC. COMPLETE. (S.I.NO: 19/23)
|  |  | #REF! | 14621.44 | % Cft | #REF!
10 | P/F WITH SUNKUN IRON SCREWS WOODEN ARCHITRAVE APPROVED DESIGN /SHAPEMHAVING WIDTH NOT LESS THAN 2-1/2 INCHES AS DIRECTED BY ENGINEER INCHARGE (S.I.NO.60 P-73).
|  |  | #REF! | 49.97 | P.Rft | #REF!
11 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 3/4" THICK. (S.I.NO.11(c) P-58)
|  |  | #REF! | 3015.76 | %Sft | #REF!
12 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 1/2" THICK. (S.I.NO.62/11-b)
|  |  | #REF! | 2283.93 | % Sft | #REF!
13 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 2" thick. (S.I.No. 16 (b) / p-47)
|  |  | #REF! | 3275.5 | %Sft | #REF!
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/C-7)
|  |  | #REF! | 1887.4 | %Sft | #REF!
15 | REINFORCEMENT CEMENT CONCRETE SPOUT (S.I.NO.13 P-21 ).
|  |  | #REF! | 261.25 | Each | #REF!
16 | Rubbing and polishing of old mosaic floor(S.I.43/26)
|  |  | #REF! | 1228.92 | %Sft | #REF!
17 | Notice Board Made with cement S.I.no.1/P-100
|  |  | #REF! | 58.11 | % Sft | #REF!
18 | P/F COLOUR CREATE TO WALL SURFACE TO PROVIDE, DURABLE CRUST AND AESTHETICS HAVING THICKNESS UPTO 3/4" WITH SPECIFIED COLOUR HAVING WATER, FIRE & TERMITE RESISTANCE (UPTO 20' HEIGHT) (S.I.NO.44/P-63).
|  |  | #REF! | 6319.5 | %Sft | #REF!
19 | PAINTING NEW SURFACE, PREPARING SURFACE AND PAINTING DOORS AND WINDOWS ANY TYPE IN/C EDGES, THREE COATS (S.I.NO:5(c)/P-76).
|  |  | #REF! | 978.95 | %Sft | #REF!
20 | BRUSHING AND SCRAPING BLUSTER OF OLD PAINTS FROM WOOD WORK S.i2/P-68
|  |  | #REF! | 151.25 | %Sft | #REF!
21 | Diastempering 2 Coats S.I24-c/P-54)
|  |  | #REF! | 1079.65 | %Sft | #REF!
22 | Painting With Enemal paint on masonary wall. (S.I30-A/P73).
|  |  | #REF! | 837.1 | %Sft | #REF!
23 | pinting old surface Door And Window Any Type. P(68/4C)
|  |  | #REF! | 1160.06 | %Sft | #REF!
24 | Providing anti-termite treatment by spraying / sprinkling / spreading neptachlor 0.50% emulsion as an overall pre-construction treatment in slab type construction under the slab attached perches or entrances, etc complete as per direction. (S.I.92/p-109)
|  |  | #REF! | 9.74 | P.sft | #REF!
|  |  | Total Cost Rs. |  |  | #REF!
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. (BLOCK A)
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | Removing old debries rubbish construction remenants all kind and size beyond munciple limit and clearance of space in/c loading unloading etc complete as directed by Engineer Incharge (10 miles) carriage of material.
|  |  | #REF! | 902.2 | %Cft | #REF!
2 | P/L PROCELENCE TILE GLAZED AND POLISHED 16X16X5/16 ON FLOOR OR WALL FACING IN REQUIRED COLOUR ABD PATTER IN WHITE CEMENT SAND PIGMENT OVER A BASE OF 1:2 GREY CEMENT MORTAR 3/4"THICK IN/C WASHING AND FILLING OR JOINTS WITH SLURRY OF WHITE CEMENT AND PIGMENT IN DESIRED SHAPE WITH FINISHING CLEANING AND COST OF WAX POLISH ETC COMPLETE IN/C CUTTING TILES TO PROPER PROFILE. (R.A.APPROVED)
|  |  | #REF! | 262 | P.sft | #REF!
|  |  | Total Cost Rs. |  |  | #REF!
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. (BLOCK A)
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 17/8-b)
|  |  | #REF! | 5001.7 | P.Cwt | #REF!
2 | P/F G.I. FRAMES / CHOWKATS OF SIZE 7"X2" OR 4-1/2"X3" FOR DOORS USING 20 GAUGE G.I. SHEET IN/C WELDED HINGES & FIXING AT SITE WITH NECESSARY HOLD FASTS, FILLING WITH CEMENT SAND SLURRY OF RATIO 1:6 & REPAIRING THE JAMBS. THE COST ALSO IN/C ALL CARRIAGE TOOLS AND PLANTS IN MAKING AND FIXING. (S.I. 93/29)
|  |  | #REF! | 228.9 | P.Rft | 89883
3 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for Window using 20 gauge g.i. sheet in/c welded hinges & fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 & repairing the jambs. the cost also in/c all carriage tools and plants in making and fixing. (s.i. 29/p-98)
|  |  | #REF! | 240.5 | P.rft | #REF!
4 | Providing and fixing iron steel grill using solid square bars of size 1/2"x1/2" placed at 4" center to center in approved design and pattern with two or required coats after 3/4" x 3/4" in/c circle shape at 1 feet a part equivalent fitted with screw and pins in/c painting 3 coats with 1st coat of red oxide paint etc (S.I. 94/30)
|  |  | #REF! | 194.16 | P.sft | #REF!
5 | S/F in position iron/steel grill door with angle iron frame of 1-1/2"x1-1/2"x1/4" and flat iron of 3/4"x1/4"with approved design and locking arrangment embeded in masonery as per instruction of Engineer/Incharge (S.I.94/31)
|  |  | #REF! | 231.6 | P.sft | #REF!
6 | P/F COLLAPSIBLE GATE WITH CHANNEL FRAMING OF SECTION 3/4"X5/16" AT 4" IN/C REVITTED WITH 3/4"X1/8" FLAT IRON PATTI PLACED DIAGONALLY & PROVIDED WITH TOP & BOTTOM T-SECTION 1"X1"X1/8" ALONGWITH ROLLERS ALSO IN/C LOCKING ARRANGEMENT & FIXING IN FLOOR / CEIL. (S.I.94/32)
|  |  | #REF! | 387.04 | P.sft | #REF!
7 | P/F G.I expended metal 3/32 (20 guage) fixed to chowkhats(S.I.61/22-a)
|  |  | #REF! | 60.43 | P.sft | #REF!
|  |  | Total Cost Rs. |  |  | #REF!
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. (BLOCK A)
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | FIRST CLASS DEODAR WOOD WROUGHT JOINERY IN DOORS AND WINDOWSTC FIXED IN POSITION INCLUDING CHOWKHATS HOLD FAST HINGES IRON TOWER BOLT CHOKTS CLEATS HANDLES CORDS WITH HOOKS ETC DEODAR PANELLED OR PANELLED AND GLAZED OR FULLY GLAZED (b) 1-3/4'' THICK SI.NO7(b)/P-58.
|  |  | #REF! | 902.93 | P.Sft | #REF!
2 | P/F in position doors & windows and ventilators of first class deodar wood frames and 13/4" thick commercial ply veneer shutters of first class deodar Skelton (hollow) and commercial ply wood (3 ply) in/c fast hinges tower bolts etc & one mortice lock and hooks (s.i. no. 9 c-10)
|  |  | #REF! | 856.53 | P.sft | #REF!
3 | Providing and laying tiles glazed 6''x6''x1/4'' on floor or wall facing in required colour and patteren of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement motor 3/4'' thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc complete including cutting tile to proper profile. (S.I60/P-47).
|  |  | #REF! | 30509.77 | % Sft | #REF!
4 | LAYING FLOOR OF APROVED COLOURED GLAZED TILE 1/4" THICK IN WHITE CEMENT 1:2 OVER 3/4" THICK PIGMENT CEMENT MORTOR 1:2 COMPLETE (S.I.NO.25 / P-49).
|  |  | #REF! | 27747.06 | % Sft | #REF!
5 | GLAZED TILES DADO 1/4" THICK LAID IN PIGMENT OVER 1:2 CEMENT SAND MORTAR 3/4" THICK IN/C FINISHING (S.I. 38 / P-49)
|  |  | #REF! | 28299.3 | % Sft | #REF!
|  |  | Total Cost Rs. |  |  | #REF!
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi

## Sheet1
SUMMARY OF COST
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A)
PART 'A' General Items
| COST OF SCHEDULE ITEM |  |  |  |  | Rs: | 2259343
| COST OF NON SCHEDULE ITEM No.25,and 38 |  |  |  |  | Rs: | 660520
| ADD | 10 | % ON ITEM No.8,16,17and 18 |  |  | Rs: | 48391
| Less | 20 | % ON ITEM No.13,14,26,29 and 30 |  |  | Rs: | 107139
| COST OF CARRIAGE |  |  |  |  | Rs: | 59332
[5 empty] | Total 'A' | Rs: | 2920447
PART 'B' WATER SUPPLY
| COST OF SCHEDULE ITEM |  |  |  |  | Rs: | #REF!
| COST OF NON SCHEDULE ITEM |  |  |  |  | Rs: | #REF!
| ADD | 5 | % ON SCHEDULE ITEM |  |  | Rs: | 14428
| ADD | 15 | % ON R.c.c Pipe |  |  | Rs: | 9398
[5 empty] | Total 'B' | Rs: | #REF!
PART 'C' ELECTRIFICATION
| COST OF SCHEDULE ITEM |  |  |  |  | Rs: | 168690
| COST OF NON SCHEDULE ITEM |  |  |  |  | Rs: | 180545
[5 empty] | Total 'C' | Rs: | 349235
| Net Amount |  |  |  |  | Rs: | #REF!
[6 empty] | Rs. In Million | #REF!
Sub-Engineer
Assistant Engineer
Education Works Sub-Division New Karachi
Karachi
Executive Engineer
Education Works Division -II
Karachi

## Sheet2
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, UP SOCIETY NEW KARACHI. (BLOCK A)
S.No | Description of Item |  |  | Qty. | Rate | Unit | Amount
1 | WIRING FOR LIGHT OR FAN POINT WITH 1/1.13(3/.029)PVC INSULATED WIRE 3/4"IN PVC CONDUIT RECESSED WALL
|  |  |  | 100 | 1130 | P.Rft | 113000
2 | WIRING FOR PLUG POINT WITH 1/1.13(3/.029)PVC INSULATED WIRE 3/4"IN PVC CONDUIT RECESSED WALL
|  |  |  | 14 | 985 | P.Rft | 13790
3 | P/F THREE PIN 5 AMP PLUG & SOCKET FLUSH TYPE.
|  |  |  | 3 | 151 | Each | 453
4 | WIRING FOR MAIN WITH 2-7/.029 COPPER CONDUCTOR IN 3/4 DIA PVC CONDUIT RECESSED IN THE WALL OR COLUMN AS REQUIRED.
|  |  |  | 300 | 222 | P.Rft | 66600
5 | WIRING FOR MAIN WITH 2-7/.044 (6mm2) COPPER CONDUCTOR IN 3/4 DIA PVC CONDUIT RECESSED IN THE WALL OR COLUMN AS REQUIRED.
|  |  |  | 100 | 341 | P.Rft | 34100
6 | P/F ONE WAY S.P 5 AMPS SWITCH FLUSH TYPE
|  |  |  | 100 | 54 | Each | 5400
7 | P/F FLUSH TYPE 2 PIN 5 AMPS PLUG SOCKET SWITCH & SHOE UNIT ON METAL BOARD (LQR)
|  |  |  | 14 | 80 | Each | 1120
8 | P/F CIRCUIT BREAKER 6 AMPS TO 63 AMPS S.P IN/C FIXING ON A PREPARED BOARD
|  |  |  | 20 | 916 | Each | 18320
9 | P/F CIRCUIT BREAKER 15 AMPS TO 60 AMPS T.P IN/C FIXING ON A PREPARED BOARD & NECESSARY CONNECTION
|  |  |  | 2 | 5521 | Each | 11042
10 | P/F BACKLITE CEIIING ROSE WITH TWO TERMINAL.
|  |  |  | 100 | 72 | Each | 7200
NON SCHEDULE ITEMS
1 | P/F DISTRIBUTION METAL BOARD DOUBLE SHUTTER TO ACCOMMODATE CIRCUIT BREAKER IN/C PAINTING WITH ENEMELLED PAINT FOR OTHER SIMILAR JOB
|  |  |  | 4 | 1850 | Each | 7400
2 | P/F A.C CEILLING FANS 56" SWEEP COMPLETE IN ALL RESPECT AS APPROVED BY THE ENGINEER/INCHARGE
|  |  |  | 26 | 5600 | Each | 145600
3 | P/F FANCY FAN DIMMER AS APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 26 | 220 | Each | 5720
4 | P/F MILD STEEL BAR FAN CLAMP 5/8"DIA FOR SUITABLE FOR RCC ROOF AS APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 26 | 250 | Each | 6500
5 | P/F EARTHING SET SIZE (1''X1'') COPPER PLATE I/C EXCAVATON OF EARTH ROCK 12'' DEPTH OR IF WATER COMES OUT I/C SALT / CHARCOLE MIXED WITH G.I ROD WITH NUTS BOLTS TESTING TOPPING ECT. COMPLETE AS APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 1 | 25000 | Each | 25000
6 | P/F HDBC BAR COPPER WIRE WITH 16 SWG OR 1.5''mm PVC WIRE AS EARTH CONTINUTY CONDUCTOR WITH ANY GIVEN MAIN OF WIRING I/C METALIC ELECTRICAL ACCESSORIES NECESSORY CONNECTIONS AS APPROVED BY ENGINEER INCHARGE.
|  |  |  | 500 | 50 | Each | 25000
7 | P/F 1-40 WATTS TUBE LIGHT COMPLETE WITH 40 WATTS 4"LONG ROD CKOCK STARTER AND PUTTY WITH PHI;IPS COMPONENT IN/C NECESSARY ELECTRIC CONNECTION APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 14 | 600 | Each | 8400
8 | P/F 2-40 WATTS TUBE LIGHT COMPLETE WITH 40 WATTS 4"LONG ROD CKOCK STARTER AND PUTTY WITH PHI;IPS COMPONENT IN/C NECESSARY ELECTRIC CONNECTION APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 16 | 3000 | Each | 48000
9 | P/F ENERY SAVER 23 TO 25 WATTS SUPERIOR QUALITY ETC COMPLETE AS APPROVED BY ENGINEER / INCHARGE
|  |  |  | 44 | 600 | Each | 26400
10 | P/F WALL CEILLING MOUNTEED LIGHT FANCY TYPE SUPERIOR QUALITY I/C NECESSORY ELECTRIC CONNECTION ETC COMPLETE AS APPROVED BY ENGINEER / INCHARGE.
|  |  |  | 44 | 600 | Each | 26400
[6 empty] | G.TOTAL | 595445
|  |  | Cost of Non Schedule Item |  |  | = | 324420
|  |  | Cost of Schedule Item |  |  | = | 271025
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi

## Sheet6
SUMMARY OF COST
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI.(LAVATORY BLOCK)
PART 'A'
| COST OF SCHEDULE ITEM |  |  |  | Rs: | 612918.5635
| ADD | 10 | % ON SCHEDULE ITEM |  | Rs: | 61292
|  |  |  | Total 'A' | Rs: | 674210.5635
PART 'B'
| COST OF SCHEDULE ITEM |  |  |  | Rs: | 300369.2449
| ADD | 0 | % ON SCHEDULE ITEM |  | Rs: | 0
|  |  |  | Total 'B' | Rs: | 300369.2449
PART 'C'
| COST OF SCHEDULE ITEM |  |  |  | Rs: | 316411.085
| ADD | 0 | % ON SCHEDULE ITEM |  | Rs: | 0
|  |  |  | Total 'C' | Rs: | 316411.085
PART 'D'
| COST OF NON SCHEDULE ITEM |  |  |  | Rs: | 4686.1744
|  |  |  | Total 'D' | Rs: | 4686.1744
| Net Amount |  |  |  | Rs: | 1295677.0678
[5 empty] | Rs. In Million | 1.2957
Sub-Engineer
Assistant Engineer
Education Works Sub-Division New Karachi
Karachi

## Measurement 2
E S T I M A T E
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI.(LAVATORY BLOCK)
S.No | Description. | [11 empty] | Qty |  | Total
1 | Excavation in foundation of building bridges and other structure i/c degabilling dressing refilling, around structure with excavated earth waterig and ramming lead upto 5 ft in ordinary soil (s.i.no:18-b/p-5).
| L / Wall | 3 | x | 1 | x | 21.16 | x | 2.5 | x | 2.5 |  |  | = | 396.75
| S / Wall | 5 | x | 1 | x | 2.16 | x | 2.5 | x | 2.5 |  |  | = | 67.5
| Passage Wall | 2 | x | 1 | x | 2.16 | x | 2.5 | x | 2.5 |  |  | = | 27
| For P/P | 2 | x | 1 | x | 24.36 | x | 1.5 | x | 1.5 |  |  | = | 109.62
| '' '' | 2 | x | 1 | x | 13.5 | x | 1.5 | x | 1.5 |  |  | = | 60.75
| FoR U/G | 1 | x | 1 | x | 15 | x | 13 | x | 6 |  |  | = | 1170
[12 empty] | Total |  | 1831.62
[10 empty] | @Rs |  | 3176.25 |  | %0Cft | 5818
2 | CEMENT CONCRETE BRICK STONE BALLAST 1 1/2" TO 2" GUAGE RATIO1:4:8 (S.I.17/4b)
| L/ Wall | 3 | x | 1 | x | 21.16 | x | 2.5 | x | 0.5 |  |  | = | 79.35
| S / Wall | 5 | x | 1 | x | 2.16 | x | 2.5 | x | 0.5 |  |  | = | 13.5
| Passage Wall | 2 | x | 1 | x | 2.16 | x | 2.5 | x | 0.5 |  |  | = | 5.4
| For P/P | 2 | x | 1 | x | 24.36 | x | 1.5 | x | 0.5 |  |  | = | 36.54
| " " | 2 | x | 1 | x | 13.5 | x | 1.5 | x | 0.5 |  |  | = | 20.25
| For / G | 1 | x | 1 | x | 10 | x | 8 | x | 0.5 |  |  | = | 40
| " " | 4 | x | 1 | x | 3.67 | x | 3.67 | x | 0.5 |  |  | = | 26.9378
| B / Side | 1 | x | 1 | x | 17.36 | x | 3.67 | x | 0.5 |  |  | = | 31.8556
| Passage | 2 | x | 1 | x | 23.36 | x | 2 | x | 0.5 |  |  | = | 46.72
| Plinth Protection | 2 | x | 1 | x | 10 | x | 2 | x | 0.5 |  |  | = | 20
[12 empty] | Total |  | 320.5534
[10 empty] | @Rs |  | 9416.28 |  | % Cft | 30184
3 | ERRECTION & REMOVAL OF VERTICAL CENTERING FOR R.C.C PLAIN OR CEMENT CONCRETE WORK OF PARTAL WOOD (2ND CLASS) (S.I.18-B/P-21).
| O/S Lav Block | 1 | x | 2 | x ( | 19.67 | + | 10.34 | ) x | 4 |  |  | = | 240.08
| B / Side | 4 | x | 2 | x ( | 3.67 | + | 3.67 | ) x | 4 |  |  | = | 234.88
| Passage | 1 | x | 2 | x ( | 17.67 | + | 3.67 | ) x | 4 |  |  | = | 170.72
| For P/P | 1 | x | 2 | x ( | 24.36 | + | 15 | ) x | 2.5 |  |  | = | 196.8
| B / Side | 1 | x | 2 | x ( | 23.04 | + | 3.67 | ) x | 2.5 |  |  | = | 133.55
[12 empty] | Total |  | 976.03
[10 empty] | @Rs |  | 3588.48 |  | % Sft | 35024.6413
4 | CEMENT CONCERETE PLAIN IN/C PLACING COMPACTING FINISHING CURING COMPLETE & SCREENING & WASHING OF STONE AGGREGATE WITHOUT SHUTTERING RATIO 1:2:4 (S.I. 5-h/P-17).
| Lav Block L/Wall | 3 | x | 1 | x | 19.67 | x | 1 | x | 4 |  |  | = | 236.04
| S/Wall | 5 | x | 1 | x | 3.67 | x | 1 | x | 4 |  |  | = | 73.4
| Passage | 2 | x | 1 | x | 3.67 | x | 1 | x | 4 |  |  | = | 29.36
| '' '' | 2 | x | 1 | x | 24.36 | x | 0.67 | x | 2.5 |  |  | = | 81.606
| Plinth Protection | 2 | x | 1 | x | 13.67 | x | 0.67 | x | 2.5 |  |  | = | 45.7945
[12 empty] | Total |  | 466.2005
[10 empty] | @Rs |  | 14429.25 |  | %Cft | 67269.2356
5 | R.C.C WORK 1:2:4 IN/C ALL LABOUR & MATERIAL EXCEPT THE COST OF STEEL R/F & BENDING & BINDING WHICH WILL BE PAID SEPARATELY. R.C.C WORK ROOF SLAB BEAMS COLUMNS RAFTS LINTEL AND OTHER STRUCTURE MEMBER LAID IN SITU OR PRE CAST LAID IN POSITION COMPLETE IN ALL RESPECT RATIO 1:2:4.(S.I.NO.6/A-I/P-19)
| L/Wall L/Block | 3 | x | 1 | x | 19.67 | x | 1 | x | 1.5 |  |  | = | 88.515
| S/Wall | 5 | x | 1 | x | 3.67 | x | 1 | x | 1.5 |  |  | = | 27.525
| P/Wall | 2 | x | 1 | x | 3.67 | x | 1 | x | 1.5 |  |  | = | 11.01
[12 empty] | Total A |  | 127.05
| Lab Beam | 2 | x | 1 | x | 19.36 | x | 0.67 | x | 2 |  |  | = | 51.8848
| S/Wall | 2 | x | 1 | x | 10 | x | 0.67 | x | 2 |  |  | = | 26.8
| Slab | 1 | x | 1 | x | 23.36 | x | 14 | x | 0.42 |  |  | = | 137.3568
| Chajja | 1 | x | 1 | x | 23.36 | x | 1.5 | x | 0.33 |  |  | = | 11.5632
[12 empty] | Total B |  | 227.6048
| Bottom Slab | 1 | x | 1 | x | 10 | x | 8 | x | 1 |  |  | = | 80
| Wall | 2 | x | 1 | x | 10 | x | 0.75 | x | 8 |  |  | = | 120
| '' | 2 | x | 1 | x | 6.5 | x | 0.75 | x | 8 |  |  | = | 78
| Stair Top | 1 | x | 1 | x | 12 | x | 10 | x | 0.5 |  |  | = | 60
[12 empty] | Total C |  | 338
| Net qty A+B+C |  |  | 127.05 | + | 227.6048 | + | 338 |  |  |  | G.Total | = | 692.6548
[10 empty] | @Rs |  | 337 |  | P.cft | 233424.6676
6 | FABRICATION OF STEEL R/F FOR C.C IN/C CUTTING BENDING LAYING IN POSITION MAKING AND FASTENING IN/C COST OF BINDING WIRE (ALSO IN/C REMOVAL OF RUST FROM BARS)(S.I.NO.7 (A & B)/P-20) ( Deformed Bars)
a | Tor Steel |  | 692.6548 |  | x | 8 | x | 90 | % |  |  | Total | = | 44.5278
112
[10 empty] | @Rs |  | 5001.7 |  | P.cwt | 222714.7401
b | Mild Steel |  | 692.6548 |  | x | 8 | x | 10 | % |  |  | Total | = | 4.9475
112
[10 empty] | @Rs |  | 4820.2 |  | P.cwt | 23848.1048
7 | FILLING WATERING AND RAMMING SURPLUS EARTH IN FROM FOUNDATION LEAD UPTO ONE CHAIN AND LIFT UPTO 5 FEET. (S.I. 21/ P-5).
| Qty:same as I.No.1 |  |  |  |  | 1831.62 | [7 empty] | 610.54
3
[12 empty] | Total |  | 610.54
[10 empty] | @Rs |  | 1592.5 |  | %0 Cft | 972
8 | Filling watering and ramming earth under floor with new earth from out side lead upto one chain and lift upto 5 feet
| Lav Block | 4 | x | 1 | x | 3.67 | x | 3.67 | x | 3 |  |  | = | 161.6268
| Passage | 1 | x | 1 | x | 17.36 | x | 3.67 | x | 3 |  |  | = | 191.1336
[12 empty] | Total |  | 352.7604
[10 empty] | @Rs |  | 3630 |  | %0 Cft | 1281
9 | P/l 1:3:6 c.c solid block masonry wall 6" Above in thickness set in 1:6 c.m in G.F super structure I/c raking out joints & curing etc, complete. (S.I.No: 22/ 22)
| Lav Block | 3 | x | 1 | x | 19.36 | x | 0.67 | x | 8.25 |  |  | = | 321.0372
| S / Wall | 5 | x | 1 | x | 4 | x | 0.67 | x | 8.25 |  |  | = | 110.55
| P / Wall | 2 | x | 1 | x | 4 | x | 0.67 | x | 8.25 |  |  | = | 44.22
[12 empty] | Total A |  | 475.8072
Deduction
| Door 1 | 4 | x | 1 | x | 2.5 | x | 0.67 | x | 7.25 |  |  | = | 48.575
| v 1 | 4 | x | 1 | x | 2 | x | 0.5 | x | 1.5 |  |  | = | 6
| D 2 | 1 | x | 1 | x | 3.5 | x | 0.67 | x | 7.25 |  |  | = | 17.0012
| V 2 | 2 | x | 1 | x | 4 | x | 0.67 | x | 1.5 |  |  | = | 8.04
[12 empty] | Total B |  | 79.6162
| Net qty A-B |  |  |  |  | 475.8072 | - | 79.6162 |  |  |  |  | = | 396.1909
[10 empty] | @Rs |  | 14621.44 |  | %Cft | 57928.822
10 | P/l 1:3:6 c.c solid block masonry wall 6" below in thickness set in 1:6 c.m in G.F super structure I/c raking out joints & curing etc, complete. (S.I.No: 23/ 22)
| Over Roof | 1 | x | 2 | x | 23.36 | x | 0.33 | x | 1 |  |  | = | 15.4176
| '' '' | 1 | x | 2 | x | 13.33 | x | 0.33 | x | 1 |  |  | = | 8.7978
[12 empty] | Total |  | 24.2154
[10 empty] | @Rs |  | 15771.01 |  | % Cft | 3819.0132
11 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for doors using 20 gauge g.i. sheet in/c welded hinges & fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 & repairing the jambs. the cost also in/c all carriage tools and plants in making and fixing. (s.i. 29/p-98)
| D1 |  |  | 1 | x | 18 | [6 empty] | = | 18
| D2 |  |  | 4 | x | 17 | [6 empty] | = | 68
[12 empty] | Total |  | 86
[10 empty] | @Rs |  | 228.9 |  | P.Rft | 19685.4
12 | P/F G.I. frames / chowkats of size 7"x2" or 4-1/2"x3" for Windows using 20 gauge g.i. sheet in/c welded hinges & fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 & repairing the jambs. The cost also in/c all carriage tools and plants in making and fixing. (S.I.No. 29/98)
| Vents |  |  | 4 | x | 7 | [6 empty] | = | 28
[12 empty] | Total |  | 28
[10 empty] | @Rs |  | 240.5 |  | P.Rft | 6734
13 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 3/4" THICK. (S.I.NO.11(c) P-58)
| B/Side Block | 4 | x | 2 | x( | 4 | + | 4 | )x | 3 |  |  | = | 192
| Passage | 1 | x | 2 | x( | 18 | + | 4 | )x | 3 |  |  | = | 132
| B/S Passage | 1 | x | 2 | x( | 22.67 | + | 13.33 | )x | 1.33 |  |  | = | 95.76
[12 empty] | Total A |  | 419.76
| Lav | 1 | x | 2 | x( | 19.36 | + | 10 | )x | 13.5 |  |  | = | 792.72
| Passage | 1 | x | 2 | x( | 23.36 | + | 14 | )x | 1.5 |  |  | = | 112.08
[12 empty] | Total B |  | 904.8
| Net qty A+B |  |  |  |  | 419.76 | + | 904.8 |  |  |  |  | = | 1324.56
[10 empty] | @Rs |  | 3015.76 |  | %Sft | 39945.5507
14 | DAMP PROOF COURSE WITH ( CEMENT SAND AND SHINGLE CONCRETE 1:2:4 )INCLUDING 2 COATS OF ASPHALTIC MIXTURE 3'' THICK.
| U/G Tank | 1 | x | 1 | x | 8.5 | x | 6.5 |  |  |  |  | = | 55.25
[12 empty] | Total |  | 55.25
[10 empty] | @Rs |  | 4982.18 |  | %Sft | 2752.6544
15 | VERTICAL DAMP PROOF COURSE OF 3/4'' THICK CEMENT PLASTER 1:2 WITH BITUMEN AT ( 20 Lbs PER % Sft ).
| U/G Tank | 1 | x | 2 | x( | 8.5 | + | 6.5 | )x | 8 |  |  | = | 240
[12 empty] | Total |  | 240
[10 empty] | @Rs |  | 2760.99 |  | %Sft | 6626.376
16 | DAMP PROOF COURSE WITH CEMENT SAND RATIO 1:2 MIXED WITH DAMPO (3/4" THICK) (S.I.NO.69-B/P-112)
| B/Side Block | 1 | x | 2 | x( | 10 | + | 8 | )x | 8 |  |  | = | 288
[12 empty] | Total |  | 288
[10 empty] | @Rs |  | 952.88 |  | %Sft | 2744.2944
17 | Bitumen coating to plastered or cement concrete surface. (s.i.
| Qty same as item No.17 | [12 empty] | 288
[12 empty] | Total |  | 288
[10 empty] | @Rs |  | 778.09 |  | % Sft | 2241
18 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 2" thick. (S.I.No. 16 (b) / p-47)
| Over Roof | 1 | x | 1 | x | 23.36 | x | 14 |  |  |  |  | = | 327.04
[12 empty] | Total |  | 327.04
[10 empty] | @Rs |  | 3275.5 |  | % Sft | 10712.1952
19 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 3" thick. (S.I.No. 16 (b) / p-47)
| Over Roof | 1 | x | 1 | x | 12 | x | 10 |  |  |  |  | = | 120
| P/P | 1 | x | 2 | x | 24.67 | x | 2.5 |  |  |  |  | = | 123.35
| '' | 1 | x | 2 | x | 15 | x | 2.5 |  |  |  |  | = | 75
[12 empty] | Total |  | 318.35
[10 empty] | @Rs |  | 4411.82 |  | %Sft | 14045.029
20 | REINFORCEMENT CEMENT CONCRETE SPOUT (S.I.NO.13 P-21 ).
|  |  |  | 1 | x | 3 | [7 empty] | 3
[12 empty] | Total |  | 3
[10 empty] | @Rs |  | 261.25 |  | Each | 783.75
21 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/C-7)
| Qty same as item No.18 | [12 empty] | 327.04
[12 empty] | Total |  | 327.04
[10 empty] | @Rs |  | 1887.4 |  | % Sft | 6173
22 | FIRST CLASS DEODAR WOOD WROUGHT JOINERY IN DOORS AND WINDOWS FIXED IN POSITION I/C CHOWKHATS HOLDS FASTS HINGES IRON TOWER WITH HOOKS ETC COMPLETE 1-3/4" THICK (S.I.NO.8-B/P-65) (ONLY SHUTTERS).
| Vent | 4 | x | 2 | x | 1.5 | [6 empty] | = | 12
[12 empty] | Total |  | 12
[10 empty] | @Rs |  | 856.53 |  | P.Sft | 10278
23 | P/F in position doors windows and ventilator of Ist Class deodar wood frame and 1-1/2" thick teak wood ply shutter of First class deodar wood skilton solid stile and ply wood stiled and rails core or partal wood and teak ply wood 3 Ply on both sides in/c hold fasts hinges aldrops iron tower bolts handle cleats with cord etc complete (Only Shutters)(P.No.65/Item-51)
| Office Door | 4 | x | 1 | x | 2.5 | x | 7 |  |  |  |  | = | 70
| C/R Door | 1 | x | 1 | x | 3.5 | x | 7 |  |  |  |  | = | 24.5
[12 empty] | Total |  | 94.5
[10 empty] | @Rs |  | 875.13 |  | P.Sft | 82700
24 | P/F WITH SUNKUN IRON SCREWS WOODEN ARCHITRAVE APPROVED DESIGN /SHAPEMHAVING WIDTH NOT LESS THAN 2-1/2 INCHES AS DIRECTED BY ENGINEER INCHARGE (S.I.NO.60 P-73).
| D1 | 4 | x | 16.5 | [8 empty] | = | 66
| D2 | 1 | x | 17.5 | [8 empty] | = | 17.5
| V2 | 4 | x | 7 | [8 empty] | = | 28
[12 empty] | Total |  | 111.5
[10 empty] | @Rs |  | 49.97 |  | P.Rft | 5571.655
25 | P/F IRON STEEL GRILL USING SOLID SQUARE BARS OF SIZE 1/2"X1/2" PLACED AT 4" IN/C & FRAME OF FLAT IRON PATTI OF 3/4"X3/4" IN/C CIRCLE SHAPE AT 1-0 APART EQUIVALENT FITTED WITH SCREWS ARE PINS IN/C PAINTING 3 COATS WITH 1ST COAT OF RED OXIDE PAINT ETC. (S.I.NO. 30 P-98).
| V1 | 4 | x | 2 | x | 1.5 | [6 empty] | = | 12
| V2 | 2 | x | 4 | x | 1.5 | [6 empty] | = | 12
| Door | 1 | x | 3.5 | x | 7 | [6 empty] | = | 24.5
[12 empty] | Total |  | 48.5
[10 empty] | @Rs |  | 194.16 |  | P.Sft | 9417
26 | GLAZED TILES DADO 1/4" THICK LAID IN PIGMENT OVER 1:2 CEMENT SAND MORTAR 3/4" THICK IN/C FINISHING (S.I. 38 / P-49)
| Lav Block O/s | 4 | x | 2 | x( | 4 | + | 4 | )x | 7 |  |  | = | 448
| '' '' '' | 1 | x | 2 | x( | 18 | + | 4 | )x | 7 |  |  | = | 308
[12 empty] | Total |  | 756
Deduction
| Door | 4 | x | 2.5 | x | 7 | [6 empty] | = | 70
| '' | 1 | x | 3.5 | x | 7 | [6 empty] | = | 24.5
[12 empty] | Total B |  | 94.5
| Net qty A-B |  |  |  |  | 756 | - | 94.5 |  |  |  |  | = | 661.5
[10 empty] | @Rs |  | 28299.3 |  | % Sft | 187200
27 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortor 1:2.(S.I.No: 25/P-44)
| Units | 4 | x | 4 | x | 4 | [6 empty] | = | 64
| Passage | 1 | x | 18 | x | 4 | [6 empty] | = | 72
[12 empty] | Total |  | 136
[10 empty] | @Rs |  | 27747.06 |  | % Sft | 37736
28 | Primary Coat Of Chalk and Distempering.
| Qty same as item No.13-A | [12 empty] | 419.76
| Ceilling | 1 | x | 18 | x | 8.67 | [6 empty] | = | 156.06
[12 empty] | Total |  | 575.82
[10 empty] | @Rs |  | 442.75 |  | %Sft | 2549
29 | DISTEMPERING THREE COATS (S.I.NO.24-C/P-59).
| Qty:Same as I.No.28 | [11 empty] | = | 575.82
[12 empty] | Total |  | 575.82
[10 empty] | @Rs |  | 1079.65 |  | %Sft | 6216.8406
30 | P/F COLOUR CREATE TO WALL SURFACE TO PROVIDE, DURABLE CRUST AND AESTHETICS HAVING THICKNESS UPTO 3/4" WITH SPECIFIED COLOUR HAVING WATER, FIRE & TERMITE RESISTANCE (UPTO 20' HEIGHT) (S.I.NO.44/P-63).
| Qty:Same as I.No.13-B | [11 empty] | = | 904.8
| Chajja | 1 | x | 2 | x( | 23.36 | + | 10 | )x | 2 |  |  | = | 133.44
| '' '' | 1 | x | 1 | x | 23.36 | x | 1.5 |  |  |  |  | = | 35.04
[12 empty] | Total |  | 1073.28
[10 empty] | @Rs |  | 6319.5 |  | %Sft | 67825.9296
31 | Painting new surfaces (c) Preparing surface and painting of doors and windows any type (including edges) 3 coats. (S.I.No. 5(c)/I&ii/C-11)
| Qty:Same as I.No.22 |  |  | 12 | x | 2 | [6 empty] | = | 24
| Qty:Same as I.No.23 |  |  | 94.5 | x | 2 | [6 empty] | = | 189
[12 empty] | Total |  | 213
[10 empty] | @Rs |  | 2116.41 |  | %Sft | 4508
32 | Difference of using S.R.Cement instead of ordinary porland cement
i | Cement concrete 1:4:8
| Qty:same as I.No.2 |  |  | 320.5534 | x | 9.5 |  | %Cft |  |  |  |  | = | 30.4526
ii | Cement concrete Plain 1:2:4
| Qty:same as I.No.4 |  |  | 466.2005 | x | 17.6 |  | %Cft |  |  |  |  | = | 82.0513
iii | R.C.C 1:2:4
| Qty:same as I.No.5 A+C |  |  | 465.05 | x | 1 |  | %Cft |  |  |  |  | = | 4.6505
[12 empty] | Total |  | 117.1544
[10 empty] | @Rs |  | 40 |  | P.Sft | 4686
33 | P/L SINGLE PER LAYER OF POLYTHENE SHEET .13 MM THICK FOR WATER PROOFING AS PER SPECIFICATION AND INSTRUCTIONS OF ENGINEER INCHARGE (S.I.NO. 38/38)
| Building Block | 3 | x | 1 | x | 21.16 | x | 2.5 |  |  |  |  | = | 158.7
| '' '' | 7 | x | 1 | x | 2.16 | x | 2.5 |  |  |  |  | = | 37.8
[12 empty] | Total |  | 196.5
[10 empty] | @Rs |  | 10.7 |  | P.sft | 2102.55
34 | P/F Aluminum Sheet on doors pasted with glue as per requirement (S.I.66/61)
| Lav Block | 4 | x | 1 | x | 9 | x | 3 |  |  |  |  | = | 108
| '' '' | 1 | x | 1 | x | 9 | x | 3.75 |  |  |  |  | = | 33.75
[12 empty] | Total |  | 141.75
[10 empty] | @Rs |  | 63.77 |  | P.sft | 9039.3975
35 | Providing anti-termite treatment by spraying / sprinkling / spreading neptachlor 0.50% emulsion as an overall pre-construction treatment in slab type construction under the slab attached perches or entrances, etc complete as per direction. (S.I.109/92)
| Building | 1 | x | 1 | x | 1 | x | 1 |  |  |  |  | = | 1
| '' '' | 1 | x | 1 | x | 1 | x | 1 |  |  |  |  | = | 1
[12 empty] | Total |  | 2
[10 empty] | @Rs |  | 9.74 |  | P.sft | 19
[11 empty] | Total:- |  |  |  | 1224576.8471
Certificate
It is Certify that the items provided in the estimate are in worst condition, essentially required and not carried out non-payment is made in any other program via District ADP, Provincial ADP, MNA / MPA Program etc.
| Sub-Engineer |  |  |  |  | Assistant Engineer | [6 empty] | Executive Engineer
[6 empty] | Education Works Sub-Division New Karachi | [6 empty] | Education Works Division-II
[6 empty] | Karachi | [6 empty] | Karachi

## Abstract 2
SCHEDULE 'B'
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. PART B.(LAVATORY BLOCK)
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | Excavation in foundation of building, bridges and other structure including dagbelling dressing, refilling around structure with excavated earth, watering and ramming. Lead upto 5 ft (b) In ordinary soil. (S.I.No. 18(b)/C-1)
|  |  | 1831.62 | 3176.25 | %oCft | 5817.683
2 | Cement concrete brick or stone ballast 1.5" to 2" gauge (c) Ratio 1:4:8. (S.I.No. 4(c)/C-4)
|  |  | 320.5534 | 9416.28 | %Cft | 30184.2057
3 | ERRECTION & REMOVAL OF VERTICAL CENTERING FOR R.C.C PLAIN OR CEMENT CONCRETE WORK OF PARTAL WOOD (2ND CLASS) (S.I.18-B/P-21).
|  |  | 976.03 | 3127.41 | %Sft | 30524.4598
4 | CEMENT CONCERETE PLAIN IN/C PLACING COMPACTING FINISHING CURING COMPLETE & SCREENING & WASHING OF STONE AGGREGATE WITHOUT SHUTTERING RATIO 1:2:4. (S.I. 5-f/P-16).
|  |  | 466.2005 | 14429.25 | %Cft | 67269.2356
5 | R.C.C WORK 1:2:4 IN/C ALL LABOUR & MATERIAL EXCEPT THE COST OF STEEL R/F & BENDING & BINDING WHICH WILL BE PAID SEPARATELY. R.C.C WORK ROOF SLAB BEAMS COLUMNS RAFTS LINTEL AND OTHER STRUCTURE MEMBER LAID IN SITU OR PRE CAST LAID IN POSITION COMPLETE IN ALL RESPECT RATIO 1:2:4.(S.I.NO.6/A-I/P-19)
|  |  | 692.6548 | 337 | P.cft | 233424.6676
6 | Filling, watering and ramming earth in floors with surplus earth from foundation. Lead upto one chain and lift upto 5 ft. (S.I.No. 21/C-1)
|  |  | 610.54 | 1592.5 | %0 Cft | 972
7 | FILLING WATERING AND RAMMING EARTH UNDER FLOOR WITH NEW EARTH FROM FOUNDATION LEAD UPTO ONE CHAIN AND LIFT UPTO 5 FEET. (S.I. 22/ P-5).
|  |  | 352.7604 | 3630 | %0 Cft | 1281
8 | P/l 1:3:6 c.c solid block masonry wall 6" above in thickness set in 1:6 c.m in G.F super structure I/c raking out joints & curing etc, complete. (S.I.No: 23/ 22)
|  |  | 396.1909 | 14621.44 | %Cft | 57928.822
9 | P/l 1:3:6 c.c solid block masonry wall 6" below in thickness set in 1:6 c.m in G.F super structure I/c raking out joints & curing etc, complete. (S.I.No: 23/ 22)
|  |  | 24.2154 | 15771.01 | %Cft | 3819.0132
10 | CEMENT PLASTER 1:4 UPTO 20 HEIGHT (C) 3/4" THICK. (S.I.NO.11(c) P-58)
|  |  | 1324.56 | 3015.76 | %Sft | 39945.5507
11 | DAMP PROOF COURSE WITH ( CEMENT SAND AND SHINGLE CONCRETE 1:2:4 )INCLUDING 2 COATS OF ASPHALTIC MIXTURE 3'' THICK.S.I28-c/P-19.
|  |  | 55.25 | 1073.88 | %Sft | 593.3187
12 | VERTICAL DAMP PROOF COURSE OF 3/4'' THICK CEMENT PLASTER 1:2 WITH BITUMEN AT ( 20 Lbs PER % Sft ). S.I-70/P-107.
|  |  | 240 | 2760.99 | %Sft | 6626.376
13 | DAMP PROOF COURSE WITH CEMENT SAND RATIO 1:2 MIXED WITH DAMPO (3/4" THICK) (S.I.NO.69-B/P-107)
|  |  | 288 | 952.88 | %Sft | 2744.2944
14 | BITUMEN COATING TO PLASTERED OR CC SURFACE. (S.I. 9/77)
|  |  | 288 | 778.09 | % Sft | 2241
15 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 2" thick. (S.I.No. 16 (b) / p-47)
|  |  | 327.04 | 3275.5 | %Sft | 10712.1952
16 | Providing and laying topping cement concrete 1:2:4 including surface finishing and dividing into panels 3'' thick. (S.I.No. 16 (b) / p-47)
|  |  | 318.35 | 4411.82 | %Sft | 14045.029
17 | REINFORCEMENT CEMENT CONCRETE SPOUT (S.I.NO.13 P-21 ).
|  |  | 3 | 261.25 | Each | 783.75
18 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/C-7)
|  |  | 327.04 | 1887.4 | %Sft | 6172.553
19 | P/F WITH SUNKUN IRON SCREWS WOODEN ARCHITRAVE APPROVED DESIGN /SHAPEMHAVING WIDTH NOT LESS THAN 2-1/2 INCHES AS DIRECTED BY ENGINEER INCHARGE (S.I.NO.60 P-73).
|  |  | 111.5 | 49.97 | P.Rft | 5572
20 | Primary Coat Of Chalk and Distempering
|  |  | 575.82 | 442.75 | %Sft | 2549
21 | DISTEMPERING THREE COATS (S.I.NO.24-C/P-59).
|  |  | 575.82 | 1079.65 | %Sft | 6217
22 | P/F COLOUR CREATE TO WALL SURFACE TO PROVIDE, DURABLE CRUST AND AESTHETICS HAVING THICKNESS UPTO 3/4" WITH SPECIFIED COLOUR HAVING WATER, FIRE & TERMITE RESISTANCE (UPTO 20' HEIGHT) (S.I.NO.44/P-63).
|  |  | 1073.28 | 6319.5 | %Sft | 67825.9296
23 | Preparing Surface and painting fo door and window any type (including Edges) Si-5-c/ P69
|  |  | 213 | 2116.41 | %Sft | 4508
24 | P/L SINGLE PER LAYER OF POLYTHENE SHEET .13 MM THICK FOR WATER PROOFING AS PER SPECIFICATION AND INSTRUCTIONS OF ENGINEER INCHARGE (S.I.NO. 38 P-44)
|  |  | 196.5 | 10.7 | P.Sft | 2103
25 | Providing And Fixing Aluminum Sheet on Door Pasted with Glue per requirement. (S.I61/P-66).
|  |  | 141.75 | 63.77 | P.Sft | 9039
26 | Providing anti-termite treatment by spraying / sprinkling / spreading neptachlor 0.50% emulsion as an overall pre-construction treatment in slab type construction under the slab attached perches or entrances, etc complete as per direction. (S.I.92/p-109)
|  |  | 2 | 9.74 | P.sft | 19.48
|  |  | Total Cost Rs. |  |  | 612918.5635
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. PART B.
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | FABRICATION OF STEEL R/F FOR C.C IN/C CUTTING BENDING LAYING IN POSITION MAKING AND FASTENING IN/C COST OF BINDING WIRE (ALSO IN/C REMOVAL OF RUST FROM BARS)(S.I.NO.7 (A & B)/P-20) ( Deformed Bars)
|  |  | 44.5278 | 5001.7 | P.cwt | 222714.7401
2 | FABRICATION OF STEEL R/F FOR C.C IN/C CUTTING BENDING LAYING IN POSITION MAKING AND FASTENING IN/C COST OF BINDING WIRE (ALSO IN/C REMOVAL OF RUST FROM BARS)(S.I.NO.7 (A & B)/P-20) ( Milad Steel Bar )
|  |  | 4.9475 | 4820.2 | P.cwt | 23848.1048
3 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for doors using 20 gauge g.i. sheet in/c welded hinges & fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 & repairing the jambs. the cost also in/c all carriage tools and plants in making and fixing. (s.i. 29/p-98)
|  |  | 86 | 228.9 | P.rft | 19685.4
4 | P/F G.I frames / chowkats of size 7"x2" or 4-1/2"x3" for Window using 20 gauge g.i. sheet in/c welded hinges & fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 & repairing the jambs. the cost also in/c all carriage tools and plants in making and fixing. (s.i. 29/p-98)
|  |  | 28 | 240.5 | P.rft | 6734
5 | P/F iron steel grill using solid square bars of size 1/2"x1/2" placed at 4" including and frame of flate iron patti of 3/4'' x 3/4'' inclusing circle shape at 1-0 part equlvalent fitted with screw and pins i/c 3 coat with first coat of red oxide paint etc.s.i30-p-94)
|  |  | 94.5 | 194.16 | P.Sft | 18348
6 | Providing And Fixing Aluminum Sheet on Door Pasted with Glue per requirement. (S.I61/P-66).
|  |  | 141.75 | 63.77 | P.Sft | 9039
|  |  | Total Cost Rs. |  |  | 300369.2449
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. PART B.
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | Difference of using S.R.Cement instead of ordinary porland cement
|  |  | 117.1544 | 40 | P.Bag | 4686.1744
|  |  | Total Cost Rs. |  |  | 4686.1744
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi
NAME OF WORK:- |  | REPAIR/RENOVATION OF GOVERNMENT GIRLS / BOYS PRIMARY SCHOOL 11-E 1, 2, 3, UP SOCIETY NEW KARACHI. PART B.
S.No | DESCRIPTION OF ITEM. |  | QNTY | Rate | Unit | Amount
1 | FIRST CLASS DEODAR WOOD WROUGHT JOINERY IN DOORS AND WINDOWSTC FIXED IN POSITION INCLUDING CHOWKHATS HOLD FAST HINGES IRON TOWER BOLT CHOKTS CLEATS HANDLES CORDS WITH HOOKS ETC DEODAR PANELLED OR PANELLED AND GLAZED OR FULLY GLAZED (b) 1-3/4'' THICK SI.NO7(b)/P-58.
|  |  | 12 | 902.93 | P.Sft | 10835
2 | P/F in position doors & windows and ventilators of first class deodar wood frames and 13/4" thick commercial ply veneer shutters of first class deodar Skelton (hollow) and commercial ply wood (3 ply) in/c fast hinges tower bolts etc & one mortice lock and hooks (s.i. no. 9 c-10)
|  |  | 94.5 | 856.53 | P.sft | 80942.085
3 | GLAZED TILES DADO 1/4" THICK LAID IN PIGMENT OVER 1:2 CEMENT SAND MORTAR 3/4" THICK IN/C FINISHING (S.I. 38 / P-49)
|  |  | 661.5 | 28253.61 | % Sft | 186898
4 | Laying floors of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cement mortor 1:2.(S.I.No: 25/P-44)
|  |  | 136 | 27747.06 | % Sft | 37736
|  |  | Total Cost Rs. |  |  | 316411.085
Sub-Engineer
ASSISTANT ENGINEER
Education Works Sub-Division New Karachi
Karachi