## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- CONSTRUCTION OF HOSTEL AT PANO AKIL CANTONMENT (MASJID)
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
PART "A" SCHEDULE ITEMS
1 | 3396 | Excavtion in foundation of Building Bridges and other structures including dagbelling dressing,refilling around structrure with excavated earth Watering and ramming lead upto 5 ft (b) in ordinary soil (C.S.I No:18 (b)P.4) | 3176.25 | %0Cft | 10786.545
2 | 403 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:5:10 (C.S.I No: 4 (c) Page No:15) | 8694.95 | %Cft | 35040.6485
3 | 506 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:6:12 (C.S.I No: 4 (D) Page No:15) | 1799.88 | %Cft | 9107.3928
4 | 312 | Dry rammed brick or stone bllast 1/2" to 2" guage (C.S.I No. 2 P-No. 15). | 3327.5 | %Cft | 10381.8
5 | 2529 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6(C.S.I No:4 (e) P.21). | 11948.36 | %Cft | 302174.0244
6 | 675 | Rein forced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid sepretely this rate also includes all kinds of forms moulds:lifting shuttering curing rending and finishing the exposed surface (including screening and washing of shingle) (a) RC work in slabe bams columns rafts lintels and other structural members laid in situ or pre cost laid in position complete in all respects. (I)Ratio (1:2:4) 90 Lbs cement 2 Cft. sand 4 Cft . shingle 1/8" to 1/4" guage.(C.S.I No:6 A (1) P.17). | 337 | P.Cft | 227475
7 | 30.13 | Fabrication of Tor steel reinforecement for cement concrete including cutting bending and laying in position making joints and fastings including cost of binding wire also includes removal of rust from bars (C.S.I No:8 B P.17). | 5001.7 | P.Cwt | 150701.221
8 | 608 | Filling watering and raming earth in floor with surplus from foundation lead upto one chain and lift upto 5ft. (C.S.I No: 21 P.4). | 1512.5 | %0Cft | 919.6
9 | 1531 | Filling watering and raming earth under floor with new earth excavated from outside lead upto on chain and lift upto 5ft. (C.S.I No: 22 P.4). | 3630 | %0Cft | 5557.53
10 | 1531 | Extra lead 3 mile | 579.41 | %Cft | 8870.7671
11 | 1069 | Pacca brick work other then building including stricking of joints up to feet height (C.S.I No: 7 (e) Page No: 26) | 12346.65 | %Cft | 131985.6885
12 | 2514 | Pacca brick work in ground floor in cement sand mortor ratio: (C.S.I No: 5 (e) Page No: 21) | 12674.36 | %Cft | 318633.4104
13 | 5935 | Cement plaster upto 20' height 1/2" thick rario 1:6 (C.S.I No: 13 (b)Page No: 52). | 2206.06 | %Sft | 130929.661
14 | 5935 | Cement plaster upto 20' height 3/8" thick rario 1:4 (C.S.I No: 11 (a) Page No: 52). | 2197.52 | %Sft | 130422.812
15 | 2611 | Cement pointing strucking of joints of walls ratio 1:2 (C.S.I No: 19 (a) Page. 53) | 1287.44 | %Sft | 33615.0584
16 | 513 | Cement concrete plain including placing compacting, finishing curing, complete including screening and washing of stone aggregate without shuttering. (CSI No.5(a) P-18) | 14429.25 | %Cft | 74022.0525
17 | 657 | Mosaic tiles of white cement 8" x 8" 1" of approved shade laid flat in 1:2 white cement mortar over a bed of 3/4" thick lime mortar 1:2. (C.S.I No. 45 P-45). | 12416.99 | %Sft | 81579.6243
18 | 120 | Mosire dado skinting one partt of gray cement and two part of marble chips laid over 3/8" thick cement plaster 1:3 complete with finishing (C.S.I No: 39 (a) Page- 45) | 9986.71 | %Sft | 11984.052
19 | 77 | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4: thick cement mortor 1:2 complete (C.S.I No:24 P-43) . | 27678.68 | %Sft | 21312.5836
20 | 333 | White glazed tile 14" thick dado jointed in white cement and laid over 1:2 cement sand mortor 3/4 " thick including finishing (C.S.I No:37 P-45) . | 28253.61 | %Sft | 94084.5213
21 | 79 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for door using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ration 1:6 and reparing the jambs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:29 P.93). | 228.9 | P.Rft | 18083.1
22 | 204 | Providing and fixing G.I frames /Chowkates 7"2" or 41/2" x 3" for windows using 20 guage G.I sheet i/c welded hinges and fixing at site with necessary hols fast filling with cement sand slurry of ratio 1:6 and reparing the janbs. Cost also i/c all carrage tools and plants used in making and fixing (C.S.I No:28 P.93). | 240.5 | P.Rft | 49062
23 | 130 | Suppling and fixing in position iron steel grill of 3/4"x 1/4" size flate iron of approved design I/c painting three coats etccomplete weightg not less than 3.7 lbs of finshed grill (C.S.I No:26 P.97). | 180.5 | P.Sft | 23465
24 | 64 | Providing and fixing iron steel grill door with angle iron frame of 1 1/2" x 1 1/2" x 1/4" and flat iron of 3/4" x 1/4" with aproved design and locking arrengement embedded in massonary as per instruction of engneer in charge. (CSI No.31 P-94) | 231.6 | P.Sft | 14822.4
25 | 76 | First class deodar wood wrought joinery in doors and windos etcfied inosition I/c in chwoakts holds fasts hings iron tower bolts chowks cleats handles and cards with hooks etc Deodar paneled or paned are fully glazed 1/3/4"only shutter (C.S.I No:7 (b) P.58). | 902.93 | P.Sft | 68622.68
26 | 78 | Providing and fixing in position, Doors, Windows and Ventilators of first class deodar wood frames, and 1 3/4" thick commercial , ply veneer shutters of first class deodar skeleton (H ollow ) and commercial ply wood (3 ply ) on both sides. | 856.53 | P.Sft | 66809.34
27 | 124 | M/F Grating in opening i/c fixing at site with iron 2" x 3/8" and 3/4" bars 4" centre to centre (CSI No. 25 P.92). | 293.15 | P.Sft | 36350.6
28 | 20.09 | S/F Girder at Site of Work | 3850 | P.Cwt | 77346.5
29 | 6.84 | S/F T.Iron at Site of Work | 3575 | P.Cwt | 24453
30 | 1211 | 1st class tiles roofing consisting of 4"earth and 1" mud plaster with leeping over 1/2"thick cement plaster 1:6 with 34 lbs of hot bitumen coating sand blinded provided over one layer of 12"x6"x1"1/4 tiles laid in 1"6 cement mortor icluding 1:2 cement pointing under neath of tiles complete including curing etc (C.S.I No:2 P.38). | 11443.1 | %Sft | 138575.941
31 | 6 | Rain forcement concrete spout including fixing in position 2 1/2" x 6" x 5" (C.S.I No:14 P.18). | 261.45 | Each | 1568.7
32 | 64 | Notice board made with cement (C.S.I No:1 P.95). | 58.11 | P.Sft | 3719.04
33 | 32 | Providing and fixing deodar Almirah 9"-12" depth including boxing with back shalves shutters rass fitting complete. (C.S.I No:23 P.61). | 1778.59 | P.Sft | 56914.88
34 | 52 | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangemtnt. (C.S.I No:24 P-92) | 726.72 | P.Sft | 37789.44
35 | 683 | Providing and laying single per layer of polithin 0.13mm thick for water proffing per specification and instructions of engineer incharge(C.S.I No:38 P.44). | 10.7 | P.Sft | 7308.1
36 | 683 | Two coats of bitumen laid hot using 34"Lbs for 100sft over roof and blinded with sand at 1Sft per 100sft (C.S.I No:13 P.35). | 1887.4 | %Sft | 12890.942
37 | 1890 | P/F Fixing paving blocks flooring having size of 197x97x80 (mm) of city / guddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc complete (C.S.I No. 74 P-50). | 248.17 | P.Sft | 469041.3
38 | 1064 | White wash three coats (C.S.I No:26 (c) P-54). | 829.95 | %Sft | 8830.668
39 | 5903 | Primary coat of chalk under destember (C.S.I No:23 P-54). | 442.75 | %Sft | 26135.5325
40 | 4033 | Destember three coats (C.S.I No:24 (c) P-54). | 1079.65 | %Sft | 43542.2845
41 | 2640 | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. Three coats (CSI No. 38 (c) P. No. 56) | 1328.25 | %Sft | 35065.8
42 | 304 | Painting new surface, and paiting of doors and windows any type (i/c edges) 2 coats (C.S.I No:4 (c) P-76). | 2116.41 | %Sft | 6433.8864
43 | 900 | Painting guard bars gats iron bars grating raling including standard braces etc and smiller open work three coat (C.S.I No:4 (d) (ii) P-70). | 1270.83 | %Sft | 11437.47
|  |  | TOTAL :- |  | 3027852.5972
PART "B"
1 | 2 | Providing & fixing squating type white glazed of flushe cisten with internal fitting&flush pippe with bend and making requesite numbers of holes in wall plinth & floor for pipe conection & making good in cement concrete 1:2:4. W.C not less than 19" clear opening between flushing rims and 3 gallons flushing tank with4" dia C.I trap with C.I thumble. (S.I No:1 (b) i P-No:1) | 4802.6 | Each | 9605.2
2 | 2 | P/F in position nyloon connections complete with 1/2"dia brass stop cock with pair of brass nuts and lining joints to nyloon connection (S.I No:23 P-No:6). | 447.15 | Each | 894.3
3 | 2 | S/F concelled stop cock of superior quality with crystal head head 1/2" dia (S.I No:11 (b) P-No:18). | 889.46 | Each | 1778.92
4 | 2 | S/F long bib cock of crystal head with c.p head1/2" dia (S.I No:13 (b) P-No:19). | 1384.24 | Each | 2768.48
5 |  | Supplying & fixing fibre glass tank of approved quality and design and wall thicness as specified I/c cost of nutes, bolts and fixing in plateform of cement concerete 1: 3: 6 and makin connections for in -let ,& ou-let & over flow pipes etc. complete.
A | 1 | 250 Gallons | 21989.61 | Each | 21989.61
|  |  | TOTAL :- |  | 37036.51
Amount Total (CSR)
Part "A" |  | % Above / Below ____________ | Total Amount
Part "B" |  | % Above / Below ____________ | Total Amount
Total "A+B"
NON SCHEDULE ITEMS
1 | 247 | Providing & laying floor of Verona marble tiles of size 12” x 12” x ¾” fine dressed on the surface without winding set in white cement laid over 3 / 4” thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry, jointing and washing the tiles with slurry of white cement and pigment to match the colour of titles, including curring, grinding, rubbing and chemical polishing etc. complete i/c cutting tiles to proper profile. |  | P.Sft
2 |  | P/F UPVC pipe (AGM) sch: 40(E) on surface using clips/saddle of approved quality and material etc paid separately recessed in masonry C.C or RCC upto 60' height and making good with C.C including cutting finishing etc complete as per instruction of Engineer Incharge
| 50 | 1/2" dia |  | P.Rft
| 35 | 3/4" dia |  | P.Rft
| 40 | 1" dia |  | P.Rft
| 30 | 1 1/2" dia |  | P.Rft
| 25 | 4" dia |  | P.Rft
| 30 | 6" dia |  | P.Rft
3 |  | 2- P/F Bend/Elbow (90 degree) of SCH 40PVC of NAMAT OR EQUIVALENT make of approved quality and design of various size fixed to UPVC pipe/fitting paid seprately. using approved adhesive compound (AGM OR WELDON) made in USA 12454-B in accordance incharge.
| 20 | 1/2" dia |  | P.Rft
| 50 | 3/4" dia |  | P.Rft
| 20 | 1" dia |  | P.Rft
| 10 | 1 1/4" dia |  | P.Rft
| 8 | 1 1/2" dia |  | P.Rft
| 10 | 4" dia |  | P.Rft
4 |  | P/F Tee of SCH-40 PVC of NAMAT OR EQUIVALET make of approved quality and design of various size fixed to upvc pipe/fitting paid seprately, using approvd adhesive compound (AGM or WELDONE color) upto 60ft: height as per instuction of the Engineer Incharge)specification of the material should meet the requirement of class 12454-B in accordance with the ASTM-D 1784 type
| 4 | 3/4" dia |  | P.No
| 3 | 1" dia |  | P.No
| 3 | 4" dia |  | P.No
5 |  | P/F COUPLLNG/SOCKET of SCH-40 PVC of NAMAT OR EQUIVALENT) Make of approved quality and design of various sizes fixed to UPVC pipe / fitting paid seprately using approved adhesive compound (AGM OF WELDON) made in USA in ORANGE CO)Our} uptc, oar?: as per instruction of the Engineer Incharge) specification of the material should meet the requirement of class 12454-B in accordance with the ASTM-D-17841 grade 1 Rate includes all costs of labour material cartage scaffolding ladders etc complete
| 10 | 3/4" dia |  | P.No
| 4 | 1" dia |  | P.No
6 |  | P/F UNION of SCH-40 PVC of NAMAT OR EQUIVLENT Make of approved quality and design of various sizes fixed to UPVC pipe fitting paid separately using approved adhesive compound (AGM or WELDONE, made in USA in ORGANGE colour) upto 60fet height as per instructed of the Engineer Incharge) specification of the material should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding/ladders etc complete.
| 4 | 3/4" dia |  | P.No
| 3 | 1" dia |  | P.No
7 |  | P/F UPVC P-Trap WIElbow (45 degree) of SCH-40 PVC of NAMAT OR EQUIVALENT) Make of approve quality and design of verious sizes fixed to UPVC pipe fitting paid seprately. Using approved adhesive compound (AGM-OR WELDONE) Made in USA in orange color) upto 60 ft height as .per kinsruction of the Engineer Incharge specification of the material should meet the requiremnt of class 12454-B in acco-rdance with the ASTM-D-1784 Type 1 grade 1 rate i/c all costs of labour, material, cartage, scaffolding ladders etc complete
| 4 | 4" dia |  | P.No
8 |  | P/F UPVC WYE (Y) (45 degree) of SCH-40 PCV OF and design of veriou sizes fixed to UPVC pipe fitting paid separaely, using approved adhesive compound (AGM OR WOLDEN) made in USA in ORANGE color) upto 60fet: height as per instruction of the Engineer Incharge. Specification of the material, should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding ladders etc complete.
| 4 | 4" dia |  | P.No
9 |  | P/F UPVC PLUG ELBOW (45 degree) of SCH-40 PCV OF NAMAT OR EQUIVALENT make of approved quality and design of various sizes fixed to UPVC pipe fitting paid separately, using approved adhesive compound (AGM OR WOLDEN) made in USA in ORANGE color) upto 60fet: height as per instruction of the Engineer Incharge. Specification of the material, should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding ladders etc complete.(N.S.I)
| 3 | 4" dia |  | P.No
10 |  | P/F UPVC PLUG TEE (45 degree) of SCH-40 PCV OF NAMAT OR EQUIVALENT make of approved quality and design of veriou sizes fixed to UPVC pipe fitting paid separaely, using approved adhesive compound (AGM OR WOLDEN) made in USA in ORANGE color) upto 60fet: height as per instruction of the Engineer Incharge. Specification of the material, should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding ladders etc complete(N.S.I) 4" dia 3 847.83 P.No 2543
| 3 | 4" dia |  | P.No
11 |  | P/F UPVC VENT COWEL (LOCAL) of SCH-40 PCV OF NAMAT OR EQUIVALENT make of approved quality and design of veriou sizes fixed to UPVC pipe fitting paid separaely, using approved adhesive compound (AGM OR WOLDEN) made in USA in ORANGE color) upto 60fet: height as per instruction of the Engineer Incharge. Specification of the material, should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding ladders etc complete.(N.S.I)
| 3 | 4" dia |  | P.No
12 |  | P/F COMPACT BALL VALVE of SCH-40 PCV OF NAMAT OR EQUIVALENT make of approved quality and design of veriou sizes fixed to UPVC pipe fitting paid separaely, using approved adhesive compound (AGM OR WOLDEN) made in USA in ORANGE color) upto 60fet: height as per instruction of the Engineer Incharge. Specification of the material, should meet the requirement of class 12454-B in accordance with the ASTM-D-1784 type 1 grade 1 rate includes all costs of labour material cartage scaffolding ladders etc complete.
| 2 | 1 1/4" dia |  | P.No
13 |  | P/F approved quality A.C motor mono block set made 1-1/4"xl" suction and delievery 1 HP single phase motor (Diamond/siemens make or equal) i/c the cost of C.I fitting nuts and bolts etc complete. |  | P.No
14 | 1 | P/F approved quality A.C motor Pumping set (Javed Engineer) or equal made 1-1/4" xl" suction and siemens make or equal) i/c the cost of CA fitting, nuts, bolts etc complete. |  | P.No
15 | 100 | P/F plastic pipe of approved quality and material etc paid seprately i/c cutting finishing etc complete as per instrution of the Engineer Incharge, specific-ation of material should meet the requirement rate, i/c all cost of labour |  | P.Rft
16 | 1 | P/F Hand Pump Machine i/c fitting and fixing etc complete |  | P.No
TOTAL :-
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SUKKUR