SCHEDULE “B”	PROVIDING LAYING JOINTING AND TETSING PE  PIPE 16” DIA FOR SANGHAR WATER SUPPLY SCHEME FROM BAKHORO CANAL.

| S.# | Description | Qty | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

1.	Dismantling and removing road metling (GSI No 51 p/13 )

1750.0 Cft			@Rs. 605/00		P% Cft		Rs. 10588/-

# 2.	Excavation for pipe line and reservoirs in soft soil i/c trimming and dressing sides to alignment design section/profile and shape levelling of beds of trenches to correct level and grade i/c laying of earth in 6” layers of construction of tanks and crossing and disposal of surplus excavated earth with one chain as directed by Engineer  incharge providing fence guards lights flages where-ever required lift upto 5’(1.52m) lead upto one  chain (30.5m)( PHSI No:1 P/49).

5000.00 Cft.			@Rs. 3600/-		P%0 Cft	Rs. 18000/-

# 3.	Excavation for pipe line and reservoirs in Wet soil i/c trimming and dressing sides to alignment design section/profile and shape levelling of beds of trenches to correct level and grade i/c laying of earth in 6” layers of construction of tanks and crossing and disposal of surplus excavated earth with one chain as directed by Engineer  incharge providing fence guards lights flages where-ever required lift upto 5’(1.52m) lead upto one  chain (30.5m)( PHSI No:1 P/49).

8450.00 Cft.			@Rs. 5400/-		P%0 Cft	Rs. 51030/-

4.	Providing laying jointing and testing  etc complete inall respect the high density polyethylene PE pipe HDPE 100 for W/s confinming ISO4427/DIN 8074-807583580  PS 13051.  (PHE I No 1 p/25) (400 mm)

16” dia 1350.0 Rft		@Rs. 2625/-		P/Rft		Rs. 3543750/-

5.	Tee Equal 16x16x16’

1x1 = 1 No			@Rs. 25922/-		P/Each 	Rs. 25922/-

6.	Jibalt Jointing

1x2 = 2 Nosw			@Rs. 6500/-		P/Each 	Rs. 13000/-

7.	C.I Sluice valve heavy pattern test pressure 300 lbs/sq inch improted (New star engg, works) special c I fitting  (SMI No 2 p/12).                                 			 16” dia

1x1 = 1 No 			@Rs. 107250/-	Each 		Rs. 107250/-

8.	Short Piece  (SMI NO 9 p/16).         16” dia

1x2 = 2 No 			@Rs. 6825/-	Each 			Rs. 13650/-

9.	PE Specials for fitting  (SMI B p/19).

Elbow  90o

1x2 = 2 Nos 			@Rs. 21602/-		P/Each 	Rs. 43204/-

10.	Jointing IC MS flanged pipe and specials flanged and inside a trench i/c supplying rubber packing of the required thickness nuts bolts with washer etc and other tools required for jointing and testing the joint to the specified pressure etc complete

(PHSI No 1 P/40)

16” dia 1x4 = 4 Joints		@Rs. 3370/-		P/Joint 	Rs. 13480/-

11.	Providing Chamber 2 ½ x2 ½ (750x750 mm ) inside dimension 4 ½ (1372mm) deep as per approved design for sluice valve 3” to 12” dia with 18” (457mm) dia inside cost iron cover and frame fixed in RCC 1:2:4 (102 mm ) thick brick masonry walls set in 1:6 cement mortar 6” (1115 mm) thick cement concrete 1:3:6 in foundation 1” (25 mm) thick cement concrete 1:2:4 flooring ½”   (12.50mm ) thick cement plaster 1:3 to all inside wall surface and to top i/c providing and fixing MS foot rest at every one foot beyond 2 ½ ft depth curing excavation back filling and disposal of surplus earth etc complete (PHSI NO 4 p/ 50)

1.0 Nos 			@Rs: 28691/-		Each 		Rs. 28691/-

12.      	Cement concrete brick or stone ballast 1 ½” to 2” guage (GSI No:4,(i)P/17).

Ratio 1:4:8.

577.50 Cft.			@Rs.9416/28		P% Cft.	       	Rs. 54379/-

13.	Cement concrete plain i/c placing compacting finishing curing etc complete i/c screening and washing or stone aggregate without shuttering Ratio 1:3:6  (GSI No:5(i) P-18)

.

437.50 Cft.			@ Rs:14429/26		P% Cft.		          Rs: 63128/-

18.	Supplying and fixing flange adapter (MR)

2.0 Nos				@Rs. 12150/-		Each			Rs. 24300/-

19.	Refilling the excavated stuff in trenches 6’’thick layer i/c watering ramming to full

compaction etc complete(PHS I No:24 p/53).

14580.0 Cft			@Rs: 2760/-		P%0 Cft	         Rs. 40241/-

Total   		       Rs 4067413/-

CONDITIONS.

- Any error omission in the specification quantity and unit will be governed by the relevant schedule items.

- The rates should be inclusive of all taxes i.e sales tax octori tax etc.

- No separate carriage will be paid to the contractor

- No premium will be allowed for no-schedule items.

- The decision of the Superintending Engineer, Public Health Engineering Circle Mirpurkhas will be final and binding the parties if in any dispute.

EXECUTIVE ENGINEER

PUBLIC HEALTH ENGG: DIVISION

SANGHAR