**SCHEDULE B**

**CONSTRUCTION OF ASSISTANT COMMISSIONER / MUKHTIARKAR OFFICE SOBHODERO AT RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.Khairpur**

( Part A MAIN BUILDING FOUNDATION )

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | | **L.B.D.** | **Qty:** | **Rate** | **Unit** | **Amount** |
| **1.** | Excavation foundation of buildings bridge and other  Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **5898** | **19734/0** | **%0 CFT** | **Rs .18734/-** |
| **2** | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). | | |  |  |  |  |
|  |  | | | **1900** | **8694/95** | **% CFT** | **Rs .16524/-** |
|  |  | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | |  |  |  |  |
| **3** | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). | | |  |  |  |  |
|  |  |  | | **2926** | **337/0** | **P.CFT** | **Rs. 649026/-** |
| **4** | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). | | |  |  |  |  |
|  |  |  | | **115.56** | **5001/70** | **P.CWT** | **Rs. 577996/-** |
| **5** | Pacca Brick work in foundation & plinth in cement & Sand mortar Ratio 1:6 (S.I.No.4 (c) P.No.25). | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **1151.0** | **11948/36** | **% CFT** | **Rs. 137526/-** |
| **6** | Filling watering and ramming with surplus earth. | | |  |  |  |  |
|  |  | | | 3932 | **1512/50** | **% Cft** | **Rs. 6947/-** |
| **7.** | Supplying filling under floor plugging into walls. | | |  |  |  |  |
|  |  |  | | **6264** | **1141/25** | **% CFT** | **Rs. 77194/-** |
| **8.** | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:6:12. (S.I.No.4 P.No.14). | | |  |  |  |  |
|  |  |  | | **836.0** | **8122/95** | **% CFT** | **Rs .67908/-** |
|  |  |  | |  |  |  |  |
|  |  |  | |  |  |  |  |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | ITEM OF WORKS | | L. B. D | **Qty:** | **Rate** | **Unit** | **Amount** |
| **9.** | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). | | |  |  |  |  |
|  |  |  | | **521.0** | **2206/60** | **% SFT** | **Rs. 11496/-** |
| **10** | Cement plaster 1:4 up to 20 heights 3/8 thick. (S.I.No.11 P.No.58). | | |  |  |  |  |
|  |  |  | | **521.0** | **2197/52** | **% SFT** | **Rs. 11449/-** |
|  |  |  | |  |  | **Total** | **Rs. 1722516/-** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**SCHEDULE B**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | **Qty:** | **Rate** | **Unit** | **Amount** |

**CONSTRUCTION OF ASSISTANT COMMISSIONER / MUKHTIARKAR OFFICE SOBHODERO AT RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.Khairpur**

( Part B MAIN BUILDING GROUND FLOOR )

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). | | | |  | |  | |  | |  |
|  | |  | |  | | **3188** | | **337/-** | | **P.CFT** | | **Rs. 1037356/-** |
| 2 | | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). | | | |  | |  | |  | |  |
|  | |  | |  | | **191.28** | | **5001/70** | | **P.CWT** | | **Rs. 356725/-** |
| 3 | | Pacca Brick work ground floor than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). | | | |  | |  | |  | |  |
|  | |  | |  | |  | |  | |  | |  |
|  | |  | |  | | **3105** | | **12674/36** | | **% CFT** | | **Rs. 393539/-** |
| 4 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for door using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). | | | |  | |  | |  | |  | |
|  |  | |  | | **272** | | **228/90** | | **P.RFT** | | **Rs. 62261/-** | |
| 5 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4x4 for windows using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). | | | |  | |  | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |
|  |  | |  | | **344.0** | | **240/50** | | **P.RFT** | | **Rs. 82732/-** | |
| 6 | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). | | | |  | |  | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |
|  |  | |  | | **12771** | | **2206/6** | | **% CFT** | | **Rs. 281805/-** | |
| 7 | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). | | | |  | |  | |  | |  | |
|  |  | |  | | **12771.0** | | **2197/52** | | **% CFT** | | **Rs. 280645/-** | |
| 8 | Cement concrete plain including placing compacting finishing and curing complete ( including screening an washing at stone aggregate without. S.No 5 P- 15) | | | |  | |  | |  | |  | |
|  |  | |  | | **455.0** | | **14429/25** | | **% CFT** | | **Rs. 65653/-** | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | **Qty:** | **Rate** | **Unit** | **Amount** |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 9 | P/F Tiles Glazed 6”x6”x1/4” on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1;2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.60 P.No.46) | |  | |  | |  | |  | |
|  |  |  | **3867** | | **30509/69** | | **% SFT** | | **Rs. 1179810/-** | |
| 10 | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blts. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No54 P.No.64). | |  | |  | |  | |  | |
|  |  |  | **498.0** | | **902/93** | | **P.SFT** | | **Rs. 449659/-** | |
| 11 | Providing and fixing iron steel grill door with angle iron frame of 1-1/2 x1-1/2x1/4 and flat iron of 1/4x1/4 with approved design and locking arrangement embedded in masonry as per instruction of engineer in charges. (S.I.No.31 P.No.93). | | |  | |  | |  | |  |
|  |  |  | | **73.0** | | **180/50** | | **P.Sft** | | **Rs.13177/-** |
| 12 | Distemper three coats. | | |  | |  | |  | |  |
|  |  |  | |  | |  | |  | |  |
|  |  |  | | **15236** | | **1079/85** | | **% SFT** | | **Rs. 164495/-** |
|  |  |  |  | |  | |  | |  | |
|  |  |  |  | |  | |  | |  | |
| 13 | Painting new surface Painting doors and windows any type three coats. | |  | |  | |  | |  | |
|  |  |  |  | |  | |  | |  | |
|  |  |  | **15236** | | **2216/41** | | **% SFT** | | **Rs. 64412/-** | |
|  |  |  |  | |  | |  | |  | |
|  |  |  |  | |  | | **Total** | | **Rs. 5649769/-** | |
|  |  |  |  | |  | |  | |  | |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**SCHEDULE B**

**CONSTRUCTION OF ASSISTANT COMMISSIONER / MUKHTIARKAR OFFICE SOBHODERO AT RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.Khairpur**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | **Qty:** | **Rate** | **Unit** | **Amount** |

( Part ( C ) MAIN BUILDING 1ST FLOOR )

|  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). | | | |  | |  | |  | |  |
|  | |  | |  | | **3977.0** | | **337/-** | | **P.CFT** | | **Rs. 1340249/-** |
| 2 | | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). | | | |  | |  | |  | |  |
|  | |  | |  | | **238.62** | | **5001/70** | | **P.CWT** | | **Rs. 1193506/-** |
| 3 | | Pacca Brick work ground floor than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). | | | |  | |  | |  | |  |
|  | |  | |  | |  | |  | |  | |  |
|  | |  | |  | | **3158** | | **12674/36** | | **% CFT** | | **Rs. 400256/-** |
| 4 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4-1/2x3 for door using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). | | | |  | |  | |  | |  | |
|  |  | |  | | **222** | | **228/90** | | **P.RFT** | | **Rs. 50816/-** | |
| 5 | Providing and fixing G.I. Frames chowkhats of size 7”x2”or 4x4 for windows using 20guage G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ration 1;6 and repainting the jamb. The cost also i/c all carriage tools and plants used in making and fixing. (S.I.No.29 P.No.98). | | | |  | |  | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |
|  |  | |  | | **368.0** | | **240/50** | | **P.RFT** | | **Rs. 88504/-** | |
| 6 | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). | | | |  | |  | |  | |  | |
|  |  | |  | |  | |  | |  | |  | |
|  |  | |  | | **12415.0** | | **2206/6** | | **% SFT** | | **Rs. 273949/-** | |
| 7 | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). | | | |  | |  | |  | |  | |
|  |  | |  | | **12415.0** | | **2197/52** | | **% SFT** | | **Rs. 272822/-** | |
| 8 | Cement concrete plain including placing compacting finishing and curing complete ( including screening an washing at stone aggregate without. S.No 5 P- 15) | | | |  | |  | |  | |  | |
|  |  | |  | | **439.0** | | **14429/25** | | **% CFT** | | **Rs. 63344/-** | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 09 | P/F Tiles Glazed 6”x6”x1/4” on floor or wall facing in required color and pattern of STILE specification jointed in white cement and pigment over a base of 1;2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.60 P.No.46) | |  |  |  |  |
|  |  |  | **3312.0** | **30509/69** | **% SFT** | **Rs. 1010480/-** |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | **Qty:** | **Rate** | **Unit** | **Amount** |

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | First class deodar wood wrought, joinery in doors & windows etc. fixed in position i/c chowkhats holds fasts hinges, iron tower blts. Chocks cleats, handles and cords with hooks, etc. Deodar paneled or paneled and glazed or fully glazed (with out chowkhats). (S.I.No54 P.No.64). | |  | |  | |  | |  | |
|  |  |  | **412.0** | | **902/93** | | **P.SFT** | | **Rs. 371007/-** | |
| 11 | Providing and fixing iron steel grill door with angle iron frame of 1-1/2 x1-1/2x1/4 and flat iron of 1/4x1/4 with approved design and locking arrangement embedded in masonry as per instruction of engineer in charges. (S.I.No.31 P.No.93). | |  | |  | |  | |  | |
|  |  |  | | **192.0** | | **180/50** | | **P.Sft** | | **Rs.34656/-** |
| 12 | Providing and laying 2\*thick topping cement concrete (1:2:4) i/c surface finishing and dividing into panels. (S.16 P.41) | | |  | |  | |  | |  |
|  |  |  | |  | |  | |  | |  |
|  |  |  | | **2957.0** | | **3276/50** | | **% SFT** | | **Rs. 97476/-** |
| 13. | Two coat of bitumen laid hot using 34 LBS for % Sft ober roof and blinded with sand at one Cft per % Sft.(S.13 P.34) | |  | |  | |  | |  | |
|  |  |  | 2957.0 | | **1887/40** | | **%SFT** | | **Rs.55810/-** | |
| 14 | Distempering of three coat over one coat of white wash. | |  | |  | |  | |  | |
|  |  |  | **14261** | | **1079/65** | | **% SFT** | | **Rs. 153969/-** | |
| 15 | Painting new surface Painting doors and windows any type three coats. | |  | |  | |  | |  | |
|  |  |  |  | |  | |  | |  | |
|  |  |  | **1524** | | **2216/41** | | **% SFT** | | **Rs. 32254/-** | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | **Qty:** | **Rate** | **Unit** | **Amount** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 16 | Providing fixing and R.C.C spout etc complete. | |  |  |  |  |
|  |  | | **5 Nos** | **211/75** | **Each** | **Rs. 1059/-** |
|  |  |  |  |  |  |  |
| 17 | Providing and fixing false ceiling of thermopile in panels of required designed size including frame work etc complete. | |  |  |  |  |
|  |  | | **520** | **25293/40** | **% SFT** | **Rs. 131526/-** |
| 18 | Providing and fixing plaster of pairs ceiling border of 8” 10” specified design & thickness including fixing besides with nails / screws with jetties. | |  |  |  |  |
|  |  |  | **152** | **104/22** | **P.SFT** | **Rs. 15841/-** |
|  |  |  |  |  |  |  |
|  |  |  |  |  | **Total** | **Rs. 5588524/-** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**SCHEDULE B**

**CONSTRUCTION OF ASSISTANT COMMISSIONER / MUKHTIARKAR OFFICE SOBHODERO AT RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.**

( Part B Compound Wall )

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | **ITEM OF WORKS** | |  | **Qty:** | **Rate** | **Unit** | **Amount** |
| **1.** | Excavation foundation of buildings bridge and other  Structures and including dag belling dressing refilling around water with excavated earth watering and ramming load up to 5th in ordinary soil | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **1446** | **3176/25** | **%0 CFT** | **Rs .4653/-** |
| **2** | Cement concrete brick or stone ballast 1-1/2 to 2 gauge. (A) ratio 1:5:10. (S.I.No.4 P.No.14). | | |  |  |  |  |
|  |  | | | **366** | **8694/95** | **% CFT** | **Rs .31824/-** |
|  |  | | |  |  |  |  |
| **3** | Random rubble masonry (un-coursed) ratio 1:6 in cement sand mortar (S.I.No.1 P.No.21). | | |  |  |  |  |
|  |  | | |  |  |  |  |
|  |  |  | | **810.0** | **17723/-** | **%0Cft** | **Rs.143556/-** |
| **4.** | Coursed Rubble masonry i/c hammer dressing ratio 1:6 (S.I.No.3 P.No.27. | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **1125** | **25321/-** | **% CFT** | **Rs. 284861/-** |
| **5.** | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauge (S.I.No.06 P.No.19). | | |  |  |  |  |
|  |  |  | | **523.0** | **337/0** | **P.CFT** | **Rs. 176251/-** |
| **6** | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). | | |  |  |  |  |
|  |  |  | | **14.00 Cwt** | **5001/70** | **P.CWT** | **Rs. 70024/-** |
| **7** | Pacca Brick work another than building sand cement mortar Ratio 1:6. (S.I.No.7 P.No.26). | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **1072** | **12346/65** | **% CFT** | **Rs. 132355/-** |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Sr. No.** | ITEM OF WORKS | |  | **Qty:** | **Rate** | **Unit** | **Amount** |
| **8** | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **1788** | **2206/60** | **% SFT** | **Rs. 39456/-** |
| **9.** | Cement plaster 1:4 up to 20 heights 3/8 thick. (S.I.No.11 P.No.58). | | |  |  |  |  |
|  |  |  | | **1788.0** | **2197/52** | **% SFT** | **Rs. 39292/-** |
| **10** | M/ fixing steel graed door 1/16” thick ( S.W. 24 P- 91 ) | | |  |  |  |  |
|  |  |  | |  |  |  |  |
|  |  |  | | **120 Sft** | **726/72** | **P.SFT** | **Rs. 87206/-** |
| **11** | Providing and laying HALA or pattern tiles glazed 6x6x1/2 on floor or wall facing in required floor and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.61 P.No.54). | | |  |  |  |  |
|  |  |  | | **310 Sft** | **47651/56** | **% SFT** | **Rs. 147720/-** |
| **12** | Cement pointing stuck joints walls (1;3) | | |  |  |  |  |
|  |  |  | | **1645** | **1213/58** | **% SFT** | **Rs. 19963/-** |
| **13** | Colour wash two coats (S. No 25 (B) P- 53) | | |  |  |  |  |
|  |  |  | | **3303** | **859/90** | **% SFT** | **Rs. 28402/-** |
| **14.** | Painting guard bars, gate, iron bars gralings etc complete (S. No 5 P- 68 ) | | |  |  |  |  |
|  |  | | | **240 Sft** | **896/36** | **% SFT** | **Rs. 2151/-** |
|  |  | | |  |  |  |  |
|  |  | | |  |  | **Total** | **Rs. 1207712/-** |
|  |  | | |  |  | |  |
|  |  | | |  |  |  |  |
|  |  | | |  |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**SCHEDULE B**

**CONSTRUCTION OF ASSISTANT COMMISSIONER / MUKHTIARKAR OFFICE SOBHODERO AT RANIPUR TALUKA SOBHODERO DISTRICT KHAIRPUR.**

**PART- EXTERNAL DEVELOPMENT**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **NO. L: B: D:** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Supplying and filling sand under floor and plugging in walls.(S.I.No.29 P.No.31). | |  |  |  |  |
|  |  |  | **15117.00** | **1143/25** | **%Cft** | **Rs.172825/-** |
|  |  |  |  |  |  |  |
| **02.** | Add Extra lead 3”miles. | |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  | **15117.00** | **579/41** | **%Cft** | **Rs.87589/-** |
|  |  |  |  |  |  |  |
| **03.** | Cement concrete brick or stone ballast 1 ½” to 20 gauge ratio 1:6:12. (S.I.No.4 P.No.17). | |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  | **2020.00** | **8122/95** | **%Cft** | **Rs.164084/-** |
|  |  |  |  |  |  |  |
| **04.** | Cement concrete plain including placing compacting finishing and curing, complete (including screening and washing of stone aggregate without shuttering Ratio 1:3:6. (S.I.No.05 P.No.18). | |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  | **840.00** | **14429/58** | **%Cft** | **Rs.121208/-** |
|  |  |  |  |  |  |  |
| **05.** | P/F cement paving block flooring having size of 197x97x80(mm) of city/quid/cobble shape with painted having strength b/w 5000psi 8500 phi i/c filling the joints with hill sand and laying in specified manner/patter and design etc complete. (S.I.No.74 P.No.56). | |  |  |  |  |
|  |  |  | **5039.00** | **223/98** | **%Cft** | **Rs.1128585/-** |
|  |  |  |  |  |  |  |
|  |  |  | **TOTAL** | | | **Rs.1674291/-** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D -I WATER SUPPLY & SANITARY FITTINGS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Providing and fixing seething type white glazed earthen ware w.c. pan with front inlet and complete with including the cost of flushing cistern with internal fitting anode flush pipe with bend and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4(foreign exultant)(S.I.NO.2 P-1). | 10 Nos. | **4846/60** | **Each** | **Rs.48466/-** |
|  |  |  | | | |
| **02.** | Providing and fixing 24x18 lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I.or C.I. cantilever brackets 6 inches built into painted white in two coats after a primary coat of red lead paint a pair of ½ dial and chrome plaster traps1-1/2 dial rubber plug and chrome plated brass chain 1-1/4 dial malleable iron or C.P. brass traps malleable iron or brass union and making requisite number of holes in wall plinth and floor for pipe connection and making good in cement concrete 1.2.4 (stand pattern.(S.I.NO.8 P-3). | 10 Nos. | **4928/-** | **Each** | **Rs.49280/-** |
|  |  |  | | | |
| **03.** | Providing G.I. pipe specials clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white Zink paint with pigment to match the color of the buildings .1/2 dial G.I. pipe.(S.I.NO.1 P-11). |  |  |  |  |
|  | 1 ¼”Dia. | 100Rft | **188/97** | **P.Rft** | **Rs.1889/-** |
|  |  |  | | | |
|  | 1”Dia. | 200 Rft | **128/55** | **P.Rft** | **Rs.25710/-** |
|  |  |  | | | |
|  | ¾”Dia. | 100 Rft | **95/79** | **P.Rft** | **Rs.9579/-** |
|  |  |  | | | |
|  | ½”Dia. | 50Rft | **73/21** | **P.Rft** | **Rs.3661/-** |
|  |  |  | | | |
| **04.** | Add extra cancelled G.I pipe and filling etc complete (S.I.No.2 P.No.12). | 400Rft | **7/82** | **P.Rft** | **Rs.3128/-** |
|  |  |  | | | |
| **05.** | P/F 6”x2”x or 6”x3” C.I. Floor trap of the approved self-cleaning design with a vent C.I. Skewed down gritting with or without a vent arm complete with and i/c the making requisite number of holes in walls plinth and floor for pipe connections and making good in c.,c.1.2.4. (S.I.NO.20 P-5). | 20 Nos. | **2024/43** | **Each** | **Rs.40489/-** |
|  |  |  | | | |
| **06.** | Supplying and fixing cancelled tee stop of superior quality with Crystalhead ½” (S.I.No.12 P.No.18). | 20 Nos. | **889/46** | **Each** | **Rs.17789/-** |
|  |  |  | | | |
| **07.** | P/F chrome plated brass towel sail complete with brick nuts fixing on wooden cleats with 1 long C.P brass screws ¾”Dia bound C-square (Standard pattern) (S.I.No.1 (a) P.No.7). | 10 No. | **1269/95** | **Each** | **Rs.12600/-** |
|  |  |  | | | |
| **08.** | P/F 15”x12” beveled edge mirror of Belgium glass complete with 1/8”thick hard board and C.P screws fixed to wooden plate (Standard Pattern) (S.I.No.4 P.No.7). | 10 Nos. | **1161/60** | **Each** | **Rs.1162/-** |
|  |  |  | | | |
| **09.** | P/F in position nylon connections complete with ½”dia brass stop cock with pair of brass nuts and lining joints to nylon connection (S.I.No.23 P.No.6). | 10 Nos. | **447/15** | **Each** | **Rs.4472/-** |
|  |  |  | | | |
|  |  |  | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **10.** | S/F Bib cock of superior quality with C.P head ½”dia. (S.I.No.13 P.No.15). | 20 Nos. | **1109/46** | **Each** | **Rs.22189/-** |
|  |  |  | | | |
| **11.** | S/F canceled stop cock of superior quality head ½”dia. (S.I.NO.11 (b) P-15). | 20 Nos. | **509/74** | **Each** | **Rs.10195/-** |
|  |  |  | | | |
| **12.** | S/F handle valve china ¾”dia (S.I.No.7 P.No.14). | 05 Nos. | **271/92** | **Each** | **Rs.1360/-** |
|  |  |  | | | |
| **13.** | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c the cost of nuts bolts and fixing in platform of cement concrete 1.3.6.and making connection for inlet outlet and over flow inlet outlet flow pipe etc complete 250 gallon wall thickness 3.5mm. (S.I.No.3 (a) P.No.21). | 02 Nos. | **21989/61** | **Each** | **Rs.43979/-** |
|  |  |  | | | |
| **14.** | Providing RCC pipe with collars “Band digging the troches to required depth and fixing in position including cutting fitting and jointing with asphalt composition etc cement mortar 1:1 and testing with water pressure head of 4ft above the top of the height pipes and refilling with excavated staff (S.I.No.2 (c) P.No.23). |  |  |  |  |
|  | 9”Dia. | 100Rft. | **250/60** | **P.Rft** | **Rs.25060/-** |
|  | 6”Dia. | 100 Rft. | **199/25** | **P-Rft** | **Rs.19925/-** |
|  |  |  | | | |
| **15.** | Providing asbestos pipe with collar deed or equitant i/c digging the trenches to required depth and fixing to position and jointing with rubber rings including testing to water pressure head of 200feet (S.I.No.3 (a) P.No.71). | 150Rft | **141/11** | **P.Rft** | **Rs.21167/-** |
|  |  |  | | | |
| **16.** | Providing and fixing 6x4 C.C Galley trap with 4 outlets complete with 4”thick 1:2:4 C.C for head and ½”thick cement plaster 1:3 to the karb grating 6x6 Cole cover and fasts 12x12 inside etc complete with C.I cover and frames (S.I.No.1 (c) P.No.23). | 10 Nos. | **1193/17** | **Each** | **Rs.11931/-** |
|  |  |  |  |  |  |
|  |  |  | **TOTAL** | | **Rs.374026/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

**PART-D -II P.H SCHEDULE ITEM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Boring tube well in all water bearing foil from ground level up to 100 ft or 30.5 meter west i/c thinking & drawing the casing pipe Hospital & Quarter 4”Dia. | 120Rft | **242/-** | **P.Rft** | **Rs.29040/-** |
|  |  |  | | | |
| **02.** | Constructing man hole or inspection chamber for the required dial of circular screw and 3-6(1067mm) depth with walls of Bobbin cement motor 1..32 cement plastered 1.3 ½ thick inside of walls and 1`(25mm) thick over benching and channel i/c fixing Caiman hole cover with frames of clear opening 1-1/2x1:1-1/2 (457x457mm) of 1.75CWT (88.9kg) embedded in plain c.c.1.2.4 and fixing 1(25mm)dial M.S. Steps 6 (150mm) wide projecting 4 (102mm)from the face of wall at 12 (305mm) c/c duly painted etc complete as per specification and drawing NO;DP [/1of public heath circle southern 4 to 12 dial 2x2x3x6. | 10 Nos. | **14748/-** | **Each** | **Rs.147480/-** |
|  |  |  | | | |
| **03.** | Providing and fixing PVC pipe class “D” class etc completed. | 120Rft | **34/-** | **P.Rft** | **Rs.4080/-** |
|  |  |  |  |  |  |
|  |  |  | **TOTAL** | | **Rs.180600/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D-III ELECTRIC ITEMS**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Providing & Fixing water Pumping set ½” H.P set etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  | 2”Dia. | **01 Nos.** | **21691/-** | **Each** | **Rs.21691/-** |
|  |  |  |  |  |  |  |
|  |  | ½”Dia. | **01 Nos.** | **3646/59** | **Each** | **Rs.3647/-** |
|  |  |  |  |  |  |  |
|  |  |  | **TOTAL** | | | **Rs.25338/-** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D-IV NON-SCHEDULE ITEM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **01.** | Providing & Fixing PVC pipe 4”Dia grade-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  | 4”Dia. |  | **100.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
|  | ¾”Dia. |  | **200.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
|  | ½”Dia. |  | **200.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
| **02.** | Providing & Fixing U.P.V.C trap 4”x4”dia grade-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
| **03.** | Providing & Fixing U.P.V.C floor trap 6”x2” or 6”x3” i/c steel grate-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
| **04.** | Supplying & Fixing U.P.V.C ply bend etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
| **05.** | Supplying & Fixing U.P.V.C plain bend etc complete. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
|  |  |  |  |  |  |  |
|  |  |  |  | **TOTAL** | | **Rs.** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D -I WATER SUPPLY & SANITARY FITTINGS**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Providing and fixing seething type white glazed earthen ware w.c. pan with front inlet and complete with including the cost of flushing cistern with internal fitting anode flush pipe with bend and making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4(foreign exultant)(S.I.NO.2 P-1). | 10 Nos. | **4846/60** | **Each** | **Rs.48466/-** |
|  |  |  | | | |
| **02.** | Providing and fixing 24x18 lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I.or C.I. cantilever brackets 6 inches built into painted white in two coats after a primary coat of red lead paint a pair of ½ dial and chrome plaster traps1-1/2 dial rubber plug and chrome plated brass chain 1-1/4 dial malleable iron or C.P. brass traps malleable iron or brass union and making requisite number of holes in wall plinth and floor for pipe connection and making good in cement concrete 1.2.4 (stand pattern.(S.I.NO.8 P-3). | 10 Nos. | **4928/-** | **Each** | **Rs.49280/-** |
|  |  |  | | | |
| **03.** | Providing G.I. pipe specials clamps etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white Zink paint with pigment to match the color of the buildings .1/2 dial G.I. pipe.(S.I.NO.1 P-11). |  |  |  |  |
|  | 1 ¼”Dia. | 100Rft | **188/97** | **P.Rft** | **Rs.1889/-** |
|  |  |  | | | |
|  | 1”Dia. | 200 Rft | **128/55** | **P.Rft** | **Rs.25710/-** |
|  |  |  | | | |
|  | ¾”Dia. | 100 Rft | **95/79** | **P.Rft** | **Rs.9579/-** |
|  |  |  | | | |
|  | ½”Dia. | 50Rft | **73/21** | **P.Rft** | **Rs.3661/-** |
|  |  |  | | | |
| **04.** | Add extra cancelled G.I pipe and filling etc complete (S.I.No.2 P.No.12). | 400Rft | **7/82** | **P.Rft** | **Rs.3128/-** |
|  |  |  | | | |
| **05.** | P/F 6”x2”x or 6”x3” C.I. Floor trap of the approved self-cleaning design with a vent C.I. Skewed down gritting with or without a vent arm complete with and i/c the making requisite number of holes in walls plinth and floor for pipe connections and making good in c.,c.1.2.4. (S.I.NO.20 P-5). | 20 Nos. | **2024/43** | **Each** | **Rs.40489/-** |
|  |  |  | | | |
| **06.** | Supplying and fixing cancelled tee stop of superior quality with Crystalhead ½” (S.I.No.12 P.No.18). | 20 Nos. | **889/46** | **Each** | **Rs.17789/-** |
|  |  |  | | | |
| **07.** | P/F chrome plated brass towel sail complete with brick nuts fixing on wooden cleats with 1 long C.P brass screws ¾”Dia bound C-square (Standard pattern) (S.I.No.1 (a) P.No.7). | 10 No. | **1269/95** | **Each** | **Rs.12600/-** |
|  |  |  | | | |
| **08.** | P/F 15”x12” beveled edge mirror of Belgium glass complete with 1/8”thick hard board and C.P screws fixed to wooden plate (Standard Pattern) (S.I.No.4 P.No.7). | 10 Nos. | **1161/60** | **Each** | **Rs.1162/-** |
|  |  |  | | | |
| **09.** | P/F in position nylon connections complete with ½”dia brass stop cock with pair of brass nuts and lining joints to nylon connection (S.I.No.23 P.No.6). | 10 Nos. | **447/15** | **Each** | **Rs.4472/-** |
|  |  |  | | | |
|  |  |  | | | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **10.** | S/F Bib cock of superior quality with C.P head ½”dia. (S.I.No.13 P.No.15). | 20 Nos. | **1109/46** | **Each** | **Rs.22189/-** |
|  |  |  | | | |
| **11.** | S/F canceled stop cock of superior quality head ½”dia. (S.I.NO.11 (b) P-15). | 20 Nos. | **509/74** | **Each** | **Rs.10195/-** |
|  |  |  | | | |
| **12.** | S/F handle valve china ¾”dia (S.I.No.7 P.No.14). | 05 Nos. | **271/92** | **Each** | **Rs.1360/-** |
|  |  |  | | | |
| **13.** | S/F fiber glass tank of approved quality and design and wall thickness as specified i/c the cost of nuts bolts and fixing in platform of cement concrete 1.3.6.and making connection for inlet outlet and over flow inlet outlet flow pipe etc complete 250 gallon wall thickness 3.5mm. (S.I.No.3 (a) P.No.21). | 02 Nos. | **21989/61** | **Each** | **Rs.43979/-** |
|  |  |  | | | |
| **14.** | Providing RCC pipe with collars “Band digging the troches to required depth and fixing in position including cutting fitting and jointing with asphalt composition etc cement mortar 1:1 and testing with water pressure head of 4ft above the top of the height pipes and refilling with excavated staff (S.I.No.2 (c) P.No.23). |  |  |  |  |
|  | 9”Dia. | 100Rft. | **250/60** | **P.Rft** | **Rs.25060/-** |
|  | 6”Dia. | 100 Rft. | **199/25** | **P-Rft** | **Rs.19925/-** |
|  |  |  | | | |
| **15.** | Providing asbestos pipe with collar deed or equitant i/c digging the trenches to required depth and fixing to position and jointing with rubber rings including testing to water pressure head of 200feet (S.I.No.3 (a) P.No.71). | 150Rft | **141/11** | **P.Rft** | **Rs.21167/-** |
|  |  |  | | | |
| **16.** | Providing and fixing 6x4 C.C Galley trap with 4 outlets complete with 4”thick 1:2:4 C.C for head and ½”thick cement plaster 1:3 to the karb grating 6x6 Cole cover and fasts 12x12 inside etc complete with C.I cover and frames (S.I.No.1 (c) P.No.23). | 10 Nos. | **1193/17** | **Each** | **Rs.11931/-** |
|  |  |  |  |  |  |
|  |  |  | **TOTAL** | | **Rs.374026/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D -II P.H SCHEDULE ITEM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Boring tube well in all water bearing foil from ground level up to 100 ft or 30.5 meter west i/c thinking & drawing the casing pipe Hospital & Quarter 4”Dia. | 120Rft | **242/-** | **P.Rft** | **Rs.29040/-** |
|  |  |  | | | |
| **02.** | Constructing man hole or inspection chamber for the required dial of circular screw and 3-6(1067mm) depth with walls of Bobbin cement motor 1..32 cement plastered 1.3 ½ thick inside of walls and 1`(25mm) thick over benching and channel i/c fixing Caiman hole cover with frames of clear opening 1-1/2x1:1-1/2 (457x457mm) of 1.75CWT (88.9kg) embedded in plain c.c.1.2.4 and fixing 1(25mm)dial M.S. Steps 6 (150mm) wide projecting 4 (102mm)from the face of wall at 12 (305mm) c/c duly painted etc complete as per specification and drawing NO;DP [/1of public heath circle southern 4 to 12 dial 2x2x3x6. | 10 Nos. | **14748/-** | **Each** | **Rs.147480/-** |
|  |  |  | | | |
| **03.** | Providing and fixing PVC pipe class “D” class etc completed. | 120Rft | **34/-** | **P.Rft** | **Rs.4080/-** |
|  |  |  |  |  |  |
|  |  |  | **TOTAL** | | **Rs.180600/-** |
|  |  |  |  |  |  |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D-III ELECTRIC ITEMS**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |
| **01.** | Providing & Fixing water Pumping set ½” H.P set etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  | 2”Dia. | **01 Nos.** | **21691/-** | **Each** | **Rs.21691/-** |
|  |  |  |  |  |  |  |
|  |  | ½”Dia. | **01 Nos.** | **3646/59** | **Each** | **Rs.3647/-** |
|  |  |  |  |  |  |  |
|  |  |  | **TOTAL** | | | **Rs.25338/-** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |

**PART-D-IV NON-SCHEDULE ITEM**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **SR#** | **ITEM OF WORKS** | **QTY:** | **RATE** | **UNIT** | **AMOUNT** |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **01.** | Providing & Fixing PVC pipe 4”Dia grade-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  | 4”Dia. |  | **100.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
|  | ¾”Dia. |  | **200.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
|  | ½”Dia. |  | **200.00** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
| **02.** | Providing & Fixing U.P.V.C trap 4”x4”dia grade-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **P.Rft** | **Rs.** |
|  |  |  |  | | | |
| **03.** | Providing & Fixing U.P.V.C floor trap 6”x2” or 6”x3” i/c steel grate-I etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
| **04.** | Supplying & Fixing U.P.V.C ply bend etc completed. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
| **05.** | Supplying & Fixing U.P.V.C plain bend etc complete. (R.A Already Sanctioned by (Chief Engineer Buildings Sukkur). | |  |  |  |  |
|  |  |  | **10 Nos.** |  | **Each** | **Rs.** |
|  |  |  |  | | | |
|  |  |  |  |  |  |  |
|  |  |  |  | **TOTAL** | | **Rs.** |

% Above/Below (Amount to be added/deducted).Rs.

**Grand Total** Rs.

Total Amount in word:

**Note:-** Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

|  |  |
| --- | --- |
| **CONTRACTOR** | **EXECUTIVE ENGINEER**  (BUILDINGS) WORKS & SERVICES  DEPARTMENT KHAIRPUR |