Schedule B

EXTENSION / REHABILITATION OF DARGAH SACHAL SARMAST DARAZA SHARIEF TALUKA GAMBAT DISTRICT KHAIRPUR

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 01. | Excavation in foundation of buildings bridges and other structures including dag belling dressing refilling around structure with excavated earth watering and ramming lead upto 5ft. in ordinary soil. (S.I.No.18 P.No.5). |  |  |  |  |  |
|  |  |  | 1040.0 | 3176/25 | 0%Cft | Rs.3303/- |
| 02. | Cement concrete brick or stone ballast 1- 1/2” to 20 gauge ratio 1:4:8 (S.I.No.11 P.No.62). |  |  |  |  |  |
|  |  |  | 260.0 | 9416/28 | %Cft | Rs.24482/- |
| 03. | Random Rubble Masonry etc Completed. |  |  |  |  |  |
|  |  |  | 585.0 | 17723/- | %Sft | Rs.103680/- |
| 04. | Coursed Rubble Masonry etc Complete. |  |  |  |  |  |
|  |  |  | 1138.0 | 25321/- | %Sft | Rs.288026/- |
| 05. | R.C.C works in roof slab, beams columns rafts lintels and other structural members laid in situ recast laid in position complete in all respects ratio 1:2:4 90lbs cement 2cft sand 4cft shingle 1/8 to ¼ gauges (S.I.No.06 P.No.19). |  |  |  |  |  |
|  |  |  | 583.0 | 337/- | P.Cft | Rs.196471/- |
| 06. | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position making joints and fastenings including cost of binding wire also including cost of binding wire also includes removal of rust from bars.(S.I.No.07 P.No.20). |  |  |  |  |  |
|  |  |  | 26.00 | 5001/70 | P.Cwt | Rs.130044/- |
| 07. | Pacca Brick work other than building sand cement mortar Ratio 1:6. (S.I.No. P.No. ). |  |  |  |  |  |
|  |  |  | 976.0 | 12346/65 | %Cft | Rs.120503/- |
| 08. | Providing and fixing iron steel grill using solid square bars of size ½”x1/2” placed at 4” i/c and frame of flat iron patti of ¾”x3/4” i/c circle shape at 1-0 a part equivalent fitted with screws are pins i/c painting 3 coats with 1st coat of red oxide paint etc. (S.I.No.26 P.No.97). |  |  |  |  |  |
|  |  |  | 258.0 | 180/50 | P.Sft | Rs.45667/- |

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 09. | Cement plaster 1:6 upto 20 height ½ thick. (S.I.No.13 P.No.58). |  |  |  |  |  |
|  |  |  | 1820.0 | 2206/60 | %Sft | Rs.40160/- |
| 10. | Cement plaster 1:4 upto 20 height 3/8 thick. (S.I.No.11 P.No.58). |  |  |  |  |  |
|  |  |  | 1820.0 | 2197/52 | %Sft | Rs.39995/- |
| 11. | Providing and laying HALA or pattern tiles glazed 6x6x1/2 on floor or wall facing in required floor and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾ thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc complete including cutting tiles to proper profile. (S.I.No.61 P.No.54). |  |  |  |  |  |
|  |  |  | 871.0 | 47651/56 | %Cft | Rs.415045/- |
| 12. | Supplying and filling sand under floors and plugging in to wall (S.I.NO.29 P.No.26). |  |  |  |  |  |
|  |  |  | 143000.0 | 1141/25 | %Cft | Rs.1631988/- |
| 13. | Extra lead for 3” miles. |  |  |  |  |  |
|  |  |  | 143000.0 | 579/41 | %Sft | Rs.828556/- |
| 14. | Cement concrete brick or stone ballast 1 ½” to 20 gauge ratio 1:6. (S.I.No. P.NO.). |  |  |  |  |  |
|  |  |  | 11000.0 | 8122/95 | %Cft | Rs.893525/- |
| 15. | Cement concrete plain including placing compacting finishing and curing, complete (including screening and washing of stone aggregate without shuttering Ratio 1:3:6. (S.I.No.05 P.No.18). |  |  |  |  |  |
|  |  |  | 4756.0 | 14429/25 | %Cft | Rs.856255/- |

| Sr. No. | ITEM OF WORKS |  | Qty: | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 16. | Laying white marble flooring fine dressed in the surface without winging set in lime mortar 1:2 including rubbing and polishing of the joints.(a)3/4thick flooring. (S.I.No.28 P.No.49). |  |  |  |  |  |
|  |  |  | 27981.0 | 567/48 | P.Cft | Rs.15878658/- |
|  |  |  | TOTAL |  |  | Rs.20726358/- |

% Above/Below (Amount to be added/deducted).Rs.

Grand Total	Rs.

Total Amount in word:

Note:-	Quantities and rates may be changed as per/according to the Technical Sanction by the competent authority.

| CONTRACTOR | EXECUTIVE ENGINEER (BUILDINGS) WORKS & SERVICES DEPARTMENT KHAIRPUR |
| --- | --- |