| Sr | Item of work |  | QTY | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |

PART-E    W/S & S/F (N.S.I Item)

01/-	P/F I.C.L Porta company aorisa WC i/c flushing cistern complete in all respects (Italina Forte Modle).

=	07	No’s

=	07	No’s

02/-	P/F I.C.L on Porta company English commode with seat cover i/c flushing cistern complete in all respect (Italina Forte Modle).

=	01	No’s

=	01	No’s

03/-	P/F I.C.L on Porta company wash basin with pedestal complete in all respect. (Italina Forte Modle).

=	23	No’s

=	23	No’s

04/-	P/F UPVC terminal guard 4” Dia complete in all respect.

3” Dia				=	150	Rft

4” Dia				=	150	Rft

6” Dia				=	150	Rft

05/-	P/F bath room accssories set of (23 pieces) Master/Sonex equivalent etc complete.

=	23	No’s

=	23	No’s

06/-	water Tank 500 Gallons.

=	02	No’s

=	02	No’s

07/-	Providing & Fixing Cancelead “T” Stop Cock1/2” (Code # 010)

=	06	No’s

=	06	No’s

08/-	Providing & Fixing C.P Brass Handle valve etc complete

¾” Dia				=	04 No’s

09/-	Providing & Fixing C.P Brass wash basin Mixture (Master/Sonex or equivalant).

=	23 No’s

10/-	Providing & Fixing C.P Brass Double Bib Cock (Code# 05880 with Muslim Shower(Master/Sonex or equivalant).

=	01 No

11/-	P/F UPVC floor trap 6”x2” or 6”x3” Dia i/c steel floor Jali grade -1 (Dadex or equivalant) i/c cutting fitting with Coller clamps & solvent this rate also i/x Making holes in walls plinth floor and roof for fixing pipe & making good in c.c 1:2:4 twsting pressure head 200 feet.

4” Dia				=	10 No’s

12/-	Geezer.

=	01	No

13/-	Pillars and walls Groves Dsign etc complete up to 30 ft: height.

=	30	Rft

14/-	Providing & Fixing Minars etc complete

=	04 No’s

15/-	Providing & Fixing C.C Ornamental Jalli etc complete.

=

16/-	G-I Pipe  etc complete

½”				=	200	Rft

¾” Dia				=	200	Rft

1” Dia				=	200	Rft

=====================================

Total				RS:

______% Above / Below (Amount to be added as per/deducted)RS:___________

G.Total					RS:

Total Amount in word:________________________________________________

__________________________________________________________________

Note:- 	Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE  ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT  KHAIRPUR

| Sr | Item of work |  | QTY | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |

PART-D    P.H.S Item

01/-	Construction of manhole  or inspection chamber  for the required dia

of circular sewer   and 3’-6’ 	(1067 mm ) depth with walls  of 	B.B  in cement mortar  1:3 cement plaster  1:3 ½”  thick in side 1”  	(25 	mm ) thick over  beching  and channel i/c  fixing C.I main 	hole cover with frame of clear 	opening  1 ½”x 1 ½”” 457x457 	mm) of 1.75 cwt . (88.9 kg) embedded in plain c.c 1:2:4) & fixing 	(25 mm) dia M.S steps 6” 150 mm)   white projecting 4” (102 mm) 	from the face of walls at 12” 	(305 mm) c/c duly painted etc 	complete as per standard specification & drawing.(S.I No- P-46).

Qty:03 Nos		@Rs:14748/-		each	RS: 44244/-

02/-	Supplying & Fixing water pumping set 3” H.P complete

Qty: 03 No		@RS: 17000		each	RS: 34000/-

===================================

Total					RS: 78244/-

______% Above / Below (Amount to be added as per/deducted)RS:___________

G.Total					RS:

Total Amount in word:________________________________________________

__________________________________________________________________

Note:- 	Quantities ans rates may be changed as per/according to the Techinical Sanction vy the competent authority.

EXECUTIVE  ENGINEER

(BUILDINGS) WORKS & SERVICES

DEPARTMENT  KHAIRPUR