## Schedule B Bord of revenue
| Name of Work | Renovation & Rehabilitation of Board of Revenue Building at Karachi (ADP 64 of 2016-17) (Civil work)
Schedule B
S# | DESCRIPTION OF ITEM |  | QUANTITY |  | RATE | UNIT | Amount
1 | (b) Dismentling cement concrete plain 1:3:6 (SI 19-b/p.10)
|  |  | 410 | cft | 1306.3 | %cft | 5355.83
Rs: one thousand three hundred six & Ps thirty only
2 | Dismentling cement concrete reinforced separating reinforcement from concrete cleaning & straightening the same (SI 20/p.10
|  |  | 907 | cft | 5445 | %cft | 49386.15
Rs: five thousand four hundred forty five only
3 | Dismentling cement block masonry (SI 14/p.10)
|  |  | 322 | cft | 1134.38 | %cft | 3652.7036
Rs: one thousand one hundred thirty four & Ps thirty eight only
4 | Dismentling CC plain ratio 1:2:4 (SI 19c/p.10)
|  |  | 1566 | cft | 3327.5 | %cft | 52108.65
Rs: three thousand three hundred twenty seven & Ps fifty only
5 | RCC work i/c all labour and material except the cost of steel reinforcment and its labour for bending & binding which will be paid seperately, This rate also i/c all kind of forms moulds lifting shuttering curing rendering & finishing the exposed surface (i/c screening & washing of shingle) (a) RC work in roof slab beams colos rafts lintels & other structural members laid in situ or precast laid in position complete in all respects (i) ratio (1:2:4) 90Lbs cement sand 4 cft shingle 1/8" to 1/4" gauge (SI 6/p.16)
ii | Ratio 1:1-1/2:3 |  | 987.38 | cft | 349 | Pcft | 344595.62
Rs: three hundred forty nine only
ii | Ratio 1:2:4 |  | 5679.33 | cft | 337 | Pcft | 1913934.21
Rs: three hundred thirty seven only
6 | Fabrication of mild steel reinforcment for cement concrete i/ cutting bending laying in position making joints & fastening i/c cost of binding wire (also i/c removal of rust from bars (b) tor bars (SI 8a/p.17)
|  |  | 553.06 | cwt | 5001.7 | P.cwt | 2766240.202
Rs: five thousand one & Ps seventy only
7 | P/L 1:3:6 cement concrete solid block masonary wall 6" and below in thickness set in 1:6 cement mortar in ground floor supr structure i/c racking out joints & curing etc complete (SI 24/p.19)
|  |  | 5562.8 | cft | 15771.01 | %cft | 877309.7443
Rs: fifteen thousand seven hundred seventy one & Ps one only
8 | Cement plaster 1:4 upto 12ft height © 3/4" thick (SI 11c/p.52)
|  |  | 24288.3 | sft | 3015.76 | %sft | 732476.8361
Rs: three thousand fifteen & Ps seventy six only
9 | S/F in position aluminum channel framing for hinged doors or alcop made with 5mm thick tinted glass glazing (Belgium) & alpha (Japan) locks i/c handles stoppers etc (a) Delux model (white) (SI 83a/p.108 )
|  |  | 195.5 | sft | 1507.66 | P.sft | 294747.53
Rs: one thousand five hundred seven & Ps sixty six only
10 | P/F G.I frame/chwokats of size 7"x2" or 4-1/2"x3" for door using 20 gauge GI sheet i/c welded hinges and fixng at site with necessary hold fats filling with cement sand slurry of ratio 1:6 and reparing the jambs. The cost also i/c all carriage tools and plant used in making & fixing (SI 29/p.93)
|  |  | 452 | rft | 228.9 | P.rft | 103462.8
Rs: two hundred twenty eight & Ps ninty only
11 | Providing & fixing in position doors, windows and ventilators of 1st class dedoar wood frames & 1-1/2" thick teak wood ply shutters of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood & teak ply wood (3ply on both sides i/c hold fasts hinges, iron tower bolts handles & cleants with cord etc complete (SI No: 58/65 (-) S.I 25(b)/61 1077.06 - 370.83 = 706.23)
|  |  | 427 | sft | 706.23 | P.sft | 301560.21
Rs: seven hundred six & Ps twenty three only
12 | First class deodar wood wrought frameed and fixed in place i/c chowkats holdfasts, tower bolts, chocks cleats handles cord with hooks and cost of nails and screws etc panelled or panelled and glazed or fully glazed 1-1/2" thick (SI 54/p.65) -(SI 25-b/p61) = (1131.11 - 370.83) =760.28
|  |  | 76.25 | sft | 760.28 | P.sft | 57971.35
Rs: seven hundred sixty & Ps twenty eight only
13 | P/F with sunk iron screws wooden architrave approved design/shape having width not less than 2-1/2" inches as directed by Engineer Incharge (SI 60/p.66)
|  |  | 802 | rft | 49.97 | P.rft | 40075.94
Rs: forty nine & Ps ninty seven only
14 | P/F approved quality motice lock (SI 21/p.60)
|  |  | 20 | No | 1786.13 | Each | 35722.6
Rs: one thousand seven hundred eighty six & Ps thirteen only
15 | Priming coat of chalk under distemper(SI 21/P54)
|  |  | 4734 | sft | 442.75 | %SFT | 20959.785
Rs: four hundred forty two & Ps seventy five only
16 | Distempering © three coats (SI 24c/p.54)
|  |  | 4734 | sft | 1079.65 | %sft | 51110.631
Rs: one thousand seventy nine & Ps sixty five only
17 | Preparing the surface & painting with matt finish i/c rubbing the surface with bathy (silicon carbide rubbing brick 0 filing the voids with zink/ chalk/ plaster of paris mixture applying first coat premix making the surface smooth and then painting 3 cotas with matt finish of approved make etc compelte (new surface) (SI 36A/p.55)
|  |  | 12685.3 | sft | 3444.38 | %sft | 436929.9361
Rs: three thusand four hundred forty four & Ps thirty eight only
18 | Preparing the surfac & painting with weather coat i/c rubbing the surface with rubbing, brick sand paper filling the voids with chalk /plaster of paris and then painting with weather coat of approved make (SI 38-a+b/P.56)
|  |  | 11603.4 | sft | 2567.95 | %sft | 297969.5103
Rs: two thousand five hundred sixty seven & Ps ninty five only
19 | Painting new surface (d) preparing surface and painting guard bars, gates of iron bars, gratings, railings (i/c standards braces etc) & similar open work)(SI 5d/p.70)
|  |  | 1120.5 | sft | 1270.83 | %sft | 14239.6501
Rs: one thousand two hundred seventy & Ps eighty three only
20 | P/L 1" thick topping cement concrete 1:2:4 i/c surface finishing and dividing into panles © 3 " thick) (SI 16d/p.42)
|  |  | 6265 | sft | 4411.82 | %sft | 276400.523
Rs: four thousand four hundred eleven & Ps eighty two only
21 | Add extra in cement concrete floor topping if finished with pigment & polishing (SI 17/p.42)
|  |  | 6265 | sft | 226.88 | %sft | 14214.032
Rs: two hundred twenty six & Ps eighty eight only
22 | Extra labour for lifting of steel above first floor for every additional floor (SI 29/p.19
|  |  | 553.06 | sft | 151.25 | P.cwt | 83650.325
Rs: one hundred fifty one & Ps twenty five only
23 | Add extra labour for RCC in 2nd & Subsequent storeys (SI 6d/p.17)
|  |  | 5679.33 | sft | 12.1 | P.cft | 68719.893
Rs: twelve & Ps ten only
24 | Add extra labour for block masonary in second floor (SI 30b/p.19)
|  |  | 4420 | sft | 760.03 | %sft | 33593.326
Rs: seven hundred sixty & Ps three only
25 | Add extra labour for block masonary in Third floor (SI 30c/p.19)
|  |  | 1142 | sft | 1191.09 | %sft | 13602.2478
Rs: one thousand one hundred ninty one & Ps nine only
26 | Extra labour lime mud or cement plaster & pointing from 12ft & above (for each additional 10ft height (SI 29/p.54)
|  |  | 24288 | sft | 140.97 | %sft | 34238.7936
Rs: one hundred forty & Ps ninty seven only
27 | Extra labour for External surface for distemper /paint /white wash /colour wash /weather coat above 20ft height using long lader or jhoola for each coat (for every 10ft additional height (SI 42/p.56)
|  |  | 11603 | sft | 228.09 | %sft | 26465.2827
Rs: two hundred twenty eight & Ps nine only
8950697
Add % above/below
Total A
Non Schedule Items
1 | P/F false ceiling of gypsum board panels of required desgin & size i/c frame work of aluminum T section hanged with nail wire to ceiling etc complete
|  |  | 4234.78 | sft |  | p.sft
2 | S/F Hydraulic door closer heavy (KGI or equivalent) i/c fixing in door frame with necssary screws and adjusting speed as directed by the Engineer incharge
|  |  | 20 | sft |  | p.sft
3 | S/F in position aluminum channels framing for sliding windows & ventilators of lucky or equivalent made with 5mm thick tinted glass glazing (belgium) & aluminum fly screen handels stoppers & locking arrangement etc complete (b) delux model (bronze of champion color)
|  |  | 1120.5 | sft |  | P.sft
4 | P/F porcelain tiles 16"x16" or 24"x24"x 1/4" as approved sizes specified approved quality /make/desgin & colour i/c jointing in white cement i/c washing of tiles and filling of joints with slurry of white cement in desired shape with finishing i/c cutting of tiles to proper profile i/c all respect labur and necessary required material as directed by Engineer incharge etc complete
|  |  | 4234.7 | sft |  | P.sft
5 | P/F artificial marble top as per approved color & shade with chemical polish for fixing vanity or sink bowl i/c making edges with half round shape i/c cutting edge for making approved shape in front and down 6" & 3" in centre and sides jointing with soutin /jelly with marble piecess & angle iron frame in side for support and embeded 1" in wall after cutting & chesling carefully as directed by the Engineer incharge i/c all cost of labour material & cartage etc complete
|  |  | 162.84 | sft |  | P.sft
6 | S/F sink bowel stainless steel size 15"x18" also i/c fitting after cutting the marble and fixed with silicon parts as directed by the Engineer incharge
|  |  | 2 | No |  | each
7 | P/F wooden cabinet/ Alamirah with shutter of Lassani sheet 3/4" thick and frame work of 1st class partal wood 2"x1" pasted with classic formica 18" deep i/c necessary hinges, catchers handles, sliding wheels in doors nails, screws etc with approved design and shape, Tfhe cost also i/c necessary tools & plants to be used in makingetc complete as directed by the Engineer incharge
|  |  | 34.84 |  |  | P.sft
8 | P/F glazed tile 18"x12"x3/8" or 10x30x3/8" or 10x13x3/8" jointed with cement and laid over bed of 1/4" thick grey cement mortor ratio 1:3 i/c washing & filling of joints with maching colour grout complete in all respect imported or equivalent as directed by Engineer incahrge
|  |  | 1986 |  |  | P.sft
9 | French polishing of doors windows ventilators stair floor work etc i/c preparing surface & polishing by using indian lakh dana. Spirit thinner, pigment, ICI Lacquer ICI hardner, regmal (Germany) material ICI sealer for pine oil, polishing as per satisfaction of competent authority etc complete
|  |  | 1037 |  |  | P.sft
10 | Water proofing of roof by means of chemical by using latex solution by supplying 1st coat of uni-bond 2860 adhesive 2nd coat of aqua seal 2010/11 3rd coat of u ni bond+ aqua seal mixture then filling the cracks with uni-bond then supplying 2/3 coats as per requirement of aqua seal to have rubber like surface etc complete as directed by the Engineer incharge
|  |  | 6265 |  |  | P.sft
11 | P/F iron steel grill using solid square bars of size 1/2"x1/2" placed at 4" centre to centre in approved design & pattern i/c frame of flat iron patti of 3/4"x1/8" fixed with scrwes or pins & painting with paint required coats after first coat of red oxide. The cost i/c all cartage tools plants welding machineetc used in making as directed by the Engineer Incharge.
|  |  | 1120.5 |  |  | P.sft
12 | P/F window vertical blinds aluminium double channel patti with rollr i/c G.I breacket & steel patti at bottom imported quality
|  |  | 1120.5 |  |  | P.sft
Total B
Summary
A | Cost of Schedule Items |  |  |  |  | Rs:
B | Cost of Non schdule items |  |  |  |  | Rs:
Terms & Conditions
1 | Any typographicl error in the schedule 'B' are subject o correction with the reference to the schedule of rates General item 7 water supply and sanitary item 2012 in force from 12th july 2012 publication No: 52 & 54 as approved by the standing rates committee Sindh Karachi.
2 | 100% well graded crushed bajri shall be used in item of RCC 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No premium shall be allowed on non schedule item/offer rates.
5 | No cartage of any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | CC block shall be machine made.
7 | All RCC /CC cast in situe shall be mechanically vibrated.
8 | Contractor has to bring samples of the material and handed to the Engineer incharge free of cost
9 | All buildings debries and surplus stuff not required for use in the connection shll be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
10 | The contractors for which no extra cartage shall be paid.
11 | The work will be carried out as per PWD specification
Contractor
| Assistant Engineer |  | Executive Engineer
| Provincial Buildings Sub Division-VI |  | Provincial Buildings Divn-II
| Karachi |  | Karachi