## Sch B Remand home
| Name of Work | 'M/R ADDITIONAL AND MISSING FACILITIES TO REMAND HOME ' KARACHI
Schedule B
Part 'A' CIVIL WORK)
S# | DESCRIPTION OF ITEM |  | QUANTITY |  | RATE | UNIT | Amount
1 | P/F in position doors windows & ventilators of 1st class deodar wood frames & 1-3/4" thick commerical ply vaneer shutters of first class deodar skeleton (Hollow) & C/ply wood (3ply) on both sides i/c holdfasts, hinges iron tower bolts handles & cleats with cord & one mortice lock and hooks (SI 9/p.58)
|  |  | 229.88 | sft | 1227.36 | P.sft | 282145.5168
Rs: one thousand two hundred twenty seven & Ps thrity six only
2 | P/F aluminum sheet on doors pasted with glue as per requirement (SI 61/p.66)
|  |  | 348 | sft | 63.77 | P.sft | 22191.96
Rs: sixty three & Ps seventy three only
3 | P/F angle iron vertical posts for barbed wire fencing of size 2"x2"x1/4" embeded in RCC /masonary pillars i/c making cuts/holders at 12" i/c fixing in pillars by chiseling & filling the with cement sand mortar, saprining & finishing the surface (SI 8/p.95)
|  |  | 740 | rft | 169.18 | P.rft | 125193.2
Rs: one hundred sixty nine & Ps eighteen only
4 | Preparing the surface & painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk/plaster of paris mixture applying first coat premix,making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (2nd & subsequent) SI 36-A/p.55 (A+B+C)
|  |  | 25241.24 | sft | 3444.38 | %sft | 869404.2223
Rs: three thousand four hundred forty four & Ps thirty eight only
5 | Preparing surface & painting with weather coat i/c rubbing the surface with rubbing brick /sand paperr, filling the voids with chalk /plaster of paris and then painting with weather coat of approved make (SI 38A/p.56) A+B 2nd & subsequent coat
|  |  | 5533.02 | sft | 1948.1 | %sft | 107788.7626
Rs: one thousand nine hundred forty eight & Ps ten
6 | Making & fixing stee grated doors complete with locking arrangement angle iron frame 2"x2"x3/8" and 3/4" squar bars 4" centre to centre (SI 23/p.92)
|  |  | 96 | sft | 594.57 | P.sft | 57078.72
Rs: five hundred ninty four & Ps fifty seven only
1463802.3817
Add % above /below
Non Schedule Items
1 | P/L Amrican grass approved quality and watering upto 30days etc complte upto 1ast cutting rate i/c material labour and cartage etc complte
|  |  | 3170 | sft |  | P.sft
2 | Providing & spreding cour dry manure 2" thick etc complete the rate i/c cost of material labour & cartage etc complete
|  |  | 3170 | sft |  | P.sft
3 | P/L sweet earth for lawn approved quality and spreading at site of work i/c cartage etc complete
|  |  | 3170 | sft |  | P.sft
4 | P/F wooden cabinet 16" deep (American) Italian style made up of frame of partal wood 2"x2" & shutter of chip board 3/4" with formica on outer side i/c making shalves etc as per required rollers catchers handles etc as per required the cost also i/c T&P carriage from shop to site of work & fixing on wall with wooden patti / bracket as directed by the Engineer
|  |  | 303.49 | sft |  | P.sft
5 | S/F in position aluminum channels framing for sliding windows & ventilators of lucky or equivalent made with 5mm thick tinted glass glazing (belgium) & aluminum fly screen handels stoppers & locking arrangement etc complete (b) delux model (bronze of champion color)
|  |  | 72 | sft |  | P.sft
6 | S/F concertina razor wire BTO 24" dia opening 16 & 18 running ft
|  |  | 1110 | rft |  | p.rft
7 | P/F false ceilingof Gypsum board panels of required design & size i/c frame work of aluminium T section hanged with nail wire to ceiling etc complete
|  |  | 138.08 | sft |  | P.sft
8 | P/F cement paving block flooring having size of 60mm of city quddra cobble shape with pigment light red having strength b/w 5000 PSI to 8500 PSI i/c filling the joints with hill sand & laying over khakks & compacting with electric compactor etc complete or as directed by the Engineer incharge etc complete
|  |  | 3899.63 | sft |  | P.sft
Water supply & Sanitary fitting
1 | P/F European white glazed earthen ware wash down WC pan complete with & i/c cost of white/black plastic seat (best quality) & lid with CP brass hinges and buffers 3 gallons white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisit No: of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Foreign quality) SI 5/p.2
|  |  | 2 |  | 11477.4 | Each | 22954.8
Rs: eleven thousand four hundred seventy seven & Ps forty
2 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with & I/c the cost of WI or CI cantilever brackets 6" built into walls painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia malleable iron or CP brass taps malleable iron or brass union and making requisite No: of holes in walls plinth and floor for pipe connection and making good in CC 1:2:4 (Forign or equivalent) SI 10/p.3)
|  |  | 3 | No | 4928 | each | 14784
Rs: four thousand nine hundred twenty eight only
3 | Add extra for labour for P/F of earthen ware pedestal white or coloured glazed (Foreign or equivalent ) SI 11/p.3)
|  |  | 3 | No | 2533.47 | each | 7600.41
Rs:two thousand five hundred thirty three & Ps forty seven only
4 | P/F 24"x18" bevelled edge mirror of Belgium glass compete with 1/8" thick hard board and CP scress fixed to woden please (b0 superiror quallity (SI 3b/p.7)
|  |  | 3 | No | 2376 | each | 7128
Rs: two thousand three hundred seventy six only
5 | S/F long bib cock of superior quality with CP head 1/2" dia (SI 13/p19)
|  |  | 36 | No | 1109.46 | each | 39940.56
Rs: one thousand one hudred nine & Ps forty six only
6 | (b) S/F C.P muslim shower with crystal head etc complete (SI 19-b/p.19)
|  |  | 2 | No | 3432 | each | 6864
Rs: three thousand four hundred thirty two only
7 | S/F Concealed tee stop cock of suprior quality with CP head 1/2" dia (SI 12/p.18)
|  |  | 6 | No | 843.92 | each | 5063.52
Rs: eight hundred forty three & Ps ninty two only
8 | P/F orisa type white or colour glazed earthen ware WC pan with cost of low level plastic flush tank of 3 gallons capacity of approved quality i/c making requisite No of holes in wall plinth & floor and making good in cement concrete 1:2:4 (ii) WC pan orisa type 23" with plstic tank of low down 3 galon CI trap & CI thumble (Superior quality (ii) with 4" dia earthen ware trape & palstic thumble (SI 3a/p.2)
|  |  | 1 | No | 6166.6 | each | 6166.6
Rs: six thousand one hundred sixty six & Ps sixty only
110503
Add % above /below
Water supply & Sanitary fitting (NSI)
Add diff cost of steel
Add diff cost of cement
Thatta at Karachi
1 | P/F U PVC pipe 1.25 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 50 | rft |  | P.rft
2 | P/F U PVC Union 1.25 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 10 | No |  | each
3 | P/F U PVC Elbow 1.25 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 10 | No |  | each
4 | P/F U PVC pipe 1 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 50 | rft |  | P.rft
5 | P/F U PVC Union 1 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 5 | No |  | each
6 | P/F U PVC Elbow 1 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 3 | No |  | each
7 | P/F U PVC pipe 3/4 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 50 | rft |  | P.rft
8 | P/F U PVC Union 3/4 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 5 | No |  | each
9 | P/F U PVC Elbow 3/4"" dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 3 | No |  | each
10 | P/F U PVC handle valve of 3/4" dia of superior quality
|  |  | 4 | No |  | each
11 | P/F U PVC pipe 4 " dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 50 | rft |  | P.rft
12 | P/F U PVC Plain bend 3/4"" dia of pak arab make of approved quality on wall with plant i/c clmap paid separately this i/c making jointing etc complete
|  |  | 5 | No |  | each
13 | P/F 1 H.P motor for pumping water set with complete set i/c electric connection etc complete
|  |  | 1 | No |  | each
14 | P/L 3" dia UPVC. pipe for water supply line from outside road to under ground water tank
|  |  | 300 | rft |  | P.rft
Electric work
1 | P/F of street light 250 watts (HPMV) having IP 54 classification with 250W lamp chock capacitor & internal wiring complete in all respect at the height upto 31 ft as per site requirement & instructin of EI make of the above light as follow (SI 160/p.25)
|  |  | 8 |  | 8455 | P.No. | 67640
67640
Add % above /below
Electric (Non Schedule Items)
1 | P/F energy saver superior quality i/c fixing on existing holder etc complete
|  |  | 50 |  |  | P.No.
2 | P/F ceiling fan 56" sweep approved quality i/c necessary connectin etc compelte
|  |  | 8 |  |  | P.No.
Summary
1 | Cost of S.I (Civil work) |  |  |  |  | Rs:
2 | Cost of NSI (Civil work) |  |  |  |  | Rs:
3 | Cost of S.I (WS & SF) |  |  |  |  | Rs:
4 | Cost of NSI (WS & SF) |  |  |  |  | Rs:
5 | Cost of S.I (Electric work) |  |  |  |  | Rs:
6 | Cost of NSI (Electric work) |  |  |  |  | Rs:
Terms & Conditions
1 | Any typographicl error in the schedule 'B' are subject o correction with the reference to the schedule of rates General item 7 water supply and sanitary item 2012 in force from 12th july 2012 publication No: 52 & 54 as approved by the standing rates committee Sindh Karachi.
2 | 100% well graded crushed bajri shall be used in item of RCC 1:2:4.
3 | Water shall be arranged by the contractor at site of work without any extra payment.
4 | No premium shall be allowed on non schedule item/offer rates.
5 | No cartage of any items of material either supplied by the Department or arranged by the contractor shall be paid
6 | CC block shall be machine made.
7 | All RCC /CC cast in situe shall be mechanically vibrated.
8 | Contractor has to bring samples of the material and handed to the Engineer incharge free of cost.
9 | All buildings debries and surplus stuff not required for use in the connection shll be removed from the site and suitable disposal off by the contractor for which the extra cost of cartage shall be paid.
10 | The contractors for which no extra cartage shall be paid.
11 | The work will be carried out as per PWD specification
Contractor
| Assistant Engineer |  | Executive Engineer
| Provincial Buildings Sub Division-VI |  | Provincial Buildings Divn-II
| Karachi |  | Karachi