## Sch B
ESTIMATE
| Name of work :- | REHABILITATION, IMPROVEMENT / RENOVATION & MISSING FACILITIES IN EXISTING PRIMARY/ ELEMENTARY SCHOOLS DISTRICT HYDERABAD @ G. B.P.S ALLAH BUX BROHI TALUKA LATIFABAD ADP NO:164.(MAIN BUILDING / LAV:BLOCK ). | [7 empty] | `
S.# | DESCRIPTION |  | QNTY | RATE |  | UNIT |  | AMOUNT
PART ( A )
1 | Dismantling brick work in lime or cement mortor (S.I.NO:13/P-10)
|  | 74 | Cft | @ | 1285.63 |  | % Cft | Rs | 951
2 | Dismantling cement concrete plain 1:2:4.(S.I.NO:19(c)/P-10)
|  | 421 | Cft | @ | 3327.5 |  | % Cft | Rs | 14009
3 | Dismantling cement concrete reinforced separating R.C.C work from concrete cleaning & straightening the same.(S.I.NO:20/P-10)
|  | 28 | Cft | @ | 5445 |  | % Cft | Rs | 1525
4 | Removing cemetn or lime plaster . (S.I. No: 52/P-14)
|  | 3161 | Sft | @ | 121 |  | %Sft | Rs | 3825
5 | Removing Doors with chowkats.(S.I.NO: 33(a)/P-12).
|  | 1 | No: | @ | 142.18 |  | Each | Rs | 142
6 | Removing windows and sky light with chowkats.(S.I.NO: 33(b)/P-12).
|  | 1 | Nos: | @ | 102.85 |  | Each | Rs | 103
7 | Pacca brick work in foundation & plinth in cement sand mortor ratio 1:6 (S.I.NO:4/P-20)
|  | 607 | Cft | @ | 11948.36 |  | % Cft | Rs | 72527
8 | R.C.C work i/c all labour and material except the cost of steel reinforcement for cement concrete i/c cutting bending which will be paid separately .This ratel also i/call kinds of moulds liftinbg shuttering curing rendering infinishing the exposed surface (a) R.C.C work in roof slab, beams, coloumns,rafts, lintals, & other structural member laid in situ or precast with all respective ratio 1:2:4 (S.I.NO:6/P-16)
|  | 30 | Cft | @ | 337 |  | P.Cft | Rs: | 10110
9 | P/F G.I Frames / chowkats of size 7" x2" or 4-1/2"x3" doors / windows using 20-guage G.I sheets I./C valded fasts filling with cement sand sulury of ratio 1:6 and reparing the james. The cost of also I/C all carage tools and plants used in making and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. the cost also i/c all varriage, tools and plants used in making and fixing .(S.I.NO:29/P-93)
A | DOORS
|  | 36 | Rft | @ | 228.9 |  | P.Rft | Rs | 8240
B | WINDOWS
|  | 57 | Rft | @ | 240.5 |  | P.Rft | Rs | 13709
10 | Making Notice board made with cement. (S.I. No: 01/P-94)
|  | 64 | Sft | @ | 58.11 |  | P. Sft | Rs: | 3719.04
11 | Cement plaster 1: 6 upto 12' hiehgt 1/2" thick (S.I No.13 /P-52)
|  | 3161 | Sft | @ | 2206.6 |  | % Sft | Rs: | 69750.626
12 | Cement Plaster 1:4 upto 12' hieght 3/8" thick (S.I No.11 /P-52 )
|  | 3161 | Sft | @ | 2197.52 |  | % Sft | Rs: | 69463.6072
13 | First class deodar wood wrought joinery in doors & winbdows etc fixed in posoition i/c chowkhat holds fasts hinghs iron tower bolts cleats handles cords with hooks etc Deodar wood panelled or panlelled glaszed or fully glazed 1-3/4" thick.(S.I.#:7(b) P/-58)
ONLY SHUTTER
|  | 85 | Sft | @ | 902.93 |  | P. Sft | Rs | 76749
14 | P/L 1" Thick TOPPING cement concrete (1:2:4) i/c surface finshuing &divising into pannels.(S.I.NO: /P- )
A) | 2" THICK.
|  | 1307 | Sft | @ | 3275.5 |  | % Sft | Rs: | 42810.785
B) | 3" THICK.
|  | 0 | Sft | @ | 4411.82 |  | % Sft | Rs: | 0
15 | Cement concrete plain 1:3:6 i/c placing compecting finishing and curing complete (i/c screening and washing of stone aggregate without shuttering(S.I No. 5/P-16)
|  | 141 | Cft | @ | 12595 |  | % Cft | Rs: | 17758.95
16 | Two coat of bitumen laid hot using 34lbs for % Sft over roof and blinded with cement sand @ one Cft per % Sft (S.I No. 13/P-35)
|  | 1307 | Sft | @ | 1887.4 |  | % Sft | Rs: | 24668.318
17 | Primary coat of chalk under distempering.
|  | 3161 | Sft | @ | 442.75 |  | %Sft | Rs: | 13995.3275
18 | Distembering 3-coat (S.I No. 24 /P-54)
|  | 5549 | Sft | @ | 1079.65 |  | %Sft | Rs: | 59909.7785
19 | Painting OLD surface painting guard bars, gates, iron bars, gretting, railing i/c standard braces etc. & similar open work (2-coat) (S.I. No: 4/P-68)
|  | 321 | Sft | @ | 674.6 |  | %Sft | Rs: | 2165.466
20 | Painting NEW surface painting of Door & Window any type i/c edge (3-coats) (S.I.NO: 5/P-68)
|  | 170 | Sft | @ | 2116.41 |  | %Sft | Rs: | 3597.897
21 | Painting OLD surface painting of Door & Window any type i/c edge (2-coats) (S.I.NO: 4/P-68)
|  | 344 | Sft | @ | 1662.21 |  | %Sft | Rs: | 5718
[6 empty] | TOTAL -A- |  | Rs | 515447.7952
1 | PART----B---
1 | P/F 3/8" thick Marble of approved quality & colour & shade size (8"x4/6"x4") in dado skirting & facing removal tucking of existing plaster surface etc iover 1/2" thiuck base of white cement mortor 1:3 setting of tiles insulury of white cement curing finshing ,cleaning & polishing etc complete (i) for new works.(S.I.NO :68(i)/P-48)
|  | 179 | Sft | @ | 186.04 |  | P. Sft | Rs: | 33301.16
2 | P/laying tiles glazed (6"x6"x 1/4") on floor or wall facing in required patren of STILE specification jointed in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick I/C washing & filling of joints with sulury of white cement and pigment in desired shape with finshing ,cleaning and c/o wax polish etc complete i/c cutting tiles to proper profile (S.I.NO : 62/P-47)
|  | 80 | Sft | @ | 28253.61 |  | %Sft | Rs | 22603
[6 empty] | TOTAL -B- |  | Rs | 55904.16
PART----C---
1 | Fabrication of mild steel reinforcement for bending cutting binding & laying making joints & fastening i/c cost of binding wire & also i/c removal of rust from bars.(S.I.NO.8/P-17)
|  | 1.61 | Cwt | @ | 5001.7 |  | P.Cwt | Rs: | 8052.737
[6 empty] | TOTAL -C- |  | Rs | 8052.737

## Part B
PART---'B' ( WATER SUPPLY & S/FITTING )
S# | DESCRIPTION | QUANTITY |  | RATE |  | UNIT |  | AMOUNT
1 | P/F squatting type white glazed earthenware W.C pan with front flush inlet & complete with i/c the cost of flushing internal fitting & flush pipe with bend & making requisite no: ofcistern with holes inwall plinth & floor for pipe connection &making good in C.C.1:2:4 a)W.C pan 23" & low level earthenware flush tank 3-gallons (i) with 4" dia white glazed earthen ware trap & plastic thumble.(S.I.NO:1((A)(ii)/P-1)
|  | 2 | Nos | @ | 5088.2 | Each | Rs | 10176
2 | P/F 22"x16" Lav: Basin in white glazed earthenware complete with& i/c the cost of W.I or C.I cantilever brackets 6 inches built into wall plinth white in 2-coats after a primary coat of led paint a pair of 1/2 " dia brass chain 1-1/4" dia malleable iron of C.P brass trape m,aelleable iron or brass union & making requiatei nos: of holes in wall & plinth &for pipe connection & making good in C.C 1:2:4.(Standard patterns.) (S.I.NO:12/P-4)
|  | 1 | Nos | @ | 4694.8 | Each | Rs | 4695
3 | Add extra for labour for providing & fixing of earthenware PEDESTAL white or coloured glazed .(Standard Patterns) (S.I.NO: 9/P-3)
|  | 1 | Nos | @ | 938.47 | Each | Rs | 938
4 | P/Fixing 6" x 2" or 6" x 3" C.I. Floor trape of the approved self cleaning design with a C.I screwed down gratting with or without a vent arm complete with & bend making requisit No: of holes in wall plinth & floor for pipe connection & making good C.C. 1:2:4.(S.I.NO: 20/P-6)
|  | 4 | Nos | @ | 2024.43 | Each | Rs | 8098
5 | P/Fixing in position nyloon connection complete with 1/2" dia brass stop-cock with pair of brass nuts & lining joints to nyloon connection (S.I.NO: 23/P-6)
|  | 2 | Nos | @ | 447.15 | Each | Rs | 894
6 | P/Fixing 4" dia C.I Plain Bend of the required degree i/c extra painting to match the colour of the building. (S.I.NO:10/P-10)
|  | 20 | Nos | @ | 566.7 | Each | Rs | 11334
7 | P/Fixing 4" dia C.I. Off-set of various length i/c extra painting to match the colour of the building.(S.I.NO:8/P-10)
|  | 2 | Nos | @ | 702 | Each | Rs | 1404
8 | P/Fixing M.S Clamps of the approved design to 4" dia c.i pipe socket i/c the cost of cutting & making good to wall on M.S bolts & nuts 4" into wall i/c pipe distance pieces extra painting to match the colour of the building.(S.I.NO:2/P-9)
|  | 4 | Nos | @ | 72.16 | Each | Rs | 289
9 | P/Fixing 4" x 4" x 4" dia C.I Branch of the required degree with access doors rubber washers 3/8" thick & built & nuts & extra painting to match the colour of the building. (S.I.NO:3/P-9)
|  | 2 | Nos | @ | 702 | Each | Rs | 1404
10 | Add: Extra Labour for Cancealled G.I.Pipe & fitting i/c making recces in the wall for pipe and making good in cement mortor etc. complete. (S.I.NO: 2/P-12)
a) | 1/2" DIA | 100 | Rft | @ | 7.82 | P.Rft | Rs | 782
b) | 3/4" DIA | 200 | Rft | @ | 8.45 | P.Rft | Rs | 1690
11 | P/Fixing HANDLE VALVES (China). (S.I.NO:5/P-17)
a) | 1/2" DIA | 1 | Nos | @ | 200.42 | Each | Rs | 200
b) | 3/4" DIA | 2 | Nos | @ | 271.92 | Each | Rs | 544
12 | P/Fixing chrome plated brass Towel rail complete with brackets fixing on wooden cleats with 1" long C.P. screws. (III) (Towel rail 24" long) (a) 3/4" dia round or square (Standard Pattern)(S.I.NO: 1(I)(b)/P-7)
|  | 1 | Nos | @ | 972.95 | Each | Rs | 973
13 | P/Fixing 24" x 18" bevelled edge Mirror of Belgium Glass complete with 1/18" thick hard board & C.P. Screw fixed to wooden cleats.(Standard Pattern).(S.I.NO:3(a)/P-7)
|  | 1 | Nos | @ | 1711.6 | Each | Rs | 1712
14 | S/Fixing Long-Bib-Cock of supperior quality with C.P head 1/2" dia.(S.I.#13(a)/P-19)
|  | 5 | Nos | @ | 1109.46 | Each | Rs | 5547
15 | S/Fixing Cancealled Stop-Cock of supperior quality with crystal head 1/2" dia.(S.I.NO:11(a)(/P-18)
|  | 6 | Nos | @ | 478.28 | Each | Rs | 2870
16 | S/Fixing Swan type Piller-Cock of supperior quality single with C.P head 1/2" dia.(S.I.NO:16/P-19)
|  | 4 | Nos | @ | 795 | Each | Rs | 3180
17 | S/Fixing Soap Tray of made of plastic of supperior quaslity & design with fine finshing with C.P. Screw complete.(S.I.NO:6/P-8)
|  | 1 | Nos | @ | 169.4 | Each | Rs | 169
18 | Providing Chambers (15" x 9") (inside dimension) x 24" deep for house meters, with 4/1/2" thick burnt brick masonary walls in 1:6 C.M. 6" thick C.C 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M. to all inside wall surface & top 1" thick C.C 1:2:4 flooring complete with cast iron hinges cover & frame 15" x 9" (inside) clear opening (wt: 1 Qr) etc fixe in C.C. 1:2:4 i/c curing, excavation back filling & disposal of surplus earth etc complete. (S.I.NO: 4/P-20)
|  | 3 | Nos | @ | 4905.67 | Each | Rs | 14717
19 | Construction of Manhole or Inspection chamber for the required dia of circular sewer & 3'- 6"(1067 mm) depth with walls B.B in cement sand mortar 1:3, cement plastered 1:3, 1/2" thick, inside of walls & 1" (25 mm) thick over benching & channel i/c fixing C.I. Manhole cover with frame of clear opening 1-1/2"x1-1/2"(457 x 457 mm) of 1.75 Cwt (88.9 kg) embedded in plain C.C 1:2:4 & fixing 1" (25mm) dia M.S steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall @ 12" (305 mm) C/C Duly painted etc. complete as per standard specification & drawing. (a) 4" to 12" dia (2' x 2' x 3' - 6") NOTE: (Full rate 14748.0 (-) 7557.0 = 7191.0 without C.I. Cover)
|  | 1 | Nos | @ | 7191 | Each | Rs | 7191
20 | P/Fixing Water Pumping Set 1/2 H.P Mono-Block Single Phase 220 Volts with 1-1/4" x 1" suction & delivery 50 ft: head i/c making C.C.1:3:6 plate form of required size & fixing with nuts & bolts etc complete in all respect. (Sc: of Elect:) (S.I.NO:22/P-31)
|  | 1 | Nos | @ | 10886 | Each | Rs | 10886
[6 empty] | TOTAL --A-- | Rs | 89693
B) | G.I PIPE & R.C.C PIPE
1 | Proviuding G.I.Pipes specials & clamps etc i/c fixing cutting & fitting complete with & i/c the cost of breaking through wall & roof making good etc painting 2-coats after cleaning the pipe ^ with white zink paint with pigment to match the colour of the building & testing water to a pressure head of 200 ft: & handling. (S.I.NO:1/P-12)
a) | 1/2" DIA | 100 | Rft | @ | 73.21 | P.Rft | Rs | 7321
b) | 3/4" DIA | 200 | Rft | @ | 95.79 | P.Rft | Rs | 19158
2 | P/Fixing F.C. pressure pipe with collars (Ddex or equivalent) i/c digging the trenches to required depth & fixing in position & jointing with rubber rings i/c testing to water pressure head of 200 ft. (S.I.NO:3/P-24)
| 4" dia. | 50 | Rft | @ | 188.44 | P.Rft | Rs | 9422
3 | Providing R.C.C Pipe with collars class "B" & Digging the trences to required depth & fixing in position i/c cutting fitting & jointing with maxphalt composition & cement mortor 1:1 & testing with watrer pressure to a head of 4 feet above the top of the heighest pipe & re-filling with excavated stuff.(S.I.NO:2/P-23)
| 9" dia | 50 | Rft | @ | 250.6 | P.Rft | Rs | 12530
[6 empty] | TOTAL --B-- | Rs | 48431