## Sheet1
FACE SHEET
FUND HEAD | : - |  | SC-12058(58)-09, EDUCATION AFFAIRS & SERVICES
(CAPITAL)-092,SECONDARY: EDUCATION…..….……
AFFAIRS & SERVICES, 0921-SECONDARY EDUCTION
AFFAIRS & SERVICES-092101,SEC: EDUCATION…..…
MAJOR HEAD | : -
MINOR HEAD | : -
SERVICE HEAD | : -
DEPARTMEN HEAD | : - |  | #REF!
This Estimate has been prepared in the office of the Assistant Engineer, Electrical Education Works Sub-Division Hyderabad,The probable expenditure incurred on the above said work, will be chargeable against the head of Account _____________
|  |  | Estimated Cost Rs: | #REF!
GENERAL DESCRIPTION
1 | HISTORY: - | The Government of Sindh has approved the New A.D.P./ M&R / REPAIR RENOVATION Schemes during The year 2015-2016 for whole of Sindh which are to executed the Works & Services Department in this current financial year. The above said scheme is one of the approved schemes. Hence this estimate has been prepared.
2 | SCOPE: - | All necessary item has been included in the estimate for smooth Functioning
3 | METHOD: - | The Work will be carried out after calling tenders / quotations and Observing all coddle formalities.
4 | DESIGN: - | Provision of light and fan points is made in accordance with illumination Design & balance distribution of light in the Educational Institutions.
5 | RATE: - | Estimate is based on Pak P.W.D. Schedule of Rates 2012 and R.A.Approved by the competent authority.
6 | Time: - | __________ Months are sufficient for completion of work.
ASSISTANT ENGINEER
ELECTRICAL EDUCATION WORKS
HYDERABAD.

## SCH-B
SCHEDULE - 'B'
Name of Work:- (ADP No.317 /464) Emergent Works / Schems of Education & Literacey Department in Sindh 2015-16 Repair/Renovation Office of the Director Elementry,Secondary & Higher Secondary Hyderabad Region Taluka City Hyderabad. (E.I.Work)
S.N | Name of Item. | Qty | Unit | Rate | Amount
PART-A SCHEDULE ITEMS
1 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(SIN:124,P-15) | 44 | P.Point | 1130 | Rs. | 49720
2 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(SIN:126,P-15) | 28 | P.Point | 985 | Rs. | 27580
3 | Wiring for Call bell point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required.(SIN:128,P-15) | 3 | P.Point | 1764 | Rs. | 5292
4 | Providing & laying (Main or Sub Main ) PVC insulated with size 2-7/.029 copper conductor in 3/4" dia PVC conduit reccessed in the wall or column as required.(SIN:10,P-2) | 92 | P.MTR | 222 | Rs. | 20424
5 | Providing & laying (Main or Sub Main ) PVC insulated with size 2-7/.044 copper conductor in 3/4" dia PVC conduit reccessed in the wall or column as required.(SIN:12,P-2) | 70 | P.MTR | 341 | Rs. | 23870
6 | Providing & fixing Brass battern holder. (SIN:232,P-33) | 10 | P.Nos | 70 | Rs. | 700
7 | Providing & fixing Bakelite ceiling rose with two terminals(SIN:228,P-33) | 9 | P.Nos | 72 | Rs. | 648
8 | Providing & fixing circuit breaker 6,10,15,20,30, 40,50 & 63 amp SP (TB-5S) on prepared board as required. (SIN:203,P-31) | 10 | P.Nos | 916 | Rs. | 9160
9 | Providing & fixing circuit breaker 6,10,15,20,30,40,50 & 63amp DP (TB-5S) on prepared board as required. (SIN.204 P-31) | 5 | P.Nos | 2456 | Rs. | 12280
10 | Providing & fixing circuit breaker 15,20,30 40,50, 60, 75 & 100 amp TP (XS-100 NS) on prepared board as required. (SIN:206,P-31) | 1 | P.Nos | 9261 | Rs. | 9261
11 | Providing & fixing voltmeter size 96/96mm 500volt as required & as per instruction of EI (SIN:285,P-41) | 1 | P.Nos | 999 | Rs. | 999
12 | P/L (Main or Sub Main) PVC insulated & PVC sheeted with 4 core copper conductor in 300/500 volt size 16mm2 (S.I.No.62 P-8) | 25 | P.MTR | 1300 | Rs. | 32500
| Total Amount Part-A |  |  |  | Rs. | 192434
PART-B NON-SCHEDULE ITEMS (R.A. Approved)
1 | P/F 1-40 watts tube light complete with 40 watt s 4' long rod. Chock starter and patty as required. | 12 | Each | 802.63 | Rs. | 9631.56
2 | P/F 25 watts Energy saver of superior quality as required | 11 | Each | 407 | Rs. | 4477
3 | P/F flush type ceiling fan dimmer imported Quality as required. | 1 | Each | 354.64 | Rs. | 354.64
4 | P/F capsole light superior quality with plastic reflector i/c connection as required. | 3 | Each | 609.84 | Rs. | 1829.52
5 | S/F of pilot lamp (Neon sign) 200/240 volts fixing on a prepared i/c necessary connection as required. | 1 | Each | 274.27 | Rs. | 274.27
6 | P/F (LED) Surface Panel Light 12 Watt (Light Emitting Diode) Round & Square shape classification with LED driver complete plastic covered and base etc complete. | 53 | Each | 1534.13 | Rs. | 81308.89
7 | P/F Exhaust fan 12" Metal Body complete in all respect as required (GFC Karachi made/pak orignal good Quility) | 2 | Each | 3223 | Rs. | 6446
8 | P/F Distribution board of 1.5mm thick sheeting double shutter to accommodate circuit breaker, 500 V suitable for 50 Hz i/c painting with powder coated colour complete as required | 4 | P.Sft | 1950 | Rs. | 7800
9 | S/F roof Mild Steel bar fan clamp (5/8") dia ruilable for RCC. | 1 | Each | 236.94 | Rs. | 236.94
10 | P/F Ceiling fan 56" complete in all respect as required (GFC Karachi made/ Pak original good quality). | 1 | Each | 5262 | Rs. | 5262
11 | P/F Mix mettalic sweitch, socket and bell push imported quality i/c sheet from 2-10 hole and pvc board clips complete. | 30 | Each | 181 | Rs. | 5430
12 | S/F type 3 pin 10/15 Amps S.P plug, socket(S.Quality) | 10 | Each | 785.4 | Rs. | 7854
13 | P/F Mix metallic sheet 2.4.6.8 hole including frame and Pvc board clip switch etc as required | 30 | Each | 385 | Rs. | 11550
14 | Providing & Fixing A.C or D.C Electric bell 200/250 volts 70 mm (2-3/4") Gong. | 3 | Each | 614.17 | Rs. | 1842.51
15 | P/F 10 Ampss polycarborate flame retardant bell push with fancy gang plate fixed on die fadricated powder couted metal bourd recesses in wall or column i/c connection as required. | 3 | Each | 290.77 | Rs. | 872.31
16 | P/F Wall Bracket fan 18" complete in all respect as required (GFC Karachi made/pak orignal good Quility). | 8 | Each | 4922.5 | Rs. | 39380
[5 empty] | Rs. | 184549.64
GENARAL ABSTRACT
| Cost of Schedule Items Part "A" | Rs. | 192434
| Cost of Non-Schedule Items Part "B" | Rs. | 184549.64
| Grand Total | Rs. | 376983.64
CONTRACTOR
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION HYDERABAD.