## surface
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supply of Panel Parts, Supply of Pump Parts / Job work & Rewinding of Electric Motor / Motors Parts of various HP's and Rewinding & repair of Electric Transformers for 25KVA & 50KVA of Sumps for various cusecs under O&M / M&R of Sumps / Pumps (EKTD) in Khairpur Tubewell Division Khairpur
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Supply of Magnetic Contactor DMC-50 (440 Volt) for 5.4, to & 15 HP, Electric Motor (Donga) or equivalent |  | Each
2 | Supply of Magnetic Contactor GMC-50 (440 Volt) for 5.4 HP to 15 HP, Electric Motor L.G or equivalent |  | Each
3 | Supply of Circuit Breaker DB63 SB (50A) (440 Volt) 5.4, to 15HP (Donga) or equivalent |  | Each
4 | Supply of Circuit Breaker ABE53B (50A) (440 Volt) L.G 5.4 to 15HP (Fuji) or equivalent |  | Each
5 | Supply of Thermal Over Load Relay TK-51NH (6-9 A) (440 Volt) L.G 5.4HP to 15HP Motor or equivalent |  | Each
6 | Supply of Thermal Over Load Relay GTK-22H (6-9 A) (440 Volt) L.G or equivalent |  | Each
7 | Supply of Thermal Over Load Relay GTK-22H (9-13 A) (440 Volt) L.G or equivalent |  | Each
8 | Supply of Thermal Over Load Relay GTK-22H (16-22 A) (440 Volt) (Siemens) or equivalent |  | Each
9 | Supply of Thermal Over Load Relay GTK-40H (18-26 A) (440 Volt) (Siemens) or equivalent |  | Each
10 | Supply of On/Off Push Button set (Green + Red) |  | P/Set
11 | Supply of Panel Box complete with delta star system for 4/5, 7.5, 10,15,20,25,30,35/40HP |  | Each
12 | Repair of Panel box i/c welding, rewiring, cleaning, painting and fixing complete in all respects including supply of new items. |  | P/Job
13 | Supply of PVC Copper Wire 7/029 Single Core (Superior Quality) |  | P/Coil
14 | Supply of PVC Copper Wire 7/036 Single Core (Superior Quality) |  | P/Coil
15 | Supply of PVC Copper Wire 7/044 Single Core (Superior Quality) |  | P/Coil
16 | Supply of PVC Copper Wire 7/052 Single Core (Superior Quality) |  | P/Coil
17 | Supply of PVC Copper Wire 7/064 Single Core (Superior Quality) |  | P/Coil
18 | Supply of PVC Copper Wire 7/044 Four Core (Superior Quality) |  | P/Meter
19 | Supply of PVC Copper Wire 7/052 Four core (Superior Quality) |  | P/Meter
20 | Supply of PVC Copper Wire 7/064 Four Core (Superior Quality) |  | P/Meter
21 | Supply of PVC Silver Wire 7/044 Four Core (Superior Quality) |  | P/Meter
22 | Supply of PVC Silver Wire 7/052 Four core (Superior Quality) |  | P/Meter
23 | Supply of PVC Silver Wire 7/064 Four Core (Superior Quality) |  | P/Meter
24 | Supply of AVO Meter 600Volt 300 Amp |  | Each
25 | Supply of Top Shaft 25mm x 1140mm (SS) 1.0 Cusecs HS both end threaded |  | Each
26 | Supply of Top Shaft 25mm x 1250mm (SS) 1.5 Cusecs HS both end threaded |  | Each
27 | Supply of Top Shaft 25mm x 1300mm (SS) 2.0 Cusecs HS both end threaded |  | Each
28 | Supply of Top Shaft 25mm x 1230mm (SS) 1.5 Cusecs LS both end threaded |  | Each
29 | Supply of Top Shaft 25mm x 1370mm (SS) 2.0 Cusecs LS both end threaded |  | Each
30 | Supply of Upper Shaft 25mm x 2600mm (SS) 1.0, 1.5 & 2.0 Cusecs HS |  | Each
31 | Supply of Top Nut 25mm |  | Each
32 | Supply of Top Nut 30mm |  | Each
33 | Supply of Threaded column shaft with protective sleeve (S.Steel) 25mm x 3050mm for 1.5 & 2.0 Cusecs HS |  | Each
34 | Supply of Threaded column shaft with protective sleeve (S.Steel) 25mm x 3050mm for 1.5 & 2.0 Cusecs LS |  | Each
35 | Supply of Supplying & fixing shaft protective sleeve for 25mm dia of column shaft (S.S) |  | Each
36 | Supplying & fixing shaft protective sleeve for 30mm dia of column shaft (S.S) |  | P/Job
37 | Supply of Threaded coupling 25mm dia L.S |  | Each
38 | Supply of Threaded coupling 25mm dia H.S |  | Each
39 | Supply of Stuffing box 25mm dia complete L.S |  | Each
40 | Supply of Stuffing box 25mm dia complete H.S |  | Each
41 | Supply of Gland cover (cast iron) for stuffing box 25mm dia |  | Each
42 | Supply of Rubber Bearing bush 32.2mm dia for column shaft 25mm L.S |  | Each
43 | Supply of Rubber Bearing bush 32.2mm dia for column shaft 25mm H.S |  | Each
44 | Supply of Pump Shaft 740 x 35 x 25mm for 1.0 cusecs SS |  | Each
45 | Supply of Pump Shaft 900 x 35 x 25mm for 1.5 cusecs SS |  | Each
46 | Supply of Pump Shaft 850 x 45 x 25mm for 2.0 cusecs SS |  | Each
47 | Supply of Upper piece of Bowl fo 1.0, 1.5 cueces i/c finishing, facing & holing |  | Each
48 | Supply of Upper piece of Bowl fo 2.0 cueces i/c finishing, facing & holing |  | Each
49 | Supply of Intermediate piece of Bowl for 1.0 cuecs i/c finishing, facing & holing |  | Each
50 | Supply of Intermediate piece of Bowl for 1.5 cuecs i/c finishing, facing & holing |  | Each
51 | Supply of Intermediate piece of Bowl for 2.0 cuecs i/c finishing, facing & holing |  | Each
52 | Supply of Lower piece of Bowl for 1.0 cueces i/c finishing, facing & holing |  | Each
53 | Supply of Lower piece of Bowl for 1.5 cueces i/c finishing, facing & holing |  | Each
54 | Supply of Lower piece of Bowl for 2.0 cueces i/c finishing, facing & holing |  | Each
55 | Supply of Sand guard for pump shaft 35mm dia for 1.0 cueces (Bronze) |  | Each
56 | Supply of Sand guard for pump shaft 35mm dia for 1.5 cueces (Bronze) |  | Each
57 | Supply of Sand guard for pump shaft 35mm dia for 2.0 cueces (Bronze) |  | Each
58 | Supply of Sand guard for pump shaft 45mm dia for 1.0 cueces (Bronze) |  | Each
59 | Supply of Sand guard for pump shaft 45mm dia for 1.5 cueces (Bronze) |  | Each
60 | Supply of Sand guard for pump shaft 45mm dia for 2.0 cueces (Bronze) |  | Each
61 | Supply of C.I Column pipe Bearing socket 6” dia with bearing bush & both side threaded |  | Each
62 | Supply of C.I Column pipe Bearing socket 7” dia with bearing bush & both side threaded |  | Each
63 | Supply of M.S Column pipe 6” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
64 | Supply of M.S Column pipe 7” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
65 | Supply of Suction pipe 6” dia, 5mm thick x 13’.0 long (PVC). |  | Each
66 | Supply of Suction pipe 7” dia, 5mm thick x 13’.0 long (PVC). |  | Each
67 | Supply of Nipple 6” dia x ½ ft long, one end threaded (PVC). |  | Each
68 | Supply of Nipple 7” dia x ½ ft long, one end threaded (PVC). |  | Each
69 | Supply of M.S delivery pipe 6” dia, 1/8” thick, 10ft long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
70 | Supply of M.S delivery pipe 7” dia, 1/8” thick, 10ft long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
71 | Supply of Rubber flange packing 6”dia, 5mm thick, i/c making holes |  | Each
72 | Supply of Rubber Flange 7” dia |  | Each
73 | Supply of Spider 6" (Brass) |  | Each
74 | Supply of Spider 7" (Brass) |  | Each
75 | Repair of Top Shaft 1.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
76 | Repair of Top Shaft 2.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
77 | Repair of column Shaft both side i/c Welding, Cutting, facing & threading for 25 mm |  | P/Job
78 | Repairing of stuffing box i/c replacement of cum seal cage 25mm dia (gunmetal) also providing funnel arrangement etc complete L.S |  | P/Job
79 | Reparing of stuffing box i/x replacement of cum seal cage 25mm dia (gunmetal) also providing Grease cup arrangement etc complete H.S |  | P/Job |  | 3206 | 3213 | 3220 | 3227 | 3234 | 3241 | 3192 | 3206
80 | Repair of column pipe 6" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 2856 | 2863 | 2870 | 2877 | 2884 | 2891 | 2842 | 2856
81 | Repair of column pipe 7" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 2466 | 2473 | 2480 | 2487 | 2494 | 2501 | 2452 | 2466
82 | Repair of pump shaft 1.0 cusecs i/c welding, cutting, facing, threading |  | P/Job |  | 1266 | 1273 | 1280 | 1287 | 1294 | 1301 | 1252 | 1266
83 | Repair of pump shaft 2.0 cusecs i/c welding, cutting, facing, threading |  | P/Job |  | 1336 | 1343 | 1350 | 1357 | 1364 | 1371 | 1322 | 1336
84 | Repair of Delivery pipe 7" i/c welding, cutting, facing & flangs both sides |  | P/Job |  | 7156 | 7163 | 7170 | 7177 | 7184 | 7191 | 7142 | 7156
85 | Repairing of bowl assembly 1.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 11198 | 11205 | 11212 | 11219 | 11226 | 11233 | 11184 | 11198
86 | Repairing of bowl assembly 2.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 14322 | 14329 | 14336 | 14343 | 14350 | 14357 | 14308 | 14322
87 | Repairing of bowl assembly 1.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 13181 | 13188 | 13195 | 13202 | 13209 | 13216 | 13167 | 13181
88 | Repairing of bowl assembly 2.0 Cusecs single stage, providing bearing & inserted bearingSleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 18666 | 18673 | 18680 | 18687 | 18694 | 18701 | 18652 | 18666
89 | Repairing of bowl assembly 1.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 13556 | 13563 | 13570 | 13577 | 13584 | 13591 | 13542 | 13556
90 | Repairing of bowl assembly 2.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 16486 | 16493 | 16500 | 16507 | 16514 | 16521 | 16472 | 16486
91 | Repairing of bowl assembly 1.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 14156 | 14163 | 14170 | 14177 | 14184 | 14191 | 14142 | 14156
92 | Repairing of bowl assembly 2.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 15376 | 15383 | 15390 | 15397 | 15404 | 15411 | 15362 | 15376
93 | Gravel from Cambalpur Quarry (Attock) |  | P/Cft
94 | Rewinding of Electric Motor 5.4 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
95 | Rewinding of Electric Motor 7.5HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
96 | Rewinding of Electric Motor 10HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
97 | Rewinding of Electric Motor 11.5 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
98 | Rewinding of Electric Motor 20 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
99 | Repairing of upper housing of Electric motor 5.4 H.P , including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
100 | Repairing of upper housing of Electric motor 7.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
101 | Repairing of upper housing of Electric motor 10 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
102 | Repairing of upper housing of Electric motor 11.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
103 | Repairing of upper housing of Electric motor 20 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
104 | Repairing of Lower housing of Electric motor 5.4 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
105 | Repairing of Lower housing of Electric motor 7.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
106 | Repairing of Lower housing of Electric motor 10 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
107 | Repairing of Lower housing of Electric motor 11.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
108 | Repairing of Lower housing of Electric motor 20HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
109 | Supply of Head Cowl for 5.4 HP Electric Motor Complete |  | Each
110 | Supply of Head Cowl for 7.5 HP Electric Motor Complete |  | Each
111 | Supply of Head Cowl for 10, HP Electric Motor (New Model) Complete |  | Each
112 | Supply of Head Cowl for 11.5 HP Electric Motor Complete |  | Each
113 | Supply of Head Cowl for 20 HP Electric Motor Complete |  | Each
114 | Supply of Cost Iron Fan for 5.4 HP E/Motor with Ball |  | Each
115 | Supply of Cost Iron Fan for 7.5 HP E/Motor with Ball |  | Each
116 | Supply of Cost Iron Fan for 10 HP E/Motor with Ball |  | Each
117 | Supply of Cost Iron Fan for 11.5 HP E/Motor with Ball |  | Each
118 | Supply of Cost Iron Fan for 20 HP E/Motor with Ball |  | Each
119 | Supply of Cost Iron Motor coupling for 5.4 HP Electric Motor Complete |  | Each
120 | Supply of Cost Iron Motor coupling for 7.5 HP Electric Motor Complete |  | Each
121 | Supply of Cost Iron Motor coupling for 10 HP Electric Motor Complete |  | Each
122 | Supply of Cost Iron Motor coupling for 11.5 HP Electric Motor complete |  | Each
123 | Supply of Cost Iron Motor coupling for 20 HP Electric Motor complete |  | Each
124 | Supply of Cost Iron non-reverseable Ratchet Plate for 5.4 HP Electric Motor |  | Each
125 | Supply of Cost Iron non-reverseable Ratchet Plate for 7.5 HP Electric Motor |  | Each
126 | Supply of Cost Iron non-reverseable Ratchet Plate for 10 HP Electric Moto |  | Each
127 | Supply of Cost Iron non-reverseable Ratchet Plate for 11.5 HP Electric Motor |  | Each
128 | Supply of Cost Iron non-reverseable Ratchet Plate for 20 HP Electric Motor |  | Each
129 | Supply of Cost Iron Inner / Outer Bearing plates for 5.4 HP Electric Motor |  | Each
130 | Supply of Cost Iron Inner / Outer Bearing plates for 7.5 HP Electric Motor |  | Each
131 | Supply of Cost Iron Inner / Outer Bearing plates for 10 HP Electric Motor |  | Each
132 | Supply of Cost Iron Inner / Outer Bearing plates for 11.5 HP Electric Motor |  | Each
133 | Supply of Cost Iron Inner / Outer Bearing plates for 20 HP Electric Motor |  | Each
134 | Supply of Connection Box with Terminals for 5.4 HP Electric Motor |  | Each
135 | Supply of Connection Box with Terminals for 7.5 HP Electric Motor |  | Each
136 | Supply of Connection Box with Terminals for 10 HP Electric Motor |  | Each
137 | Supply of Connection Box with Terminals for 11.5 HP Electric Motor |  | Each
138 | Supply of Connection Box with Terminals for 20 HP Electric Motor |  | Each
139 | Supply of Ball Bearing 6307 for 5.4 HP Electric Motor (Superior Quality). |  | Each
140 | Supply of Ball Bearing 6407 for 5.4 HP Electric Motor (Superior Quality). |  | Each
141 | Supply of Ball Bearing 6307 for 7.5 HP Electric Motor (Superior Quality). |  | Each
142 | Supply of Ball Bearing 6407 for 7.5 HP Electric Motor (Superior Quality). |  | Each
143 | Supply of Ball Bearing 6310 for 11.5,20 & 25 HP Electric Motor (Superior Quality). |  | Each
144 | Supply of Ball Bearing 6317 for 20,25 HP Electric Motor (Superior Quality). |  | Each
145 | Supply of Ratchat Pin as per sample |  | Each
146 | Repair of Rotor as per sample |  | P/Job
147 | Rewinding & Re-fitting of high tension (HT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
148 | Rewinding & Re-fitting of low tension (LT) Coil of 25 KVA transformer i/c un-recoverable burnt/old wire. |  | P/ Job
149 | Supplying & Fixing Core of 25 KVA transformer (Local) |  | P/ Job
150 | Supplying & Fixing HT insulator including Rod, Nut Bolts, etc complete for 25 & 50KVA Transformer. |  | P/ Job
151 | Supplying & Fixing LT insulator including Rod, Nut Bolts, etc complete for 25 & 50KVA Transformer. |  | P/ Job
152 | Supplying & Fixing HT Bush including Rod, Nut Bolts, etc complete for 25 & 50 KVA Transformer. |  | P/ Job
153 | Supplying & Fixing LT Bush including Rod, Nut Bolts, etc complete for 25 & 50 KVA Transformer. |  | P/ Job
154 | Supplying of Transformer Oil (Superior Quality) |  | P/Lt:
155 | Supplying of Plate form of Transformer with all nuts & bolts for 25,50KVA Transformers |  | Each
156 | Welding of Transformer with Plate Form including welding of Steel Strip 2" wide to all four sides and Nuts of Transformer Cover. |  | P/ Job
157 | Supplying PVC Corrugated perforated pipe of 12" dia |  | P/Rft
158 | Supplying PVC Corrugated perforated pipe of 4" dia |  | P/Rft
159 | P/F Reduceer Cross 12'x4" dia |  | Each
160 | P/F Coupler 12" dia |  | Each
161 | P/F Coupler 4" dia |  | Each
162 | Provinding poly tex geo texitile for filter and wrapping over the PVC perforated pipe 12" and 4" dia. |  | P/Sft
163 | Supplying of Grease Shell Alvania-III |  | P/KG
164 | Supplying of Grease Multipurpose (Heat Proof) |  | P/KG
165 | Supplying of Grease Gun for E/Motor of Tubewells (Heavy Duty) |  | Each
166 | Hire Charges of Tractor trolly size 13’ x6’x2’ i/c POL, R/s bank and filling of earth into depression portion |  | P/Trip
167 | Engaging Unskilled labour for weed clearance |  | P/Day
168 | Hire charge of Tractor with front blade i/c POL |  | Per Hour
169 | Hire charges of Excavator Machine Wheel Type |  | Per Hour
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## miscell (2)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supply of Office Stationary, Printing & Publication, Uniform, Others, Machinery & Equipment, Furniture & Fixture and Miscellaneous Items in Khairpur Tubewell Division Khairpur.
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Supplying of Iron Door i/c Grill |  | P/KG
2 | Supplying of Mask pipe 2” dia |  | P/Ft
3 | Supplying of Hand Gloves (Electric proof) |  | Per Pair
4 | Supplying of Plastic water cooler for Gang 25 liters. |  | Each
5 | Supplying of Petrol operated Generator 2Kw. (China) |  | Each
6 | Supplying of Zeen Cloth Super Quality |  | P/Meter
7 | Supplying of Malaysia Cloth Super quality |  | P/Meter
8 | Supplying of Stitching charges of Paint and Shirt of Zeen cloth |  | Per Pair
9 | Supplying of Stitching charges of Shalwar and Shirt of Malaysia cloth |  | Per Pair
10 | Supplying of Whistle for Chowkidar |  | Each
11 | Supplying of Stick for Chowkidar |  | Each
12 | Supplying of Woolen Coat |  | Each
13 | Supplying of Woolen Socks |  | Per pair
14 | Supplying of of Rubber Boots |  | Per Pair
15 | Hire Charges of Datson Pickup i/c POL |  | Per Day
16 | Supply of Channel for plate form size 8"x4"x4ft |  | P/KG
17 | Hire charges of Diesel Pump for pump out of water |  | Per Hour
18 | Supplying of Cement (Ordinary Lucky) |  | P/Bag
19 | Supplying of Hill Sand (Local) Shadi Shaheed |  | P/%Cft
20 | Supplying of Bricks 9”x4”, 1/2”x3” |  | 1000 Nos.
21 | Supplying of Synthetic enameled paint (all colours) Berger |  | P/Gallon Tin
22 | Supplying Girder 3"x6" |  | P/KG
23 | Supplying of Red Oxide Paint |  | P/Gallon Tin
24 | Supplying of Tarpin oil |  | P/Gallon Tin
25 | Supplying of Varnish |  | P/Gallon Tin
26 | Supplying of Kerosene oil |  | P/Liter
27 | Supplying of Lime |  | P/ Bag
28 | Supplying of Thiner |  | P/Liter
29 | Supplying of Colour wash (Pocket) |  | P/Pkt
30 | Supplying of Spade 14 Gauge with wooden Handle, |  | Each
31 | Supplying of Red Oxide Powder |  | P/PKT
32 | Supplying of Single Phase Relay |  | Each
33 | Supplying of MS Nut bolt all sizes with washers |  | P/KG
34 | Supplying of Steel Nut bolt 2” with washers |  | Each
35 | Supplying of Steel Nut bolt 3” with washers |  | Each
36 | Supplying of Steel Nut bolt 4” with washers |  | Each
37 | Supplying of Defitting Set |  | Each
38 | Supplying of Corrugated Sheet 4x12 for Roof |  | Each
39 | 11KVA conductor Rabbit |  | P/Ft
40 | Insulator for 11KVA conductor lines |  | Each
41 | Pin for Insulator for 11KVA conductor lines |  | Each
42 | Disk for 11KVA Conductor lines |  | Each
43 | Wooden cross with Nut bolts for 11KVA conductor lines |  | Each
44 | Supporting angle for cross for 11KVA conductor lines |  | Each
45 | Repair of single screen vertical gate i/c welding, cutting & threading sheet etc |  | P/Job
46 | S/F Processor Intel Pentium-IV,2.2GHZ (Duel Core) |  | Each
47 | S/F Mother Board Intel |  | Each
48 | S/F Ram DDR-II (2 GB) Kingston |  | Each
49 | S/F ATX Tower Casing |  | Each
50 | S/F Key Board |  | Each
51 | S/F Mouse with pad |  | Each
52 | S/F Hard Drive 300 GB (Seagate Sata) |  | Each
53 | S/F Printer (HP) |  | Each
54 | S/F USB 10GB Kingston |  | Each
55 | S/F Stabilizer 0.5 KW |  | Each
56 | S/F Computer Table with Revolving chair |  | Each
57 | S/F Moniter LCD 17” (50mg) or equivalent |  | Each
58 | S/F DVD Writer Combo |  | Each
59 | S/F Printer Toner for Laser Jet Printer 1320-HP |  | Each
60 | Refilling of Printer Toner |  | P/Job
61 | S/F Web Cam |  | P/Job
62 | S/F Degital Camra |  | P/Job
63 | Supplying Lap Top |  | Each
64 | Supplying Scanner |  | Each
65 | Repair of office chairs |  | P/Job
66 | Repair of office Table |  | P/Job
67 | Supply White Papers S.Q |  | P/Ream
68 | Supply Table Glass |  | P/Ft
69 | Supply A-4 size papers |  | P/Ream
70 | Supply legal size papers |  | P/Ream
71 | Supply Carban Papers (Red) |  | P/Pkt
72 | Supply Carban Papers (Black) |  | P/Pkt
73 | Supply Paper Pins |  | P/Pkt
74 | Supply U-Pins |  | P/Pkt
75 | Supply of Calculator |  | Each
76 | Supply Ball Pens (Blue & Red) |  | P/Pkt
77 | Supply Photostat copies on Powder Machine |  | P/Copy
78 | Supply Photostat copies on Ordinary Machine |  | P/Copy
79 | Supply Pacca File |  | P/Dozen
80 | Supply Kacha File |  | P/Dozen
81 | Supply Red Cloth |  | P/Meter
82 | Supply of Register 100 Pages |  | Each
83 | Supply of Register 200 Pages |  | Each
84 | Supply of Register 400 Pages |  | Each
85 | Supply of Table Set |  | Each
86 | Supply of Regzeen |  | P/meter
87 | Binding of Main Subsidairy Cash Book |  | Each
88 | Bindingo of OutWard / InWard Register |  | Each
89 | Supply of Water Glass |  | Each
90 | Supply of Water Cooler |  | Each
91 | Supply of Electric Heater |  | Each
92 | Supply of Rod Heater |  | Each
93 | Supply Gum Battle |  | P/Botle
94 | Supply Pencils |  | P/Pkt
95 | Supply Stapler Machine |  | Each
96 | Supply of Stapler Pins |  | P/Pkt
97 | Supply Envolop Large Size |  | P/Bundle
98 | Supply Envolop Small size |  | P/Bundle
99 | Repair of office Almarah |  | P/Job
100 | Repair of office Type writer |  | P/Job
101 | Repair of Photostat Machine |  | P/Job
102 | Supply Ice |  | P/KG
103 | Supply Tags (large size |  | P/Bundle
104 | S/F Energy Saver 24Watt (Philps) |  | Each
105 | S/F Tube Rod complete (Philps) |  | Each
106 | S/F Bulb 200 Watt (Philps) |  | Each
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## (veh) (3)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supplying & Fixing Parts / Material and Job Work for Government Vehicles under O&M / M&R in Khairpur Tubewell Division Khairpur.
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
SUZUKI POTOHAR JEEP
1 | S/F Piston i/c Gudgin pin |  | P/Set
2 | S/F Piston Ring Set |  | P/Set
3 | S/F Ring Sleeve Set |  | P/Set
4 | S/F Valve inlet and exhaust Set |  | P/Set
5 | S/F Valve guide set |  | Each
6 | S/F Valve sleeve Set |  | P/Set
7 | S/F Oil Pump |  | Each
8 | S/F Oil fuel Filter |  | Each
9 | S/F Mobel Oil Fitler |  | Each
10 | Engine over hauling kit i/c main oil seal, front seal, valve seal & tapit cover seal |  | P/Kit
11 | S/F Main & big end bearing set |  | Each
12 | S/F Connecting rod bush |  | Each
13 | S/F Timing belt |  | Each
14 | S/F Wheel bearing front and rear |  | Each
15 | S/F Air cleaner filter |  | Each
16 | S/F Universal cross |  | Each
17 | S/F Clutch Plate |  | Each
18 | S/F Pressure Plate |  | Each
19 | S/F Shock Observer Rear & Front Complete |  | Each
20 | S/F Thrust Bearing for Clutch |  | Each
21 | S/F Carburetor |  | Each
22 | S/F Break Shoe Complete Rear & Front |  | Each
23 | S/F Engine Foundation |  | Each
24 | S/F Sealed Beam superior quality |  | Each
25 | S/F Radiator |  | Each
26 | S/F Battery 12 Volt (AGS) |  | Each
27 | S/F Tyre with Tube 6-00-16-8Ply (General) |  | Each
28 | S/F Fan Belt |  | Each
29 | S/F Ignition Coil |  | Each
30 | S/F Plug wire Set |  | Each
31 | S/F Circuit 12 Volts |  | Each
32 | S/F Water body Complete |  | Each
33 | S/F Sparking Plug |  | Each
34 | S/F Master Cylinder Kit |  | Each
35 | S/F Wiper Blade |  | Each
36 | S/F Tie Rod End |  | Each
37 | S/F Dimmer Switch |  | Each
38 | S/F Side Mirror |  | Each
39 | S/F Door lock front and rear |  | Each
40 | S/F Silencer complete |  | Each
41 | S/F Main leaf spring (Kamani) |  | Each
42 | S/F First leaf spring (Kamani) |  | Each
43 | S/F Second leaf spring (Kamani) |  | Each
44 | S/F Third leaf spring (Kamani) |  | Each
45 | S/F Seat Covers (Superior Quality) |  | Each
46 | Repair of Radiator i/c Cleaning, Washing & Soldering |  | P/Job
47 | Painting of Complete Body |  | P/Job
48 | Denting of Complete Body |  | P/Job
49 | Repair of Self Starter Complete i/c Replacement of defective Parts |  | P/Job
50 | Repair of Generator 12volts, Repairing complete i/c Replacement of defective parts |  | P/Job
51 | Repairing of Break System Complete |  | P/Job
52 | Repair Machining work of engine head and block etc complete |  | P/Job
53 | Repair of Crank shaft |  | P/Job
54 | S/F Seat Cushioning |  | Each
55 | S/F CNG Kit with all asscesories |  | Each
56 | S/F CNG Clyinder (Flex) capacity 8KG |  | Each
57 | Labour charges of Engine Over hauling |  | P/Job
Toyota Hilax Pickup
58 | S/F Piston i/c Gudgin pin |  | P/Set
59 | S/F Piston Ring Set |  | P/Set
60 | S/F Ring Sleeve Set |  | P/Set
61 | S/F Valve inlet and exhaust Set |  | P/Set
62 | S/F Valve guide set |  | Each
63 | S/F Valve sleeve Set |  | P/Set
64 | S/F Oil Pump |  | Each
65 | Engine over hauling kit i/c main oil seal, front seal, valve seal & tapit cover seal |  | P/Kit
66 | S/F Main & big end bearing set |  | P/set
67 | S/F Connecting rod bush |  | P/Set
68 | Repair of Self Starter Complete i/c Replacement of defective Parts |  | P/Job
69 | Repair of Generator 12volts, Repairing complete i/c Replacement of defective parts |  | P/Job
70 | Repairing of Break System Complete |  | P/Job
71 | Machining work of engine head and block etc complete |  | P/Job
72 | Repair of Crack shaft |  | P/Job
73 | Repair of front and rear part |  | P/Job
74 | S/F Tyre & Tube |  | Each
75 | S/F Oil Filter |  | Each
76 | S/F Hood |  | Each
77 | S/F Diesel Filter |  | Each
78 | S/F Air Cleaner Filter |  | Each
79 | S/F Battary 12V x96 Amp |  | Each
80 | S/F Injector Set |  | Each
81 | S/F Fuel pump |  | Each
82 | S/F Radiator |  | Each
83 | S/F Tyre with Tube General-195-R-14 |  | Each
84 | S/F Master Clyender Kit |  | Each
85 | S/F Wheal Clyender Kit |  | Each
86 | Repair of break front wheal i/c providing discs |  | P/Job
87 | Repair of Break rear wheal i/c break leather |  | P/Job
88 | Repair of Fuel Pump |  | P/Job
89 | Suppying & fixing Air condition set with all asseceries |  | Each
90 | S/F Clyenceer complete |  | Each
91 | Repair of Seats |  | P/Job
92 | S/F Fan belt |  | Each
93 | S/F Universal Cross |  | Each
94 | S/F Shockes Observer |  | Each
95 | S/F Providing clutch plate |  | Each
96 | S/F Pressure Plate |  | Each
97 | S/F Providing thrust bearing |  | Each
98 | S/F Safe Guard Front |  | Each
99 | S/F Safe Guard to back indicators |  | Each
100 | S/F Seat Covers |  | Each
101 | S/F Door lock front and Rear |  | Each
102 | Labour charges of Engine Over hauling |  | P/Job
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## (ps)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supply of Electricals / Mechanicals Parts and Job Work of Pumping Stations @ various Sites under O&M / M&R of Pumping Stations in Khairpur Tubewell Division Khairpur.
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Rewinding of Electric Motor 100 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
2 | Rewinding of Electric Motor 40 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
3 | Repairing of upper housing of Electric motor 100 HP, including welding, turning, facing and fitting CI Sleeve |  | P/ Job
4 | Repairing of upper housing of Electric motor 40 HP, including welding, turning, facing and fitting CI Sleeve |  | P/ Job
5 | Repairing of Lower housing of Electric motor 100 HP,including welding, turning, facing and fitting CI Sleeve |  | P/ Job
6 | Repairing of Lower housing of Electric motor 40 HP,including welding, turning, facing and fitting CI Sleeve |  | P/ Job
7 | Supply of Head Cowl for 100 HP Electric Motor complete |  | Each
8 | Supply of Head Cowl for 40 HP Electric Motor complete |  | Each
9 | Supply of Cost Iron Fan for 100 HP E/Motor i/c non-reversable Supply of Balls |  | Each
10 | Supply of Cost Iron Fan for 40 HP E/Motor i/c non-reversable Supply of Balls |  | Each
11 | Supply of Cost Iron Motor coupling for 100 HP Electric Motor |  | Each
12 | Supply of Cost Iron Motor coupling for 40 HP Electric Motor |  | Each
13 | Supply of Cost Iron Ratchet Plate for 100 HP Electric Motor |  | Each
14 | Supply of Cost Iron Ratchet Plate for 40 HP Electric Motor |  | Each
15 | Supply of Cost Iron Inner / Outer Bearing plates for 100 HP Electric Motor |  | Each
16 | Supply of Cost Iron Inner / Outer Bearing plates for 40 HP Electric Motor |  | Each
17 | Supply of Connection Box with Terminals for 100 HP E/Motor |  | Each
18 | Supply of Connection Box with Terminals for 40 HP E/Motor |  | Each
19 | Supply & Fixing of Ball Bearing 6319 for 40/100 HP Electric Motor |  | Each
20 | Supply & Fixing of Ball Bearing 6318 for 40/100HP Electric Motor |  | Each
21 | Supply & Fixing of Ball Bearing 6322 for 100HP Electric Motor |  | Each
22 | Supply & Fixing of Ball Bearing 6312 for 40/100HP Electric Motor |  | Each
23 | Supply of Circuit Breaker (200) (440 Volt) 80/100HP E/Motor (Fuji) or equivalent |  | Each
24 | Supply of Circuit Breaker (200) (440 Volt) 80/100HP E/Motor (LG) or equivalent |  | Each
25 | Supply of Circuit Breaker (200) (440 Volt) 80/100HP E/Motor (Donga) or equivalent |  | Each
26 | Supply of Circuit Breaker (200) (440 Volt) 80/100HP E/Motor (Siemens) or equivalent |  | Each
27 | Supply of Magnetic Contactor MC-150A for 80/100 HP, Electric Motor (Donga) or equivalent |  | Each
28 | Supply of Magnetic Contactor MC-150A for 80/100 HP, Electric Motor (Fuji) or equivalent |  | Each
29 | Supply of Magnetic Contactor MC-150A for 80/100 HP, Electric Motor (LG) or equivalent |  | Each
30 | Supply of Magnetic Contactor MC-150A for 80/100 HP, Electric Motor (Siemens) or equivalent |  | Each
31 | Supply of Magnetic Contactor DMC-85 (440Volts) for 30,35,40, HP, Electric Motor (Donga) or equivalent |  | Each
32 | Supply of Magnetic Contactor GMC-85 (440Volts) for 30,35,40 HP, Electric Motor (LG) or equivalent |  | Each
33 | Supply of Circuit Breaker DB63SB (100Amp) (440V) for 30,35,40HP Electric Motor (Donga) or equivalent. |  | Each
34 | Supply of Circuit Breaker ABE103B (100Amp) (440V) for 30,35,40HP Electric Motor (Fuji) or equivalent. |  | Each
35 | Supply of Thermal Over load Realy TK-N3H (30-50A) 440V for 30,35,40HP (LG) or equivalent. |  | Each
36 | Supply of Thermal Over load Realy TK-N3H (45-65A) 440V for 30,35,40HP (LG) or equivalent. |  | Each
37 | Supply of Thermal Over load Realy MT-95/3K (63-85, 80-100Amp) for 80,85HP Motor (Donga) or equivalent |  | Each
38 | Supply of Thermal Over load Realy MT-95/3K (63-85, 80-100Amp) for 80,85HP Motor (Fuji) or equivalent |  | Each
39 | Supply of Thermal Over load Realy MT-95/3K (63-85, 80-100Amp) for 80,85HP Motor (LG) or equivalent |  | Each
40 | Supply of Thermal Over load Realy MT-95/3K (63-85, 80-100Amp) for 80,85HP Motor (Siemens) or equivalent |  | Each
41 | Supply of Thermal Over load Realy MT-150/3K (95-130, 110-15Amp) for 80,85HP Motor (Donga) or equivalent |  | Each
42 | Supply of Thermal Over load Realy MT-150/3K (95-130, 110-15Amp) for 80,85HP Motor (Fuji) or equivalent |  | Each
43 | Supply of Thermal Over load Realy MT-150/3K (95-130, 110-15Amp) for 80,85HP Motor (LG) or equivalent |  | Each
44 | Supply of Thermal Over load Realy MT-150/3K (95-130, 110-15Amp) for 80,85HP Motor (Siemens) or equivalent |  | Each
45 | Supply of Thermal Over load Relay TK-N3H (34-50A) 440Volts (40HP LG) |  | Each
46 | Supply of Thermal Over load Relay TK-N3H (45-65A) 440Volts (40HP LG) |  | Each
47 | Supply of Volt Meter for 80/100 HP as per sample |  | Each
48 | Supply of Amp Meter for 80/100 HP as per sample |  | Each
49 | Supply of On Off push Button 80/100 H.P as per sample |  | Each
50 | Supply of Top Shaft 30mm as per sample |  | Each
51 | Supply of Column shaft 30mm (S.S) Both ends threaded as per sample |  | Each
52 | Supply of Shaft protective sleeve for 30mm dia column shaft (S.S) as per sample |  | Each
53 | Supply of Threaded coupling 30mm dia as per sample |  | Each
54 | Supply of Stuffing box 30mm dia complete as per sample |  | Each
55 | Supply of Motor Fan for 100HP Motor. |  | Each
56 | Supply of Cowl for 100HP Motor. |  | Each
57 | Supply of Top Nut with washers (As per Sample) |  | Each
58 | Supply of Rubber Linned Bearing bush 70.2mm dia as per sample |  | Each
59 | Supply of Rubber Linned Bearing bush 38mm dia as per sample |  | Each
60 | Supply of Rubber Linned Bearing bush 55.2mm dia as per sample |  | Each
61 | Supply of Pump Shaft 30mm SS as per sample 5.0 cusecs for Pumping Station. |  | Each
62 | Supply of Pump Shaft as per sample for 30.0 cusecs SS for Pumping Station. |  | Each
63 | Supply of Fan for 50,80,100 H.P(Reversable Ball) as per sample |  | Each
64 | Supply of Nuts bolts with washers all sizes (Standard Quality) |  | P.KG
65 | Repair of Top Shaft 25/30 cusecs i/c welding, turning, threading, grooves and polishing etc complete as per sample |  | P/Job
66 | Repair of Top Shaft 5.0 cusecs i/c facing, welding, threading, both sides in grooves. |  | P/Job
67 | Repair of Pump Shaft 4/5 cusecs i/c welding, cutting, facing & threading etc complete |  | P/Job
68 | Repair of Pump Shaft 25/30 i/c Welding, turning & threading etc complete |  | P/Job
69 | Rewinding of Electric Transformer HT Coil 50 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
70 | Rewinding of Electric Transformer HT Coil 100 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
71 | Rewinding of Electric Transformer LT Coil 50 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
72 | Rewinding of Electric Transformer LT Coil 100 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
73 | Rewinding of Electric Transformer HT Coil 200 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
74 | Rewinding of Electric Transformer LT Coil 200 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
75 | Rewinding of Electric Transformer HT Coil 300 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
76 | Rewinding of Electric Transformer LT Coil 300 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
77 | Supplying & Fixing HT insulator including Rod, Nut Bolts, etc complete for 100,200 300, KVA Transformer. |  | P/ Job
78 | Supplying & Fixing LT Bush including Rod, Nut Bolts, etc complete for 100,200 & 300 KVA Transformer. |  | P/ Job
79 | Supplying of Transformer Oil (Superior Quality) |  | P/Lt:
80 | Supplying of Plate form of Transformer with all nuts & bolts for 100,200,300 KVA Transformers |  | Each
81 | Welding of Transformer with Plate Form including welding of Steel Strip 2" wide to all four sides and Nuts of Transformer Cover. |  | P/ Job
82 | Supplying of Log Book for Pumping Station |  | Each
83 | Supplying of PVC 7/064 Four Core Silver (Superior Quality) |  | P/Meter
84 | Supplying of PVC 7/064 Four Core Cooper (Superior Quality) |  | P/Meter
85 | Supplying of PVC Four core Silver Wire 120mm (Superior Quality) |  | P/Meter
86 | Supplying of PVC Four core Copper Wire 120 mm (Superior Quality) |  | P/Meter
87 | Supplying of AVO Meter 600Volt 300 Amp |  | Each
88 | Supplying of Single Core Wire 20 mm (Superior Quality) |  | P/Meter
89 | Supplying of Single Core Wire 50 mm (Superior Quality) |  | P/Meter
90 | Supplying of Air Filter for 275/365 KVA Generator |  | Each
91 | Supplying of Oil Filter for 275/365 KVA Generator |  | Each
92 | Supplying of Fan Belt for 275/365 KVA Generator |  | Each
93 | Repair of Self Starter for 275/365 KVA Generator |  | P/Job
94 | Repair of Generator 24Volts for 275/365 KVA Generator |  | P/Job
95 | Repair of Radiator for 275/365 KVA Generator |  | P/Job
96 | Supplying of Air Filter for 635 KVA Generator |  | Each
97 | Supplying of Oil Filter for 635 KVA Generator |  | Each
98 | Supplying of Fan Belt for 635 KVA Generator |  | Each
99 | Repair of Self Starter for 635 KVA Generator |  | P/Job
100 | Repair of Generator 24Volts for 635 KVA Generator |  | P/Job
101 | Repair of Radiator for 635 KVA Generator |  | P/Job
102 | Supplying of Change Over for Pumping Station |  | Each
103 | Supplying Log Book for Pumping Station |  | Each
104 | Supplying Battery 180 Volts |  | Each
105 | Supplying Battery 200 Volts |  | Each
106 | Supplying Greae Multi-Purpose (Heat Proof) |  | P/KG
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## (Motor) (3)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Rewinding of Electric Motor / Motors Parts of various HP's and Rewinding & repair of Electric Transformers / Transformer parts for 25KVA & 50KVA of Tubewells under O&M / M&R of Tubewells in Khairpur Tubewell Division Khairpur
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Rewinding of Electric Motor 5.4 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
2 | Rewinding of Electric Motor 10HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
3 | Rewinding of Electric Motor 11.5 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
4 | Rewinding of Electric Motor 15HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
5 | Rewinding of Electric Motor 20HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
6 | Rewinding of Electric Motor 25HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
7 | Rewinding of Electric Motor 30HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
8 | Rewinding of Electric Motor 35/40 HP with Supper Enameled Copper Wire (Burnt/Old Copper Wire not refundable) |  | P/ Job
9 | Repairing of upper housing of Electric motor 5.4 H.P , including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
10 | Repairing of upper housing of Electric motor 10 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
11 | Repairing of upper housing of Electric motor 11.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
12 | Repairing of upper housing of Electric motor 15 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
13 | Repairing of upper housing of Electric motor 20 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
14 | Repairing of upper housing of Electric motor 25 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
15 | Repairing of upper housing of Electric motor 30 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
16 | Repairing of upper housing of Electric motor 35/40 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
17 | Repairing of Lower housing of Electric motor 5.4 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
18 | Repairing of Lower housing of Electric motor 10 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
19 | Repairing of Lower housing of Electric motor 11.5 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
20 | Repairing of Lower housing of Electric motor 15 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
21 | Repairing of Lower housing of Electric motor 20 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
22 | Repairing of Lower housing of Electric motor 25 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
23 | Repairing of Lower housing of Electric motor 30 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
24 | Repairing of Lower housing of Electric motor 35/40 HP, including welding, turning, facing and fitting CI Sleeve as per sample |  | P/ Job
25 | Supply of Head Cowl for 5.4 HP Electric Motor Complete |  | Each
26 | Supply of Head Cowl for 10, HP Electric Motor (New Model) Complete |  | Each
27 | Supply of Head Cowl for 11.5 HP Electric Motor Complete |  | Each
28 | Supply of Head Cowl for 15 HP Electric Motor (New Model) Complete |  | Each
29 | Supply of Head Cowl for 20 HP Electric Motor Complete |  | Each
30 | Supply of Head Cowl for 25 HP Electric Motor Complete |  | Each
31 | Supply of Head Cowl for 30 HP Electric Motor Complete |  | Each
32 | Supply of Head Cowl for 35 /40 HP Electric Motor Complete |  | Each
33 | Supply of Cost Iron Fan for 5.4 HP E/Motor with Ball |  | Each
34 | Supply of Cost Iron Fan for 10 HP E/Motor with Ball |  | Each
35 | Supply of Cost Iron Fan for 11.5 HP E/Motor with Ball |  | Each
36 | Supply of Cost Iron Fan for 15 HP E/Motor with Ball |  | Each
37 | Supply of Cost Iron Fan for 20 HP E/Motor with Ball |  | Each
38 | Supply of Cost Iron Fan for 25 HP E/Motor with Ball |  | Each
39 | Supply of Cost Iron Fan for 30 HP E/Motor with Ball |  | Each
40 | Supply of Cost Iron Fan for 35/40 HP E/Motor with Ball |  | Each
41 | Supply of Cost Iron Motor coupling for 5.4 HP Electric Motor Complete |  | Each
42 | Supply of Cost Iron Motor coupling for 10 HP Electric Motor Complete |  | Each
43 | Supply of Cost Iron Motor coupling for 11.5 HP Electric Motor complete |  | Each
44 | Supply of Cost Iron Motor coupling for 15 HP Electric Motor complete |  | Each
45 | Supply of Cost Iron Motor coupling for 20 HP Electric Motor complete |  | Each
46 | Supply of Cost Iron Motor coupling for 25 HP Electric Motor complete |  | Each
47 | Supply of Cost Iron Motor coupling for 30 HP Electric Motor complete |  | Each
48 | Supply of Cost Iron Motor coupling 35/40 HP Electric Motor complete |  | Each
49 | Supply of Cost Iron non-reverseable Ratchet Plate for 5.4 HP Electric Motor |  | Each
50 | Supply of Cost Iron non-reverseable Ratchet Plate for 10 HP Electric Moto |  | Each
51 | Supply of Cost Iron non-reverseable Ratchet Plate for 11.5 HP Electric Motor |  | Each
52 | Supply of Cost Iron non-reverseable Ratchet Plate for 20 HP Electric Motor |  | Each
53 | Supply of Cost Iron non-reverseable Ratchet Plate for 25 HP Electric Motor |  | Each
54 | Supply of Cost Iron non-reverseable Ratchet Plate for 30 HP Electric Motor |  | Each
55 | Supply of Cost Iron non-reverseable Ratchet Plate for 35 /40 HP Electric |  | Each
56 | Supply of Cost Iron Inner / Outer Bearing plates for 5.4 HP Electric Motor |  | Each
57 | Supply of Cost Iron Inner / Outer Bearing plates for 10 HP Electric Motor |  | Each
58 | Supply of Cost Iron Inner / Outer Bearing plates for 11.5 HP Electric Motor |  | Each
59 | Supply of Cost Iron Inner / Outer Bearing plates for 15 HP Electric Motor |  | Each
60 | Supply of Cost Iron Inner / Outer Bearing plates for 20 HP Electric Motor |  | Each
61 | Supply of Cost Iron Inner / Outer Bearing plates for 25 HP Electric Motor |  | Each
62 | Supply of Cost Iron Inner / Outer Bearing plates for 30 HP Electric Motor |  | Each
63 | Supply of Cost Iron Inner / Outer Bearing plates for 35/40 HP Electric |  | Each
64 | Supply of Connection Box with Terminals for 5.4 HP Electric Motor |  | Each
65 | Supply of Connection Box with Terminals for 10 HP Electric Motor |  | Each
66 | Supply of Connection Box with Terminals for 11.5 HP Electric Motor |  | Each
67 | Supply of Connection Box with Terminals for 15 HP Electric Motor |  | Each
68 | Supply of Connection Box with Terminals for 20 HP Electric Motor |  | Each
69 | Supply of Connection Box with Terminals for 25 HP Electric Motor |  | Each
70 | Supply of Connection Box with Terminals for 30 HP Electric Motor |  | Each
71 | Supply of Connection Box with Terminals for 35/40 HP Electric Motor |  | Each
72 | Supply of Ball Bearing 6307 for 5.4 HP Electric Motor (Superior Quality). |  | Each
73 | Supply of Ball Bearing 6407 for 5.4 HP Electric Motor (Superior Quality). |  | Each
74 | Supply of Ball Bearing 6309 10,15,20 HP Electric Motor (Superior Quality). |  | Each
75 | Supply of Ball Bearing 6410 for 11.5 HP Electric Motor (Superior Quality). |  | Each
76 | Supply of Ball Bearing 6310 for 11.5,20 & 25 HP Electric Motor (Superior Quality). |  | Each
77 | Supply of Ball Bearing 6317 for 20,25 HP Electric Motor (Superior Quality). |  | Each
78 | Supply of Ball Bearing 6319 for 30,35,40 HP Electric Motor (Superior Quality). |  | Each
79 | Supply of Ball Bearing 6312 for 30,35,40 HP Electric Motor (Superior Quality). |  | Each
80 | Supply of Ratchat Pin as per sample |  | Each
81 | Repair of Rotor as per sample |  | P/Job
82 | Rewinding & Re-fitting of high tension (HT) Coil of 25 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
83 | Rewinding & Re-fitting of low tension (LT) Coil of 25 KVA transformer i/c un-recoverable burnt/old wire. |  | P/ Job
84 | Rewinding & Re-fitting of High tension (HT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
85 | Rewinding & Re-fitting of low tension (LT) Coil of 50 KVA transformer including un-recoverable burnt/old wire. |  | P/ Job
86 | Supplying & Fixing Core of 25 KVA transformer (Local) |  | P/ Job
87 | Supplying & Fixing Core of 50 KVA transformer (Local) |  | P/ Job
88 | Supplying & Fixing HT insulator including Rod, Nut Bolts, etc complete for 25 & 50KVA Transformer. |  | P/ Job
89 | Supplying & Fixing LT insulator including Rod, Nut Bolts, etc complete for 25 & 50KVA Transformer. |  | P/ Job
90 | Supplying & Fixing HT Bush including Rod, Nut Bolts, etc complete for 25 & 50 KVA Transformer. |  | P/ Job
91 | Supplying & Fixing LT Bush including Rod, Nut Bolts, etc complete for 25 & 50 KVA Transformer. |  | P/ Job
92 | Supplying of Transformer Oil (Superior Quality) |  | P/Lt:
93 | Supplying of Plate form of Transformer with all nuts & bolts for 25,50KVA Transformers |  | Each
94 | Welding of Transformer with Plate Form including welding of Steel Strip 2" wide to all four sides and Nuts of Transformer Cover. |  | P/ Job
95 | Supplying of Dry Welding plant (200 Amp) for welding of transformers of Tubewells |  | Each
96 | Supplying of Grease Multipurpose (Heat Proof) |  | P/KG
97 | Supplying of Grease Gun for E/Motor of Tubewells (Heavy Duty) |  | Each
98 | Supplying of Log Book for T/Well. |  | Each
99 | Supplying of Steel Strucuture Pole for Tubewells |  | Each
100 | Supplying of Electric Pole PCC for Tubewells |  | Each
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## (pump) (2)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supply of Pump Parts / Job work of Tubewells for various cusecs under O&M / M&R of Tubewells in Khairpur Tubewell Division Khairpur
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Supply of Top Shaft 25mm x 1140mm (SS) 1.0 Cusecs HS both end threaded |  | Each
2 | Supply of Top Shaft 25mm x 1250mm (SS) 1.5 Cusecs HS both end threaded |  | Each
3 | Supply of Top Shaft 25mm x 1300mm (SS) 2.0 Cusecs HS both end threaded |  | Each
4 | Supply of Top Shaft 30mm x 1395mm (SS) 3.0 Cusecs HS both end threaded |  | Each
5 | Supply of Top Shaft 25mm x 1230mm (SS) 1.5 Cusecs LS both end threaded |  | Each
6 | Supply of Top Shaft 25mm x 1370mm (SS) 2.0 Cusecs LS both end threaded |  | Each
7 | Supply of Top Shaft 30mm x 1456mm (SS) 3.0 Cusecs LS both end threaded |  | Each
8 | Supply of Top Shaft 30mm x 1300mm (SS) 4.0 / 5.0 Cusecs LS both end threaded |  | Each
9 | Supply of Upper Shaft 25mm x 2600mm (SS) 1.0, 1.5 & 2.0 Cusecs HS |  | Each
10 | Supply of Upper Shaft 30mm x 2600mm (SS) 3.0 Cusecs LS |  | Each
11 | Supply of Top Nut 25mm |  | Each
12 | Supply of Top Nut 30mm |  | Each
13 | Supply of Threaded column shaft with protective sleeve (S.Steel) 25mm x 3050mm for 1.5 & 2.0 Cusecs HS |  | Each
14 | Supply of Threaded column shaft with protective sleeve 30mm x 3050mm (Stainless Steel) for 3.0 , 4.0 & 5.0 Cusecs H.S |  | Each
15 | Supply of Threaded column shaft with protective sleeve (S.Steel) 25mm x 3050mm for 1.5 & 2.0 Cusecs LS |  | Each
16 | Supply of Threaded column shaft with protective sleeve 30mm x 3050mm (Stainless Steel) for 3.0 , 4.0 & 5.0 Cusecs LS |  | Each
17 | Supply of Supplying & fixing shaft protective sleeve for 25mm dia of column shaft (S.S) |  | Each
18 | Supplying & fixing shaft protective sleeve for 30mm dia of column shaft (S.S) |  | P/Job
19 | Supply of Threaded coupling 25mm dia L.S |  | Each
20 | Supply of Threaded coupling 30mm dia L.S |  | Each
21 | Supply of Threaded coupling 25mm dia H.S |  | Each
22 | Supply of Threaded coupling 30mm dia H.S |  | Each
23 | Supply of Stuffing box 25mm dia complete L.S |  | Each
24 | Supply of Stuffing box 30mm dia complete L.S |  | Each
25 | Supply of Stuffing box 25mm dia complete H.S |  | Each
26 | Supply of Stuffing box 30mm dia complete H.S |  | Each
27 | Supply of Gland cover (cast iron) for stuffing box 25mm dia |  | Each
28 | Supply of Gland cover (cast iron) for stiffing box 30mm dia |  | Each
29 | Supply of Rubber Bearing bush 32.2mm dia for column shaft 25mm L.S |  | Each
30 | Supply of Rubber Bearing bush 32.2mm dia for column shaft 25mm H.S |  | Each
31 | Supply of Rubber Bearing bush 38.2mmdia for column shaft 30mm L.S |  | Each
32 | Supply of Rubber Bearing bush 38.2mmdia for column shaft 30mm H.S |  | Each
33 | Supply of Pump Shaft 740 x 35 x 25mm for 1.0 cusecs SS |  | Each
34 | Supply of Pump Shaft 900 x 35 x 25mm for 1.5 cusecs SS |  | Each
35 | Supply of Pump Shaft 850 x 45 x 25mm for 2.0 cusecs SS |  | Each
36 | Supply of Pump Shaft 855 x 45 x 30mm for 3.0 cusecs SS |  | Each
37 | Supply of Pump Shaft 1050 x 45 x 30mm for 3.0 cusecs SS |  | Each
38 | Supply of Pump Shaft 1200 x 45 x 30mm for 4.0 cusecs SS |  | Each
39 | Supply of Pump Shaft 855 x 45 x 30mm for 5.0 cusecs SS |  | Each
40 | Supply of Upper piece of Bowl fo 1.0 cueces i/c finishing, facing & holing |  | Each
41 | Supply of Upper piece of Bowl fo 2.0 cueces i/c finishing, facing & holing |  | Each
42 | Supply of Upper piece of Bowl fo 3.0 cueces i/c finishing, facing & holing |  | Each
43 | Supply of Upper piece of Bowl fo 4.0 / 5.0 cueces i/c finishing, facing & holing |  | Each
44 | Supply of Intermediate piece of Bowl for 1.0 cuecs i/c finishing, facing & holing |  | Each
45 | Supply of Intermediate piece of Bowl for 1.5 cuecs i/c finishing, facing & holing |  | Each
46 | Supply of Intermediate piece of Bowl for 2.0 cuecs i/c finishing, facing & holing |  | Each
47 | Supply of Intermediate piece of Bowl for 3.0 cuecs i/c finishing, facing & holing |  | Each
48 | Supply of Intermediate piece of Bowl for 4.0 / 5.0 cuecs i/c finishing, facing & holing |  | Each
49 | Supply of Lower piece of Bowl for 1.0 cueces i/c finishing, facing & holing |  | Each
50 | Supply of Lower piece of Bowl for 1.5 cueces i/c finishing, facing & holing |  | Each
51 | Supply of Lower piece of Bowl for 2.0 cueces i/c finishing, facing & holing |  | Each
52 | Supply of Lower piece of Bowl for 3.0 cueces i/c finishing, facing & holing |  | Each
53 | Supply of Lower piece of Bowl for 4.0 / 5.0 cueces i/c finishing, facing & holing |  | Each
54 | Supply of Sand guard for pump shaft 35mm dia for 1.0 cueces (Bronze) |  | Each
55 | Supply of Sand guard for pump shaft 35mm dia for 1.5 cueces (Bronze) |  | Each
56 | Supply of Sand guard for pump shaft 35mm dia for 2.0 cueces (Bronze) |  | Each
57 | Supply of Sand guard for pump shaft 35mm dia for 3.0 cueces (Bronze) |  | Each
58 | Supply of Sand guard for pump shaft 35mm dia for 4.0 / 5.0 cueces (Bronze) |  | Each
59 | Supply of Sand guard for pump shaft 45mm dia for 1.0 cueces (Bronze) |  | Each
60 | Supply of Sand guard for pump shaft 45mm dia for 1.5 cueces (Bronze) |  | Each
61 | Supply of Sand guard for pump shaft 45mm dia for 2.0 cueces (Bronze) |  | Each
62 | Supply of Sand guard for pump shaft 45mm dia for 3.0 cueces (Bronze) |  | Each
63 | Supply of Sand guard for pump shaft 45mm dia for 4.0 5.0 cueces (Bronze) |  | Each
64 | Supply of C.I Column pipe Bearing socket 6” dia with bearing bush & both side threaded |  | Each
65 | Supply of C.I Column pipe Bearing socket 7” dia with bearing bush & both side threaded |  | Each
66 | Supply of C.I Column pipe Bearing socket 8” dia with bearing bush & both side threaded |  | Each
67 | Supply of C.I Column pipe Bearing socket 10” dia with bearing bush & both side threaded |  | Each
68 | Supply of M.S Column pipe 6” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
69 | Supply of M.S Column pipe 7” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
70 | Supply of M.SColumn pipe 8” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
71 | Supply of M.S Column pipe 10” dia, 10’-0 long, 8mm thick, both side threaded |  | Each
72 | Supply of Suction pipe 6” dia, 5mm thick x 13’.0 long (PVC). |  | Each
73 | Supply of Suction pipe 7” dia, 5mm thick x 13’.0 long (PVC). |  | Each
74 | Supply of Suction pipe 8” dia, 5mm thick x 13’.0 long (PVC). |  | Each
75 | Supply of Nipple 6” dia x ½ ft long, one end threaded (PVC). |  | Each
76 | Supply of Nipple 7” dia x ½ ft long, one end threaded (PVC). |  | Each
77 | Supply of Nipple 8” dia x ½ ft long, one end threaded (PVC). |  | Each
78 | Supply of M.S delivery pipe 6” dia, 1/8” thick, 10ft long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
79 | Supply of M.S delivery pipe 7” dia, 1/8” thick, 10ft long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
80 | Supply of M.S delivery pipe 8” dia, 1/8” thick, 10’.0” long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
81 | Supply of M.S delivery pipe 10” dia, 1/8” thick, 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
82 | Supply of M.S delivery pipe 12” dia, 1/8” thick, 10’.0 long i/c both side flanges with holes and providing nipple for piezo meter etc complete |  | Each
83 | Supply of Rubber flange packing 6”dia, 5mm thick, i/c making holes |  | Each
84 | Supply of Rubber Flange 7” dia |  | Each
85 | Supply of Rubber Flange 8” dia |  | Each
86 | Supply of Rubber Flange 10” dia |  | Each
87 | Supply of Rubber Flange 12” dia |  | Each
88 | Supply of Spider 6" (Brass) |  | Each
89 | Supply of Spider 7" (Brass) |  | Each
90 | Supply of Spider 8" (Brass) |  | Each
91 | Supply of Spider 14" (Brass) |  | Each
92 | Repair of Top Shaft 1.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
93 | Repair of Top Shaft 2.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
94 | Repair of Top Shaft 3.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
95 | Repair of Top Shaft 4.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
96 | Repair of Top Shaft 5.0 cusecs i/c facing, welding, threading both side & grooves |  | P/Job
97 | Repair of column Shaft both side i/c Welding, Cutting, facing & threading for 25 mm |  | P/Job
98 | Repair of column Shaft both side i/c Welding, Cutting, facing & threading for 30 mm |  | P/Job
99 | Repairing of stuffing box i/c replacement of cum seal cage 25mm dia (gunmetal) also providing funnel arrangement etc complete L.S |  | P/Job
100 | Repairing of stuffing box i/c replacement of cum seal cage30mm dia (gunmetal) also providing funnel arrangement etc complete L.S |  | P/Job
101 | Reparing of stuffing box i/x replacement of cum seal cage 25mm dia (gunmetal) also providing Grease cup arrangement etc complete H.S |  | P/Job |  | 3206 | 3213 | 3220 | 3227 | 3234 | 3241 | 3192 | 3206
102 | Reparing of stuffing box i/x replacement of cum seal cage 30mm dia (gunmetal) also providing Grease cup arrangement etc complete H.S |  | P/Job |  | 3941 | 3948 | 3955 | 3962 | 3969 | 3976 | 3927 | 3941
103 | Repair of column pipe 6" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 2856 | 2863 | 2870 | 2877 | 2884 | 2891 | 2842 | 2856
104 | Repair of column pipe 7" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 2466 | 2473 | 2480 | 2487 | 2494 | 2501 | 2452 | 2466
105 | Repair of column pipe 8" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 3906 | 3913 | 3920 | 3927 | 3934 | 3941 | 3892 | 3906
106 | Repair of column pipe 10" dia i/c welding, cutting, facing, threading both sides. |  | P/Job |  | 4481 | 4488 | 4495 | 4502 | 4509 | 4516 | 4467 | 4481
107 | Repair of pump shaft 1.0 cusecs i/c welding, cutting, facing, threading |  | P/Job |  | 1266 | 1273 | 1280 | 1287 | 1294 | 1301 | 1252 | 1266
108 | Repair of pump shaft 2.0 cusecs i/c welding, cutting, facing, threading |  | P/Job |  | 1336 | 1343 | 1350 | 1357 | 1364 | 1371 | 1322 | 1336
109 | Repair of pump shaft 3.0 cusecs i/c welding, cutting, facing, threading . |  | P/Job |  | 1766 | 1773 | 1780 | 1787 | 1794 | 1801 | 1752 | 1766
110 | Repair of pump shaft 4.0 / 5.0cusecs i/c welding, cutting, facing, threading |  | P/Job |  | 1806 | 1813 | 1820 | 1827 | 1834 | 1841 | 1792 | 1806
111 | Repair of Delivery pipe 7" i/c welding, cutting, facing & flangs both sides |  | P/Job |  | 7156 | 7163 | 7170 | 7177 | 7184 | 7191 | 7142 | 7156
112 | Repair of Delivery pipe 8" i/c welding, cutting, facing & flangs both sides |  | P/Job |  | 7956 | 7963 | 7970 | 7977 | 7984 | 7991 | 7942 | 7956
113 | Repair of Delivery pipe 10" i/c welding, cutting, facing & flangs both sides |  | P/Job |  | 8556 | 8563 | 8570 | 8577 | 8584 | 8591 | 8542 | 8556
114 | Repair of Delivery pipe 10" i/c welding, cutting, facing & flangs both sides |  | P/Job
115 | Repairing of bowl assembly 1.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 11198 | 11205 | 11212 | 11219 | 11226 | 11233 | 11184 | 11198
116 | Repairing of bowl assembly 2.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 14322 | 14329 | 14336 | 14343 | 14350 | 14357 | 14308 | 14322
117 | Repairing of bowl assembly 3.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 15281 | 15288 | 15295 | 15302 | 15309 | 15316 | 15267 | 15281
118 | Repairing of bowl assembly 4.0/5.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 16095 | 16102 | 16109 | 16116 | 16123 | 16130 | 16081 | 16095
119 | Repairing of bowl assembly 1.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 13181 | 13188 | 13195 | 13202 | 13209 | 13216 | 13167 | 13181
120 | Repairing of bowl assembly 2.0 Cusecs single stage, providing bearing & inserted bearingSleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 18666 | 18673 | 18680 | 18687 | 18694 | 18701 | 18652 | 18666
121 | Repairing of bowl assembly 3.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 24061 | 24068 | 24075 | 24082 | 24089 | 24096 | 24047 | 24061
122 | Repairing of bowl assembly 4.0/5.0 Cusecs single stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 19436 | 19443 | 19450 | 19457 | 19464 | 19471 | 19422 | 19436
123 | Repairing of bowl assembly 1.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 13556 | 13563 | 13570 | 13577 | 13584 | 13591 | 13542 | 13556
124 | Repairing of bowl assembly 2.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 16486 | 16493 | 16500 | 16507 | 16514 | 16521 | 16472 | 16486
125 | Repairing of bowl assembly 3.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 19556 | 19563 | 19570 | 19577 | 19584 | 19591 | 19542 | 19556
126 | Repairing of bowl assembly 4.0/5.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush L.S |  | P/Job |  | 22471 | 22478 | 22485 | 22492 | 22499 | 22506 | 22457 | 22471
127 | Repairing of bowl assembly 1.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 14156 | 14163 | 14170 | 14177 | 14184 | 14191 | 14142 | 14156
128 | Repairing of bowl assembly 2.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 15376 | 15383 | 15390 | 15397 | 15404 | 15411 | 15362 | 15376
129 | Repairing of bowl assembly 3.0 Cusecs double stage, providing bearing & inserted bearing Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 20186 | 20193 | 20200 | 20207 | 20214 | 20221 | 20172 | 20186
130 | Repairing of bowl assembly 4/5 Cusecs double stage, providing bearing & bearing inserted Sleeve / sand guard /Rubber Bearing Bush H.S |  | P/Job |  | 23631 | 23638 | 23645 | 23652 | 23659 | 23666 | 23617 | 23631
131 | Gravel from Cambalpur Quarry (Attock) |  | P/Cft
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR

## (panel)
SCHEDULE OF PRICESS
RATE QUOTATION UPTO 30TH JUNE 2017
Name of Work:- | Procurement of Goods and Services for Supply of Panel Parts of Tubewells for various cusecs under O&M / M&R of Tubewells in Khairpur Tubewell Division Khairpur
S.NO | DESCRIPTION | RATE | UNIT | REMARKS
1 | Supply of Magnetic Contactor DMC-50 (440 Volt) for 5.4,15 HP, Electric Motor (Donga) or equivalent |  | Each
2 | Supply of Magnetic Contactor DMC-65 (440 Volt) for 20,25 HP, Electric Motor. (Donga) or equivalent |  | Each
3 | Supply of Magnetic Contactor DMC-85 (440 Volt) for 30,35,40 HP, Electric Motor (Donga) or equivalent |  | Each
4 | Supply of Magnetic Contactor GMC-50 (440 Volt) for 4.5 HP to 15 HP, Electric Motor L.G or equivalent |  | Each
5 | Supply of Magnetic Contactor GMC-65 (440 Volt) for 20 , 25 HP, Electric Motor L.G or equivalent |  | Each
6 | Supply of Magnetic Contactor GMC-85 (440 Volt) for 30,35,40 HP, Electric Motor L.G or equivalent |  | Each
7 | Supply of Circuit Breaker DB63 SB (50A) (440 Volt) 5.4, 11.5 & 15HP (Donga) or equivalent |  | Each
8 | Supply of Circuit Breaker DB63 SB (60A) (440 Volt) 20HP to 25 HP (Donga) or equivalent |  | Each
9 | Supply of Circuit Breaker DB63 SB (100A) (440 Volt) 30, 35, 40HP (Donga) or equivalent |  | Each
10 | Supply of Circuit Breaker ABE53B (50A) (440 Volt) L.G 5.4, 11.5 & 15HP (Fuji) or equivalent |  | Each
11 | Supply of Circuit Breaker ABS63B (60A) (440 Volt) L.G 20HP to 25HP (Fuji) or equivalent |  | Each
12 | Supply of Circuit Breaker ABE103B (100A) (440 Volt) L.G 30HP,35HP & 40HP (Fuji) or equivalent |  | Each
13 | Supply of Thermal Over Load Relay TK-51NH (6-9 A) (440 Volt) L.G 5.4HP) or equivalent |  | Each
14 | Supply of Thermal Over Load Relay TK-51NH (9-13 A) (440 Volt) L.G 11.5HP (Siemens) or equivalent |  | Each
15 | Supply of Thermal Over Load Relay TK-51NH (16-22 A) (440 Volt) 15HP L.G or equivalent |  | Each
16 | Supply of Thermal Over Load Relay TK-N3H (18-26 A) (440 Volt) 20HP L.G or equivalent |  | Each
17 | Supply of Thermal Over Load Relay TK-N3H (24-36 A) (440 Volt) 30HP L.G or equivalent |  | Each
18 | Supply of Thermal Over Load Relay TK-N3H (28-40 A) (440 Volt) 35HP L.G or equivalent |  | Each
19 | Supply of Thermal Over Load Relay TK-N3H (34-50 A) (440 Volt) 40HP L.G or equivalent |  | Each
20 | Supply of Thermal Over Load Relay TK-N3H (45-65 A) (440 Volt) 40HP L.G or equivalent |  | Each
21 | Supply of Thermal Over Load Relay GTK-22H (6-9 A) (440 Volt) L.G or equivalent |  | Each
22 | Supply of Thermal Over Load Relay GTK-22H (9-13 A) (440 Volt) L.G or equivalent |  | Each
23 | Supply of Thermal Over Load Relay GTK-22H (16-22 A) (440 Volt) (Siemens) or equivalent |  | Each
24 | Supply of Thermal Over Load Relay GTK-40H (18-26 A) (440 Volt) (Siemens) or equivalent |  | Each
25 | Supply of Thermal Over Load Relay GTK-40H (24-36 A) (440 Volt) (Siemens) or equivalent |  | Each
26 | Supply of Thermal Over Load Relay GTK-40H (28-40 A) (440 Volt) (Siemens) or equivalent |  | Each
27 | Supply of Thermal Over Load Relay GTK-85H (34-50 A) (440 Volt) (Siemens) or equivalent |  | Each
28 | Supply of Thermal Over Load Relay GTK-85H (45-65 A) (440Volt) (Siemens) or equivalent |  | Each
29 | Supply of On/Off Push Button set (Green + Red) |  | P/Set
30 | Supply of Panel Box complete with delta star system for 4/5, 7.5, 10,15,20,25,30,35/40HP |  | Each
31 | Repair of Panel box i/c welding, rewiring, cleaning, painting and fixing complete in all respects including supply of new items. |  | P/Job
32 | Supply of PVC Copper Wire 7/029 Single Core (Superior Quality) |  | P/Coil
33 | Supply of PVC Copper Wire 7/036 Single Core (Superior Quality) |  | P/Coil
34 | Supply of PVC Copper Wire 7/044 Single Core (Superior Quality) |  | P/Coil
35 | Supply of PVC Copper Wire 7/052 Single Core (Superior Quality) |  | P/Coil
36 | Supply of PVC Copper Wire 7/064 Single Core (Superior Quality) |  | P/Coil
37 | Supply of PVC Copper Wire 7/044 Four Core (Superior Quality) |  | P/Meter
38 | Supply of PVC Copper Wire 7/052 Four core (Superior Quality) |  | P/Meter
39 | Supply of PVC Copper Wire 7/064 Four Core (Superior Quality) |  | P/Meter
40 | Supply of PVC Silver Wire 7/044 Four Core (Superior Quality) |  | P/Meter
41 | Supply of PVC Silver Wire 7/052 Four core (Superior Quality) |  | P/Meter
42 | Supply of PVC Silver Wire 7/064 Four Core (Superior Quality) |  | P/Meter
43 | Supply of AVO Meter 600Volt 300 Amp |  | Each
EXECUTIVE ENGINEER
KHAIRPUR TUBEWELL DIVISION
KHAIRPUR