## Cat I Ph II
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF CATEGOREY -I BUNGLOW 5 Nos).(PHASE-II)
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 33680 | @ | 3176.25 | %0Cft | 106976
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 12413.75 | @ | 9416.28 | %Cft | 1168913
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 39279.65 | @ | 337 | P.Cft | 13237242
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 210.4267 | @ | 5001.7 | P.Cwt | 1052491 |  |  | 1052491
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 6360 | @ | 3127.41 | %Cft | 198903
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 2130.6 | @ | 12595 | %Cft | 268349
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 11226.6667 | @ | 1512.5 | %0Cft | 16980
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 13525.75 | @ | 15771.01 | %Cft | 2133147
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 1402.5 | @ | 228.96 | P.rft | 321116 |  |  | 321116
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 1935 | @ | 1647.69 | P.Sft | 3188280 |  |  | 3188280
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 1740 | @ | 856.53 | P.Sft | 1490362
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 72900 | @ | 3191.76 | %Sft | 2326793
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 10925 | @ | 3275.5 | %Sft | 357848
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 7625 | @ | 1887.4 | %Sft | 143914
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 1935 | @ | 180.5 | P.Sft | 349268
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 40 | @ | 261.25 | Each | 10450
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2600 | @ | 27678.86 | %Sft | 719650
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 7945 | @ | 28299.3 | %Sft | 2248379
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 15091.25 | @ | 442.75 | %Sft | 66817
20 | Distempering three coats (S.I.No.24© C-9)
|  | 15091.25 | @ | 1079.65 | %Sft | 162933
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 3320 | @ | 2116.41 | %Sft | 70265
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 39087.5 | @ | 3444.38 | %Sft | 1346322
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 12570 | @ | 2567.95 | %Sft | 322791
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 9980.8 | @ | 12.1 | P.Cft | 120768
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 4886 | @ | 328.97 | %Cft | 16073
| Second Floor | 2952.5 | @ | 760.03 | %Cft | 22440
26 | Extra labour for lifting of steel above First floor for every additional floor (S.I.No.29 P-19).
|  | 534.6857 | @ | 151.25 | P.Cft | 80871
27 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 22460 | @ | 169.09 | %Sft | 37978
| Second Floor | 2952.5 | @ | 416.24 | %Sft | 12289
[5 empty] | Total:- | 31598608 | 0 | #REF! | #REF!
| _______ %Above / Below | [5 empty] | R.A | 10% | Steel
Contractor Signature
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 94.692 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 27200 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile
|  | 13156.25 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete
|  | 62.5 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 162.5 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 300 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Cat II Ph II
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF CATEGOREY -II BUNGLOW 6 Nos) (PHAE-II)
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 35616 | @ | 3176.25 | %0Cft | 113125
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 14404.62 | @ | 9416.28 | %Cft | 1356379
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 26793.36 | @ | 337 | P.Cft | 9029362
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 143.5359 | @ | 5001.7 | P.Cwt | 717923 |  |  | 717923
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 7830 | @ | 3127.41 | %Cft | 244876
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 2623.08 | @ | 12595 | %Cft | 330377
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 11872 | @ | 1512.5 | %0Cft | 17956
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 10591.14 | @ | 15771.01 | %Cft | 1670330
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 1476 | @ | 228.96 | P.rft | 337945 |  |  | 337945
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 1692 | @ | 1647.69 | P.Sft | 2787891
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 1851 | @ | 856.53 | P.Sft | 1585437
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 66441 | @ | 3191.76 | %Sft | 2120637
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 22419 | @ | 3275.5 | %Sft | 734334
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 24072 | @ | 1887.4 | %Sft | 454335
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 1692 | @ | 180.5 | P.Sft | 305406 |  |  | 305406
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 36 | @ | 261.25 | Each | 9405
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2560.5 | @ | 27678.86 | %Sft | 708717
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 6321 | @ | 28299.3 | %Sft | 1788799
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 14031 | @ | 442.75 | %Sft | 62122
20 | Distempering three coats (S.I.No.24© C-9)
|  | 14031 | @ | 1079.65 | %Sft | 151486
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 3702 | @ | 2116.41 | %Sft | 78349
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 37197 | @ | 3444.38 | %Sft | 1281206
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 14157 | @ | 2567.95 | %Sft | 363545
24 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 1336.5 | @ | 328.97 | %Cft | 4397
25 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 7500 | @ | 169.09 | %Sft | 12682
[5 empty] | Total:- | 26267021 | 0 | 0 | 1361274
| ________ % Above / Below | [5 empty] | R.A | 20% | Steel
Contractor Signature
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 64.5911 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 28062 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 13084.5 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete
|  | 150 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 156 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete
|  | 180 | @ |  | P.Sft
Total:-
Contractor Signature

## Cat III Ph II
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF STAFF FLATE CATEGOREY -III 2 NOS.) (PHASE-II).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 13456 | @ | 3176.25 | %0Cft | 42740
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 4955 | @ | 9416.28 | %Cft | 466577
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 21528.98 | @ | 337 | P.Cft | 7255266
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 115.3338 | @ | 5001.7 | P.Cwt | 576865 |  |  | 576865
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 2526 | @ | 3127.41 | %Cft | 78998
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 846.22 | @ | 12595 | %Cft | 106581
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 4485.3333 | @ | 1512.5 | %0Cft | 6784
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 10796.34 | @ | 15771.01 | %Cft | 1702692
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 2068 | @ | 228.96 | P.rft | 473489 |  |  | 473489
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 2484 | @ | 1647.69 | P.Sft | 4092862 |  |  | 4092862
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 2342 | @ | 856.53 | P.Sft | 2005993
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 52789 | @ | 3191.76 | %Sft | 1684898
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 7052 | @ | 3275.5 | %Sft | 230988
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 5786 | @ | 1887.4 | %Sft | 109205
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 2484 | @ | 180.5 | P.Sft | 448362
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 16 | @ | 261.25 | Each | 4180
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2166 | @ | 27678.86 | %Sft | 599524
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 7896 | @ | 28299.3 | %Sft | 2234513
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 14180 | @ | 442.75 | %Sft | 62782
20 | Distempering three coats (S.I.No.24© C-9)
|  | 14180 | @ | 1079.65 | %Sft | 153094
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 5364 | @ | 2116.41 | %Sft | 113524
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 50800 | @ | 3444.38 | %Sft | 1749745
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 13896 | @ | 2567.95 | %Sft | 356842
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 5970.18 | @ | 12.1 | P.Cft | 72239
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 3229.78 | @ | 328.97 | %Cft | 10625
| Second Floor | 3229.78 | @ | 760.03 | %Cft | 24547
| Third Floor | 1107 | @ | 1191.01 | %Cft | 13184
26 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 17185 | @ | 169.09 | %Sft | 29058
| Second Floor | 17185 | @ | 416.24 | %Sft | 71531
| Third Floor | 2500 | @ | 663.39 | %Sft | 16585
[5 empty] | Total:- | 24794273 | 0 | #REF! | #REF!
| ________ % ABOVE / BELOW | [5 empty] | R.A | 20% | Steel
CONTRACTOR SIGNATURE
NON SCHEDULE ITEM.
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 51.9002 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 10876.5 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 13608 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete.
|  | 450 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 780 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 120 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Cat IV Ph II
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF STAFF FLATES CATEGOREY -IV 2 NOS.) (PHASE-II).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 15304 | @ | 3176.25 | %0Cft | 48609
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 6096.5 | @ | 9416.28 | %Cft | 574064
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 24944.56 | @ | 337 | P.Cft | 8406317
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 133.6316 | @ | 5001.7 | P.Cwt | 668385
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 1452 | @ | 3127.41 | %Cft | 45410
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 486.42 | @ | 12595 | %Cft | 61265
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 5101.3333 | @ | 1512.5 | %0Cft | 7716
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 14313 | @ | 15771.01 | %Cft | 2257305
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 2518 | @ | 228.96 | P.rft | 576521
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 3744 | @ | 1647.69 | P.Sft | 6168951
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 3018 | @ | 856.53 | P.Sft | 2585008
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 46405 | @ | 3191.76 | %Sft | 1481136
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 9424 | @ | 3275.5 | %Sft | 308683
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 7966 | @ | 1887.4 | %Sft | 150350
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 3744 | @ | 180.5 | P.Sft | 675792
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 24 | @ | 261.25 | Each | 6270
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 1896 | @ | 27678.86 | %Sft | 524791
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 8400 | @ | 28299.3 | %Sft | 2377141
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 18866 | @ | 442.75 | %Sft | 83529
20 | Distempering three coats (S.I.No.24© C-9)
|  | 18866 | @ | 1079.65 | %Sft | 203687
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 6036 | @ | 2116.41 | %Sft | 127747
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 63808 | @ | 3444.38 | %Sft | 2197790
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 16200 | @ | 2567.95 | %Sft | 416008
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 6804.68 | @ | 12.1 | P.Cft | 82337
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 4226 | @ | 328.97 | %Cft | 13902
| Second Floor | 4226 | @ | 760.03 | %Cft | 32119
| Third Floor | 1635 | @ | 1191.01 | %Cft | 19473
26 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 15121 | @ | 169.09 | %Sft | 25568
| Second Floor | 15121 | @ | 416.24 | %Sft | 62940
| Third Floor | 2500 | @ | 663.39 | %Sft | 16585
[5 empty] | Total:- | 30205399 | 0
| _______ %ABOVE / BELOW | [5 empty] | R.A
CONTRACTOR SIGNATURE
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 60.1342 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 14186.5 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 19422 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete.
|  | 240 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 624 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 180 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Mosque
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF MOSQUE).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 29502 | @ | 3176.25 | %0Cft | 93706
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 9701.75 | @ | 9416.28 | %Cft | 913544
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 24854.41 | @ | 337 | P.Cft | 8375936
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 133.1486 | @ | 5001.7 | P.Cwt | 665969 |  |  | 665969
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 2721 | @ | 3127.41 | %Cft | 85097
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 911.54 | @ | 12595 | %Cft | 114808
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 9834 | @ | 1512.5 | %0Cft | 14874
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 4328.5 | @ | 15771.01 | %Cft | 682648
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 424 | @ | 228.96 | P.rft | 97079 |  |  | 97079
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 924 | @ | 1647.69 | P.Sft | 1522466
11 | Teak wood wrought framed and fixed in place in/c chowkhats hold fasts tower bolts, chock, cleats, handles cord with hooks and cost of nail and screwas etc b) Panelled or pannelled and glazed or fully glazed 1-3/4" thick (S.I.No.3 P-64)
|  | 336 | @ | 2430.14 | P.Sft | 816527
12 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 289 | @ | 856.53 | P.Sft | 247537
13 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 23526.5 | @ | 3191.76 | %Sft | 750909
14 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 8364 | @ | 3275.5 | %Sft | 273963
15 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 2376 | @ | 1887.4 | %Sft | 44845
16 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 924 | @ | 180.5 | P.Sft | 166782 |  |  | 166782
17 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 10 | @ | 261.25 | Each | 2613
18 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 791 | @ | 27678.86 | %Sft | 218940
19 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 2576 | @ | 28299.3 | %Sft | 728990
20 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 9740 | @ | 442.75 | %Sft | 43124
21 | Distempering three coats (S.I.No.24© C-9)
|  | 9740 | @ | 1079.65 | %Sft | 105158
22 | French polishing complete a) on new work (S.I.No.7 P-77)
|  | 672 | @ | 3841.75 | %Sft | 25817
23 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 578 | @ | 2116.41 | %Sft | 12233
24 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 18544 | @ | 3444.38 | %Sft | 638726
25 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 4761.5 | @ | 2567.95 | %Sft | 122273
26 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 214.5 | @ | 328.97 | %Cft | 706
27 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 2086 | @ | 169.09 | %Sft | 3527
[5 empty] | Total:- | 16768797 | 0 | 0 | 929830
| ______ % ABOVE / BELOW | [5 empty] | R.A | 20% | Steel
CONTRACTOR SIGNATURE
NON SCHEDULE ITEMS
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 59.9169 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 35981.25 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile
|  | 9094 | @ |  | P.Sft
4 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 156 | @ |  | P.Sft
5 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 30 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Dispensory
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF DISPENSORY).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 4776 | @ | 3176.25 | %0Cft | 15170
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 1513.6 | @ | 9416.28 | %Cft | 142525
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 3969.64 | @ | 337 | P.Cft | 1337769
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 21.2659 | @ | 5001.7 | P.Cwt | 106366 |  |  | 106366
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 558 | @ | 3127.41 | %Cft | 17451
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 186.93 | @ | 12595 | %Cft | 23544
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 1592 | @ | 1512.5 | %0Cft | 2408
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 1539.73 | @ | 15771.01 | %Cft | 242831
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 427 | @ | 228.96 | P.rft | 97766 |  |  | 97766
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 387 | @ | 1647.69 | P.Sft | 637656
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 532 | @ | 856.53 | P.Sft | 455674
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 10979.76 | @ | 3191.76 | %Sft | 350448
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 2376 | @ | 3275.5 | %Sft | 77826
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 2376 | @ | 1887.4 | %Sft | 44845
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 387 | @ | 180.5 | P.Sft | 69854 |  |  | 69854
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 8 | @ | 261.25 | Each | 2090
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 148.5 | @ | 27678.86 | %Sft | 41103
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 868 | @ | 28299.3 | %Sft | 245638
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 1762.18 | @ | 442.75 | %Sft | 7802
20 | Distempering three coats (S.I.No.24© C-9)
|  | 1762.18 | @ | 1079.65 | %Sft | 19025
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 1022 | @ | 2116.41 | %Sft | 21630
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 6399.18 | @ | 3444.38 | %Sft | 220412
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 1975.5 | @ | 2567.95 | %Sft | 50730
24 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 222.75 | @ | 328.97 | %Cft | 733
25 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 1660 | @ | 169.09 | %Sft | 2807
[5 empty] | Total:- | 4234103 | 0 | 0 | 273986
| _______ % Above / Below | [5 empty] | R.A | 20% | Steel
Contractor Signature
NON SCHEDULE ITEMS
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 9.5697 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 3524.36 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 1885.26 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete.
|  | 50 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 104 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 30 | @ |  | P.Sft
Total:-
Contractor Signature

## Cat I Ph I
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF CATEGOREY -I BUNGLOW 5 Nos).(PHASE-I)
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 33680 | @ | 3176.25 | %0Cft | 106976
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 12413.75 | @ | 9416.28 | %Cft | 1168913
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 39279.65 | @ | 337 | P.Cft | 13237242
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 210.4267 | @ | 5001.7 | P.Cwt | 1052491 |  |  | 1052491
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 6360 | @ | 3127.41 | %Cft | 198903
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 2130.6 | @ | 12595 | %Cft | 268349
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 11226.6667 | @ | 1512.5 | %0Cft | 16980
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 13525.75 | @ | 15771.01 | %Cft | 2133147
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 1402.5 | @ | 228.96 | P.rft | 321116 |  |  | 321116
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 1935 | @ | 1647.69 | P.Sft | 3188280 |  |  | 3188280
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 1740 | @ | 856.53 | P.Sft | 1490362
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 72900 | @ | 3191.76 | %Sft | 2326793
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 10925 | @ | 3275.5 | %Sft | 357848
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 7625 | @ | 1887.4 | %Sft | 143914
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 1935 | @ | 180.5 | P.Sft | 349268
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 40 | @ | 261.25 | Each | 10450
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2600 | @ | 27678.86 | %Sft | 719650
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 7945 | @ | 28299.3 | %Sft | 2248379
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 15091.25 | @ | 442.75 | %Sft | 66817
20 | Distempering three coats (S.I.No.24© C-9)
|  | 15091.25 | @ | 1079.65 | %Sft | 162933
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 3320 | @ | 2116.41 | %Sft | 70265
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 39087.5 | @ | 3444.38 | %Sft | 1346322
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 12570 | @ | 2567.95 | %Sft | 322791
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 9980.8 | @ | 12.1 | P.Cft | 120768
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 4886 | @ | 328.97 | %Cft | 16073
| Second Floor | 2952.5 | @ | 760.03 | %Cft | 22440
26 | Extra labour for lifting of steel above First floor for every additional floor (S.I.No.29 P-19).
|  | 534.6857 | @ | 151.25 | P.Cft | 80871
27 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 22460 | @ | 169.09 | %Sft | 37978
| Second Floor | 2952.5 | @ | 416.24 | %Sft | 12289
[5 empty] | Total:- | 31598608 | 0 | #REF! | #REF!
| _______ %Above / Below | [5 empty] | R.A | 10% | Steel
Contractor Signature
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 94.692 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 27200 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile
|  | 13156.25 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete
|  | 62.5 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 162.5 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 300 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Cat II PhI
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF CATEGOREY -II BUNGLOW 6 Nos) (PHAE-I)
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 35616 | @ | 3176.25 | %0Cft | 113125
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 14404.62 | @ | 9416.28 | %Cft | 1356379
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 26793.36 | @ | 337 | P.Cft | 9029362
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 143.5359 | @ | 5001.7 | P.Cwt | 717923 |  |  | 717923
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 7830 | @ | 3127.41 | %Cft | 244876
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 2623.08 | @ | 12595 | %Cft | 330377
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 11872 | @ | 1512.5 | %0Cft | 17956
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 10591.14 | @ | 15771.01 | %Cft | 1670330
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 1476 | @ | 228.96 | P.rft | 337945 |  |  | 337945
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 1692 | @ | 1647.69 | P.Sft | 2787891
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 1851 | @ | 856.53 | P.Sft | 1585437
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 66441 | @ | 3191.76 | %Sft | 2120637
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 22419 | @ | 3275.5 | %Sft | 734334
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 24072 | @ | 1887.4 | %Sft | 454335
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 1692 | @ | 180.5 | P.Sft | 305406 |  |  | 305406
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 36 | @ | 261.25 | Each | 9405
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2560.5 | @ | 27678.86 | %Sft | 708717
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 6321 | @ | 28299.3 | %Sft | 1788799
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 14031 | @ | 442.75 | %Sft | 62122
20 | Distempering three coats (S.I.No.24© C-9)
|  | 14031 | @ | 1079.65 | %Sft | 151486
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 3702 | @ | 2116.41 | %Sft | 78349
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 37197 | @ | 3444.38 | %Sft | 1281206
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 14157 | @ | 2567.95 | %Sft | 363545
24 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 1336.5 | @ | 328.97 | %Cft | 4397
25 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 7500 | @ | 169.09 | %Sft | 12682
[5 empty] | Total:- | 26267021 | 0 | 0 | 1361274
| ________ % Above / Below | [5 empty] | R.A | 20% | Steel
Contractor Signature
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 64.5911 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 28062 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 13084.5 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete
|  | 150 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 156 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete
|  | 180 | @ |  | P.Sft
Total:-
Contractor Signature

## Cat III PhI
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF STAFF FLATE CATEGOREY -III 2 NOS.) (PHASE-I).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 13456 | @ | 3176.25 | %0Cft | 42740
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 4955 | @ | 9416.28 | %Cft | 466577
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 21528.98 | @ | 337 | P.Cft | 7255266
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 115.3338 | @ | 5001.7 | P.Cwt | 576865 |  |  | 576865
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 2526 | @ | 3127.41 | %Cft | 78998
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 846.22 | @ | 12595 | %Cft | 106581
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 4485.3333 | @ | 1512.5 | %0Cft | 6784
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 10796.34 | @ | 15771.01 | %Cft | 1702692
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 2068 | @ | 228.96 | P.rft | 473489 |  |  | 473489
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 2484 | @ | 1647.69 | P.Sft | 4092862 |  |  | 4092862
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 2342 | @ | 856.53 | P.Sft | 2005993
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 52789 | @ | 3191.76 | %Sft | 1684898
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 7052 | @ | 3275.5 | %Sft | 230988
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 5786 | @ | 1887.4 | %Sft | 109205
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 2484 | @ | 180.5 | P.Sft | 448362
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 16 | @ | 261.25 | Each | 4180
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 2166 | @ | 27678.86 | %Sft | 599524
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 7896 | @ | 28299.3 | %Sft | 2234513
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 14180 | @ | 442.75 | %Sft | 62782
20 | Distempering three coats (S.I.No.24© C-9)
|  | 14180 | @ | 1079.65 | %Sft | 153094
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 5364 | @ | 2116.41 | %Sft | 113524
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 50800 | @ | 3444.38 | %Sft | 1749745
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 13896 | @ | 2567.95 | %Sft | 356842
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 5970.18 | @ | 12.1 | P.Cft | 72239
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 3229.78 | @ | 328.97 | %Cft | 10625
| Second Floor | 3229.78 | @ | 760.03 | %Cft | 24547
| Third Floor | 1107 | @ | 1191.01 | %Cft | 13184
26 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 17185 | @ | 169.09 | %Sft | 29058
| Second Floor | 17185 | @ | 416.24 | %Sft | 71531
| Third Floor | 2500 | @ | 663.39 | %Sft | 16585
[5 empty] | Total:- | 24794273 | 0 | #REF! | #REF!
| ________ % ABOVE / BELOW | [5 empty] | R.A | 20% | Steel
CONTRACTOR SIGNATURE
NON SCHEDULE ITEM.
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 51.9002 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 10876.5 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 13608 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete.
|  | 450 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 780 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 120 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE

## Cat IV Ph1
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF SHAHEED ZULIFQAR ALI BHUTTO ENGINEERING COLLEGE AT GADADP KARACHI (CONSTRUCTION OF STAFF FLATES CATEGOREY -IV 2 NOS.) (PHASE-I).
S.No | Description of Item | QNTY | RATE |  | UNIT | AMOUNT.
1 | Excavation in foundation of building bridges and other structure in/c degebillng dressing, refilling around structure with excavated earth watering and ramming lead upto 5ft (b) in ordinary soil (S.I.No.18/P-4)
|  | 15304 | @ | 3176.25 | %0Cft | 48609
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8 (S.I.No.4b,/P-16)
|  | 6096.5 | @ | 9416.28 | %Cft | 574064
3 | R.C.C work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms, moulds, lifting, shuttering, curing, rendering and finishing the exposed surface (including screening and washing of shingle (a) R.C.C work in roof slab, beams, columns, rafts, lintels and other structural members laid in situ or precast laid in position. Complete in all respects (i) Ratio 1:2:4 90 lbs. (S.I.No. 6(a)/i/C-4)
|  | 24944.56 | @ | 337 | P.Cft | 8406317
4 | Fabrication of Tor steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust from bars. (S.I.No. 7(b)/C-4)
|  | 133.6316 | @ | 5001.7 | P.Cwt | 668385 |  | 668385
5 | Errection and removal of centering for R.C.C or plain cement concrete work of Partal wood (2nd class) (S.I.NO.18-P-21) (vertical)
|  | 1452 | @ | 3127.41 | %Cft | 45410
6 | Cement concrete plain including placing, compacting, finishing and curing complete (including screening and washing of stone aggregate without shuttering) (h) Ratio 1:3:6 (S.I.No. 5(h)/C-4)
|  | 486.42 | @ | 12595 | %Cft | 61265
7 | Filling watering and ramming earth in floor with surplus earth from foundation lead upto one chain and left upto 5 feet (S.I.No.21 P-5)
|  | 5101.3333 | @ | 1512.5 | %0Cft | 7716
8 | P/L 1:3:6 cement concrete solid block masonary wall 6" below in thiskness set in 1:6 cement mortor in G.Floor Super structure in/c racking out joint and curing etc complete (S.I.NO.23/P-19)
|  | 14313 | @ | 15771.01 | %Cft | 2257305
9 | P/F G.I frames / Chowkats of size 7"x2" or 4-1/2" x 3" for doors using 20 gauge G.I. sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also I/c all carriage tools and plants used making and fixing.(S.I.No: 29/P-93)
|  | 2518 | @ | 228.96 | P.rft | 576521 |  | 576521
10 | S/F in position Aluminium Channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen in/c handles stopper & locking arrangement etc complete. B) Deluxe model (Bronze) (S.I.No.84/P-108).
|  | 3744 | @ | 1647.69 | P.Sft | 6168951 |  | 6168951
11 | P/F in position door & windows and ventilators of first class deodar wood frames and 1-3/4" thick commercial ply vaneer shutters of first class deodar skelton (Solid) and commercial ply wood (3 ply) on both Side (S.I.No.51 P-64)
|  | 3018 | @ | 856.53 | P.Sft | 2585008
12 | Cement Plaster 1:4 upto 12' height 3/4" thick (S.No.11-C/P-52).
|  | 46405 | @ | 3191.76 | %Sft | 1481136
13 | P/L 2"thick topping cement concrete 1:2:4 in/c surface finishing and dividing into pannels pannels (S.I.No.16c P-42)
|  | 9424 | @ | 3275.5 | %Sft | 308683
14 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand @ 1 Cft per % Sft. (S.I.No. 13/P-7)
|  | 7966 | @ | 1887.4 | %Sft | 150350
15 | S/F in position iron / steel grill of 3/4" x 1/4" size flate iron of approved design in/c painting 3 coats etc complete (wt. not less then 3.7lbs of finsihing grill) (S.I.NO.26 /P-93)
|  | 3744 | @ | 180.5 | P.Sft | 675792
16 | R.C.C spout in/c fixing in position 2-1/2"x 6"x5"
|  | 24 | @ | 261.25 | Each | 6270
17 | Laying floor of approved with glazed tile 1/4" in white cement 1:2 over 3/4" thick cement mortor 1:2 complete (S.I.No.24/P-43)
|  | 1896 | @ | 27678.86 | %Sft | 524791
18 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick in/c finishing (S.I.No.38 P-45)
|  | 8400 | @ | 28299.3 | %Sft | 2377141
19 | Primary Coat of chalk under distemper (S.I.No.23/C-9)
|  | 18866 | @ | 442.75 | %Sft | 83529
20 | Distempering three coats (S.I.No.24© C-9)
|  | 18866 | @ | 1079.65 | %Sft | 203687
21 | Painting new surface © Preparing surface and painting of doors and windows any type (in/c edges) (I&II) 3 coats (S.I.No.5©/I&iiC-11)
|  | 6036 | @ | 2116.41 | %Sft | 127747
22 | Preparing the surface and painting with matt finish in/c rubbing the surface with bathy (silicon carbide rubbng brick) filling the voids with zink / chalk /plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make etc complete (New surface)(S.I.No.36-A P-55)
|  | 63808 | @ | 3444.38 | %Sft | 2197790
23 | Preparing the surface and painting with weather coat in/c rubbing the surface with rubbing brick / sand paer filling the voids with chalk / plaster of paris and then painting with weather coat of approved make (S.I.No.38A P-56).
|  | 16200 | @ | 2567.95 | %Sft | 416008
24 | Add Extra labour for R.C.C in 2nd and subsequent stories (S.I.NO.6-d P-19)
|  | 6804.68 | @ | 12.1 | P.Cft | 82337
25 | Add. Extra Labour for Block Masonary in First floor (S.I.No.29 P-23)
| First Floor | 4226 | @ | 328.97 | %Cft | 13902
| Second Floor | 4226 | @ | 760.03 | %Cft | 32119
| Third Floor | 1635 | @ | 1191.01 | %Cft | 19473
26 | Add: Extra 13% & 32% & 51% above the labour rate of Ground Floor for 2nd, 3rd, 4th floor
| First Floor | 15121 | @ | 169.09 | %Sft | 25568
| Second Floor | 15121 | @ | 416.24 | %Sft | 62940
| Third Floor | 2500 | @ | 663.39 | %Sft | 16585
[5 empty] | Total:- | 30205399 | 0 | #REF!
| _______ %ABOVE / BELOW | [5 empty] | R.A | Steel
CONTRACTOR SIGNATURE
NON SCHEDULE ITEM
1 | 15 Hot Rolled Deformed steel as ASTM 615 of 60000 Psi yield Strength as manufactured from biller of Pakistan steel by M/S. Razzaque Steel Karachi and / or M/S Amreli Steel (Pvt) Ltd. Karachi and 1 OR Agha Steel in/c the cost of binding wire chairs, precast C.C spacer blocks, unspecified overlaps etc in all kind of RCC works bars to be cut & placed in position according to bar bending Schedule as per drawing(s) and specification and / or as directed and approved by the Engineer Incharge.
|  | 60.1342 | @ |  | P.Ton
2 | Filling with proper drawer material supplying mixing loading dresing watering and ramming compacting put ring ground mixed sand here or any other over round of same mouldes of same mouldes of fever (hill sand) in/c the cost of carriage from sourse to the site of work lead upto 15 mile as required by Engineer / Incharge.
|  | 14186.5 | @ |  | P.Cft
3 | P/L Porcelene tiles & glazed & polished 24" x 24" x 5/16" on floor or wall facing in required colour & pattern in white cement & pigment over a base of 1:2 grey cement mortor 3/4" thick in/c washing & filling of joints with slurry of white cement & pigment in desired shape with finishing cleaning & coat of wax polish etc complete in/c cutting tiles to proper profile.
|  | 19422 | @ |  | P.Sft
4 | P/F Both sides Laminated Lasani Kitchen cabinate 3/4" thick in/c boxing with back shelves shutters S.S fitting etc complete.
|  | 240 | @ |  | P.Sft
5 | P/F Laminated Lasani Almirah 3/4" thick in/c boxing with back shelves shutters brass fitting etc complete.
|  | 624 | @ |  | P.Sft
6 | Providing & Fixing of steel pipe railing required design using 2" dis. Horz: pipe 1/2" dia vertical pipe in/c revetting complete.
|  | 180 | @ |  | P.Sft
Total:-
CONTRACTOR SIGNATURE