## Estimate
Schedul B
NAME OF WORK:- |  | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan @ GBHS Bhan Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro | Provision Of Sports Facilities To Various Secondary Schools Taluka Sehwan Gbhs Arazi Taluka Sehwan District Jamshoro
S# | DESCRIPTION | QUANTITY |  |  |  |  | RATE |  |  | UNIT |  |  | AMOUNT
1 | Excavation in foundation of building, bridges & other structures I/c degbelling, dressing, refilling around structure with excavated earth watering & ramming lead up to 5 feet. (b) In ordinary soil. (S.INo:18(b)/P-4)
Pavalion Building
| Long wall Footings |  | 1 | x | 2 | x | 90 | x | 10 | x | 4.5 | .= | 8100
| Short wall Below P.Beam |  | 1 | x | 7 | x | 6.75 | x | 2 | x | 2 | .= | 189
| Cricket Pitch |  | 1 | x | 1 | x | 66 | x | 12 | x | 1.5 | .= | 1188
| C/Wall |  | 1 | x | 1 | x | 400 | x | 2 | x | 2 | .= | 1600
| Gate Piller |  | 1 | x | 2 | x | 3 | x | 3 | x | 2.5 | .= | 45
[11 empty] | Total |  | 11122 | Cft
|  | 11122 |  |  | Cft | @ | 3176.25 |  |  |  | % 0 Cft |  |  | Rs: | 35326
2 | Cement concrete brick or stone ballast 1-½" to 2" gauge. (S.I.# 04/P-17)
A-Ratio 1:4:8
Pavalion Building
| Long wall Footings |  | 1 | x | 2 | x | 90 | x | 10 | x | 0.5 | .= | 900
| Short wall Below P.Beam |  | 1 | x | 7 | x | 6.75 | x | 2 | x | 0.5 | .= | 47
[11 empty] | Total |  | 947
|  | 947 |  |  | Cft | @ | 9416.28 |  |  |  | % Cft |  |  | Rs: | 89172
B-Ratio 1:5:10
Pavalion Building
| Rest Room |  | 1 | x | 2 | x | 15.75 | x | 16 | x | 0.37 | .= | 186
| Dressing Room |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 0.37 | .= | 133
| Toilet |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 0.37 | .= | 133
| Front Side Steps |  | 1 | x | 1 | x | 20 | x | 7 | x | 0.5 | .= | 70
| C/Wall |  | 1 | x | 1 | x | 400 | x | 2 | x | 0.5 | .= | 400
| Gate Piller |  | 1 | x | 2 | x | 3 | x | 3 | x | 0.5 | .= | 9
[11 empty] | Total |  | 931
|  | 931 |  |  | Cft |  | 8694.95 |  |  |  | % Cft |  |  | Rs: | 80950
3 | Random rubble masonary (uncoursed) (a) dry masonary (S.No: 1-a P-27)
Pavalion Building
| Long wall Footings |  | 1 | x | 2 | x | 90 | x | 10 | x | 0.67 | .= | 1206
[11 empty] | Total |  | 1206
|  | 1206 |  |  | Cft | @ | 13051.5 |  |  |  | % Cft |  |  | Rs: | 157401
4 | Dry rammed bricks or stone ballast 1- 1/2 to 2'' guage
| Cricket Pitch |  | 1 | x | 1 | x | 66 | x | 12 | x | 1 | .= | 792
[11 empty] | Total |  | 792
|  | 792 |  |  | Cft | @ | 3327.5 |  |  |  | % Cft |  |  | Rs: | 26354
5 | Reinforced Cement Concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (a) R.C.work in roof slab, beams, columns, rafts,lintels and other structural members laid in situ or precast laid in position complete in all respect.Ratio 1:2:4. (S.I.# 6-a/P-18)
Pavalion Building
| Long wall Footings F-1 |  | 1 | x | 12 | x | 9 | x | 9 | x | 1.5 | .= | 1458
| Combined F-2 |  | 1 | x | 2 | x | 20.17 | x | 9 | x | 1.5 | .= | 545
| PedestalC 2 |  | 1 | x | 14 | x | 2 | x | 0.75 | x | 4.5 | .= | 95
| C 1 |  | 1 | x | 4 | x | 2 | x | 0.75 | x | 4.5 | .= | 27
| P Beam PB3& PB4 |  | 1 | x | 2 | x | 81.75 | x | 0.75 | x | 1.5 | .= | 184
| P Beam PB1& PB2 |  | 1 | x | 7 | x | 16 | x | 0.75 | x | 1.5 | .= | 126
| Washroom PB |  | 1 | x | 2 | x | 16 | x | 0.75 | x | 1.5 | .= | 36
| Washroom Shortwall |  | 2 | x | 4 | x | 5 | x | 0.75 | x | 1.5 | .= | 45
| Super Col.F/Side |  | 1 | x | 9 | x | 2 | x | 0.75 | x | 7 | .= | 95
| Super Col.B/Side |  | 1 | x | 9 | x | 2 | x | 0.75 | x | 15 | .= | 203
| Lintel B/Side |  | 1 | x | 1 | x | 81.75 | x | 0.75 | x | 1 | .= | 61
| Door |  | 1 | x | 4 | x | 5 | x | 0.75 | x | 1 | .= | 15
| Roof BeamB3 & B4 |  | 1 | x | 2 | x | 81.75 | x | 0.75 | x | 3 | .= | 368
| Roof BeamB1 & B2 |  | 1 | x | 9 | x | 16 | x | 0.75 | x | 3 | .= | 324
| Projection |  | 1 | x | 9 | x | 3 | x | 0.75 | x | 3 | .= | 61
| Slab |  | 1 | x | 1 | x | 81.75 | x | 20.5 | x | 0.67 | .= | 1123
| Seating Steps |  | 5 | x | 0.5 | x | 81.75 | x | 3 | x | 1.5 | .= | 920
| Backside Wall |  | 1 | x | 1 | x | 81.75 | x | 0.75 | x | 5 | .= | 307
| Side Wall |  | 1 | x | 2 | x | 16 | x | 0.75 | x | 5 | .= | 120
| Staircase Beam |  | 1 | x | 2 | x | 4.5 | x | 0.75 | x | 4.5 | .= | 30
| Waist Slab |  | 1 | x | 2 | x | 17.5 | x | 4.5 | x | 0.5 | .= | 79
| Steps |  | 0.5 | x | 40 | x | 4.5 | x | 1 | x | 0.58 | .= | 52
| C/Wall P Beam |  | 1 | x | 1 | x | 400 | x | 1.13 | x | 0.5 | .= | 226
| Gate Piller |  | 1 | x | 2 | x | 1.5 | x | 1.5 | x | 10 | .= | 45
[11 empty] | Total |  | 6545
|  | 6545 |  |  | Cft | @ | 337 |  |  |  | P.Cft |  |  | Rs: | 2205665
6 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position making joints and fastenings including cost of binding wire (also removal of rust from bars.) (S.I.# 7/P-20)
Tor Bar.
| total Qty of R C C |  | x | 5.5
112
|  | 6545 | x | 5.5 |  | .= | 321.4062 |  | Cwt
112
|  | 321.4062 | Cwt |  |  | @ | 5001.7 |  |  |  | P.Cwt |  |  | Rs: | 1607577.6406
7 | Cement Concrete Plain i/c placing compting finishing and curing ratio (S.I No. 5 P/16)
A-Ratio 1:2:4
| Cricket Pitch |  | 1 | x | 1 | x | 66 | x | 10 | x | 0.5 | .= | 330
[11 empty] | Total |  | 330 | Cft
|  | 330 |  |  | Cft | @ | 14429.25 |  |  |  | % Cft |  |  | Rs: | 47617
B-Ratio 1:3:6
Main Building Pavalion
| Front B/Side |  | 1 | x | 2 | x | 81.75 | x | 0.75 | x | 4.5 | .= | 552
| Shortwall |  | 1 | x | 7 | x | 16 | x | 0.75 | x | 4.5 | .= | 378
[11 empty] | Total |  | 930 | Cft
|  | 930 |  |  | Cft | @ | 12595 |  |  |  | % Cft |  |  | Rs: | 117134
8 | Erection and removal of centering for RCC or plain cement concrete works of deodar wood
Main Building Pavalion
| Longwall |  | 2 | x | 2 | x | 81.75 | x | 4.5 |  |  | .= | 1472
| Shortwall |  | 7 | x | 2 | x | 16 | x | 4.5 |  |  | .= | 1008
[11 empty] | Total |  | 2480
|  | 2480 |  |  | Sft | @ | 3127.41 |  |  |  | % Sft |  |  | Rs: | 77560
9 | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S.I No. 4P/21)
| Front Side Steps |  | 1 | x | 0.5 | x | 20 | x | 6 | x | 1 | .= | 60
| = |  | 1 | x | 0.5 | x | 20 | x | 5 | x | 1 | .= | 50
| = |  | 1 | x | 0.5 | x | 20 | x | 4 | x | 1 | .= | 40
| = |  | 1 | x | 0.5 | x | 20 | x | 3 | x | 1 | .= | 30
| C/WallSteps |  | 1 | x | 1 | x | 400 | x | 1.5 | x | 0.75 | .= | 450
| C/WallSteps |  | 1 | x | 1 | x | 400 | x | 1.13 | x | 2.5 | .= | 1130
[11 empty] | Total |  | 1760 | Cft
|  | 1760 |  |  | Sft | @ | 11948.36 |  |  |  | % Cft |  |  | Rs: | 210291
10 | Bitumen coating to plastered or cement concrete surface (S.No. 9 P 71)
| P.Beam L/Wall |  | 1 | x | 2 | x | 81.75 | x | 0.75 |  |  | .= | 123
| P.Beam S/Wall |  | 1 | x | 7 | x | 16 | x | 0.75 |  |  | .= | 84
| Rest Room Inside |  | 2 | x | 2 | ( | 15.75 | .+ | 16 | ) | 4 | .= | 508
| Dressing Room |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 4 | .= | 436
| Toilet |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 4 | .= | 436
| C/Wall |  | 1 | x | 1 | x | 400 | x | 1.13 |  |  | .= | 452
[11 empty] | Total |  | 2039
|  | 2039 | Sft |  |  | @ | 778.09 |  |  |  | %Sft |  |  | Rs: | 15865.2551
11 | Provinding and lying single per layer polythene sheet 0.13 mm thick for water proffing as per specification and insttruction of Engineer Incharge
| P.Beam L/Wall |  | 1 | x | 2 | x | 81.75 | x | 0.75 |  |  | .= | 123
| P.Beam S/Wall |  | 1 | x | 7 | x | 16 | x | 0.75 |  |  | .= | 84
[11 empty] | Total |  | 207
|  | 207 | Sft |  |  | @ | 10.7 |  |  |  | P.Sft |  |  | Rs: | 2214.9
12 | Filling watering and remainng earth under floor with new earth (Excavated from out side) lead upto one chain and lift upto 5 ft
| Rest Room |  | 1 | x | 2 | x | 15.75 | x | 16 | x | 3.33 | .= | 1678
| Dressing Room |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 3.33 | .= | 1199
| Toilet |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 3.33 | .= | 1199
| Cricket Ground |  | 1 | x | 1 | x | 300 | x | 180 | x | 1 | .= | 54000
| Cricket Ground |  | 1 | x | 1 | x | 220 | x | 150 | x | 1 | .= | 33000
[11 empty] | Total |  | 91076
Deduction
| Main Building |  | 1 | x | 1 | x | 90 | x | 20 | x | 1 | .= | 1800
| Pitch |  | 1 | x | 1 | x | 66 | x | 10 | x | 1 | .= | 660
[11 empty] | Total | .= | 2460
Net Quantity:-
|  |  | 91076 |  |  | (-) | 2460 | .= | 88616 |  | sft
|  | 88616 |  |  | Cft | @ | 3630 |  |  |  | % 0Cft |  |  | Rs: | 321676
13 | Supplying andFilling Sand under floor and pluging in to wall.
| Rest Room |  | 1 | x | 2 | x | 15.75 | x | 16 | x | 0.5 | .= | 252
| Dressing Room |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 0.5 | .= | 180
| Toilet |  | 1 | x | 2 | x | 11.25 | x | 16 | x | 0.5 | .= | 180
| Cricket Ground |  | 1 | x | 1 | x | 300 | x | 180 | x | 1 | .= | 54000
| Cricket Ground |  | 1 | x | 1 | x | 220 | x | 150 | x | 1 | .= | 33000
[11 empty] | Total |  | 87612
Deduction
| Main Building |  | 1 | x | 1 | x | 90 | x | 20 | x | 1 | .= | 1800
[11 empty] | Total | .= | 1800
Net Quantity:-
|  |  | 87612 |  |  | (-) | 1800 | .= | 85812 |  | Cft
|  | 85812 |  |  | Cft | @ | 1141.25 |  |  |  | %Cft |  |  | Rs: | 979329
14 | Pacca brick work in ground floor in cement sand mortar 1:6 (S.NO. 5 e/P.20)
| M.Bldng Long Wall |  | 1 | x | 1 | x | 81.75 | x | 0.75 | x | 7 | .= | 429
| M.Bldng Long Wall |  | 1 | x | 1 | x | 81.75 | x | 0.75 | x | 15 | .= | 920
| M.Bldng Short Wall |  | 1 | x | 7 | x | 16 | x | 0.75 | x | 11 | .= | 924
| Washroom L/Wall |  | 1 | x | 2 | x | 16 | x | 0.37 | x | 7 | .= | 83
| Washroom S/Wall |  | 2 | x | 4 | x | 5 | x | 0.37 | x | 7 | .= | 104
[11 empty] | Total |  | 2460
Deduction
| Door |  | 1 | x | 2 | x | 4 | x | 0.75 | x | 7 | .= | 42
| Door |  | 1 | x | 4 | x | 3 | x | 0.75 | x | 7 | .= | 63
| LavDoor |  | 1 | x | 8 | x | 2.5 | x | 0.37 | x | 7 | .= | 52
| Window |  | 1 | x | 22 | x | 3 | x | 0.75 | x | 4 | .= | 198
| Ventilator |  | 1 | x | 4 | x | 3 | x | 0.75 | x | 1.5 | .= | 14
| Lintel |  | 1 | x | 1 | x | 81.75 | x | 0.75 | x | 1 | .= | 61
| Lintel |  | 1 | x | 4 | x | 5 | x | 0.75 | x | 1 | .= | 15
[11 empty] | Total | .= | 445
Net Quantity:-
|  |  | 2460 |  |  | (-) | 445 | .= | 2015 |  | sft
|  | 2015 |  |  | Cft | @ | 12674.36 |  |  |  | %Cft |  |  | Rs: | 255388
15 | Pacca brick work in other than building cement sand mortar 1:6 (S.NO. 7 e/P.22)
| C/Wall |  | 1 | x | 1 | x | 400 | x | 0.75 | x | 6 | .= | 1800
[11 empty] | Total |  | 1800
|  | 1800 |  |  | Cft | @ | 12346.65 |  |  |  | %Cft |  |  | Rs: | 222240
16 | Cement plaster 1/2" thick, ratio 1:6 upto 20' height.(S.I.# 13/P-52)
| Rest Room |  | 2 | x | 2 | ( | 15.75 | .+ | 16 | ) | 14 | .= | 1778
| Dressing Room |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 14 | .= | 1526
| Toilet |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 14 | .= | 1526
| Outside |  | 1 | x | 2 | ( | 81.75 | .+ | 17 | ) | 14 | .= | 2765
| C/Wall |  | 1 | x | 1 | x | 400 | x | 6 |  |  | .= | 2400
| Plinth |  | 1 | x | 2 | x | 400 | x | 2.5 |  |  | .= | 2000
[11 empty] | Total |  | 11995
Deduction
| Door |  | 1 | x | 2 | x | 4 | x | 7 |  |  | .= | 56
| Door |  | 2 | x | 2 | x | 3 | x | 7 |  |  | .= | 84
| Window |  | 1 | x | 22 | x | 3 | x | 4 |  |  | .= | 264
| Ventilator |  | 1 | x | 4 | x | 3 | x | 1.5 |  |  | .= | 18
[11 empty] | Total | .= | 422
Net Quantity:-
|  |  | 11995 |  |  | (-) | 422 | .= | 11573 |  | sft
|  | 11573 | Cft |  |  | @ | 2206.6 |  |  |  | % sft |  |  | RS: | 255370
17 | Cement plaster 3/8" thick, ratio 1:4 upto 20' height.(S.I.# 13/P-52)
| Qty: same as item No: 16 | [10 empty] | .= | 11573
[11 empty] | Total |  | 11573
|  | 11573 | Sft |  |  | @ | 2197.52 |  |  |  | % Sft |  |  | Rs: | 254319
18 | Providing and laying 1'' thick topping cement concret (1:2:4) i/c surface finishing and dividing into panels (S.No.16 d/P.41)
A- 3'' Thick
| Rest Room |  | 1 | x | 2 | x | 15.75 | x | 16 |  |  | .= | 504
| Dressing Room |  | 1 | x | 2 | x | 11.25 | x | 16 |  |  | .= | 360
[11 empty] | Total |  | 864
|  | 864 | Sft |  |  | @ | 4411.82 |  |  |  | % Sft |  |  | Rs: | 38118
B- 2'' Thick
| Pitch |  | 1 | x | 1 | x | 66 | x | 10 |  |  | .= | 660
[11 empty] | Total |  | 660
|  | 660 | Sft |  |  | @ | 3275.5 |  |  |  | % Sft |  |  | Rs: | 21618
C- 1-1/2'' Thick
| Seating Steps |  | 1 | x | 5 | x | 81.75 | x | 5 |  |  | .= | 2044
[11 empty] | Total |  | 2044
|  | 2044 | Sft |  |  | @ | 2548.29 |  |  |  | % Sft |  |  | Rs: | 52087
19 | Providing & Lying floor of Verona marble tiles of size 12”x12”x3/4” fine dressed on the surface without winding set in white cement laid over ¾” thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry, jointing and washing the tiles with slurry of white cement and pigment to match the colour of tiles, including curing, grinding, rubbing and chemical polishing etc complete i.c cutting tiles to proper profile. (R.A)
| Seating Passage |  | 1 | x | 1 | x | 81.75 | x | 4.5 |  |  | .= | 368
[11 empty] | Total |  | 368
|  | 368 | Sft |  |  | @ | 310.43 |  |  |  | P.Sft |  |  | Rs: | 114238.24
20 | Providing & Lying floor of Verona marble tiles of size 48”x12”x3/4” fine dressed on the surface without winding set in white cement laid over ¾” thick bed of 1:2 grey cement mortar setting the tiles with grey cement slurry, jointing and washing the tiles with slurry of white cement and pigment to match the colour of tiles, including curing, grinding, rubbing and chemical polishing etc complete i.c cutting tiles to proper profile.(R.A)
| Staircase |  | 2 | x | 20 | x | 4 | x | 1 |  |  | .= | 160
[11 empty] | Total |  | 160
|  | 160 | Sft |  |  | @ | 395 |  |  |  | P.Sft |  |  | Rs: | 63200
21 | Glazed tiles dedo 1/4'' thicks laid in pigment over 1:2 cement sand mortar 3/4'' thick i/c finishing (S.No.38 / P.45)
| Toilet |  | 8 | x | 2 | ( | 5 | .+ | 3.5 | ) | 3 | .= | 408
| Passage |  | 2 | x | 2 | ( | 16 | .+ | 5.5 | ) | 3 | .= | 258
[11 empty] | Total |  | 666
|  | 606 | Sft |  |  | @ | 28299.3 |  |  |  | %Sft |  |  | Rs: | 171493.758
22 | Laying floor of approved colored galazed tiles 1/4'' thick laid in white cement 1:2 over 3/4'' thick cement mortar 1:2 (S.No.25 / P.43)
| Toilet |  | 2 | x | 4 | x | 3.5 | x | 5 |  |  | .= | 140
| Passage |  | 1 | x | 2 | x | 16 | x | 5.5 |  |  | .= | 176
[11 empty] | Total |  | 316
|  | 316 | Sft |  |  | @ | 27747.06 |  |  |  | %Sft |  |  | Rs: | 87680.7096
23 | First class deodar wood wrought, joinery in doors and windows joinery in fixed in position i/c chowkats hold fasts 3/4''
| Door |  | 1 | x | 2 | x | 4 | x | 7 |  |  | .= | 56
| Door |  | 1 | x | 4 | x | 3 | x | 7 |  |  | .= | 84
| Lav Door |  | 2 | x | 4 | x | 2.5 | x | 7 |  |  | .= | 140
| Window |  | 1 | x | 22 | x | 3 | x | 4 |  |  | .= | 264
| Ventilator |  | 1 | x | 4 | x | 3 | x | 1.5 |  |  | .= | 18
[11 empty] | Total |  | 562
|  | 562 |  |  |  | @ | 902.93 |  |  |  | P.Sft |  |  | Rs: | 507447
24 | Providing and fixing iron / steel grill of 1/4"x3/4" size iron of approved etc fixed in position i/c holds fasts to be less than 3.lbs/ Square foot finished grill. . (S.I.No. 26/P.92)
| Window |  | 22 | x | 2 | x | 1.25 | x | 3.67 |  |  | .= | 202
[11 empty] | Total |  | 202
|  | 202 |  |  |  | @ | 180.5 |  |  |  | P.Sft |  |  | Rs: | 36461
25 | Making & Fixing grated door with 1/16'' thick sheeting i/c angle iron frame 2''x2'' 3/8'' square bars 4'' center to center with locking arrangement.
| Main Gate |  | 1 | x | 1 | x | 8 | x | 6 |  |  | .= | 48
[11 empty] | Total |  | 48
|  | 48 |  |  |  | @ | 726.72 |  |  |  | P.Sft |  |  | Rs: | 34883
26 | Add: Extra labour rate for making cement plaster patta/bend around or opening a around the edges or roof slab Engineer Incharge.
| Main Building |  | 1 | x | 2 | x | 81.75 | x |  |  |  | .= | 164
| Main Building |  | 1 | x | 2 | x | 17.5 | x |  |  |  | .= | 35
| C/wall |  | 1 | x | 2 | x | 400 | x |  |  |  | .= | 800
[11 empty] | Total |  | 999
|  | 999 | Rft |  |  | @ | 19.36 |  |  |  | P.Rft |  |  | Rs: | 19341
27 | Extra labour rate for making grooves of 1''x1/4 or 3/4'' x 1/2'' plastered surface with true edges both vertically and hoizontly with uniform depth and with groove base smoothly finished etc complete as per direction of Engineer Incharge
| Over Roof PP Wall |  | 1 | x | 4 | ( | 81.75 | .+ | 17.5 | ) |  | .= | 397
| C/wall |  | 1 | x | 1 | x | 400 |  |  |  |  | .= | 400
[11 empty] | Total |  | 797
|  | 797 | Rft |  |  | @ | 7.71 |  |  |  | P.Rft |  |  | Rs: | 6145
28 | Cement Pointing struck joints on wall Ratio 1:2
| C/wall |  | 1 | x | 1 | x | 400 | x | 5.67 |  |  | .= | 2268
[11 empty] | Total |  | 2268
|  | 1134 |  |  | Sft | @ | 1287.44 |  |  |  | % Sft |  |  | Rs: | 14600
29 | White wash three coats. (S.No. 26a/P.53)
| Rest Room |  | 1 | x | 2 | x | 15.75 | x | 16 |  |  | .= | 504
| Dressing |  | 1 | x | 2 | x | 11.25 | x | 16 |  |  | .= | 360
| Toilet |  | 1 | x | 2 | x | 11.25 | x | 16 |  |  | .= | 360
| Chhaja |  | 1 | x | 1 | x | 81.75 | x | 3 |  |  | .= | 245
[11 empty] | Total |  | 1469
|  | 734.5 |  |  | Sft | @ | 829.95 |  |  |  | % Sft |  |  | Rs: | 6096
30 | Primary coats of chalk under distemper.(S.No.23 /P.53)
| Rest Room |  | 2 | x | 2 | ( | 15.75 | .+ | 16 | ) | 14 | .= | 1778
| Dressing |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 14 | .= | 1526
| Toilet |  | 2 | x | 2 | ( | 11.25 | .+ | 16 | ) | 14 | .= | 1526
[11 empty] | Total |  | 4830
|  | 4550 |  |  | Sft | @ | 442.75 |  |  |  | % Sft |  |  | Rs: | 20145
31 | Distempering three coats. (S.No. 24c/P.53)
| Qty Same as ItemNo. 30 | [10 empty] | .= | 4830
[11 empty] | Total |  | 4830
|  | 4550 |  |  | Sft | @ | 1079.65 |  |  |  | % Sft |  |  | Rs: | 49124
32 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing bricks / sand paper filling the viod with chalk/plaster of paris painting with weather coat of approved make new surface.
| Main Building O/Side |  | 1 | x | 2 | ( | 81.75 | .+ | 17.5 | ) | 14 | .= | 2779
| B/Side Wall |  | 1 | x | 2 | x | 81.75 | x | 5 | x |  | .= | 818
| Side Walls |  | 2 | x | 2 | x | 17.5 | x | 5 | x |  | .= | 350
| C/WallPatta |  | 1 | x | 2 | x | 400 | x | 0.42 | x |  | .= | 336
[11 empty] | Total |  | 4283
Deduction
| Door |  | 1 | x | 2 | x | 4 | x | 7 | x |  | .= | 56
| Window |  | 1 | x | 22 | x | 3 | x | 4 | x |  | .= | 264
[11 empty] | Total | .= | 320
Net Quantity:-
|  |  | 4283 |  |  | (-) | 320 | .= | 3963 |  | sft
|  | 3963 |  |  | Sft | @ | 2567.95 |  |  |  | % Sft |  |  | Rs: | 101768
33 | Painting New surfaces, painting of Door & Window any type i/c edge.
| Qty Same as Item No.(23)x2 | [10 empty] | .= | 1124
[11 empty] | Total |  | 1124
|  | 1124 | Sft |  |  | @ | 2116.41 |  |  |  | % Sft |  |  | Rs: | 23788
34 | Preparing surface and painting guard bars gates of iron bars i/c standards braces etc and similar open work
| Main Gate |  | 1 | x | 2 | x | 8 | x | 6 |  |  | .= | 96
[11 empty] | Total |  | 96
|  | 96 | Sft |  |  | @ | 1270.83 |  |  |  | % Sft |  |  | Rs: | 1220
35 | White wash One coats.
| C/wall |  | 1 | x | 1 | x | 400 | x | 6 |  |  | .= | 2400
| C/wallPlinth |  | 1 | x | 2 | x | 400 | x | 2 |  |  | .= | 1600
[11 empty] | Total |  | 4000
|  | 4000 | Sft |  |  | @ | 416.63 |  |  |  | % Sft |  |  | Rs: | 16665
36 | Colour washing of two coats.
| C/wall |  | 1 | x | 1 | x | 400 | x | 6 |  |  | .= | 2400
| C/wallPointing |  | 1 | x | 1 | x | 400 | x | 5.67 |  |  | .= | 2268
| C/wallPlinth |  | 1 | x | 2 | x | 400 | x | 2 |  |  | .= | 1600
[11 empty] | Total |  | 6268
|  | 6268 | Sft |  |  | @ | 859.9 |  |  |  | % Sft |  |  | Rs: | 53899
37 | P/F G.I fram chowkats size 7''x2'' or 4''x3'' for doors and window using 20 gauge G.I Sheet i/c welded hinger and fixing at site with necessary hold fasts i/c all carriage tools and plants used etc.
A Door
| = |  | 1 | x | 2 | x | 18 |  |  |  |  | .= | 36
| = |  | 1 | x | 4 | x | 17 |  |  |  |  | .= | 68
| = |  | 1 | x | 8 | x | 16.5 |  |  |  |  | .= | 132
[11 empty] | Total |  | 236
|  | 236 | Rft |  |  | @ | 228.9 |  |  |  | P.Rft |  |  | Rs: | 54020
B Window
| = |  | 22 | x | 2 | x | 3 |  |  |  |  | .= | 132
| = |  | 22 | x | 4 | x | 4 |  |  |  |  | .= | 352
[11 empty] | Total |  | 484
|  | 484 | Rft |  |  | @ | 240.5 |  |  |  | P.Rft |  |  | Rs: | 116402
38 | Difference of S/R Cement.
| CC 1:4:8 |  |  |  | 1 | x | 947 | x | 9.6% |  |  |  | 91
| CC 1:5:10 |  |  |  | 1 | x | 931 | x | 7.8% |  |  |  | 73
| RCC 1:2:4 |  |  |  | 1 | x | 2516 | x | 17.6% |  |  |  | 443
| CC Plain 1:2:4 |  |  |  | 1 | x | 330 | x | 17.6% |  |  |  | 58
| CC Plain 1:3:6 |  |  |  | 1 | x | 930 | x | 13% |  |  |  | 121
| Pacca B.W in Foundation |  |  |  | 1 | x | 1760 | x | 3.44% |  |  |  | 61
| Cement Plaster 1/2'' |  |  |  | 1 | x | 2000 | x | 0.53% |  |  |  | 11
| Cement Plaster 3/8'' |  |  |  | 1 | x | 2000 | x | 0.57% |  |  |  | 11
| Cement Pointing |  |  |  | 1 | x | 2268 | x | 0.8% |  |  |  | 18
[11 empty] | Total |  | 887
|  | 958 |  |  | No | @ | 40 |  |  |  | P.Bag |  |  | Rs: | 38320
[9 empty] | Total Except S/R Cement |  |  |  |  | Rs: | 8571889.5033
[12 empty] | N.S.I |  | Rs: | 177438.24
[12 empty] | Diff of S/R |  |  | 38320
[12 empty] | S.I |  | Rs: | 8394451.2633
__________% Above / Below on the Rates of CSR. | [10 empty] | Amount to be added / deducted on
basis of premium quoted Total (b)
Civil Work Rs._________________ Rs.(+)__________________ =Rs._________________
Difference Rs._________________Rs.(+)__________________ =Rs.__________________
Non-S Item Rs._________________Rs.(+)__________________= Rs._________________
Grand Total Rs
Total In Words _________________________________________________________________________________
| Contractor | [11 empty] | Executive Engineer
Education Works Division
Jamshoro