SCHEDULE “B”

PROVIDING, LAYING, JOINTING AND TESTING BLACK STEEL PIPE 10" DIA FOR  FOR CHANGE OF SOURCE & REHABILITATION OF EXISTING URBAN WATER SUPPLY SCHEME DIPLO DISTRICT THARPARKAR (PART-I)

| 1. | Manufacturing, Supplying & Fixing black steel MS pipe made out of MS sheet confirming to APL 5L grade X-42 Spirally welded and externally asphalt coated with fiber glass 5mm thick (3 layers) & internally C.C lining 8mm thick (AWWA specification) i/c laying jointing with Helical welding in trenches i/c cost of bends of any degree & testing with water specified pressure for different dia of pipes as below ( Spirally welded) (P.H.S I No H/1/I P-32) |
| --- | --- |

5.6 mm thick 10" Dia

20000.0 Rft		@ Rs. 2363/71	P.Rft			Rs. 4,72,74,200/=

(Rupees Two Thousand Three Hundred Sixty Three

and Paisas Seventy One)  only (Per Rft)

| 2. | Supplying C.I sluice valve heavy pattern (Sch: of Mat: I No: 2 P- 12) |
| --- | --- |

3" Dia	(For Air valve)

3 Nos:			@ Rs. 4290/=		Each			Rs. 12,870/=

(Rupees Four Thousand Two Hundred Ninety)

Only (Each)

| 3. | Air valve double acting 3" x 1" (Sch: of Mat: I No: 8 P-13) |
| --- | --- |

3" dia

3 Nos:			@ Rs. 4000/=   	Each			Rs. 12,000/=

(Rupees Four Thousand) Only (Each)

| 4. | Providing & Fixing M.S flange made of M.S plate having thickness and total weight as mentioned against each item. Its included the cost of making holes, facing, welding, nuts bolts, rubber packing, white lead, filter cartage etc complete (M.S.Part D Item No: 8 P-8). |
| --- | --- |

3" dia ½" thick, 2.020 weight / each

03 Nos:		@ Rs. 945/=   		Each			Rs. 2,835/=

(Rupees Nine Hundred Forty Five) Only (Each)

| 5. | Jungle clearance & removing within100 ft. (G.S.I No. 4 (a) P-95). (Light). |
| --- | --- |

300000.0 Sft		@ Rs. 75/63		P‰ Sft			Rs. 22,689/=

(Rupees Seventy Five and Paisas Sixty Three)

Only (Per Thousand Sft)

| 6. | Excavation for pipe line trenches and pits in sandy soil including trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge. Providing fence guards, lights, flags, temporary crossings for non vehicular traffic where ever required lift upto 5 ft (1.52 m) and lead upto one chain (30.5 m). (P.H.S I.No: 2 P-60). |
| --- | --- |

10" dia

200000.0 Cft		@ Rs. 3750/=		P‰ Cft		Rs. 7,50,000/=

(Rupees Three Thousand Seven Hundred Fifty)

Only (Per Thousand Cft)

| 7. | Providing, Laying, Jointing & Testing G.I pipe of standard approved quality with thickness 5.0mm (9-6) with test pressure (725 PSI) R.A Approved |
| --- | --- |

3" Dia

36.0 Rft		@ Rs. 338/17		P.Rft			Rs. 12,174/=

(Rupees Three Hundred Thirty Eight

and Paisas Seventeen) Only (Per Rft)

| 8. | Jointing C.I /M.S Flanged Pipes and special Flange inside trenches including I/C applying rubber packing of required thickness nuts and bolts with washer etc. and other rules required for jointing and testing be same to be specified presser etc complete. (P.H.S.I. No: 1 P-40). |
| --- | --- |

3" dia 	For A.Valve

06 Joints		@ Rs. 499/= 		P.Joint			Rs. 2,994/=

(Rupees Four Hundred Ninety Nine) only (Per Joint)

| 9. | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc complete. (P.H.S.I.No: 24 P-77). |
| --- | --- |

180000.0 Cft		@ Rs. 2760/=		P‰ Cft		Rs. 4,96,800/=

(Rupees Two Thousand Seven Hundred Sixty)

Only (Per Thousand Cft)

AIR VALVE STAND POST

| 10. | Excavation in foundation of buildings bridges and other structures i/c dagbelling, dressing, refilling around the structure with excavated earth watering and ramming lead upto one chain lift upto 5 ft (in ordinary soil). (G.S.I.No: 18 (b) P-4). |
| --- | --- |

(i)	For A/V S/Post

216.0 Cft		@ Rs. 	3176/25	P‰ Cft		Rs. 686/=

(Rupees Three Thousand One Hundred Seventy Six)

and Paisas Twenty Five) Only (Per Thousand Cft)

| 11. | Cement concrete plain including placing, compacting, finishing and curing, complete (including screening and washing of stone aggregate without shuttering. (G.S.I.No: 5 P-18). |
| --- | --- |

(i)	1:4:8

For A/valve S/Post

24.0 Cft		@ Rs. 11288/75	P% Cft			Rs. 2,709/=

(Rupees Eleven Thousand Two Hundred Eighty Eight

and Paisas Seventy Five)  only (Per Hundred Cft)

(ii)	1:2:4

For A/valve S/post

116.0 Cft		@ Rs. 14429/25	P% Cft			Rs. 16,738/=

(Rupees Fourteen Thousand Four Hundred Twenty Nine

and Paisas Twenty Five)  only (Per Hundred Cft)

| 12. | Erection and removal of centering for R.C.C or plain cement concrete work of partal wood (2nd Class Vertical.(G.S.I.No: 19 (ii) P-17). |
| --- | --- |

361.0 Sft		@ Rs. 3127/41	P% Sft			Rs. 11,290/=

(Rupees Three Thousand One Hundred Twenty Seven

And Paisas Forty One) only (Per Hundred Sft)

Total	Rs. 4,86,17,985/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery/Pipe will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |