## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- REHABILITATION / RE-CONSTRUCTION OF MAYOR OFFICE & MUNICIPLE CORPORATION OFFICE SUKKUR (INTERNAL ELECTRIFICATION)
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
Part- A New Schedule Item 2012
1 | 350 | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.No. 124 P-15). | 1130 | per point | 395500
2 | 80 | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4’’) PVC conduit recessed in the wall or column as required. (S.I.No:126 P- No:15) | 985 | per point | 78800
3 | 10 | Wiring for call bell point with 3/.029 PVC insulated wire in 20mm (3/4’’) channel patti on surface as required. (S.I.No:131 P- No:15) | 1590 | per point | 15900
4 | 800 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.029 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:10 P- No:2) | 222 | per Meter | 177600
5 | 500 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.044 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P- No:2) | 341 | per Meter | 170500
6 | 650 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.052 (10 mm2) copper conductor in 1’’ dia PVC conduit on surface (S.I.No:6 P- No:1). | 428 | P.Mtr | 278200
7 | 1200 | Providing & laying (MAIN or SUB MAIN) PVC insulated with size 2-7/.036 copper conductor in ¾’’ dia PVC conduit recessed in the wall or column as required. (S.I.No:11 P- No:2) | 252 | per Meter | 302400
8 | 40 | Providing & fixing circuit breaker 6,10,15,20, 30,40,50 & 63amp SP (TB-5S) on prepared board as required (S.I.No:202 P- No:30) | 916 | P.No | 36640
9 | 10 | Providing & fixing circuit breaker 3,5,10,15,20 & 30amp TP (XS-30NS[NB]) on prepared board as required (S.I.No:202 P- No:30) | 5301 | P.No | 53010
10 | 80 | Providing & fixing two pin 5amp plug & socket (S.I.No:225 P- No:33) | 83 | P.No | 6640
11 | 50 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No:226 P- No:33) | 151 | P.No | 7550
12 | 50 | Providing & fixing three pin 10/15amp plug & socket flush type (S.I.No:222 P- No:33) | 162 | P.No | 8100
13 | 70 | Providing & fixing Bakelite ceiling rose with two terminals (S.I.No:228 P- No:33) | 72 | P.No | 5040
14 | 60 | Providing & fixing Brass Battern holder c(S.I.No:232 P- No:33) | 70 | P.No | 4200
15 | 4 | Construction of RCC foundation as per following specification & instruction of EI for 31ft/40ft long tubular pole Excavation of soft/hard soil 3`×3`×5.5` Stone soiling 3`×3`×6`` making lean in the ratio of 1:4:8 Length of MS bolts 6 ½`( ¾ `` dia) 4 no’s & making thread on MS rod Template 16``×16``× ¼`` Rings ¼`` dia round bar 4 no’s to the welded with MS rod RCC foundation ratio 1:2:4 with appropriate size 2`×2`×6.5` (S.I.No:132 P- No:16) | 15168 | P.No | 60672
16 | 4 | Providing & fixing of MS tabular pole as following specification to be fixed on pre-cast foundation with the help of hydraulic crane & manual labour 20ft-(6`` dia) × 5.5ft (5`` dia) × 5.5ft (4`` dia) = 31ft wall thickness 8 SWG Base plate 18`` × 18`` × ¾ `` Hole 4 no’s stiffeners 4 nos. 9 ½``× 4 ½`` × ½`` Making window in the pole required size with LN key provision Two coats red oxide (2 coat) as rust preventive & Of required oil paint (2 coat) as per site requirement & instruction of EI (S.I.No:132 P- No:16) | 36697 | P.No | 146788
17 | 8 | Providing & Fixing of street light 250 watts (SON-T) having IP66 classification with 250w lamp, choke, capacitor & Internal wiring complete in all respect at the height With the help of hydraulic crane as per site requirement and instruction of EI. (S.I.No:103 P- No:12). | 24790 | P.No | 198320
18 | 12 | Providing & Fixing of flood light 400 watts (HPIT) having IP65 classification with 400w lamp, choke, capacitor, igniter & Internal wiring complete in all respect at the height up to 40ft with the help hydraulic crane and manual labour as per site requirement and instruction of EI (S.I.No:164 P- No:26) | 16980 | P.No | 203760
|  | Total:- |  |  | 2149620 | 2472063000
Part- B Old Schedule Item 2004
1 | 30 | P/F distribution metal board double shutter to accommodate circuit breakers including painting with enemel paint and for other simmilar job on surface (S.I.No:18 P- No:13) | 1426.33 | P.Sft | 42789.9
2 | 70 | P/F mild steel bar fan clamp 15.8 mm (5/8")dia suitable for RCC roof (S.I.No:1 (c) P- No:14) | 141.01 | Each | 9870.7
3 | 10 | P/F AC or DC electric bell 200/250 volt 70MM. (S.I.No:21 P- No:11) | 150.7 | Each | 1507
4 | 10 | P/F flush type electric bell bush button (S.I.No:23 P- No:12) | 25.19 | Each | 251.9
5 | 25 | P/F wall bracket light fancy type superior quality including necessary electric connection and fixing on wall oe ceiling etc complete.(S.I.No:5 P- No:33) | 497 | Each | 12425
6 | 60 | P/Fenergy sever superior quality including fixing on existing holder etc complete.(S.I.No:6 P- No:33) | 497 | Each | 29820
7 | 8 | P/F earthing set with 2x2x1/4" cooper plate burried in groud at a depth of 12" or less if water comes out from the ground level with salt and chorcoal ,etc,in/c.making the pit 12"deep by excavation of all type of soil. Earth plat to be connected with No:8 | 3610.04 | Each | 28880.32
8 | 70 | P/F A.C ceiling fan regulator on metal board recessed in the walls column and covered with plastic sheet (S.I.No:2b P- No:14) | 124.3 | Each | 8701
|  | Total:- |  |  | 134245.82 | 154382693
Amount Total (CSR)
Part "A" |  | Above % Below ____________ | Total Amount
Part "B" |  | Above % Below ____________ | Total Amount
Total "A+B"
PART "C" Non Schedule
1 | 40 | P/F 2-40 walts tube light complete with 40 wats4.0" long rod chok , starter and putty with Phillips components including necessory electric connection and fixing on wall or ceilling etc complete. |  | Each
2 | 20 | S/F Wall Brecket fan with regulator, capacitor with ON/OFF switch (Pak, GFC,SK) |  | Each
| 70 | Providing & fixing Brass Ceiling fan 56’’ (good quality) |  | P.No
| 430 | Supplying & fixing one way SP 5amp switch flush type approved by Engineer Incharge. |  | P.No
| 94 | S/F LED Lights Squir / round shape with wiring & connection etc 12 volts |  | Each
| 12 | S/F Exhaust fan 12" Sweep |  | Each
TOTAL :-
Total (b) in words & figures
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR

## Schedule (2)
BILL OF QUANTITIES
Discription and Rate of Items based on Market (Offered Rates)
NAME OF WORK :- REHABILITATION OF THQ HOSPITAL TALUKA PANO AKIL.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
1 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
TOTAL :-
Total (b) in words & figures
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR