## Schedule
BILL OF QUANTITIES
Discription and Rate of Items based on Composite Schedule of Rates
NAME OF WORK :- REHABILITATION / RE-CONSTRUCTION OF MAYOR OFFICE & MUNICIPLE CORPORATION OFFICE SUKKUR
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
( PARKING SHADE PART-A)
1 | 950 | Dismentling cement concrete rainforced separaiting raiforecement from concrete clearing and straightnig the same (C.S.I No:20 P-10). | 5445 | %Cft | 51727.5
2 | 29240 | Cutting Hard Rock such as granite,ballast,hard lime stone or sand stone etc with chisels and hammers foe small foundations. (C.S.I No-19,P-4) | 28672.05 | %0Cft | 838370.742
3 | 768 | Dismentling brick work in lime or cement plaster (C.SI No:13 P-10). | 28672.05 | %0Cft | 22020.1344
4 | 30958 | Disposal of Dibries Lead Upto 3 Miles | 579.41 | %Cft | 179373.7478
5 | 14748 | Excavation in rock, dressed to designed section,grades and profiles, excavated materials disposed off within 100 ft, lift upto 5 ft. (C.S.I No-6 (a),P-2) | 7260 | %0Cft | 107070.48
6 | 2760 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:4:8 (C.S.I No: 4 (b) Page No:15) | 9416.38 | %Cft | 259892.088
7 | 7536 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.) R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (I) Ratio (1 : 2: 4 ) 90 Lbs.cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge. (CSI No. 6 A (i) Page No. 17). | 337 | P.Cft | 2539632
ii) | 9132 | FIRST FLOOR | 349.1 | P.Cft | 3187981.2
iii) | 415 | 2ND FLOOR | 361.2 | P.Cft | 149898
8 | 915.189 | Fabrication of Tor Bars steel reinforcement for cement concrete including cutting,bending, laying in position, making joints and fastenings including cost of binding wire (also includes removeal of rust from bars.) (CSI No. 8 (b) Page No. 17). | 5001.7 | P.Cwt | 4577500.8213
9 | 286 | Pacca brick work in foundation and plinth in cement sand mortor ratio 1:6(C.S.I No:4 (e) P.21). | 11948.36 | %Cft | 34172.3096
10 | 1202 | pacca brick work in Ground Floor in: cement sand mortor ratio 1:6(C.S.I No: 7 (e) P.22). | 12674.36 | %Cft | 152345.8072
ii) | 531 | FIRST FLOOR | 13112.86 | %Cft | 69629.2866
11 | 1397 | Filling watering and raming earth under floor with new earth excavated from outside lead upto on chain and lift upto 5ft. (C.S.I No: 22 P.4). | 3630 | %0Cft | 5071.11
12 | 1397 | Extra Lead 7 miles | 771.96 | %Cft | 10784.2812
13 | 2913 | Cement plaster upto 12' height 1/2" thick rario 1:6 (C.S.I No: 13 (b)Page No: 52). | 2206.6 | %Sft | 64278.258
ii) | 1818 | FIRST FLOOR | 2493.46 | %Sft | 45331.1028
14 | 2913 | Cement plaster upto 12' height 3/8" thick rario 1:4 (C.S.I No: 11 (a) Page No: 52). | 2197.52 | %Sft | 64013.7576
ii) | 1818 | FIRST FLOOR | 2483.2 | %Sft | 45144.576
15 | 109 | Cement Concrete plain including placing compacting finishing and curing complete including screening complete and washing of stone agreegate without shuttring Ratio: 1:2:4. (C.S.I No. 5 (f) Page No:16) | 14429.25 | %Cft | 15727.8825
16 | 1288 | Laying white marble flooring fine dressed in the surface without winging sate in lie mortor 1:2 including rubbing and polishing of the joints(C.S.I No:28 (a) P-43) . | 567.48 | P.Sft | 730914.24
17 | 180 | Laying white marble flooring fine dressed in the surface without winging sate in lie mortor 1:2 including rubbing and polishing of the joints 1" thick (C.S.I No:28 (a) P-43) . | 628.93 | P.Sft | 113207.4
18 | 375 | Providing and fixing 3/8" thick marble tiles of approved quality and coloum shade size 8" x 4/6" x 4" in dado skitring and facing removal / tucking of exiting plaster surface etc over 1/2" thick base of cement mortor 1:3 setting mortor base including filling the joints and washing of tiles wiht white cement slurry current finishing cleaning and polishing etc complete (for new work) (C.SI No: 68 (i) P-49). | 186.04 | P.Sft | 69765
19 | 474 | Supplying & fixing in position aluminuim channels framing for hanged doors or alcop made with 5 mm thick tinted glass glazing (Belguim) and alpha Japan locks i/c handels stoppers etc deluxe model (Bronze) (C.S.I No. 83 (b) P-108). | 1507.66 | P.Sft | 714630.84
20 | 580 | Providing and fixing iron steel grill using solid square bars of size 1/2" x 1/2" placed at 4" I/c and frame of flat iron patti of 3/4" x 3/4" I/c circle shape at 1-0 apart equivalent fitted with screws are pins I/c painting 3 coats with 1st coat of red oxide paint etc. (CSI No. 30 Page No. 94) | 194.16 | P.Sft | 112612.8
21 | 54 | Providing and fixing iron collapsible gate with channel framing of section 3/4" x 5/16" at 4" I/c revitted with 3/4" x 1/8" flat iron patti placed diagonally and provided with top & bottom T- section 1" x 1" 1/8" along with rollers also I/c locking arrangement and fixing in floor/ceiling or wall etc: completed. (C.S.I No:32 P-94). | 387.04 | P.Sft | 20900.16
22 | 938 | Providing and lying 2" thick topping cement concrete 1:2:4. Including surface finishing dividing into panels(C.S.I No:16 (c) P-42) . | 3275.5 | %Sft | 30724.19
23 | 938 | Two coats of bitumen laid hot using 34"Lbs for 100sft over roof and blinded with sand at 1Sft per 100sft (C.S.I No:13 P.35). | 1887.4 | %Sft | 17703.812
24 | 200 | Supplying and Fixing special heavy type steel door for look ups with angle iron frame of 2-1/2" to 2-1/2" x3/8" and shutterof 2"x 2"x3/8" witn 1" dia M.S Bar placed @ centre to centre with separate locking box having size of 12" x12" steel sheet inbeded in masonary with proper locking arrangment as per approved design i/c cost errection & fixing in masonary with cement concrete 1:2:4 etc complete as per instruction of Engineer incharge.(C.S.I No-27 , P-93) | 930.76 | P.Sft | 186152
25 | 2913 | Praparing the surface and painting with matt finish i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/ chalj/ plaster of paris mixture , applying first coat premix making the surface smooth and then painting 3 coat with matt finish of aproved make etc complet (New Surface) Three Coat. (CSI No. 36 (C) Page No. 55). | 3444.38 | %Sft | 100334.7894
| 1818 | Distempering Three Coat | 1079.65 | %Sft | 19628.037
|  | Total:- |  |  | 14536815 | 16717337250
(PARK PART-B)
1 | 1743 | Excavation in foundation of building bridges and other structure including dressing refeling arround structure with excavated earth watering and ramming lead upto one chain and lift upto 5ft (b) in ordinary soil(C.S.I No:18 (b)P.4). | 3176.25 | %0Cft | 5536.2037
2 | 380 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:4:8 (C.S.I No: 4 (b) Page No:15) | 9416.38 | %Cft | 35782.244
3 | 988.3 | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle.) R.C work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position complete in all respects. (I) Ratio (1 : 2: 4 ) 90 Lbs.cement 2 Cft. Sand 4 Cft. Shingle 1/8" to 1/4" gauge. (CSI No. 6 A (i) Page No. 17). | 337 | P.Cft | 333057.1
4 | 35.295 | Fabrication of Tor Bars steel reinforcement for cement concrete including cutting,bending, laying in position, making joints and fastenings including cost of binding wire (also includes removeal of rust from bars.) (CSI No. 8 (b) Page No. 17). | 5001.7 | P.Cwt | 176535.0015
5 | 526 | pacca brick work in foundation and plinth in : cement sand mortor ratio 1:6(C.S.I No: 7 (e) P.22). | 11948.36 | %Cft | 62848.3736
6 | 825 | Suppling and fixing in position iron steel grill of 3/4"x 1/4" size flate iron of approved design I/c painting three coats etc complete weightg not less than 3.7 lbs of finshed grill (C.S.I No:26 P.93). | 180.5 | P.Sft | 148912.5
7 | 10725 | Borrowpit excavation undressed lead upto 100 ft. (a) Ordinary Soil (CSI No. 3 (a) Page No. 1) | 2117.5 | %0Cft | 22710.1875
8 | 10725 | Dressing and levelling of earth work to designed section etc complete Ordinary or hard soil. (CSI No. 11 (b) P-3). | 187.55 | %0Cft | 2011.4738
9 | 10725 | Extra lead three miles | 579.41 | %Cft | 62141.7225
10 | 7150 | Traffing slobs and banks or lawns with grass sods i/c plouging laying, setting and watering turf got fron within a distance of 5 miles and maintenance for 15 days (C.S.I No. 27 P-5). | 1210 | %Sft | 86515
11 | 25 | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangemtnt. (C.S.I No:24 P-92) | 726.72 | P.Sft | 18168
12 | 1720 | P/F Fixing paving blocks flooring having size of 197x97x60 (mm) of city / guddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc complete (C.S.I No. 74 P-50). | 223.97 | P.Sft | 385228.4
13 | 2384 | P/L Halla pattern tiles glazed 6" x 6" x 1/4" of floor of walls facing required pattern stile specification jointed in white cement and pigment over a bazes 1:2 gra y cement mortor 3/4" thick I/c washing & filling of joints with sullury of white cement & pigment in desire shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (C.S.I No: 61 P-48 | 47651.56 | %Sft | 1136013.1904
|  | Total:- |  |  | 2475403 | 2846713450
(PAVERS BLOCK PART-C)
1 | 5333 | Rehandling of earth work. Upto a lead of 50 ft. (CSI No. 9 (b) Page No. 2). | 1058.75 | %0Cft | 5646.3138
2 | 5333 | Disposal of dibries | 579.41 | %Cft | 30899.9353
3 | 7367 | Cement concrete brick or stone ballast 11/2" to 2" guage ratio 1:4:8 (C.S.I No: 4 (b) Page No:15) | 9416.38 | %Cft | 693704.7146
4 | 22325 | P/F Fixing paving blocks flooring having size of 197x97x80(mm) of city / guddra / cobble shape with pigmented having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc complete (C.S.I No. 74 P-50). | 248.7 | P.Sft | 5552227.5
|  | Total:- |  |  | 6282560 | 7224944000
HIGHWAYS ITEMS PART-D)
1 | 11250 | Providing Base course i/c supplying and spreading stone metal of approved quality from arrore quarry properly graded to maximum size of ½ in required thickness to proper camber and grade i/e supplying and spreading 15 Cft of screening and non plastic quarry fine filling depressions with stone metal after initial rolling i/c watering and compacting the same, so as to achieve 100% density as per modified AASHO specifications (Rate i/cs providing of using templates, camber plates, screen forms as directed ) Rate i/cs all cost of materials T & P and carriage upto site of work. | 6641.88 | %Cft | 747211.5
2 | 22500 | Providing 1st Coat surface dressing on new or existing surface with 30 lbs of bitumen and 4.00 cft of bajri of required size i/c cleaning the road surface rolling etc complete. Rate i/c all coat of material T&P and carriage upto 3 chain. | 1584.71 | %Sft | 356559.75
3 | 22500 | Providing 2" thick Asphalt to proper line and grade plant mixed asphalt concrete paver finished (hydraulic /Electronic Control) prepared to specied formula.According with job mix formula approved by Engineer Incharge rolling and finishing to proper line and grade level and camber etc (Machinary with POL cost of material carriage).. | 8849.55 | %Sft | 1991148.75
4 | 3000 | Supplying and Fixing of reflectorize Road Studs Double Face, Flush surface type. | 596.23 | Each | 1788690
5 | 3000 | Pavement marking in Reflective Tharmo Plastic Paint for Lines of 6" Width. | 41.24 | P.Rft | 123720
6 | 500 | Providing & fixing Precast Edge Block 3750 PSI Industrial Made Size 6 inches thick x 12 inches long x 12 inches high including the cost of Cartage, excavation, form Work for haunching, 1450 PSI lean concrete, 2250 PSI concrete for haunching, 1:4 cement sand mortor. | 297.01 | P.Rft | 148505
|  | Total:- |  |  | 5155835 | 5929210250
Amount Total (CSR)
Part "A" |  | Above % Below ____________ | Total Amount
Part "B" |  | Above % Below ____________ | Total Amount
Part "C" |  | Above % Below ____________ | Total Amount
Part "D" |  | Above % Below ____________ | Total Amount
|  |  | Total "A+B+C+D" |  |  | 28450613
PART "E" PARKING SHADE Non Schedule
1 | 4620 | M/F Fiber Glass Sun Shade standard size approx 3mm layer sheets (02 layers) / molded panel i/c watering channeling make with G.I Pipe IIL-M 3" dia 10' height 12' C/C fixing in C.C foundaion 1' x 1' x 3') and M.S square pipe 1-1/2 x 1-1/2 & 1"x1" i/c truss frames, as per structure welded in 14,16 & 18 guage pipe welding assembling nots and bolts etc complete in all respect with oil paint both sides. |  | P.Sft
2 | 380 | P/F C.C Curb Stone size of 18" x 12" x 6" of city / quadda / cobble shape with pigmented having strength b/w 5000 PSI two 8500 PSI over bed of 3" thick C.C 1:3:6 i/c filling the joints with hill sand and laying specified manor / pattern and design complete (envicrete Curb Stone) |  | P.Sft
3 | 5860 | Providing and laying Guttca brick facing 2 1/4" x 9" x 2 1/4" size of approved design set in cement sand mortor 1:3 i/c filling the joints with white cement slutty using colour pigment for matching, i/c levelling smooth finishing, curring and scaffolding etc complete as per specification and directed by the Engineer Incharge. |  | P.Sft
4 | 156 | S/F 1st Class sheesham wood stair railing bottom & top rails size 3" x 3" & piller 2 1/2" x 2 1/2" x 34" height i/c 3" embedded in rails 6" c/c pillers size 6" x 6" x 4 no corner i/c simple carring & fixing in dies / floor with nut bolts in proper way i/c cost of material & labour polishing etc complete as instructed by the Engineer Incharge. |  | P.Sft
5 | 3 | M/F Ornamental Minara ( Shape like Mousum shah Minar) at the site of work i/c cost of material , labour,colouring finishing lighting etc complete. |  | P.Sft
TOTAL :-
PART-F (PARK) Non Schedule
1 | 410 | P/F C.C Curb Stone size of 18" x 12" x 6" of city / quadda / cobble shape with pigmented having strength b/w 5000 PSI two 8500 PSI over bed of 3" thick C.C 1:3:6 i/c filling the joints with hill sand and laying specified manor / pattern and design complete (envicrete Curb Stone) |  | P.Rft
2 | 350 | S/F Shurb plants upto 2' hieght as per the direction and approved of the officer incharge. |  | Each
3 | 350 | S/F mix season plants in 9'' pots in approved of the officer incharge. |  | Each
4 | 20 | S/F wooden benches with wooden batten 6' x 2' x 1' bend size 6' vertical with three footed of cost iron spiral tops wieght of foot 65 KG i/c the cost of nut bolts with painting with ready mixed. |  | Each
5 | 10 | Supplying & Fixing fiber glass dustbin elephant shape 5" mm thick sheet. |  | Each
6 | 600 | M/F water fall at the site of work i/c Rotational Pump colouring lighting etc complete. (20 x 30 ) =600 |  | P.Sft
7 | 2 | M/F of Circular Fountain at the site of work i/c all labour,Material & Rotational pump i/c Colouring,lighting etc complete in all respect. |  | Each
TOTAL :-
(HIGHWAYS ITEMS PART-G NON-SCh:)
1 | 1000 | P/F solid block size of 15" x 8" x 7" pigmented having strenghth b/w 5000 PSI to 8500 PSI over bed of 3" thick C.C 136 i/c filling the joints with hill sand and laying in specified manner / pattern and design complete. |  | P.Rft
2 | 2 | P/F Fountain Circular Shape 4 Steps Prepare Pre caste R.C.C With white cement i/c G.I Pipe, in and out Drain,Color & Rotational Pump etc Complete. |  | Each
3 | 4 | M/F Fiber Tower of 99 name of ALLAH i/c Fixing,cutting welding etc Complete in all respect |  | Each
4 | 4 | P/F Flashing light in side of Tower in every boxes 52 Boxes with Circuit breakers,wiring etc complete in all respect |  | Each
5 | 4 | P/F M.S pipe of 3" dia circular of tower with chains i/c fixing cutting welding etc complete in all respect |  | Each
TOTAL :-
Part "E" Non-Sch: |  | Above % Below ____________ | Total Amount
Part "F" Non-Sch: |  | Above % Below ____________ | Total Amount
Part "G" Non-Sch: |  | Above % Below ____________ | Total Amount
Total N/S "E+F+G"
Total (b) in words & figures
| Cost of Bid |  |  | Amount | Position
1. (A) Cost Based on Composite Schedule of Rates
2. (B) Cost Based on Non/Offered Schedule of Rates
TOTAL COST OF BID (C) = TOTAL (A) + TOTAL (B)
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR

## Schedule (2)
BILL OF QUANTITIES
Discription and Rate of Items based on Market (Offered Rates)
NAME OF WORK :- REHABILITATION OF THQ HOSPITAL TALUKA PANO AKIL.
Item No. | Quantities | Description of item to be executed at site | Rate | Units | Amount
1 | 1 | P/F piston pump set 1 H.P single phase 220 valts with 1/1/4" x 1/1/4" suction and delivery (Local made ) (Electric) |  | Each
TOTAL :-
Total (b) in words & figures
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SUKKUR