SCHEDULE “B”

NAME OF SCHEME:    REHABLITATION OF OFFICE OF THE DISTRICT

EDUCATION  OFFICER SECONDARY GHOTKI @

MIRPUR MATHELO.

| S.No. | Name of item | Qty. | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |
| 1. | Dismantling brick work in lime or cement mortar (SI.No.13P.10) |  |  |  |  |
|  |  | 411.0 | 1285/63 | %CFT | Rs:5284/- |
| 2. | Dismantling 2nd class tiles roofing (SI.No.22(b)P.11) |  |  |  |  |
|  |  | 451.0 | 378/13 | %CFT | Rs:1705/- |
| 3. | Removing cement or lime plaster (SI.No.53P.13) |  |  |  |  |
|  |  | 9818 | 121/- | %CFT | Rs:11880/- |
| 4. | Dismantling cement concrete plain 1.3.6(SI.No.19(b) P.10) |  |  |  |  |
|  |  | 232.0 | 1306/80 | %CFT | Rs;3032/- |
| 5. | Excavation in foundation of building bridges and other structures including dag belling dressing, refilling around structure with excavated earth watering and ramming lead upto 5 ft (S. I No: 18 P. No: 4) |  |  |  |  |
|  |  | 720.0 | 3176/25 | %CFT | Rs:2287/- |
| 6. | Cement concrete brick or stone ballast 1 ½ “ to 2” gauge 1:5:10 (S. I No: 4 (c) P. No: 15). |  |  |  |  |
|  |  | 999 | 8694/25 | %CFT | Rs:86856/- |
| 7. | Pacca brick work in foundation and plinth in cement sand mortar 1:6 (S. I No: 4 (e) P. No: 21). |  |  |  |  |
|  |  | 684 | 11948/36 | %CFT | Rs:81727/- |
| 8. | Reinforced cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) 1:2:4 (S. I No: 6 a i P. No: 17) |  |  |  |  |
|  |  | 91 | 337/- | P.SFT | Rs:30667/- |
| 9. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of mild steel (S. I No: 8 (b) P. No: 17) |  |  |  |  |
|  | Tor bar 4.062 |  | 5001/70 | P:CWT | Rs:20317/- |
|  | M.Steel 812 |  | 4820/20 | P:CWT | Rs:3914/- |
| 10. | Filling Watering and removing earth in floor with new earth from lewd upto one chain and lift up to 5th (S.I No. 22 P No 4) |  |  |  |  |
|  |  | 3550 | 3630/- | %oCFT | Rs:12887/- |
| 11. | Add Extra lead 03 miles |  |  |  |  |
|  |  | 3550 | 579/41 | % CFT | Rs:20569/- |
| 12. | Pacca brick work in ground floor 1:6 in cement sand (S. I No: 5 P. No: 21). |  |  |  |  |
|  |  | 704 | 12674/36 | %SFt | Rs:89227/- |
| 13. | Pacca brick work in other than building i/c cement and mortor 1.6(SI.No.07P.26) |  |  |  |  |
|  |  | 402 | 12346/65 | %SFt | Rs:49634/- |
| 14. | Cement plaster 1:6 upto 20’ height ½ “ thick (S. I No: 13 (b) P. No: 52). |  |  |  |  |
|  |  | 2587 | 2206/60 | %SFT | Rs:57085/- |
| 15. | Cement plaster 1:4 upto 20’ height 3/8” thick (S. I No: P. No: 52). |  |  |  |  |
|  |  | 2587 | 2197/52 | %SFT | Rs:56850/- |
| 16. | Cement Pointing struck joints on walls ration (SI.No. P. No. ) |  |  |  |  |
|  |  | 420 | 1213/58 | %SFT | Rs:5097/- |
| 17. | Applying floating coat of cement 1/32 thick |  |  |  |  |
|  |  | 1333 | 660/- | %SFT | Rs:8798/- |
| 18. | Cement Plaster 1:4 upto 20height ¾”thick in cement sand (SI:NO: P; ) |  |  |  |  |
|  | (1133.0) |  | 3015/76 | %SFT | Rs:40200/- |
| 19. | S/F Girder at site of work |  |  |  |  |
|  |  | 4.266 | 3850/- | P.Cwt | Rs:16424/- |
| 20. | S/F tear at site of work |  |  |  |  |
|  |  | 7.110 | 3575/- | P:CWT | Rs:25418/- |
| 21. | 2nd: tiles roofing consisting of 4 earth and 1 mud plaster with gobri over ½” thick cement plaster 1.6 with 34 lbs of hot bitumen coating and blinded provided over one layer of 12”x6”2” tiles laid in 1.6 cement mortar i/c cement pointing under neath of tiles complete including curing etc (SI.No.01P.33) |  |  |  |  |
|  |  | 461.0 | 7607/23 | %SFT | Rs:30569/- |
| 22. | Lime Neru plaster 1:2 with fine finish of Neru plaster mixed with 10% of Cement 1/2" thick (S. I No: 7 (a) P. No: 52). |  |  |  |  |
|  |  | 8485 | 1428/35 | %SFT | Rs:121195/- |
| 23. | First class Deodar wood framed braced & battened colors & windows complete with iron fitting & fixed in position i/c chowkats 1 ¾ “ thick with battens & ¾ planks (S. I No: 10 P. No: 59). |  |  |  |  |
|  |  | 95.0 | 902/93 | P:SFT | Rs:85778/- |
| 24. | P/L 3” thick toping i/c surface finishing and dividing into pannals (S.I No: 16 P. No: 42). |  |  |  |  |
|  |  | 2750 | 4411/82 | %SFT | Rs:121325/- |
| 25. | Cement concrete plain i/c placing compacting finishing and curing complete (i/c screening and washing at stone aggregate without ratio 1:2:4(SI.No.5(f)P.15) |  |  |  |  |
|  |  | 99 | 14429/25 | %SFT | Rs:14285/- |
| 26. | Primary coat of chalk under distempering (SI.No. P. No. ) |  |  |  |  |
|  |  | 13631.0 | 442/75 | %SFT | Rs:60351/- |
| 27. | Distempering Three coats (S. I No: 24 (c) P. No: 54). |  |  |  |  |
|  |  | 13631 | 1079/65 | %SFT | Rs:147167/- |
| 28. | Colour wash two coats (SI.No. P.No. ) |  |  |  |  |
|  |  | 4600.0 | 859/90 | %SFT | Rs:39555/- |
| 29. | Preparing surface and painting of doors & windows any type i/c edges 03 coats (old surface ) (S. I No: 5 ii © P. No: 70). |  |  |  |  |
|  |  | 1357.0 | 1489/68 | %SFT | Rs:20215/- |
| 30. | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and apttern of STILE specification jointed in white cement and pigment over a base of 1.2 grey cement mortar ¾”thick i/c washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing clearing and cost of wax polish etc.complete i/c cutting (SI.No.60P.46) |  |  |  |  |
|  |  | 884 | 30509/77 | %SFT | Rs:269706/- |
| 31. | White wash two coats |  |  |  |  |
|  |  | 4713 | 425/84 | %SFT | Rs:20070/- |
| 32. | M/F steel grated door with 1/16:thick sheeting i/c angle iron frame 2”x2”i/c and ¾”square bars 4:centere to center with looking rearrangement(SI:NO: P; ) |  |  |  |  |
|  |  | 60.0 | 726/72 | P:SFT | Rs:43603/- |
| 33. | White glazed tiles 1/4" thick dado jointed in white cement and laid over 1:2 cement sand mortar 3/4" thick including finishing (S. I No: 37 P. No: 45). |  |  |  |  |
|  |  | 276.0 | 28253/61 | % Sft | Rs:77980/- |
| 34. | Preparing surface and painting guards bars gates iron bars railing (S.I No: 41 (j) P.No: 69). |  |  |  |  |
|  |  |  | 1270/83 | %SFt | Rs:18046/- |
| 35. | Supplying and fixing false cailing of plaster of paris, in pannels including making frame , work of Deodar wood including painting with Soligia paint. (S. I No: 52 P. No: 64). |  |  |  |  |
|  |  | 750.0 | 25293/42 | % Sft | Rs:189701/- |
|  |  |  |  | Total | 1866712/- |
|  | ------% Above / Below on the rates CSR |  |  |  |  |
|  | Contractor |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |

|  | Part (B) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | P/F squatting type white glazed of flushing cistern with bend and making requisite numbers of holes in wall plinth & floor for pipe connections & making good in c.c 1.2.4(i)W.C of not less than 19 clear opening between fleshing rims and 3 gallons flushing tank with 4”dia C.I Thimble.(SI.NO(2) (B) P.1) |  |  |  |  |  |  |  |
|  | 2.0 |  |  | 6014/- | Each |  | 9605/- |  |
| 3. | P/F 22x16”lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I or C./I cantilever brackets 6 inches built into walls painted white in 2 coats after a primary cost of red lead paint & pair of ½”dia chrome brass waste of approved pattern 1-1/4”dia malleable iron or cp brass traps.malleable iron or brss unions & making requisite number of holes in walls plinth and floor for pipe connection and making good in c.c (foreign equivalent)(Si.No.13 P.4). |  |  |  |  |  |  |  |
|  | 1.0 |  |  | 4253/90 | Each |  | 4254/- |  |
| 4. | Add extra for labour for providing and fixing of earthen water pedestal white or cloured glazed (Foreign or Equivalent)(SI.NO.11P.3) |  |  |  |  |  |  |  |
|  | 1..0Nos. |  |  | 938/47 | Each |  | 938/- |  |
| 5. | S/F Swan type pillar cock of supper quality single C.P head ½”dia (SI:No:16P.19) |  |  |  |  |  |  |  |
|  | 1.0 |  |  | 1384/24 | Each |  | 878/- |  |
| 6. | S/F long bib cock of superior quality with C.P head ½’dia(SI.No.13(B) P. 19) |  |  |  |  |  |  |  |
|  | 5.0 |  |  | 1384/24 | Each |  | 1756/- |  |
| 7. | S/F soap try of made of plastic of superior quality and design with fine finishing with C.P screws etc complete (SI:6 P.8) |  |  |  |  |  |  |  |
|  | 2.0 |  |  | 169/40 | Each |  | 339/- |  |
| 8 | P/F Chrome plate brass towel rail complete with brackets fixing on wooden cleats with 1”long c.p brass screws(i)towel rail 30”long ¾”dia round or square (Standard pattern)(SI:No:1(ii)(a)P.7) |  |  |  |  |  |  |  |
|  | 1.0 |  |  | 1082/- | Each |  | 1083/- |  |
|  | S/F C.P brass shower rose with ½”superior quality (SI:No: 15P.19) |  |  |  |  |  |  |  |
|  | 1.0 |  |  | 142/24 | Each |  | 1142/- |  |
| 9. | P/F Full way gun metal balves with wheels threaded of flabged ends with rubber washing standard pattern (Non standard manufacturer by M/S Anware Mechnical work (SI.No.4(b) P.17 |  |  |  |  |  |  |  |
|  | ¾”dia 4.0 |  |  | 227/92 | Each |  | 912/- |  |
| 10. | Providing G.I pipes and specials etc i/c fixing cutting and fitting complete with & i/c the cost of cutting trench upto 2 ½”feet deep refilling watering ramming and disposal of surpluses earth within one chap and painting 2 coats of bitumen paint to pipes and special after clasaning and brass ran cloth soaked in maxphalt composition wrapped tightly round pipes and testing to pressure head 200 feet and handling. |  |  |  |  |  |  |  |
|  | ¾”dia 137.0 |  |  | 95/79 | P;RFT |  | 13123/- |  |
|  | 1”dia 10.0 |  |  | 128/55 | P;RFT |  | 1286/- |  |
| 11. | S/F in position nylon connections complete with ½”dia brass stops cock with pair of brass nuts and fixing joints to nylon connection (SI.No.23 P.18) |  |  |  |  |  |  |  |
|  | 2.0 |  |  | 447/15 | Each |  | 2236/- |  |
| 12. | P/I Position pump approved quality jawed mako 1 ½”x1”suction and delivery with pas plate and complete 1 H.P single phase motor sacraments mako 60 head 2800 i/c the cost of G.I fitting nuts and builds the cost of in C.C 1.2.4 plate form (a)Local made coir strainer 1 ½”dia with wooden shoe i/c boring fitting and fixing at complete (C) hand pumps machine with all accessories 4”dia G.I casing pipe Jawed mako 1 H.P phase motor etc complete.(R.A.S) |  |  |  |  |  |  |  |
|  | Filter pipe 1 ½”dia |  |  | 10.0 76/05 | P.RFT |  | 761/- |  |
|  | Suction pipe 1 ½”dia |  |  | 50.0 38/95 | P.RFT |  | 1948/- |  |
|  | 1 H.P. |  |  | 1.0 18470/- | Each |  | .18470/- |  |
| 13. | P/L UPVC pressure pipe of class “B”(equiralent make)fixing in trenche i/c cutting with joint with one rubber rain i/c testing with water to head 61meter or 200fts (Publ.health)(S>EIP No.22_ |  |  |  |  |  |  |  |
|  | 4”dia 80.0 |  |  | 137/- | Each |  | 10960/- |  |
|  |  |  |  |  | Total |  | 55497/- |  |
|  |  | ------% Above / Below at Par on the rates of CSR. |  |  |  |  |  |  |
|  |  | Contractor |  |  | EXECUTIVE ENGINEER EDUCATION WORKS DIVISION GHOTKI |  |  |  |