BILL OF QUANTITY

Name of work: -	Repair of Rural Water Supply Scheme Meenhal Shabrani UC-Koor Kamal Taluka Kamber

Head of A/C: -	Community Development Programme for Sustainable Goals 2016-17 (PS-42)

| Qty: | S.No. | Item of work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

Sr # 03

SUB WORK NO.1 SHALLOW TUBE WELL

01. Boring for tube well in all bearing soils from ground level upto 100’ or 30.50 meters depth i/c sinking & with drawing of casing pipe. (PHSI No: 1,P-36)

90.00 Rft:			@Rs: 743/-			P.Rft:			Rs:   66870/-

02. Taking & preserving in box 2 lbs: (1 K.g) samples of strata from bore holes. (PHSI No:6,P-36)

04 Samples			@Rs:101/-			P.each.			Rs:     404/-

03. Taking samples of water from bore holes and placing in two separate bottles. (PHSI No:7,P-37)

04 Samples			@Rs:131/-			P.each.			Rs:     524/-

04. Supplying & Installing PVC strainer ‘B’ class of approved design, quality and make i/c necessary sockets etc complete. (PHSI No:9,P-43)

52.00 Rft:	8” dia.		@Rs:554/05			P.Rft:			Rs:   28811/-

05. Supplying & Installing PVC blind pipe ‘B’ class of approved design, quality and make i/c necessary sockets etc complete. (PHSI No:12,P-44)

42.00 Rft:	8” dia.		@Rs: 516/80			P.Rft:			Rs:  21706/-

06. Shrouding with graded Bajri (3/8” to 1/8”) or (9 to 3 mm) in between bore and blind pipe for the following diameters of strainers. (PHSI No:13,P-45)

90.00 Rft:	8”dia.		@Rs: 105/-			P.Rft:			Rs:    9450/-

07. Plugging of joints of casing and blind pipe with cement concrete 1:1 ½ :3 (PHSI No: 1, P-18)

2.15 Cft			@Rs: 347/-			P.Cft			Rs:     746/-

08. Supplying & Fixing of M.S Bail plug. (PHSI No: 9, P-43)

01 No:				@Rs: 2607/-			P.each			Rs:    2607/-

Total	Rs:    131118/-

SUB-WORK NO:   2    REPAIR PUMP HOUSE.

01. C. C. brick or stone ballast 1½” to 2” gauge Ratio 1:4:8 (CSI No:4,P-14)

63.89 cft.			@Rs: 9416/28			P%cft.			Rs:    6016/-

02. Pacca brick work in foundation & plinth in cement sand motor. (CSI No:4,(E) P-20) Ratio 1:6

63.89 cft.			@Rs: 11948/36			P%cft.			Rs:   5922/-

03. Cement Plaster 1:6, 1/2” thick upto 12’ height. (CSI No:11, (6)P-51)

1073.75 sft.			@Rs: 2283/93			P%sft.			Rs:   24524/-

04. Providing, Laying 1” thick topping C.C 1:2:4 i/c surface finishing and dividing into panels 3” thick

(CSI No:16,P-41)

240.0 sft			@Rs:4411/82			P%sft.			Rs:     10588/-

05. Primary Coat of chalk distemper (CSI No: 23 P-53)

3049.98 sft			@Rs:442.75			P%sft.			Rs:     13504/-

06. Distempering two coats. (CSI No:24,P-53)

3049.98 sft.			@Rs: 1043/90			P%sft.			Rs:     31838/-

07. Painting old surface preparing surface painting of doors and windows of any type i/c edges.

(CSI No:4,P-67) Three coats

219.0 sft.			@Rs: 1160/60			P%sft.			Rs:     2541/-

Total:		Rs: 94932/-

SUB WORK NO: 4	A.C. ELECTRIC PUMPING SET 15 BHP.

(a) 	A.C. ELECTRIC PUMPING SET 10 BHP.

1. Supplying & installing in position i/c transportation to site of work Meenhal Shabrani site, A.C Electric Pumping set consisting of A.C electric Motor of (SIMENS made) of 10 BHP 3 phase 50 cycles 400/420 volts of 1500 RPM (Siemens made) (type ILA7-166-2AA 60) coupled with (KSB Centrifugal pump Type (ETA-40-20) size 2” x 1½” mounted on common steel frame or base plate capable of discharging 100 glns: per minute against a head of 175 ft i/c installing of pumping set on cement concrete foundation (1:2:4) with M.S nuts bolts of 5/8” to be embedded in C.C foundation i/c providing and fixing on prepared board A.C 50 cycles 3 phase 12-25 amps: trip rating push button type oil amerced start delta starter complete with no volts and over lead release as required i/c providing & fixing on prepared board iron (clad) triple pole and neutral switch fuse with rewire able type fuse link carrier 500 volts grade 30 amps: and amps: meter 0-50 installed on metal board i/c providing & fixing Metalled board to accommodate main or sub-main control switches recessed in the wall size 3’x2 ½’ i/c providing phase indicators bulbs with holders and providing internal electric wiring 660 volts grade in 25 mm (1”) PVC conduit on surface as required i/c providing and fixing earthing set with 0.6Mx0.6Mx5.3MM(2’x2’x ½) copper plate buried in the ground at depth of 3.7M(12’) or less as per Pak PWD specification and testing for the pumping set against the required head of 72 hours etc complete.

1  x   2		=	02 Sets

2 Sets				@ Rs. 256912/-			P.Set		Rs. 256912/-

b).	Diesel Engine Set 16 BHP

01.Supplying & Installing in position i/c transportation to site of work Diesel Engine Pumping set consisting  of Diesel Oil Engine 16 BHP made (Golden made) fixed handle starter 2200 RPM i/c all accessories coupled with KSB Centrifugal ETA NORM pump Type (ETA-40-200) size 2” x 1½” mounted on common steel frame or base plate capable of discharging 75 glns: per minute against a head of 150 ft Pulley & Belt i/c installing of pumping set on cement concrete foundation (1:2:4) & Ratio 1:4:8 with stone ballast with M.S nuts bolts of 1/2” to be embedded in C.C foundation and testing for the pumping set against the required head of 72 hours etc. (Approved R.A)

Qty: 1 Set.			@ Rs. 243700/-			P.Set.		Rs. 243700/-

Total		Rs: 500612/-

Sub Work No: 5 	Inter Connection

01. Providing laying and fixing trenches i/c fitting, jointing and testing etc: complete in all respect the high Density polyethylene P.E pipes (HDPE-100) for W/S confirming ISO 4427/DIN 8074/8075 B.S 3580 & PSI 3051 (PHSI-1, P-25)

55.00 Rft	3” dia		@ Rs. 178/-				P.Rft.		Rs. 9790/-

02. G.I. Pipe of approved quality to be tested with pressure leath200 ft.(WSSI-1. No. P-5)

8.00 Rft	3” dia		@ Rs. 304/02				P.Rft.		Rs. 2432/-

03.  Supplying P.E Elbow 90% outer dia high density polyethylene fittings. (PHSI-4, P-8)

4.00 Rft			@ Rs. 1118/-				P.Rft.		Rs.   4472/-

04. Supplying Reflex Valve heavy pattern test pressure 21 kg/sq, cm or 300 lbs:/sq: inch(PHSMI No:C, P-11)

Qty: 2 Nos:	3” dia		@Rs: 1543/75				P.each		Rs:  3088/-

05. C.I Sluice valve heavy pattern test pressure 21 kg/sq, cm or 300 lbs/sq inch. (PHSMI No:1, P-11)

Qty: 01 No:	3” dia		@Rs: 4290/-				P.each		Rs:   4290/-

06. Supplying M.S Flanges (PHSMI No:12, P-17)

Qty: 12 Nos:			@Rs: 312/50				P.each		Rs:    3750/-

07. Supplying C.I Gibault Joints. (PHSMI No:1, P-11)

Qty: 01 No:	  3” dia		@Rs: 568/75				P.each		Rs:     569/-

Qty: 01 No:	  6” dia		@Rs: 1062/50				P.each		Rs:     1063/-

08. Supplying Flange Adopter for P.E pipes. (R.A Approved).

3”dia 1x16=16 Nos:		@Rs: 675/-				P.each		Rs:   10800/-

09. Butt Fusion Joint (PHSMI-H, P-20)

12 Joints 	3” dia		@Rs: 600/-				P.Joint		Rs:   7200/-

10. Foot Valve heavy pattern with cone type gate imported. (PHSMI No:1, P-11)

3”dia 1x1=1 No:		@Rs: 731/25				P.each		Rs:   731/-

11. Supplying P.E Equal tee (outer dia) for high density. (PHSMI No:9, P-10)

3”dia 1x1=1 No:		@Rs: 1341/-				P.each		Rs:  1341/-

12. C.I tapered flat bottomed or central tapered flanged end with holes i/c turning facing flanged all sizes. (PHSMI No:7, P-11)

0.20 Cwt			@Rs: 6096/-				P.Cwt		Rs:   1219/-

13. Supplying C.I Short pieces. (PHSMI No:9, P-13)

3”dia 1x1=1 No:		@Rs: 375/-				P.each		Rs:   375/-

14. Painting of G.I pipes with 2 coats of Zink paint for internal fittings. (WSSI-3, P-11)

10.00 Rft	3” dia		@ Rs. 20/-				P.Rft.		Rs.   200/-

15. Jointing C.I/ M.S. flanged pipe and specials flanged ends inside trenches i/c supply rubber packing of required thickness ruts belts with washers and other tools required for jointing and testing the joints to the specified pressure etc complete ( PHSI No.1 Page-33).

17 Joints	3” dia		@Rs: 499/-				P.Joint		Rs:   8483/-

Total		Rs:  57103/-

SUB WORK NO: 6    UPVC  PIPE R/MAIN & DISTT: SYSTEM

01. Excavation for pipe line in trenches i/c pits in soft soil i/c trimming and dressing sides to true alignment and shape leveling of beds of trenches to correct level and grade cutting, joints holes & disposal of surplus earth within one chain or as directed by Engineer Incharge i/c providing fence guards light flanges and temporary crossing for non vehicular traffic where ever required lift upto 5’ and lead upto one chain.          (PHSI No:2,P-46)

950.00 cft.			@Rs: 3600/-			P%0cft.		Rs:   3420/-

02. Providing Lying & fixing in trenches P.E Pipe cutting, fitting & jointing with “Z” joint with one rubber ring i/c testing with water to a  (PHSI No: F, P-25)

50.00 rft	6” dia		@Rs: 440/-			P.rft			Rs:   22000/-

50.00 rft	4” dia		@Rs: 224/-			P.rft			Rs:   11200/-

50.00 rft	3” dia		@Rs: 90/-			P.rft			Rs:    7400/-

03. Supplying C.I Bend Ends. (PHSMI No:13,P-17)

4”dia 1x2=2 Nos:		@Rs: 731/25			P.each			Rs:     1463/-

3”dia 1x2=2 Nos:		@Rs: 568/75			P.each			Rs:     2275/-

04. Supplying C.I Gibault Joints. (SMI No: 14 P-17)

6” dia 1x5=5 Nos;		@Rs: 1062/50			P.each			Rs:    5313/-

4”dia 1x5=5 Nos:		@Rs: 731/25			P.each			Rs:    3656/-

3”dia 1x5=5 Nos:		@Rs: 568/75			P.each			Rs:    2844/-

05. Making jointing to PVC specials fitting i/c laying of specials & cost of solvent cement of and required diameter and testing the joints along-with PVC pipe line B,C & D Class to specified pressure and making good testing to all leaky joints etc complete. (PHSI No:1,P-80)

6” dia 1x5=5 Joints		@Rs: 72/-			P.Joint			Rs;    360/-

4”dia 1x5=5 Joints		@Rs: 62/-			P.Joint			Rs:    310/-

3”dia 1x5=5 Joints		@Rs: 62/-			P.Joint			Rs:     310/-

06. Refilling the excavated stuff in trenches in 6” thick layers for leveling dressing i/c watering, ramming to full compaction etc complete. (PHSI No:24,P-53)

855.00 cft			@Rs: 2760/-			P%0cft.		Rs:   2360/-

Total: -		Rs: 62911/-

SUB WORK NO: 	REPAIR OF TRASFORMER

01.   Supplying & Installing H.T Coils of Transformer 25.0 KVA

Qty: 3 Nos.			@Rs: 15000/-			P.rft			Rs:   45000/-

02.   Supplying & Installing Transformer Oil.

Qty: 80 Litters.		@Rs: 180/-			P. litters		Rs:   14400/-

03.   Labour Charges for repair of Transformer.

Qty: 1 Job.			@Rs: 5000/-			P. Job			Rs:   5000/-

04.   PVC 3 Core Cable (16 mm) from transformer upto Pump House.

Qty: 75.00 Rft.			@Rs: 240/78			P. rft			Rs:   18059/-

Total:   Rs:  82459/-

GENERAL ABSTRACT OF COST

Schedule Items	Non Sch: Items	G. Total

01.  Tube Wells 			Rs: 1,31,118/-		Rs: 	-		Rs: 1,31,118/-

02.  Repair of Pump House		Rs:    94,932/-		Rs:  	- 		Rs:    94,932/-

03.  Pumping Machinery 		Rs: 	- 		Rs:  500612/-		Rs:   500612/-

04.  Inter Connection 			Rs:    49,003/-		Rs:      8100/-		Rs:     57103/-

05.  Rectification of leakages 		Rs:     62911/-  		Rs:	-		Rs:     62911/-

06.  Repair of Transformer		Rs:    	-		Rs:    82459/-		Rs:     82459/-

Total: -		Rs:  337964/-		Rs:  591171/-		Rs:   929135/-

Amount Total (a)

--------------------% Above/ Below on the rates CSR		Amount to be added/ deducted on the

Basis of premium quoted.

Total: (b)

Total (A) = a + b in words & figure:

CONTRACTOR					  EXECUTIVE ENGINEER

Public Health Engg: Division

Kamber Shahdadkot @ Kamber