BILL OF QUANTITY

Sr # 58

Name of work: -	Construction of C.C drains, C.C blocks & Compound Wall of Disposal Work for Drainage System District Secretariat, DC House & Staff Colony District Kamber Shahdadkot (Part-III)

Head of A/C: -	District ADP 2016-17

| Qty: | S.No. | Item of work | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

A: -    C.C DRAINS

01. Excavation in foundation of building, bridges & other structure i/c deg, belling dressing refilling around the structure with excavated earth watering, ramming lead upto one chain and lift upto 5’ in ordinary soil. (GSI No: 18(b), P-5)

10687.34 cft.			@Rs: 3176/25			P%0cft.		Rs:  33946/-

02. C.C Plain i/c placing, compacting, finishing & curing complete i/c screening and washing of stone aggregate without shuttering (GSI No: 5, P-18)

Ratio 1:4:8

2109.34 cft.			@Rs: 11288/75			P%cft.			Rs: 238118/-

Ratio 1:2:4

25.56 cft.			@Rs: 14429/25			P%cft.			Rs:    3687/-

03. Pacca brick work in foundation and plinth in cement sand mortar 1:6 (GSI No:4(e),P-25)

5815.50 cft.			@Rs: 11948/36			P%cft.			Rs: 694857/-

04. Construction of standard open type drains Cunette block with C.C (1:4) cost in situ to design profile i/c cost of mould as per applying floating coats 1/32” to exposed surface finishing smooth & curing etc complete. (SPHEWI No: D, P-44)

1627.00 rft.	Type-I		@Rs: 94/-			P.Rft:			Rs:  152938/-

1500.00 Rft:	Type-II	@Rs: 174/-			P.Rft:			Rs:  261000/-

05. Cement Plaster 1:4, ½” thick upto 20’ height. (GSI No:1(b),P-58)

9750.68 sft.			@Rs: 2283/93			P%sft.			Rs:  222699/-

06. R.C.C work in roof, slab, beams, columns, rafts, lintels & other structural members laid in situ or precast laid in position etc complete. Ratio 1:2:4 (GSI No:6(a), P-19)

108.40 cft.			@Rs: 337/-			P.Cft.			Rs:   36531/-

07. Fabrication of M.S reinforcement for C.C i/c cutting, bending, laying in position making joints fastening i/c cost of binding wire also i/cs removal of rust from bars. (GSI No: 7(ii), P-20)

3.87 cwt.			@Rs: 5001/70			P.Cwt.			Rs:  19364/-

Total: -		Rs: 1662336/-

B: -    C.C BLOCKS

01. Barrow pit excavation undressed lead upto 100’. (GSI No:3(a), P-1)

6400.00 cft.			@Rs: 2117/50			P%0cft.		Rs:  13552/-

02. Earth work compaction (soft ordinary or hard soil) Laying earth in 6” thick layers for leveling and dressing etc complete.(GSI No:13), P-3)

6400.00t.			@Rs: 354.00			P%0cft.		Rs:    2266/-

03. Extra for every 50’ additional lead or part thereof. (GSI No:8(a), P-3)

6400.00 cft.			@Rs: 5039/-			P%0cft.		Rs:  32250/-

04. C.C brick or stone ballast 1½” to 2” gauge. Ratio 1:4:8 (CSI No:4, P-16)

2112.00 cft			@Rs: 9416/28			P%cft			Rs: 198872/-

05. C.C Plain i/c placing, compacting, finishing & curing complete i/c screening and washing of stone aggregate without shuttering (GSI No: 5, P-18)

2112.00 cft			@Rs: 14429/25			P%cft			Rs: 304746/-

06. Errection & Removal of centering for R.C.C or plain C.C works of partial wood (2nd: class)                                 (GSI No: 19, P-17)

264.00 sft			@Rs: 3127/41			P%sft			Rs:  8256/-

Total: -			Rs: 559941/-

C: -        COMPOUND WALL SIZE (100’x75’).

01.	Excavation for foundation of building, bridges and other structure i/c deg belling dressing refilling around the structure with excavated earth watering ramming lead up to one chain and lift up to 5.0 ft. in ordinary soil.(CSI No.18(b) page-05 )

1302.00 Cft.		@ Rs.3176/25				P.%0Cft		Rs:  4135/-

02.	C.C Brick or Stone Ballast 1 ½ “ to 2”guage. 1:4:8. (CSI No.5 p-16).

330.00 Cft.		@ Rs.9416/28				P%Cft.			Rs. 31074/-

03. Pacca brick work in foundation and plinth in cement san mortar in 1;6

(GSI No:4(e),P-25

1527.95 cft.			@Rs: 11948/83			P%cft.		  Rs:  182566/-

05.	DPC with cement sand shingle concrete 1:2:4 i/e two coats 	of asphalt mixture.(CSI No.27 p-23). 3” THICK.

359.51 sft.			@ Rs.4982/18				P% sft.		Rs. 17911/-

06.	Pacca Brick work other than building i/c stricking of joints upto 20’ height in cement sand mortar 1:6. (CSI No.7(i)P-26).

1086.84 Cft.		@ Rs.12346/65				P%Cft.		Rs.  134188/-

07. 	Cement Plaster (1:5) ½ “thick up to 12’ Height.  (CSI No.12(a)  page-58 )

2675.28 Sft.		@ Rs.2206/60				P%Sft	         		Rs. 59033/-

08.	Cement Plaster (1:4) 3/8“thick up to 20’ Height. (CSI No.11(b)  page-53 )

2675.28 sft		@ Rs.2197/52				P%Sft			Rs. 58790/-

09.  Cement pointing struck joints on walls. Ratio 1:3 (CSI No.19 (b) p-59).

1128.00 sft		@ Rs.1213/58				P%Sft			Rs.  13689/-

10.Making and fixing steel gated doors complete with1/16” thick sheeting

Locking arrangement angle iron frame 2”x2”x3/8” and ¾ “ sq: bars @ c/c. (CSI No.23 p-91).

60.00 sft		@ Rs.726/72				P.Sft			Rs. 43603/-

11. Reinforcement cement concrete work i/c all Labour and material accept the cost of steel reinforcement and its Labour for bending and binding which will paid separately. This rate also i/c all kinds of forms moulds, lifting shuttering curing rendering and finishing and exposed surface i/c screening and washing of shingle. R.C.C work in roof, slab, beams, columns, rafts, lintels & other structural members laid in situ or precast laid in position etc complete. Ratio 1:2:4 (GSI No:6(a), P-19)

51.50 Cft.		@ Rs.337/00			P.Cft.				Rs.  17356/-

12. Fabrication of M.S reinforcement for C.C i/c cutting, bending, laying in position making joints fastening i/c cost of binding wire also i/cs removal of rust from bars. (GSI No: 7(ii), P-20)

2.06 cwt.		@ Rs.5001/70			P.Cwt				Rs.  10304/-

13.  Primary coat of chalk (GSI No.23 P-53).

3803.28 Sft.		@ Rs.442/75				P% sft			Rs.  16839/-

14.  Distempering two coats. (CSI No.26 p-59).

3803.28 Sft.		@ Rs.1043/90				P%Sft.			Rs.  39702/-

15. Painting new surface preparing surface & painting of guard bars gates of iron bars grating, railing i/c standard braces etc. (T.similar open work).(CSI No. 4(d) P-76). 2 coats

120.00 sft.		@ Rs. 1489/68			P%Sft.			Rs.  1788/-

Total		Rs. 630978/-

GENERAL ABSTRACT OF COST

Schedule Items	Non Sch: Items	G. Total

01.  C.C drains				Rs: 1662336/-		Rs:     	-		Rs: 1662336/-

02.  C.C blocks				Rs:   559941/-		Rs:	-		Rs:   559941/-

03. Compound Wall			Rs:   630978/-		Rs:	-		Rs:   630978/-

Total: -		Rs: 2853255/-		Rs:	-		Rs: 2853255/-

Amount Total (a)

--------------------% Above/ Below on the rates CSR		Amount to be added/ deducted on the

Basis of premium quoted.

Total: (b)

Total (A) = a + b in words & figure:

CONTRACTOR					  EXECUTIVE ENGINEER

Public Health Engg: Division

Kamber Shahdadkot @ Kamber