SCHEDULE “B”

CONSTRUCTION OF WAITING SHED AT VARIOUS PLACES OF DISTRICT THARPARKAR @ HIRDAS BHAGAT ASTHAN

ABSTRACT COST

Part – A	Construction of Shed			Rs. 52,40,249/=

Part – B	Electric Fitting				Rs.   2,38,366/=

Total	Rs. 54,78,615/=

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |

PART – A	CONSTRUCTION OF SHED

| 1. | Excavation in foundation of buildings bridges and other structures including dag belling, dressing refilling around structures with excavated earth watering and ramming lead upto 5’ ft: (In sand, ashes, loose Soil) (G.I.S.No.18 (a) P/4). |
| --- | --- |

824.0			@ Rs. 2722/50		P‰ Cft		Rs. 2,243/=

(Rupees Two Thousand Seven Hundred Twenty Two and Paisas Fifty) Only (Per Thousand Cft)

| 2. | Cement concrete brick or stone ballast 1 ½"to 2" gauge Ratio 1:4:8 (G.S.I.No. 4 (b) P-15). |
| --- | --- |

Ratio 1:2:4

1515.00 		@ Rs. 9416/28		P%Cft			Rs. 1,42,657/=

(Rupees Nine Thousand Four Hundred Sixteen and 				Paisas Twenty Eight) Only (Per Hundred Cft)

| 3. | Reinforced cement concrete work including all labour and material except the cost of binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and fining washing of shingle (a) RCC work in roof slab beams columns rafts lintels and others structural members laid in situ or precast laid in position complete in all respects Ratio (1:2:4) 90 Lbs cement 2 Cft sand and 4 Cft shingle 1/8” to ¼" gauge (G.S.I. No.6) (a) Page No.16). |
| --- | --- |

3846.0 Cft		@ Rs. 	337/=			P.Cft			Rs. 12,96,102/=

(Rupees Three Hundred Thirty Seven) Only (Per Cft)

| 4. | Fabrication of mild steel reinforcement for cement concrete including cutting, bending laying in position making joints and fastening laying in position binding wire (also includes removal of rust from bars) (G.S.I. No.8 (b) P-17). |
| --- | --- |

171.69 Cwt		@ Rs. 5001/70		P.Cwt			Rs. 8,58,742/=

(Rupees Five Thousand One and Paisas Seventy) only (Per Cwt)

| 5. | Pucca brick work n foundation and plinth in cement sand mortar (1:6) (G.S.I. No. 4 (i)/e P-21). |
| --- | --- |

393.00 Cft		 @ Rs. 11948/36		P% Cft			Rs. 46,957/=

(Rupees Eleven Thousand Nine Hundred Forty Eight and Paisas Thirty Six) Only (Per Hundred Cft)

| 6. | Filling, watering and ramming earth under floor with surplus earth from foundation lead up to one chain and lift up to 5 feet. (G.S.I.No. 21 P-4). |
| --- | --- |

3375.00 Cft		@ Rs. 1512/50 		P‰ Cft		Rs. 5,105/=

(Rupees One Thousand Five Hundred Twelve and Paisas Fifty) Only (Per Thousand Cft)

| 7. | Cement Plaster (1:4) upto 12’ height 1/2” thick (G.S.I.No. 11 (b) P-52) |
| --- | --- |

524.0 Sft 		@ Rs. 2283/93		P% Sft			Rs. 11,968/=

(Rupees Two Thousand Two Hundred Eighty Three and Paisas Ninety Three) Only (Per Hundred Sft)

| 8. | Providing and laying 1" thick topping Cement concrete (1:2:4) 1½" thick (G.S.I.No. 16 (P-42). |
| --- | --- |

1½" thick

4929.0 Sft		@ Rs. 2548/29		P% Sft			Rs. 1,25,605/=

(Rupees Two Thousand Five Hundred Forty Eight and Paisas Twenty Nine) Only (Per Hundred Sft)

| 9. | Providing and laying white marble flooring fine dressed in the surface without winning set in lime mortar (1:2) including rubbing & polishing of the joints (a) ¾" thick (G.S.I.No. 28 (a) P-43). |
| --- | --- |

4484.30 Sft		@ Rs. 567/48			P.Sft			Rs. 25,44,751/=

(Rupees Five Hundred Sixty Seven and Paisas Forty Eight) Only (Per Sft)

| 10. | Primary coat of chalk distemper (G.S.I.No.23 P-54). |
| --- | --- |

7607.0 Sft		@ Rs. 442/75			P% Sft			Rs. 33,680/=

(Rupees Four Hundred Forty Two and Paisas Seventy Five) Only (Per Hundred Sft)

| 11. | Distempering two coats (G.S.I.No.24 (b) P-54). |
| --- | --- |

7607.0 Sft		@ Rs. 1043/90		P% Sft			Rs. 79,409/=

(Rupees One Thousand Forty Three and Paisas Ninety) Only (Per Hundred Sft)

| 12. | Two coat of bitumen laid hot using 34 Lbs for %Sft. Ober roof and blinded with sand at one Cft per % Sft (G.S.I.No. 13 (P-34). |
| --- | --- |

5684.0 Sft		@ Rs. 1887/40		P% Sft			Rs. 93,030/=

(Rupees One Thousand Eight Hundred Eighty Seven and Paisas Forty) Only (Per Hundred Sft)

Total	Rs. 52,40,249/=

PART – B 	ELECTRIC FITTINGS

| 1. | Wiring for light or fan point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit recessed in the wall or column as required. (S.E.I.No. 124 P-15). |
| --- | --- |

88 Nos:		@ Rs. 1130/=			Each			Rs. 99,440/=

(Rupees One Thousand One Hundred Thirty) Only (Each)

| 2. | Wiring for plug point with 3/.029 PVC insulated wire in 20mm (3/4") PVC conduit on surface as required. (S.E.I.No. 125 P-15). |
| --- | --- |

04 Nos:		@ Rs. 669/=			Each			Rs. 2,676/=

(Rupees Six Hundred Sixty Nine) Only (Each)

| 3. | Providing and laying (Main or sub-Main) PVC insulated with size 2-7/.029 copper conductor in ¾" dia PVC conduit recessed in the wall or column as required (S.E.I.No. 10 P-2). |
| --- | --- |

200 Meter		@ Rs. 222/=			P.Meter		Rs. 44,400/=

(Rupees Two Hundred Twenty Two) Only (Per Meter)

| 4. | Providing and laying (Main or sub-Main) PVC insulated with size 2-7/.044 (6mm2) copper conductor in ¾" dia PVC conduit recessed in the wall or column as required (S.E.I.No. 12 P-2). |
| --- | --- |

100 Meter		@ Rs. 341/=			P.Meter		Rs. 34,100/=

(Rupees Three Hundred Forty One) Only (Per Meter)

| 5. | Providing and fixing brass batten holder swiveling type (S.E.I.No. 233 P-34). |
| --- | --- |

80 Nos:		@ Rs. 69/=			Each			Rs. 5,520/=

(Rupees Sixty Nine) Only (Each)

| 6. | Providing and fixing circuit breaker 15,20,30,40,50 & 60 amperes TP (XE-100CS CB) on prepared board as required (S.E.I.No. 206 P-31). |
| --- | --- |

04 Nos:		@ Rs. 5521/=			Each			Rs. 22,084/=

(Rupees Five Thousand Five Hundred Twenty One) Only (Each)

| 7. | Providing and fixing circuit breaker 125,150,200 & 225 amperes TP (XS-225NS) on prepared board as required (S.E.I.No. 208 P-31). |
| --- | --- |

01 No:			@ Rs. 25541/=		Each			Rs. 25,541/=

(Rupees Twenty Five Thousand Five Hundred Forty One) Only (Each)

| 8. | Providing and fixing ampere meter size 96/96 mm direct 15A, 30A, 50A, 60A and 100A as required and instruction of engineer incharge (E.S.I.No. 284 P-41). |
| --- | --- |

01 No:			@ Rs. 1054/=			Each			Rs. 1,054/=

(Rupees One Thousand Fifty Four) Only (Each)

| 9. | Providing and fixing volt meter size 96/96 mm 500 volts as required and as per instruction of Engineer/Incharge (E.S.I.No. 285 P-41). |
| --- | --- |

01 No:			@ Rs. 999/=			Each			Rs. 999/=

(Rupees Nine Hundred Ninety Nine) Only (Each)

| 10. | Providing & fixing one way SP10/15 Amp switch surface type (E.S.I No. 218 P-34) |
| --- | --- |

44 Nos:		@ Rs. 58/=			Each			Rs. 2,552/=

(Rupees Fifty Four) Only (Each)

Total 	Rs. 2,38,366/=

CONDITIONS

- The rates should be inclusive of all the Taxes i/c. Sales Tax, Octroi. Royalties etc, if any.

- No separate carriage will be allowed to the contractor.

- The Testing of the works/Pumping Machinery will be arranged by the contractor at his own cost, No separate payment will be made.

- No premium will be allowed on Non-Schedule items.

- Any error or omission in the specifications/items will be governed by the relevant specifications and schedule of rates.

- The decision of the Executive Engineer will be final and binding on all the parties in any dispute.

- The contractor will have to submit the certificate of manufacturer at the time of supply of Machinery.

| CONTRACTOR |  | EXECUTIVE ENGINEER PUBLIC HEALTH ENGG: DIVISION THARPARKAR @ MITHI |
| --- | --- | --- |