PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Construction of Surface Darins @ Mashori Mallaha Hatri (Phase-I) (Sr. No. 15)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 3611.25 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 11,470 |
| 2. | 602.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5 (F) P-15) | 11288.75 | P%Cft | 67,958 |
| 3. | 2166.75 | Pacca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 258,891 |
| 4. | 4815.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 109,971 |
| 5. | 963.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. PHED shud.P.no 58 item.06 | 94.00 | P. Rft | 90,522 |
| 6. | 720.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 242,640 |
| 7. | 28.92 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 144,649 |

| Total Amount | Rs. 926,101.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency

PART – IV

Scheduled to Bid

OFFICE OF THE UNION COUNCIL HATRI DISTRICT HYDERABAD

Name of Work: 	Construction of Surface Darins @ Mashori Mallaha Hatri (Phase-II) (Sr. No. 16)

Issued to M/s	          _________________________________________

BILL OF QUANTITIES

(A)    Description and rates of Items based on Composite Schedule of Rates.

| Item No. | Quantity | Description of Items to be executed at Site | Rate | Unit | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | 3611.25 | Excavation in foundation of building bridges and other structures i/c dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft | 3176.25 | P%0Cft | 11,470 |
| 2. | 602.00 | Cement Concrete Plain i/c Placing, compaction and for curing complete (1:2:4) (GSI No: 5 (F) P-15) | 11288.75 | P%Cft | 67,958 |
| 3. | 2166.75 | Pacca brick work cement sand mortar 1.4 other then building | 11948.36 | P%Cft | 258,891 |
| 4. | 4815.00 | Cement Plaster (1:4) ½” thick. | 2283.93 | P%Sft | 109,971 |
| 5. | 963.00 | Construction of standard open drain cunette Block of cement concrete 1:2:4, in situ to the Design profile i/c cost of mould as per drawing i/c supplying fluting cost of cement 1/32” thick to the exposed face finished smooth curing etc. PHED shud.P.no 58 item.06 | 94.00 | P. Rft | 90,522 |
| 6. | 720.00 | Reinforcement Cement Concrete in roofs slab beans, columns raft, lintels and other structural members laid in site or precast. (1:2:4) (GSI NO.6 (1) P-16). | 337.00 | P. Cft | 242,640 |
| 7. | 28.92 | Fabrication of mild steel reinforcement cement Concrete i/c cutting, bending, laying in position etc (GSI No 8 (b) P-16). | 5001.70 | P. Cwt | 144,649 |

| Total Amount | Rs. 926,101.0 |
| --- | --- |

| I, M/s ________________________________________ do hereby quotes the rates ________% above / below the rates of CSR in Words: (____________________________) to be added/deducted on the basis of Premium quoted | Rs._______________ |
| --- | --- |
| Total | Rs._______________ |
| Total (a) | Rs._______________ |
| Total (b) | Rs._______________ |
| Grand Total | Rs._______________ |

Contractor 			                       Engineer/Procuring Agency