## Water & Sanitary
PART (B) WATER SUPPLY& SANITARY
S.No. | Name of Work |  | Qty: |  | Rate | Unit | Amount
1/- | Providing & fixing squating type white glazed of flushine cistern fitting & flush pipe with bend and
ing requite mmber of holes I walls plinth & florr for pipe conec-n & making good in cement
concerete 1:2:4 (B) (i) W.c of not less than clear opening between flushing mm and 3 gallons
flushing tank with iia c.i trap and c.i thumble. (S.I NO:1 B-11) P-1).
|  |  | 1 | No. | 4846.6 | Each | Rs: | 4846.6
2/- | Providing and fixing 22"16" lavetory basin in white glazed earthen ware complete with & i/c the cost of W.I or
C.I cantilever brackets 6 inch built into wall. Painted while in 1/2 dia chrome plated pillar taps 1-1/2" dia
rubber plug & dia chrome brass waste of approved pattern 1-1/4" dia or base uninos and making and traps,
malloable iron or brass requisitenumber of holes in wall plinth & floor for pipe connection and making good in
cement concrete 1:2:4 (standard pattern ) (S.I No:12 P.No:4)
|  |  | 1 | No. | 4694.8 | Each | Rs: | 4694.8
3/- | Add extra for labour for providing & fixing of earth ware pedestal white or coloured glazed
(standard pattern) S.I No:9 P.No:3
|  |  | 1 | No. | 938.47 | Each | Rs: | 938.47
[6 empty] | Total Part-B : |  | 10479.87
"C" PUBLIC HEALTH SCHEDULE
S.No. | Name of Work |  | Qty: |  | Rate | Unit | Amount
1/- | Construction of mainhole or inspection chamber for the rendiameter of circullar sewer and 3-6"
(1067)mm) depth with wall of B.B in cement sand morter 1:3 cement plaster 1:3 1/2" thick inside
of walls and 1"(25mm) thick over benching and channels i/c fixing C.I main hole over with fram of
clear opening 1-1/2" (457x457) mm of 1.75 cwt 88.9 plain c,c 1:2:4 etc complete. (S.No:1 P.No:46).
|  |  | 4 |  | 2498 | Each | Rs: | 9992
2/- | Providing & laying UP .V.C pipes class.
|  |  | 30 |  | 483 | P.Rft | Rs: | 14490
3/- | Boaring for tubewell in wall watering toaring siils 3" dia (S.I No: P.H.S 1 P.No:4).
|  |  | 70 |  | 160 | P.Rft | Rs: | 11200
[6 empty] | Total Part-C |  | 35682
__________Above / Below on the rate of CSR Amount
to be added / deducted on the Rate ______________
Total Amount in Words_________________________
___________________________________________.
|  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION SHIKARPUR