## Water & Sanitary
PART (B) WATER SUPPLY& SANITARY
S.No. | Name of Work |  | Qty: |  | Rate | Unit | Amount
1/- | Providing & fixing squating type white glazed of flushine cistern fitting & flush pipe with bend and
ing requite mmber of holes I walls plinth & florr for pipe conec-n & making good in cement
concerete 1:2:4 (B) (i) W.c of not less than clear opening between flushing mm and 3 gallons
flushing tank with iia c.i trap and c.i thumble. (S.I NO:1 B-11) P-1).
|  |  | 1 | No. | 4846.6 | Each | Rs: | 4846.6
2/- | Providing and fixing 22"16" lavetory basin in white glazed earthen ware complete with & i/c the cost of W.I or
C.I cantilever brackets 6 inch built into wall. Painted while in 1/2 dia chrome plated pillar taps 1-1/2" dia
rubber plug & dia chrome brass waste of approved pattern 1-1/4" dia or base uninos and making and traps,
malloable iron or brass requisitenumber of holes in wall plinth & floor for pipe connection and making good in
cement concrete 1:2:4 (standard pattern ) (S.I No:12 P.No:4)
|  |  | 1 | No. | 4694.8 | Each | Rs: | 4694.8
3/- | Add extra for labour for providing & fixing of earth ware pedestal white or coloured glazed
(standard pattern) S.I No:9 P.No:3
|  |  | 1 | No. | 938.47 | Each | Rs: | 938.47
4/- | Position C.P bib cock 1/2" dia C.P bib cock standard.
(S.I No:2 (b) (P.No:16).
|  |  | 6 | Nos. | 150.92 | Each | Rs: | 905.52
5/- | Position brass bib cock 1/2" dia C.P bib cock standard.
(S.I No:1 (b) (P.No:16).
|  |  | 6 | Nos. | 337.92 | Each | Rs: | 2027.52
6/- | Pipe sprcials and clamps etc i/c fixing cutting & fittings complete i/c cost of breaking throught walls
and roof making food etc coats after cleaning the pipe etc with white zink paint with macht the
coloumns of the building and testing with watering pressure head of 200 feet etc complete
1/2" dia G.I pipe (S.I No:1(5) (P.No:12).
|  |  | 70 | Nos. | 188.97 | P.Rft | Rs: | 13227.9
7/- | Providing G.I Pipes specials & clamps etc including fixing cutting and fitting complete with and i/c the
cost of breaking through walls and roof .making good etc . Painting two coats after cleaning the pipe etc.
with white zink paint with pigment to match the colour of the building and testing with water to a pressure
head of 200 feet and handling. ( S.I.NO.1 .P.NO.12 )
| (iii) 1" dia G.I Pipe |  | 35 |  | 128.55 | P.Rft: | Rs: | 4499.25
| (ii) 3/4" dia G.I Pipe |  | 43 |  | 95.79 | P.Rft: | Rs: | 4118.97
| (i) 1/2" dia G.I Pipe |  | 35 |  | 73.21 | P.Rft: | Rs: | 2562.35
8/- | dia c.o waste and cent pipe i/c cutting fitting and extra aprantio macht the colour of the building etc.
(S.I No:13) (P.No:10).
|  |  | 9 | Nos. | 289.25 | Each | Rs: | 2603.25
| Continue Item No.8 MTS |  | 12 | Rft | 233.29 | P.Rft | Rs: | 2799.48
4" dia W.C
9/- | P/F europen white glazed earthen ware wash w.c pan etc complete.
|  |  | 1 | No. | 11477.4 | Each | Rs: | 11477.4
10/- | P/F 3"x3" dia C.I branch of the reqdegree with access door rubber wash 1/8" thick and bolts and buts &
extra painting match the colour of building (S.I No.16 P.No:10).
|  |  | 1 | No. | 591.3 | Each | Rs: | 591.3
|  |  | 1 | No. | 270.6 | Each | Rs: | 270.6
11/- | P/F chrome plate brass towel rail complete with brackets fixing on wooden cleats with 1" long c.p brass
screw 3/4" dia round or squ: standard (S.I No.1 (a) P.No:07).
| Bath |  | 1 | No. | 1082.95 | Each | Rs: | 1082.95
12/- | P/F 24"x18" bavelled edge mirror of belgium glass complete with 1/8" thick hard board and C.P screw foxed
to wooden pleat (S.I No.3(b) P.No.07).
| Bath |  | 1 | No. | 2376 | Each | Rs: | 2376
13/- | Providing and fixing 4" dia C.I soil & vent pipes including Cutting and fitting and extra painting to match
the colour of building.( S.I.NO.1 ,P,NO,8 )
|  |  | 12 |  | 333.29 | P.Rft | Rs. | 3999.48
14/- | Providing and fixing 4" dia C.I soil & vent pipes including Cutting and fitting and extra painting to match
the colour of building.( S.I.NO.1 ,P,NO,8 )
|  |  | 12 |  |  | P.Rft | Rs. | 0
15/- | P/F 4"x4"x4" dia plain C.I brach of required degree i/c extra painting to match the colour of the
building plain tee etc. (S.I No: 7 P.No:09)
| Bath |  | 4 | Nos. | 704.2 | Each | Rs: | 2816.8
16/- | S/F long bib cock of superior quality with C.P head 1/2" dia cratal (S.I No: 13 (b) P.No:19)
|  |  | 2 | Nos. | 1384.24 | Each | Rs: | 2768.48
17/- | P/F ball valve with unsoldeted copper ball made to B.B.S 1212 1" dia .(S.I No: 6 P.No:18).
| Bath |  | 2 | Nos. | 318.34 | Each | Rs: | 636.68
18/- | S/F Bath Room assessories set 7 piece i/c tower rod brush bolder soapt of approved design i/c cost of
screw bits etc complete (S.I No.23 (b) P.No.19).
| Bath |  | 1 |  | 10322.4 | Each | Rs: | 10322.4
[6 empty] | Total Part-B : |  | 79566.2
"C" PUBLIC HEALTH SCHEDULE
S.No. | Name of Work |  | Qty: |  | Rate | Unit | Amount
1/- | Construction of mainhole or inspection chamber for the rendiameter of circullar sewer and 3-6"
(1067)mm) depth with wall of B.B in cement sand morter 1:3 cement plaster 1:3 1/2" thick inside
of walls and 1"(25mm) thick over benching and channels i/c fixing C.I main hole over with fram of
clear opening 1-1/2" (457x457) mm of 1.75 cwt 88.9 plain c,c 1:2:4 etc complete. (S.No:1 P.No:46).
|  |  | 4 |  | 2498 | Each | Rs: | 9992
2/- | Providing & laying UP .V.C pipes class.
|  |  | 30 |  | 483 | P.Rft | Rs: | 14490
3/- | Boaring for tubewell in wall watering toaring siils 3" dia (S.I No: P.H.S 1 P.No:4).
|  |  | 70 |  | 160 | P.Rft | Rs: | 11200
[6 empty] | Total Part-C |  | 35682
__________Above / Below on the rate of CSR Amount
to be added / deducted on the Rate ______________
Total Amount in Words_________________________
___________________________________________.
|  | CONTRACTOR |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION SHIKARPUR