## 1
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGPS. Urdu Main Sanghar (Electrification) Taluka Sanghar
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 48 | 910 | Each | 43680
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 14 | 742 | Each | 10388
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 300 | 118 | P.Mtr | 35400
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 150 | 213 | P.Mtr | 31950
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 48 | 54 | Each. | 2592
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 14 | 80 | Each. | 1120
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 33 | 70 | Each. | 2310
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 15 | 72 | Each. | 1080
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 15 | 3185 | Each. | 47775
15 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 145 | 375 | P.Mtr | 54375
|  |  |  | Total | 258135
PART" B
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 50 | 596.4 | P.No. | 29820
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 8 | 596.4 | P.No. | 4771.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 15 | 112 | P.No. | 1680
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 15 | 171 | P.No. | 2565
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 3 | 989.55 | P.Sft | 2968.65
|  |  |  | Total | 42154.85
|  |  | Total A+B | Rs. | 300289.85
|  |  | G:Total | Rs | 300289.85
|  |  | Say | Rs | 0.30029
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 2
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGPS. Daim Khan Dhamrah (Electrification) Taluka Shahdadpur.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 24 | 910 | Each | 21840
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 5 | 742 | Each | 3710
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 100 | 118 | P.Mtr | 11800
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 70 | 213 | P.Mtr | 14910
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 24 | 54 | Each. | 1296
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 5 | 80 | Each. | 400
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 17 | 70 | Each. | 1190
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 5 | 916 | Each. | 4580
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 125 | 375 | P.Mtr | 46875
|  |  |  | Total | 129749
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 23 | 596.4 | P.No. | 13717.2
2 | Providing and Fixing blubs 100 watts | 5 | 35 | Each. | 175
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 5 | 596.4 | P.No. | 2982
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 6 | 171 | P.No. | 1026
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1.5 | 989.55 | P.Sft | 1484.325
20056.525
|  |  | Total A+B | Rs. | 149805.525
|  |  | G:Total | Rs | 149805.525
|  |  | Say | Rs | 0.14981
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 3
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GBPS. Rasool Bux Dahri (Electrification) Taluka Shahdadpur.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 24 | 910 | Each | 21840
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 5 | 742 | Each | 3710
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 100 | 118 | P.Mtr | 11800
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 70 | 213 | P.Mtr | 14910
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 24 | 54 | Each. | 1296
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 5 | 80 | Each. | 400
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 17 | 70 | Each. | 1190
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 5 | 916 | Each. | 4580
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 125 | 375 | P.Mtr | 46875
|  |  |  | Total-A | 129749
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 23 | 596.4 | P.No. | 13717.2
2 | Providing and Fixing blubs 100 watts | 5 | 35 | Each. | 175
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 5 | 596.4 | P.No. | 2982
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 6 | 171 | P.No. | 1026
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1.5 | 989.55 | P.Sft | 1484.325
|  |  |  | Total-B | 20056.525
|  |  | Total A+B | Rs. | 149805.525
|  |  | G:Total | Rs | 149805.525
|  |  | Say | Rs | 0.14981
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 4
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GBPS. Darya Khan Baladi (Electrification) Taluka Sinjhoro.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 17 | 910 | Each | 15470
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 60 | 118 | P.Mtr | 7080
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 40 | 213 | P.Mtr | 8520
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 17 | 54 | Each. | 918
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 5 | 80 | Each. | 400
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 17 | 70 | Each. | 1190
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 4 | 72 | Each. | 288
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 4 | 916 | Each. | 3664
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 4 | 3185 | Each. | 12740
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 80 | 375 | P.Mtr | 30000
|  |  |  | Total-A | 86102
PART" B" NON SCHEDULE ITEM.
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete (R.A). | 15 | 596.4 | P.No. | 8946
2 | Providing and Fixing blubs 100 watts | 5 | 35 | Each. | 175
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 3 | 596.4 | P.No. | 1789.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 4 | 112 | P.No. | 448
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof (RA). | 4 | 171 | P.No. | 684
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface (RA). | 1.5 | 989.55 | P.Sft | 1484.325
|  |  |  | Total-B | 13526.525
|  |  | Total A+B | Rs. | 99628.525
|  |  | G:Total | Rs | 99628.525
|  |  | Say | Rs | 0.099629
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 5
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GPS. Khani Rajar (Electrification) Taluka Khipro.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 12 | 910 | Each | 10920
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 14 | 118 | P.Mtr | 1652
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 10 | 213 | P.Mtr | 2130
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 12 | 54 | Each. | 648
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 9 | 70 | Each. | 630
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 4 | 72 | Each. | 288
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 3 | 916 | Each. | 2748
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 4 | 3185 | Each. | 12740
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 20 | 375 | P.Mtr | 7500
|  |  |  | Total-A | 45328
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 4 | 596.4 | P.No. | 2385.6
2 | Providing and Fixing blubs 100 watts | 14 | 35 | Each. | 490
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 2 | 112 | P.No. | 224
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 2 | 171 | P.No. | 342
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1 | 989.55 | P.Sft | 989.55
|  |  |  | Total-B | 5027.55
|  |  | Total Part A+B" |  | 50355.55
|  |  | G:Total | Rs | 50355.55
|  |  | Say | Rs | 0.050356
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 6
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGPS. Waseem Qaimkhani (Electrification) Taluka Khipro.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 12 | 910 | Each | 10920
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 14 | 118 | P.Mtr | 1652
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 10 | 213 | P.Mtr | 2130
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 12 | 54 | Each. | 648
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 1 | 151 | Each. | 151
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 9 | 70 | Each. | 630
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 4 | 72 | Each. | 288
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 3 | 916 | Each. | 2748
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 4 | 3185 | Each. | 12740
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 20 | 375 | P.Mtr | 7500
|  |  |  | Total-A | 45328
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 4 | 596.4 | P.No. | 2385.6
2 | Providing and Fixing blubs 100 watts | 14 | 35 | Each. | 490
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 1 | 596.4 | P.No. | 596.4
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 2 | 112 | P.No. | 224
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 2 | 171 | P.No. | 342
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 1 | 989.55 | P.Sft | 989.55
|  |  |  | Total-B | 5027.55
|  |  | Total A+B | Rs. | 50355.55
|  |  | G:Total | Rs | 50355.55
|  |  | Say | Rs | 0.050356
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 7
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GBLSS. Police Line Sanghar (Electrification) Taluka Sanghar
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 53 | 910 | Each | 48230
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 14 | 742 | Each | 10388
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 310 | 118 | P.Mtr | 36580
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 200 | 213 | P.Mtr | 42600
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 53 | 54 | Each. | 2862
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 14 | 80 | Each. | 1120
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 4 | 151 | Each. | 604
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 33 | 70 | Each. | 2310
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 15 | 72 | Each. | 1080
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 20 | 3185 | Each. | 63700
16 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 150 | 375 | P.Mtr | 56250
|  |  |  | Total-A | 304393
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 50 | 596.4 | P.No. | 29820
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 10 | 596.4 | P.No. | 5964
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 20 | 112 | P.No. | 2240
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 20 | 171 | P.No. | 3420
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 4 | 989.55 | P.Sft | 3958.2
|  |  |  | Total-B | 45752.2
|  |  | Total A+B | Rs. | 350145.2
|  |  | G:Total | Rs | 350145.2
|  |  | Say | Rs | 0.35015
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 8
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGLSS. Haji Muhammad Yousif Abro (Electrification) Taluka Shahdadpur.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 48 | 910 | Each | 43680
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 14 | 742 | Each | 10388
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 300 | 118 | P.Mtr | 35400
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 150 | 213 | P.Mtr | 31950
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 48 | 54 | Each. | 2592
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 14 | 80 | Each. | 1120
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 33 | 70 | Each. | 2310
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 15 | 72 | Each. | 1080
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 15 | 3185 | Each. | 47775
15 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 145 | 375 | P.Mtr | 54375
|  |  |  | Total-A | 258135
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 50 | 596.4 | P.No. | 29820
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 8 | 596.4 | P.No. | 4771.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 15 | 112 | P.No. | 1680
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 15 | 171 | P.No. | 2565
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 3 | 989.55 | P.Sft | 2968.65
|  |  |  | Total-B | 42154.85
|  |  | Total A+B | Rs. | 300289.85
|  |  | G:Total | Rs | 300289.85
|  |  | Say | Rs | 0.30029
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 9
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGLSS. Duthro (Electrification) Taluka Tando Adam.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 48 | 910 | Each | 43680
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 14 | 742 | Each | 10388
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 300 | 118 | P.Mtr | 35400
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 150 | 213 | P.Mtr | 31950
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 48 | 54 | Each. | 2592
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 14 | 80 | Each. | 1120
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 33 | 70 | Each. | 2310
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 15 | 72 | Each. | 1080
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 15 | 3185 | Each. | 47775
15 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 145 | 375 | P.Mtr | 54375
|  |  |  | Total-A | 258135
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 50 | 596.4 | P.No. | 29820
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 8 | 596.4 | P.No. | 4771.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 15 | 112 | P.No. | 1680
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 15 | 171 | P.No. | 2565
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface . | 3 | 989.55 | P.Sft | 2968.65
|  |  |  | Total-B | 42154.85
|  |  | Total A+B | Rs. | 300289.85
|  |  | G:Total | Rs | 300289.85
|  |  | Say | Rs | 0.30029
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 10
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGHS. Sanghar (Electrification) Taluka Sanghar
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 65 | 910 | Each | 59150
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 18 | 742 | Each | 13356
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 550 | 118 | P.Mtr | 64900
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 400 | 213 | P.Mtr | 85200
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 65 | 54 | Each. | 3510
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 18 | 80 | Each. | 1440
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 10 | 151 | Each. | 1510
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 41 | 70 | Each. | 2870
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 24 | 72 | Each. | 1728
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 18 | 916 | Each. | 16488
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 3 | 2456 | Each. | 7368
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 3 | 999 | Each. | 2997
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | P/F of Street Light 250 Watts (HPMB) having ip 54 Classified with 250 watts lamps chowks capcitor and internal wiring complet in all respect at the height upto 31 ft as per side required and internal of E.I incharge (S.I.No 160 P.No 25) | 2 | 8455 | Each | 16910
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 24 | 3185 | Each. | 76440
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 150 | 375 | P.Mtr | 56250
|  |  |  | Total-A | 430884
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 82 | 596.4 | P.No. | 48904.8
2 | Providing and Fixing blubs 100 watts | 15 | 35 | Each. | 525
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 12 | 596.4 | P.No. | 7156.8
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 24 | 112 | P.No. | 2688
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 24 | 171 | P.No. | 4104
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 6 | 989.55 | P.Sft | 5937.3
|  |  |  | Total-B | 69315.9
|  |  | Total A+B | Rs. | 500199.9
|  |  | G:Total | Rs | 500199.9
|  |  | Say | Rs | 0.5002
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 11
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GBHS. Khadro (Electrification) Taluka Sinjhoro.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 37 | 910 | Each | 33670
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 12 | 742 | Each | 8904
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 250 | 118 | P.Mtr | 29500
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 150 | 213 | P.Mtr | 31950
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 37 | 54 | Each. | 1998
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 12 | 80 | Each. | 960
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 25 | 70 | Each. | 1750
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 12 | 72 | Each. | 864
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 12 | 3185 | Each. | 38220
15 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 100 | 375 | P.Mtr | 37500
|  |  |  | Total | 212781
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 43 | 596.4 | P.No. | 25645.2
2 | Providing and Fixing blubs 100 watts | 10 | 35 | Each. | 350
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 8 | 596.4 | P.No. | 4771.2
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 12 | 112 | P.No. | 1344
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 12 | 171 | P.No. | 2052
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 3 | 989.55 | P.Sft | 2968.65
37131.05
|  |  | Total A+B | Rs. | 249912.05
|  |  | G:Total | Rs | 249912.05
|  |  | Say | Rs | 0.24991
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 12
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGHS. Sarhari (Electrification) Taluka Shahdadpur.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 60 | 910 | Each | 54600
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 15 | 742 | Each | 11130
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 545 | 118 | P.Mtr | 64310
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 250 | 213 | P.Mtr | 53250
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 60 | 54 | Each. | 3240
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 15 | 80 | Each. | 1200
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 3 | 151 | Each. | 453
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 40 | 70 | Each. | 2800
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 16 | 72 | Each. | 1152
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 12 | 916 | Each. | 10992
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 2 | 2456 | Each. | 4912
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 2 | 999 | Each. | 1998
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 1 | 9261 | Each. | 9261
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | P/F of Street Light 250 Watts (HPMB) having ip 54 Classified with 250 watts lamps chowks capcitor and internal wiring complet in all respect at the height upto 31 ft as per side required and internal of E.I incharge (S.I.No 160 P.No 25) | 2 | 8455 | Each | 16910
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 16 | 3185 | Each. | 50960
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 120 | 375 | P.Mtr | 45000
|  |  |  | Total-A | 343674
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 65 | 596.4 | P.No. | 38766
2 | Providing and Fixing blubs 100 watts | 25 | 35 | Each. | 875
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 10 | 596.4 | P.No. | 5964
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 16 | 112 | P.No. | 1792
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 16 | 171 | P.No. | 2736
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface . | 6 | 989.55 | P.Sft | 5937.3
|  |  |  | Total-B | 56070.3
|  |  | Total A+B | Rs. | 399744.3
|  |  | G:Total | Rs | 399744.3
|  |  | Say | Rs | 0.39974
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 13
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GHS. Tayab Thahim (Electrification) Taluka Tando Adam.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 22 | 910 | Each | 20020
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 6 | 742 | Each | 4452
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 80 | 118 | P.Mtr | 9440
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 150 | 213 | P.Mtr | 31950
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 22 | 54 | Each. | 1188
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 6 | 80 | Each. | 480
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 4 | 151 | Each. | 604
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 18 | 70 | Each. | 1260
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 6 | 72 | Each. | 432
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 5 | 916 | Each. | 4580
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 6 | 3185 | Each. | 19110
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 95 | 375 | P.Mtr | 35625
|  |  |  | Total-A | 132596
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 18 | 596.4 | P.No. | 10735.2
2 | Providing and Fixing blubs 100 watts | 4 | 35 | Each. | 140
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 5 | 596.4 | P.No. | 2982
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 6 | 112 | P.No. | 672
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof. | 6 | 171 | P.No. | 1026
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface. | 2 | 989.55 | P.Sft | 1979.1
|  |  |  | Total-B | 17534.3
|  |  | Total A+B | Rs. | 150130.3
|  |  | G:Total | Rs | 150130.3
|  |  | Say | Rs | 0.15013
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 14
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GBHS. Berani (Electrification) Taluka Jam Nawaz Ali.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 23 | 910 | Each | 20930
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 3 | 742 | Each | 2226
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 70 | 118 | P.Mtr | 8260
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 100 | 213 | P.Mtr | 21300
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 23 | 54 | Each. | 1242
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 3 | 80 | Each. | 240
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 2 | 151 | Each. | 302
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 22 | 70 | Each. | 1540
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 1 | 72 | Each. | 72
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 3 | 916 | Each. | 2748
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 1 | 2456 | Each. | 2456
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 1 | 999 | Each. | 999
13 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 1 | 3185 | Each. | 3185
14 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 60 | 375 | P.Mtr | 22500
|  |  |  | Total-A | 88000
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete. | 12 | 596.4 | P.No. | 7156.8
2 | Providing and Fixing blubs 100 watts | 8 | 35 | Each. | 280
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 4 | 596.4 | P.No. | 2385.6
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 1 | 112 | P.No. | 112
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 1 | 171 | P.No. | 171
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface . | 2 | 989.55 | P.Sft | 1979.1
|  |  |  | Total-B | 12084.5
|  |  | Total Part A+B" |  | 100084.5
|  |  | G:Total | Rs | 100084.5
|  |  | Say | Rs | 0.10008
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.

## 15
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
Name of Work :- Maintenance & Repair 2016-17 Programme @ GGDC. Sanghar (Electrification) Taluka Sanghar.
S.# | Items of Work | Quantity | Rate | Unit | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in 20 mm (3/4") Channel Patti on surface as required ( S.I.NO.129 P.15) | 132 | 910 | Each | 120120
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") Channel Patti on surface require (S.I.No.130 P. 15) | 32 | 742 | Each | 23744
3 | P/L for main or sub-main with PVC insulated with single core copper conductor 250/440 volts size 2-7/.029 ( S.I.No. 45 P.No. 06 ). | 900 | 118 | P.Mtr | 106200
4 | P/L for main or sub-main PVC insulated with single core copper conductor 250/440 volts size 250/440 volt size (2-7/0.44) 10mm2 ( S.I.No. 47 P.No. 06 ). | 480 | 213 | P.Mtr | 102240
5 | Providing and fixing one way SP 5 Amp switch flush type (S.I.No. 219 P.No. 33). | 132 | 54 | Each. | 7128
6 | Providing and fixing two pin SP 5 amp plug and socket (S.I.No. 222 P.No. 33). | 32 | 80 | Each. | 2560
7 | Providing and fixing three pin 10/15 5amp plug and sockets (S.I.No. 224 P/33). | 14 | 151 | Each. | 2114
8 | Providing and fixing B.C Brass battan holder and 254mm (10") E.I shade (S.I.No. 232 P/33). | 80 | 70 | Each. | 5600
9 | Providing and fixing Backlite ceiling Rose with two terminals (S.I.No.228 P/33). | 52 | 72 | Each. | 3744
10 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps DP (TB-55) on prepared board as required (S.I.No: 203 P/31). | 24 | 916 | Each. | 21984
11 | Providing and fixing circuit breacker 6,10,15,20,30,40,50 & 63, amps SP (TB-55) on prepared board as required (S.I.No: 204 P/31). | 4 | 2456 | Each. | 9824
12 | Providing and fixing voltmeter size 96/96 mm 500 volts as required (S.I.NO. 285 P/41). | 4 | 999 | Each. | 3996
13 | P/F Circuit breaker 15,20,30,40,50, 100, TP on prepared board. (S.I.No: 207 P.31). | 2 | 9261 | Each. | 18522
14 | P/F Chang over switch 500 Volts (S.I.No: 199 P. 30 ). | 1 | 11506 | Each. | 11506
15 | P/F of Street Light 250 Watts (HPMB) having ip 54 Classified with 250 watts lamps chowks capcitor and internal wiring complet in all respect at the height upto 31 ft as per side required and internal of E.I incharge (S.I.No 160 P.No 25) | 4 | 8455 | Each | 33820
16 | Providing and fixing Brass ceiling fan 56" (good quality) (S.I.No. 235 P/34). | 52 | 3185 | Each. | 165620
17 | Providing and laying (Main or Sub-Main) PVC insulated & PVC sheeted with two core copper conductor 300/500 volts size 10mm2 (S.I.No. 03 P/08). | 200 | 375 | P.Mtr | 75000
|  |  |  | Total-A | 713722
PART" B"
1 | P/F Energy Saver 24 Watts Superior quality including fixing on existing holder etc complete . | 88 | 596.4 | P.No. | 52483.2
2 | Providing and Fixing blubs 100 watts | 18 | 35 | Each. | 630
3 | P/F Energy wall bracket light fancy type Superior quality including necessary electric connection and fixing on wall or ceiling etc complete. | 14 | 596.4 | P.No. | 8349.6
4 | P/F A/C ceiling fan regulator on metal board recessed in the walls columns and covered with plastic sheet. | 52 | 112 | P.No. | 5824
5 | Providing and fixing Mild sheet bar clamps 15.8 mm (5/8") dia suitable for RCC roof . | 52 | 171 | P.No. | 8892
6 | P/F Pannel Board double shutter to accommodate heavy duty circuit breacker bush bar i/c painting with enamelled paint and for other similar jobs on surface . | 10 | 989.55 | P.Sft | 9895.5
|  |  |  | Total-B | 86074.3
|  |  | Total A+B | Rs. | 799796.3
|  |  | G:Total | Rs | 799796.3
|  |  | Say | Rs | 0.7998
Note: Any variation in the description on item Quantites, Rates if any as per
Sanctioned Estimate will be accepted
EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION
SANGHAR.