## Sheet1
SCHEDULE OF PRICE
| NAME OF WORK :- |  | REPAIR & RENOVATION OF EXISITING 43 SPECIAL EDUCATION INSTITUTES OF SINDH EXCLUDING CENTRES OF EXCELLENCE (A.D.P. NO 494) AT GOVT. SPECIAL EDUCATION COMPLEX ORANGI TOWN KARACHI.
S:# | DISCRIPTION OF |  |  | QTY |  |  |  | RATE | UNIT |  |  |  | Amount
1 | Dismantling c.c.plain 1:2:4. (P-10-19-c)
| 2396.26 |  |  |  |  | 3327.5 |  | %Cft |  |  |  |  | Rs. | 79736
2 | Removing cement or lime plaster (P/13-53).
| 1641 |  |  |  |  | 121 |  | %Sft |  |  |  |  | Rs. | 1986
3 | Removing doors with chowkets (P/12-33,a).
| 588 | [6 empty] | 142.18 |  | Each |  |  | Rs. | 83601.84
4 | Dismantling cement block masonary (P/10-14)
| 3417 |  |  |  |  | 1134.38 |  | %Cft |  |  |  |  | Rs. | 38762
5 | Dismantling c.c.plain 1:2:4. (P-10-19-c)
| 144 |  |  |  |  | 3327.5 |  | %Cft |  |  |  |  | Rs. | 4792
6 | Excavation in foundation of building, bridges and other structured i/c dagbelling dressing refilling around structre with excvated earth watering and ramming lead upto 5 ft in ordinary soil (P/4-18,b).
| 4632 |  |  |  |  | 3176.25 |  | %0Cft |  |  |  |  | Rs. | 14712
7 | C.C.brick or stone ballast 1-1/2" to 2" guage ratio 1:4:8. (P-15/4)
| 2888 |  |  |  |  | 9416.28 |  |  | %Cft |  |  |  |  | 271942.1664
8 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/17-6,a-i).
| 4775 |  |  |  |  | 337 |  |  | P/Cft |  |  |  |  | 1609175
9 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/17-8,a).
| 298.44 |  |  |  |  | 5001.7 |  | P.Cwt |  |  |  |  | Rs. | 1492707
10 | Applying chemical polishing on existing mosaic/marble flooring/dado i/c cleaning, grinding with carborandum stone/sand paper and applying chemcial polish as per requirement. (P-49/70)
| 7788.54 |  |  |  |  | 36.6 |  | P/Sft |  |  |  |  | Rs. | 285060.564
11 | P/L 1:3:6 c.c.solid block masonalry wall 6" & below in thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-24).
| 2716 |  |  |  |  | 15771.01 |  | %Cft |  |  |  |  | Rs. | 428341
12 | Cement plaster (1:4) upto 20' height 3/4" thick (P-52/11-c)
| 12873 |  |  |  |  | 3015.76 |  | %Sft |  |  |  |  | Rs. | 388218.7848
13 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. i/c cutting tiles to proper profile (R.A).
| 4761 |  |  |  |  | 301 |  | P.Sft |  |  |  |  | Rs. | 1433061 | 1433061
14 | P/L tiles glazed 6" x 6"x1/4" on floor or wall facing in required colour and pattern STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in deired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 5984 |  |  |  |  | 30509.77 |  | %Sft |  |  |  |  | Rs. | 1825704.6368
15 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-29).
| 890 |  |  |  |  | 228.9 |  | P.Rft |  |  |  |  | Rs. | 203721
16 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for WINDOWS using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-28).
| 400 |  |  |  |  | 240.5 |  | P.Rft |  |  |  |  | Rs. | 96200
17 | P/F in position, doors, windows and ventilators of 2"x2" 1/4" angle iron frames and 1-3/4" thick Commercial ply wood veneer shutters of deodar wood (3 ply) on both sides, i/c hold fasts, cleats, iron tower bolts handles, hinges and one mortice lock. (S.I.No.8/P-58)
| 1037.4 |  |  |  |  | 933.75 |  | P.Sft |  |  |  |  | Rs. | 968672
18 | Scraping white wash or colour wash (P/13-54,a).
| 16785.12 |  |  |  |  | 75.63 |  | %Sft |  |  |  |  | Rs. | 12695
19 | Scraping ordinary distemper oil bound distemper or paint on walls.(p-13/54)
| 24480.96 | Sft |  |  |  | 226.88 |  | %Sft |  |  |  |  | Rs. | 55542
20 | Preparing the surfce and painting with Matt Finish including rubbing the surface with bathy (silicon carboide rubbing brick) filling the voids with zinc /chulk plater of paris mixture, applying first coat premix making the surface smooth and then painting 3 coats with matt finish of approved make i/c complete (new sruface) One coat (P-55/36-a)
| 24480.96 |  |  |  |  | 2499.76 |  | %Sft |  |  |  |  | Rs. | 611965
21 | P/Fixing cement paving (pavement/paver) blocks flooring having size of 197x97x80 (mm) of city/ quddra/ cobble shape with pigmented having strength b/w 5000 psi to 8500 PSI i/c filling the joints with hill sand and laying in specified manner/patter and design etc. complete. (P-50/74)
| 4300 |  |  |  |  | 248.17 |  | P/Sft | [5 empty] | 1067131
22 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P-42/16-c)
| 5850.75 |  |  |  |  | 3275.5 |  | %Sft |  |  |  |  | Rs. | 191641.3163
23 | Providing and fixing iron steel grill door with angle iron frame of 1-1/2" x 1-1/2" x 1/4" and flat iron of 3/4" x 1/4" with approved design and locking arrangement embeded in masonary as per instructions of Engineer in charge. (P-94/31)
| 750 |  |  |  |  | 231.6 |  | P/Sft |  |  |  |  | Rs. | 173700
22 | P/F bitumen felt paper of 60 lbs over roof i/c cleaning of roof with wire brush an removing dust, appling bitumen coat at the rate of 34 Lbs per %sft as premix inter coats and then laying felat paper with 10% over laps, then applying and spreading hill sand at the rate of 1 cft for 100 sft. The cost also i/c necessary fire material, kerosene oil, wood etc (P/38/41).
| 9344 |  |  |  |  | 54.7 |  | P/Sft |  |  |  |  | Rs. | 511116.8
23 | Two coat of bitumen laid hot using 34 lbs %Sft over roof and blinded with sand at one Cft per %Sft (P/35-13).
| 9344 |  |  |  |  | 1887.4 |  | %Sft |  |  |  |  | Rs. | 176359
24 | Providing Anti-termite treatment by spraying/sprinkling/spreading Neptachlar 0/5% Emulsion as an overall pre-construction treatment in slab type construction along external foundation trenches of building over complete parimter of the foundation trench etc. as per directions of Engineer Incharge. (Building O/S) (P-109/91)
| 1179.5 |  |  |  |  | 40.1 |  | P/Rft |  |  |  |  | Rs. | 47297.95
51 | Filling watering & compacting granular earth for making for proper surface.(R.A).
| 6000 |  |  |  |  | 26 |  | P.Cft |  |  |  |  | Rs. | 156000 | 156000
25 | Providing Anti-termite treatment by spraying/sprinkling/spreading Neptachlar 0/5% Emulsion as an overall pre-construction treatment in slab type construction under the slab and along attched perches or entrances etc. complete as per directions of Engineer Incharge. (Building i/s) (P-109/92)
| 16464 |  |  |  |  | 9.74 |  | P/Sft |  |  |  |  | Rs. | 160359.36
22 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/50-38).
| 360 |  |  |  |  | 28299.3 |  | %Sft |  |  |  |  | Rs. | 101877
23 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43.25).
| 1306 |  |  |  |  | 27747.06 |  | %Sft |  |  |  |  | Rs. | 362377
26 | Painting doors & windows new surface doors & windows any type.(3 coats) (P-69/5-ci-ii)
| 1505 |  |  |  |  | 2116.41 |  | %Sft |  |  |  |  | Rs. | 31852
[13 empty] | G.Total | 12886306.4183 | 1589061
______%ABOVE/BELOW
11297245.4183
| SINGNATURE OF CONTRACTOR | [14 empty] | 2259449.0836 | R.C.C. | 1609175
[17 empty] | FAB: | 1492707
3101882
8195363.4183
6 | Removing of dismantling existing warm out concrete to damaged because of arrestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand repairing the same for total removal and cleaning of rust and applying required No. of coats of binding against the directed of Engineer/Incharge (R/A)
| U.G.T L/S | 1 | x | 2 | x | 16 | x | 7 |  |  |  | = | 224
| "" S/S | 1 | x | 2 | x | 12 | x | 7 |  |  |  | = | 168
| O.H.T L/S | 1 | x | 2 | x | 12 | x | 4 |  |  |  | = | 96
| S/S | 1 | x | 2 | x | 8 | x | 4 |  |  |  | = | 64
| Beams | 1 | x | 8 | x | 16 | x | 2.5 |  |  |  | = | 320
| Roof | 1 | x | 4 | x | 17.25 | x | 17.25 |  |  |  | = | 1190.25
| Ver F/F | 1 | x | 1 | x | 40 | x | 7.25 |  |  |  | = | 290
[11 empty] | Total |  | 2352.25
| 2352.25 |  |  |  |  | 35.89 |  | P/Sft | [5 empty] | 84422.2525 | 84422.2525

## Sheet2
SCHEDULE OF PRICE
| WATER SUPPLY & SANITARY WORK | SPECIAL EDUCATION INSTITUTES OF SINDH AT ORANGI TOWN KARACHI
S# | DESCRIPTION |  | QUANTITY | RATE | UNIT | AMOUNT
1 | P/F squating type white glazed earthenware w.c. pan 19" with low level flushing cistern 3 gallons capacity i/c making requiste No. of holes in walls plinth and floor and making good as finished originality also i/c the cost of C.I. trap 4" dia and C.I. thumble (P-1/231). |  | 15 | 5044.6 | EACH | 75669
2 | P/F 24"x18" lavatory basin in white glazed earthen ware complete with and i/c the cost of W.I or C.I cantilever brakets 6" built into wall painted white in two coat after a primary coat of req: lead paint pair of 1/2" dia chrome plat pillar traps 1-1/2" dia rubber |  | 15 | 4253.7 | EACH | 63805.5
3 | Add:extra labour for providing & fixing |  | 22 | 938.47 | EACH | 20646.34
4 | P/F 6"x2"or 6" x3" C.I floor trap of approved self cleaning design with a C.I screwed down grading with a or without a vent arm complete with & i/c making requisite number |  | 35 | 2042.43 | EACH | 71485.05
5 | P/F chrome plated brass tower rail complete with brackets fixing on wooden cleats with 1" long CP brass screws (b) superior pattern (P-7/1b) |  | 15 | 1412.95 | EACH | 21194.25
6 | P/F 15"x12" bevelled edge mirror of belguim glass complete with 1/8" thick hard board CP screw fixed to wooden pleat (b) superior patterns |  | 20 | 2047.76 | EACH | 40955.2
7 | P/F handle value (China) (P-17/5) 1/2"dia |  | 15 | 200.42 | EACH | 3006.3
| 1"dia |  | 15 | 365.42 | EACH | 5481.3
| 1-1/4" dia |  | 15 | 475.42 | EACH | 7131.3
8 | S/F water pumping set 1 HP with 1400 RMP single phase 220 volts 2"x1.5"x1.5. |  | 3 | 22000 | EACH | 66000
9 | S/F soap tray made of plastic of superior quality (P-7/6) |  | 20 | 169.4 | EACH | 3388
10 | Providing RCC pipe with color of class 'A' and digging the trencle to required depth and fixing in position i/c cutting fitting & jointing with mzxphalt composition.
| 6"dia pipe |  | 370 | 199.25 | P.Rft | 73722.5 | 73722.5
| 9"dia pipe |  | 255 | 250.6 | P.Rft | 63903 | 63903
11 | Construction manhole or inspecting chamber for the reqrired dia of circular sewer and 3'-6" depth with walls B.B. in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel including R.C.C. manhole cover etc complete in all respect complete including angle iron frame all respect complete. (P-39/1) |  | 20 | 14748.2 | EACH | 294964 | 0
12 | Providing chambers 15"x9" (inside dimension) x24" deep for house meters with 6" thick c.c. 1:3:6 block set on 1:6 cement mortor 6" thick c.c. 1:4:8 in foundation 1/2" thick cement plaster 1:3 CM to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cost iron cover and rame 15"x9" inside clear opening wt 1" Qr etc fixed in c.c. 1:2:4 i/c curing execavattion back filling and disposal of earth etc complete (P-17/2) |  | 14 | 4905.67 | EACH | 68679.38
13 | P/F nyloon connection complete with1/2" dia brass stop cock with pair of brass nuts and lining paint to nyloon connections. |  | 25 | 509.74 | EACH | 12743.5
14 | P/F in position C.P bib cock 1/2" dia (stanared patterns) |  | 25 | 1384.24 | EACH | 34606
15 | S/F jet shower with rod of superior quality with CP head 1/2" dia (P-15/17 |  | 30 | 1142.2 | EACH | 34266
16 | S/F swan type piller cock of superior quality single CP head 1/2" dia |  | 35 | 877.8 | EACH | 30723
17 | P/F Europen white glazed earthen ware down w.c pan complete |  | 10 | 5339.4 | EACH | 53394
[6 empty] | 1045763.62 | 137625.5 | 908138.12
NON-SCHEDULE ITEMS
1 | P/F 'u' PVC pipe of Schedule 40 of nepro plastic for waste and vent pipe i/c and fitting jointing special 'u' PVC cement solution as approved and directed by D.O. Inchrage. (R/A)
| 4" dia |  | 480 | 324.39 | EACH | 155707.2
| 6" dia |  | 350 | 434 | EACH | 151900
2 | P/F 'u' PVC tee 4" dia i/c and fitting jointing special 'u' PVC cement solution as approved and directed by D.O. Inchrage. (R/A) |  | 55 | 650 | EACH | 35750
3 | P/F"u" PVC Elbow 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 40 | 395.34 | EACH | 15813.6
4 | P/F "U" PVC socket 4" dia i/c fitting jointing with spcial "U" PVC cement solution approved |  | 35 | 305.14 | EACH | 10679.9
5 | P/F "U" PVC Cross 4" dia i/c fitting jointing with spcial "U" PVC cement solution approved |  | 45 | 2449.37 | EACH | 110221.65
6 | P/F"u" Y Tee 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 35 | 945.78 | EACH | 33102.3
7 | P/F"u" male thread 4" dia i/c fitting and jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 30 | 573.3 | EACH | 17199
8 | P/F"u" female thread 4" dia i/c fitting and jointed with special "u" PVC cement solution as appreved and directed by D.O. Inchrage. (R/A) |  | 30 | 690 | EACH | 20700
9 | P/F PVC nepro make of schedule 40 including cutting cutting fitting complete including the cost of through walls and roof and maing good with c.c and testing with water to pressure head and handling etc complete (RA)
| 1/2" dia |  | 250 | 45 | P.Rft | 11250
| 3/4" dia |  | 120 | 58.91 | P.Rft | 7069.2
| 1" dfia |  | 80 | 91.68 | P.Rft | 7334.4
10 | P/F PVC socket of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 100 | 37.8 | Each | 3780
| 3/4" dia |  | 65 | 45.8 | Each | 2977
| 1" dfia |  | 55 | 55.48 | Each | 3051.4
11 | P/F PVC Elbow of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 120 | 54.95 | Each | 6594
| 3/4" dia |  | 70 | 75.79 | Each | 5305.3
| 1" dfia |  | 60 | 140.25 | Each | 8415
.
12 | P/F PVC Union of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 100 | 350.88 | Each | 35088
| 3/4" dia |  | 40 | 381.12 | Each | 15244.8
| 1" dfia |  | 30 | 471.88 | Each | 14156.4
13 | P/F PVC Bush of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 80 | 64.34 | Each | 5147.2
| 3/4" dia |  | 30 | 85.8 | Each | 2574
| 1" dfia |  | 25 | 140.8 | Each | 3520
14 | P/F PVC Clamps of schedule 4" dia i/c jointed with special "u" PVC cement solution as appreved and directed by Inchrage. (R/A)
| 1/2" dia |  | 67 | 5.83 | Each | 390.61
| 3/4" dia |  | 35 | 10.56 | Each | 369.6
| 1" dfia |  | 20 | 10.36 | Each | 207.2
15 | P/F PVC End of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge
| 1/2" dia |  | 75 | 225.06 | Each | 16879.5
| 3/4" dia |  | 30 | 229.9 | Each | 6897
| 1" dfia |  | 25 | 375.16 | Each | 9379
16 | P/F PVC conceled stop cock of schedule 40 i/c fitting etc complete as directed by Engineer/ Incharge |  | 45 | 290.73 | Each | 13082.85
17 | P/F PVC Elbow 45 degree schedule 40 i/c fitting etc complete as directed by Executive Inchage (R.A)
| 1/2"dia |  | 100 | 69.03 | Each | 6903
| 3/4" dia |  | 80 | 89.65 | Each | 7172
| 1" dia |  | 65 | 154.66 | Each | 10052.9
18 | P/F PVC male thread adoptoer of schedule 40 i/c fitting etc complete as directed by Executive Engineer Inchage (RA)
| 1/2"dia |  | 81 | 44.99 | Each | 3644.19
| 3/4" dia |  | 30 | 61.7 | Each | 1851
| 1" dia |  | 20 | 130.9 | Each | 2618
19 | P/F PVC tee of schedule 40 i/c fitting etc complete as directed by Executive Engineer Incharge (RA)
| 1/2"dia |  | 80 | 109.67 | Each | 8773.6
| 3/4" dia |  | 30 | 136.29 | Each | 4088.7
| 1" dia |  | 25 | 160.49 | Each | 4012.25
20 | P/F PVC female thread adopter of schedule 40 i/c fitting etc complete as directed by Executive Engineer Inchage (RA)
| 1/2"dia |  | 71 | 244.75 | Each | 17377.25
| 3/4" dia |  | 30 | 260.7 | Each | 7821
| 1" dia |  | 25 | 350.9 | Each | 8772.5
[6 empty] | 812872.5 | 1045763.62 | 1858636.12
__________%ABOVE/BELOW
SINGNATURE OF CONTRACTOR