## SCHEDULE - B AUTISM
SCHEDULE - B
NAME OF WORK:- |  | ESTABLISHMENT OF AUTISM CENTRE AT KARACHI. ( PROVINCIAL A.D.P NO: 496 / 2016-17 ).
S:# | DESCRIPTION OF ITEM | QTY |  |  |  |  | RATE | UNIT |  |  |  | AMOUNT
1 | Excavation in foundation of building bridges and other structures including dagbelling dressing refilling around structure with excavated earth watering and ramming lead upto 5 ft. (b) In ordinary Soil. (S.I.No.18 P:No: 4).
| 31828.5 | Cft |  |  |  | 3176.25 |  |  | %oCft |  | Rs. | 101095.2731
2 | Foundation and Plinth Random rubble Masonary (uncoused) Dry masonary ( P-27 / S # 1-a )
| 5363.91 | Cft |  |  |  | 13051.5 |  |  | %Cft |  | Rs. | 700070.7137
3 | Cement concrete brick or stone ballast 1-1/2" to 2" gauge Ratio 1:4:8 ( P-15/S # 4-b ).
| 2563 | Cft |  |  |  | 9416.28 |  | %Cft |  |  | Rs: | 241339.2564
4 | R.C.C. work i/c all labor and material except the cost of steel reinforcement and its labor for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds, lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle) (A) R.C.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respects. ( i ) Ratio 1:2-4 (P-16 / S # 6-a- i ).
| 28341.46 | Cft |  |  |  | 337 |  |  | P.cft |  | Rs. | 9551072.02
5 | Fabrication of mild steel reinforcement for cement concrete including cutting bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars.) (S.I.No.8-b P-17).(Using Tor Bar).
| 1771.34 | Cwt |  |  |  | 5001.7 |  |  | P. Cwt |  | Rs. | 8859716
6 | Erectin and removal of centering for R.c.c or plain cement works of Partal wood ( 2nd class year partal wood ( Vertical ) ( P-21 / S # 19 -a-ii)
| 3900.65 | Cft |  |  |  | 3127.41 |  |  | % Cft |  | Rs. | 121989.3182
7 | Cement Concrete palin i/c placing compacting finishing and curring complete ( including screening and washing of stone aggregate without shuttering 1:3:6 ( P-16 / S # 5-h ).
| 3107.95 | Cft |  |  |  | 12595 |  |  | % Cft |  | Rs. | 391446.3025
8 | P/L 1:3:6 C.C solid block masonary walls set in 1:6 cement sand mortor in plinth & foundation i/c racking out joints and curring etc complete. ( P- 19 / S # 22 ).
| 562 | Sft |  |  |  | 14268.53 |  |  | % Sft |  | Rs. | 80189.1386
9 | P/L 1:3:6 cement concrete solid block masonry wall 6" and below in thickness set in 1:6 cement mortar in ground floor super structure including raking out joints and curing etc. complete. (S.I.No.23 P-22).
| 11223.05 | Cft |  | 14621.44 |  |  | % Cft |  |  |  | Rs. | 1640971.5219
10 | Bailing or Pumping out sub osid water during excavatin concerting cosin situ concrete or masonary work in foundation etc.
| 7957.13 | Sft |  |  | 543 |  | %Sft |  |  |  | Rs: | 43207.2159
11 | Full hire charges 07 the pumping per day inclusive of wage of driver and Assistant fued or electric energy plate form, required for placing pumps etc, at lower depth with suction and delivery pipe for pumping out water found at various depth from trenches i/c the cost of erection and dismantling after comlation of the job. (iv) Hire charges of pumping set of upto 10. H.P but not less than 5- H.P pimping out water from 10 ft deep trench. ( P-53 /S#23.iv).
| 30 | day |  | 1500 |  |  | P.Day |  |  |  | Rs: | 45000
12 | Bitumen coating to plaster or cement concrete surface (P-71/ S # 9 ).
| 1591.43 | Sft |  | 778.09 |  |  | % Sft |  |  |  | Rs. | 12382.7577
13 | Providing and laying single per layer of polyethylene sheet 0.13 mm thick for water proffing as per specification and instruction of Engineer Incharge. (S.I.No.38 Page 38)
| 6566.39 | Sft |  | 10.7 |  |  | P.Sft |  |  |  | Rs. | 70260.373
14 | Providing Antitermite treatment.by spraying sprinkling spreading Neptachlar 0.5% Emulsion as am ever all pre-construction treatment in slab type construction under the slab and along attache perches or entrances etc,complete as per direction Engineer incharge.(S:1: 92 P-109)
| 6566.39 | Sft |  |  | 9.74 |  | P.Sft |  |  |  | Rs: | 63956.6386
15 | P/F G.I. frames/chowkhate of size 7"x2" or 4-1/2"x3" for Door using 20 gauge G.I. sheet I/c welded hinges and fixing at site with necessary hold fasts,filling with cement sand slurry of ratio 1:6:and reparing the jamps,the cost also I/c all carriage tools and pants used in making and fixing Door. (S.I 29 P-93 ).
| 1317 | Rft |  |  |  | 228.9 |  | P.Rft |  |  | Rs. | 301461.3
16 | S/F in position Aluminum channels framing for sliding windows and ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminum fly screen including handles stoppers and locking arrangement etc. complete. (b) Deluxe model (Bronze) (S.I.No.84-b P-108).
| 1080 | Sft |  | 1647.69 |  |  | P.Sft |  |  |  | Rs. | 1779505.2
17 | Supplying and fixing in position Aluminum channels framing for sliding doors of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminum fly screen including handles stoppers and locking arrangement etc. complete. (b) Deluxe model (Bronze) (S.I.No.83-b P-108).
| 128 | Sft |  | 1507.66 |  |  | %Sft |  |  |  | Rs. | 192980.48
18 | Cement Plaster 1:4 upto 20 height 3/4" Thick ( S.I 11-c P - 52 ).
| 56923.5 | Sft |  |  |  | 3015.76 |  | %Sft |  |  | Rs: | 1716676.1436
19 | First class deader wood wrought joinery doors and windows etc fixed in position including chowkhats holds fasts hinges iron tower bolts chocks cleats handles and cords with hoks,1-3/4"thick (S.I - 7 b P- 58 ).
| 618.75 | Sft |  |  | 1273.76 |  | P.Sft |  |  |  | Rs. | 788139
20 | P/F in position door and windows and ventilator for first class deodar wood frame 1-3/4" thick commercial ply veneer shutters of first class deadar skeleton (H. allow) and commercial ply wood (3 ply) on both sites i/c hold fasts, hinges iron tower bolts handles and cleats with cord and one moritice lock and hooks.(P-58/9) Only Shutters
| 700 | Sft |  |  | 856.53 |  | P.Sft |  |  |  | Rs. | 599571
21 | P/F with sunkus iron per screws wooden Archatrave approved Rft design/shape having with not less than 2-1/2" inches as directred by Engineer Incharge .(P-66/60)
| 996 | Sft |  |  |  | 49.97 |  |  | P-Sft |  | Rs. | 49770.12
22 | Laying floor of approved with glazed tile 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete. (S.I.No.24 P-43)
| 1700 | Sft |  | 27678.86 |  |  | % Sft |  |  |  | Rs. | 470540.62 | 1700
23 | Glazea tiles dado 1/4" thick laid in pigment over 1:2 cement sand mortor 3/4" thick i/c finishing. ( P-45/ S # 38 ).
| 4392 | Sft |  | 28299.3 |  |  | % Sft |  |  |  | Rs. | 1242905.256 | 4392
24 | P/L tiles glazed 6"x6"x1/4" on floor or wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I.No.60 Page 47).
| 3240 | Sft |  | 30509.77 |  |  | %Sft |  |  |  | Rs. | 988516.548 | 3240
25 | P/F 3/8" thick marble tiles of approved quality and colour and shade size 8"x4" / 6"x4" in dado skirting and facing removal / tucking of existing plaster surface etc, Over 1/2" thick base of cement mortar 1:3: setting of tiles in slurry of white cement over mortar base i./c filling the joints and washing the tiles with white cement slurry , currint finishing cleaning and ploishig etc complete. (S.I 68-1 P-49/) For new works.
| 355 | Sft |  |  | 186.04 |  | P-Sft |  |  |  | Rs: | 66044.2 | 355
26 | P/F iron steel grill using salid square bars of size 1/2"x1/2" placed at 4" i/c and frame of flat iron patti of 3/4"x 3/4" i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3 coats with Ist coat of red oxide pain etc .(S.I 26 / P-93 ) | [11 empty] | 9687
| 2970 | Sft |  |  | 180.5 |  | P-Sft |  |  |  | Rs: | 536085
27 | Making & Fixing steel grated Door with 1/16" thick sheeting i/c angle iron fram 2" x 2" 3/8 " and 3/4" square bars 4" with locking arrangment etc complete. S.I 24 P / 92 ).
| 108 | Sft |  |  | 726.72 |  | P.Sft |  |  |  | Rs: | 78485.76
28 | Making Notice Board made with cement plaster 1/2" thick wide finishing 1" wide beading (P-95/1)
| 576 | Sft |  |  | 58.11 |  | P-Sft |  |  |  | Rs: | 33471.36
29 | Providing and laying 2" thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. (S.I # 16-c page # 42)
| 5208.73 | Sft |  | 3275.5 |  |  | %Sft |  |  |  | Rs: | 170611.9512
30 | Two coats of bitumen laid hot using 34 lbs for % Sft over roof and blinded with sand at one Cft per % Sft. (S.I.No.13 P-35)
| 5208.73 | Sft |  | 1887.4 |  |  | % Sft |  |  |  | Rs. | 98309.57
31 | Painting new surface doors & window any type i/c edge three Coat. (S.I 5 ii -c P-69)
| 4629.5 | Sft |  | 2116.41 |  |  | % Sft |  |  |  | Rs: | 97979.2009
32 | Providing and laying 3" thick topping cement concrete (1:2:4) including surface finishing and dividing into panels. (S.I # 16-c page # 42)
| 1860 | Sft |  | 4411.82 |  | %Sft |  |  |  |  | Rs. | 82059.852
33 | Primary coat of chalk under distemper. (P-54 / S # 23)
| 56923.5 | Sft |  | 442.75 |  | %Sft |  |  |  |  | Rs: | 252028.7963
34 | Distemper 3 coats (S.I # 24-b Page # 60)
| 5208.73 | Sft |  | 1079.65 |  | % Sft |  |  |  |  | Rs: | 56236.0534
35 | Preparing the surface and painting with matt finish paint of approved make to old matt finish surface.(old surface) three coats. (S.I 37 P-55 )
| 56923.5 | Sft |  | 3444.38 |  | % Sft |  |  |  |  | Rs: | 1960661.6493
36 | Difference of S/R Cement. (R.A)
| 2591.7 | Nos |  |  | 40 |  | P.Bags |  |  |  | Rs: | 103668
37 | Cutting Hard Rock such as granite, ballast, hard lime stone or sand stone etc, with chisels and hammers for small foundations ( P-04 / S # 18 ).
| 500 | Cft |  |  | 28672.05 |  | %0Cft |  |  |  | Rs. | 14336.025
38 | R.C.C. spouts i/c fixing in position 2-1/2"x6"x5.(P-18 /S # 14).
| 50 |  |  |  | 151.25 |  | Each |  |  |  | Rs: | 7562.5
39 | Soil Testing
| L.S | [5 empty] | L.S |  |  |  | Rs: | 200000
40 | Designing
| L.S | [5 empty] | L.S |  |  |  | Rs: | 300000
41 | Turfing lawns (excluding cost of turf)
| 44 | Sft |  | 272.25 |  |  | % Sft. |  |  |  | Rs: | 119.79
42 | Supplying Manure.
| 100 |  |  | 298.12 |  |  | P.Cart load |  |  |  | Rs: | 29812
43 | Filling expansion joints with bitumen.
| 44 |  |  | 22.69 |  |  | P.Lft. |  |  |  | Rs: | 998.36
44 | Providing and Fixing Aluminium sheet on Door 6" to 9" with V-Notch for expansion joints i/c fixing with nails/ screw ( S.I 88 / P - 109 ).
| 44 |  | Sft | 207.51 |  |  | P.sft |  |  |  | Rs: | 9130.44
45 | Preparing the surface and applying rock wall / shield (Natural wall texture ) coating to provide durable crust to wall, thickness b/w 2mm to 32mm (1/8" ) with acrylic co-polymer emulsion, selected marble chips, adhesive and bactericdes, water resistance and fire and termite resistance (Upto 20' -0 height).
| 1140 |  | Sft | 4504.5 |  |  | %Sft |  |  |  | Rs: | 51351.3
46 | Providing & fixing colour crete jto wall surface to provide, durable crust and aesthetics having thickness upto 3/4" with specified colour having water, fire and temite resistance (upto 20' -0 height).
| 1200 |  |  | 6319.5 |  |  | %Sft |  |  |  | Rs: | 75834
[10 empty] | Total Schedule Items |  | 34277548.0053
Add: Premium: % Above / Below / At Par Rs:
| Premium Quoted by the Contractor: | [7 empty] | G.Total Rs:
_______________% Above / Below / At Par
( Signature of Contractor)
NON-SCHEDULE ITEMS:-
1 | P/F floor of verona marble tiles of size 12"x12"x3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2: grey C.M. setting the tiles with grey cement slurry, i/c cutting tiles to proper profile (R.A. Approved)
| 14824.88 | Sft |  |  |  |  | 301 |  | P.Sft |  | Rs: | 4462287
2 | P/L porcelain tiles glazed & polished 16"x16"x5/16" on floor or wall facing in required color & patterns in white cement & pigment over a base of 1:2 gray C.M. 3/4" thick i/c washing & filling joints with slurry of white cement & pigment in desired shape with finishing, cleaning & coats of wax polish i/c cutting tiles to proper profile. (R.A.A.)
| 933.63 | Sft |  |  | 200.73 |  | P.Sft |  |  |  | Rs. | 187407
3 | Filling with proper drawer material supplying mixing loding dressing watering and ramming compacting put rim ground mixed with sand hard or any other over round of same modules of fanerior ( hill sand ) i/c the cost of carriage from the sources to the site of the lead up to 15 miles as required existing etc complete ( R.A ).
| 13132.78 | Sft |  |  | 16 |  | P.Sft |  |  |  | Rs. | 210124.48
4 | Removeing of debries carriage of new earth extra lead 10 miles (R.A)
| 13132.78 | Sft |  | 1065 |  |  | %Sft |  |  |  | Rs: | 139864.107
5 | Extra for errection and removal of steel plate shuttering for RCC work supported with scaffolding pipes and fasted with clamps nuts and bolts for hight above 14" complete in all respect as directed by Engineer Incharge. ( R.A )
| 7254 | Cft |  |  | 20.74 | P.Sft |  |  |  |  | Rs. | 150447.96
6 | P/F Marble top 3/4" thick in required size any piece i/c chemical polish etc, complete or director by incharge ( R.A ).
| 115 | Rft |  |  | 950 | P.Rft |  |  |  |  | Rs. | 109250
7 | P / A graffiato (3/8" to 1/2" thick) the product composed of material marble guard stone iron oxide detonium HSC natural colour chips and pigments ammonia nitrrogen jelicoal heated on high temperature on ultra violet lamp mixed with acrylic resin anti bactriral and fungal additives and anti fuming against alkali showing no blistering winkling or lifting after application, resistant to accelerated weather change and resistant to water head of 100 litre per 8 hours drying time, having rouch dry from 4 to 8 hours and full dry in 72 hours specific gravity various from texture to texture from P -55 S # 36 ) (R . A )
| 7254 | Nos. |  | 27.8 |  | P.Sft |  |  |  |  | Rs. | 201661.2
8 | Removing of dabries ( R. A ).
| 250 | Cft |  |  | 246.65 |  | %Cft |  |  |  | Rs. | 616.625
9 | Raling of Stair Case ( L.Q.R ).
| 50 | Rft |  | 2500 |  | P.Rft |  |  |  |  | Rs. | 125000
[9 empty] | Total Non-Schedule Items |  |  | 5586658.372
( Signature of Contractor)

## SCHEDULE - B WS & SW AUTISM
SCHEDULE - B
PART ( B ) (W/S & S/W)
ESTABLISHMENT OF AUTISM CENTRE AT KARACHI. ( PROVINCIAL A.D.P NO: 496 / 2016-17 ).
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS
1 | P/F squating type white glazed earthen were W.C.pan 9" with low level flushing cistern 3 gallons capacity (ICL IFC design) i/c making requisite No of holes in walls plinth and floor and making good as finished originality also i/c the cost of C.I.trap and C.I.thumble (P/1-1,a).
|  | 24 | Nos | 5044.6 | Each | Rs. | 121070.4
2 | P/F flate back lipped from urinal basin ( of not base than 17" in height ) of white glazed earthen was were complete with & i/c the cast of 1 Gallan C.I automatic flashing system with fittings apart cock C.I or w/i brackets standard flash pipe with fitting standar wast pipe ( Enamaled iron ) connection complete requesited number of hors in walls plinth and floor or pipe conection and making good in cement concrete 1:2:4 (P/3-S.I 7).
|  | 24 | Nos | 4440.7 | Each | Rs. | 106577
4 | Providing & fixing Eureopean type white glazed earthen ware wash down w3.c pan complete with & I/c cost of white/black plastic seat (Best Qty) & lid with c.p brass hinges best quality and buffers 3 gallons plastic flushing cistern with internal fitting with fitting and clamp 3/4" dia and cutting & making requisite number of holes in walls, plinth & follr for pipe cinnection & maing good in cement concrete 1:2:4.
|  | 24 | Nos | 5339.4 | Each | Rs. | 128145.6
3 | P/F 24" x 18" lavatory basin in white colour glazed earthen ware (ICL IFC) design with & i/c the cost of all finishing accessaries 1-1/2" dia rubber plug, chrome plated brass chain 1-1/4" dia malleable iron or brass unions earthen ware padestal of matching colour of similar making also i/c the cost of making holes in plinth floor wall etc and making good as dinished originality (P/3-8).
|  | 24 | Nos | 4253.7 | Each | Rs. | 102089
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed (Standard patterns) (P/3-9).
|  | 24 | Nos | 938.47 | Each | Rs. | 22523
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P-6/20)
|  | 24 | Nos | 2042.43 | Each | Rs. | 49018
6 | P/F chrome plated brass tower rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 20 | Nos | 1412.95 | Each | Rs. | 28259
7 | P/F 15" x 12" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 20 | Nos | 2047.76 | Each | Rs. | 40955
8 | P/F handle valve (China) .(P17/5)
| 1/2" dia | 20 | Nos | 200.42 | Each | Rs. | 4008
| 1" dia | 20 | Nos | 365.42 | Each | Rs. | 7308
| 1-1/4" dia | 20 | Nos | 475.42 | Each | Rs. | 9508
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 2 | Nos | 22000 | Each | Rs. | 44000
10 | S/F soap tray made of plastic of superior quality.(P-7/6)
|  | 15 | Nos | 169.4 | Each | Rs. | 2541
11 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.
|  | 24 | Nos | 14748.2 | Each | Rs. | 353957
12 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/17-2).
|  | 20 | Nos | 4905.67 | Each | Rs. | 98113
13 | P/F cancelled stop cock of superior quality with crystal head 1/2" dia (P/15-13,b).
|  | 20 | Nos | 509.74 | Each | Rs. | 10195
14 | P/F long bib cock of superior crystal head with C.P.head 1/2" dia (P/15-15,b).
|  | 20 | Nos | 1384.24 | Each | Rs. | 27685
15 | Supplying and Fixing in position C.P bib cock 1/2" (P/16-S.I 2).
| 1/2" dia | 20 | Nos | 150.92 | Each | Rs. | 3018
| 3/4" dia | 20 | Nos | 348.92 | Each | Rs. | 6978
16 | S/F jet shower with rod of superior quality with C.P.head 1/2" dia (P/15-17).
|  | 2 | Nos | 1142.42 | Each | Rs. | 2285
17 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia
|  | 15 | Nos | 877.8 | Each | Rs. | 13167
18 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).
|  | 2 | Nos | 37505.42 | Each | Rs. | 75011
19 | P/F Europen white glazed earthen ware down w.c.pan complete.
|  | 1 | Nos | 5339.4 | Each | Rs. | 5339
20 | P/F steel singh stainles local make complete with cast iron or wrought iron brackets 6 inches build in wall 1-1/2" c.p buber pluge chorm plated brass chain 1-1/2" c.p brass waste with 1-1/2" P.V.C waste pipe & making requesite number of holes in wall & floor for pipe connection & making good in ceement concrete 1:2:4. ( S.I 19 B P- 6 )
| 36" x 18" local make ( Standard pattern ) | 0 | Nos | 5162.3 | Each | Rs. | 0
21 | S/F Surgical pillar cock with elbow action c.p rate etc complete. ( S.I 21 P - 19 ).
| Lab | 0 | Nos | 6358 | Each | Rs. | 0
22 | Providing R.C.C.pipe with collars of class "A" and digging the trencle to required depth & fixing in postion l/c cuttin g,fitting & jointing with maxphalt composition & C.M.1:1 and testing with water pressure to a head of 4ft above the top of the building.
| 4" dia pipe | 100 | Rft | 146.57 | P.Rft | Rs. | 14657
| 6" dia pipe | 300 | Rft | 199.25 | P.Rft | Rs. | 59775
| 9" dia pipe | 100 | Rft | 250.6 | P.Rft | Rs. | 25060 | 84835
|  | Total Schedule Items |  |  |  |  | 1361242
Add: Premium: % Above / Below / At Par Rs:
Premium Quoted by the Contractor: |  |  | G.Total Rs:
_______________% Above / Below / At Par
( Signature of Contractor)
NON SCHEDULE ITEMS :.
1 | P/F "U" P.V.C pipe of schedule 40 of Nepro plastic for waswte and vent pipe i/c cutting and fitting jointing special "U" P.V.C cement soulation as approved directed by D.O.Incharge (R.A).
| 4" dia | 100 | Rft | 324.39 | P.Rft | Rs. | 32439
| 6" dia | 50 | Rft | 400 | P.Rft | Rs. | 20000
2 | P/F "U" P.V.C tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 650 | Each | Rs. | 13000
3 | P/F "U" P.V.C Elbow 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).(90 Degree).
|  | 20 | Nos | 395.34 | Each | Rs. | 7907
4 | P/F "U" P.V.C Socket 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 305.14 | Each | Rs. | 6103
5 | P/F "U" P.V.C cross 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 2449.37 | Each | Rs. | 48987
6 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 945.78 | Each | Rs. | 18916
7 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 573.3 | Each | Rs. | 11466
8 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as approved and directed by D.I.Incharge (R.A).
|  | 20 | Nos | 690 | Each | Rs. | 13800
9 | P/F P.V.C Nepro make of Schedule 40 in/c cutting fitting complete in/c the cost of breaking through walls and roof and making good with c.c and testing with water to pressure head of 200 ft and handling etc complete (R.A).
| 1/2" dia | 200 | Rft | 45 | P.Rft | Rs. | 9000
| 3/4" dia | 300 | Rft | 58.91 | P.Rft | Rs. | 17673
| 1" dia | 200 | Rft | 91.68 | P.Rft | Rs. | 18336
10 | P/F P.V.C socket of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 37.8 | Each | Rs. | 1512
| 3/4" dia | 40 | Nos | 45.8 | Each | Rs. | 1832
| 1" dia | 40 | Nos | 55.48 | Each | Rs. | 2219
11 | P/F P.V.C Elbow of Schedule 40 of 90 degree in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 40 | Nos | 54.95 | Each | Rs. | 2198
| 3/4" dia | 40 | Nos | 75.79 | Each | Rs. | 3032
| 1" dia | 40 | Nos | 140.25 | Each | Rs. | 5610
12 | P/F P.V.C union of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 350.88 | Each | Rs. | 14035
| 3/4" dia | 40 | Nos | 381.13 | Each | Rs. | 15245
| 1" dia | 40 | Nos | 471.88 | Each | Rs. | 18875
13 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 64.34 | Each | Rs. | 2574
| 3/4" dia | 40 | Nos | 85.8 | Each | Rs. | 3432
| 1" dia | 40 | Nos | 140.8 | Each | Rs. | 5632
14 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 5.83 | Each | Rs. | 233
| 3/4" dia | 40 | Nos | 10.56 | Each | Rs. | 422
| 1" dia | 40 | Nos | 10.36 | Each | Rs. | 414
15 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 225.06 | Each | Rs. | 9002
| 3/4" dia | 40 | Nos | 229.9 | Each | Rs. | 9196
| 1" dia | 40 | Nos | 375.16 | Each | Rs. | 15006
16 | P/F P.V.C conceled stop cock 1/2" dia of schedule 40 in/c fitting etc complete as approved by the D.O.Incharge (R.A).
|  | 40 | Nos | 290.73 | Each | Rs. | 11629
17 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 40 | Nos | 69.03 | Each | Rs. | 2761
| 3/4" dia | 40 | Nos | 89.65 | Each | Rs. | 3586
| 1" dia | 40 | Nos | 154.66 | Each | Rs. | 6186
18 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 40 | Nos | 44.99 | Each | Rs. | 1800
| 3/4" dia | 40 | Nos | 61.7 | Each | Rs. | 2468
| 1" dia | 40 | Nos | 130.9 | Each | Rs. | 5236
19 | P/F P.V.C Tee of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 40 | Nos | 109.67 | Each | Rs. | 4387
| 3/4" dia | 40 | Nos | 136.29 | Each | Rs. | 5452
| 1" dia | 40 | Nos | 160.49 | Each | Rs. | 6420 | 6420
20 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 40 | Nos | 244.75 | Each | Rs. | 9790
| 3/4" dia | 40 | Nos | 260.7 | Each | Rs. | 10428
| 1" dia | 40 | Nos | 350.9 | Each | Rs. | 14036
|  |  | Cost of Non Sch: Items |  |  | Rs. | 412275
( Signature of Contractor)