## 1
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Construction of Janaze Gah at Berani City Taluka Jam Nawaz Ali District Sanghar.
S.# | Items of Work |  |  | Qty: |  | Rate | Unit | Amount
1 | Borrow pit excavtion undressed lead upto 100 feet Ordinary Soil (S.I.No 3-a-P.No1) |  |  | 600 | Cft | 2117.5 | %0 Cft | 1271
2 | Earth work compaction (Soft, Ordinary or hard soil) b.Laying earth 6" layers leveling dressing and watering to compaction etc complete (S.I.No 13 (b) P.3) |  |  | 600 | Cft | 354 | %0Cft | 212
3 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) |  |  | 157 | Cft | 12346.65 | %Sft | 19384
4 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  | 3150 | Cft | 2206.6 | %Sft | 69508
5 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  | 3150 | Sft | 2197.52 | %Sft | 69222
6 | Cement Concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:5:10.(S.I.No 4 (C) P.No 14) |  |  | 3000 | Cft | 8694.95 | %Cft | 260849
7 | Providing and Lying 1" thick C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-C-P.No 41) 3" thick Topping |  |  | 6000 | Sft | 4411.82 | %Sft | 264709
8 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  | 100 | Sft | 186.04 | P.Sft | 18604
9 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  | 75 | Sft | 27747.06 | %Sft | 20810
10 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) |  |  | 60 | Sft | 726.72 | P.Sft | 43603
11 | Preparing the surface and painting with Weather Coat of approved make to New weather coat surface (S.I.No: 38-B-P.No: 55) |  |  | 2400 | Sft | 2567.95 | %Sft | 61631
11 | Preparing / Painting guard bars (New Surface 3 Coat ) (S.I.No 5-D-P.No 69) |  |  | 120 | Sft | 1270.83 | %Sft | 1525
|  |  | Amount of Schedule Items |  |  |  | Total | 830057
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 2
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Construction of CC Block at Village Sikander Magsi UC-Berani Taluka Jam Nawaz Ali District Sanghar.
S.# | Items of Work |  | Qty: |  | Rate | Unit | Amount
1 | Borrow pit excavtion undressed lead upto 100 feet Ordinary Soil (S.I.No 3-a-P.No1) |  | 8000 | Cft | 2117.5 | %0 Cft | 16940
2 | Earth work compaction (Soft, Ordinary or hard soil) b.Laying earth 6" layers leveling dressing and watering to compaction etc complete (S.I.No 13 (b) P.3) |  | 8000 | Cft | 354 | %0Cft | 2832
3 | Cement Concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:5:10.(S.I.No 4 (C) P.No 14) |  | 4000 | Cft | 8694.95 | %Cft | 347798
4 | Erection and removal of centering for R.C.C or C.C plain cement concrete works of deadar wood (ii class vertical) (S.I.No. 19-b-P-17) |  | 1200 | Sft | 3127.41 | %Sft | 37529
5 | Cement Concrete plain including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  | 2000 | Cft | 14429.25 | % Cft | 288585
|  | Amount of Schedule Items |  |  |  | Total | 693684
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 3
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Construction of Taxi Stand Berna City Taluka Jam Nawaz Ali District Sanghar.
S.# | Items of Work |  | Qty: |  | Rate | Unit | Amount
1 | Borrow pit excavtion undressed lead upto 100 feet Ordinary Soil (S.I.No 3-a-P.No1) |  | 3938 | Cft | 2117.5 | %0 Cft | 8339
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:5:10.(S.I.No 4 (C) P.No 14) |  | 1125 | Cft | 8694.95 | %Cft | 97818
3 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  | 563 | Cft | 14429.25 | %Cft | 81237
4 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  | 126 | Cft | 11948.36 | %Cft | 15055
5 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  | 168 | Cft | 2206.6 | %Sft | 3707
6 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  | 168 | Sft | 2197.52 | %Sft | 3692
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  | 80 | Cft | 337 | P.Cft | 26960
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) |  | 3.57 | cwt | 5001.7 | P.cwt | 17856
9 | Preparing the surface and painting with plastic emulation paint of approved make i/c rubbing the surface with sand paper with chalk plaster etc complete (S.I.No 40 P.No 56). |  | 3600 | Sft | 2237.95 | P.Rft | 80566
|  | Amount of Schedule Items |  |  |  | Total | 335230
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Total
Non-Schedue Item.
10 | Providing G.I Sheet i/c Angle Iron fixing cutting fitting complete with the cost of brecking making good etc painting. |  | 1800 | Sft |  | P.Sft
Total N.S
Total (A)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 4
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation/Renovation of Assistant Commissioner Tando Adam ( Residential Block)
S.# | Items of Work |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  | 1200 | Cft | 3176.25 | %0Cft | 3812
2 | Cement Concrete brick or stone ballast 1-1/2" to 2" gauge ratio 1:5:10.(S.I.No 4 (C) P.No 14) |  |  | 550 | Cft | 8694.95 | %cft | 47822
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  | 677 | Cft | 11948.36 | %Cft | 80890
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  | 196 | Cft | 337 | P.Cft | 66052
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) Tar Bar |  |  | 5.25 | cwt | 5001.7 | P.cwt | 26259
6 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) |  |  | 506 | Cft | 12346.65 | %Sft | 62474
7 | Dismentaling C.C Plain (1:2:4) (S.I.No 19-C-P.No 10) |  |  | 137 | Cft | 3327.5 | %Cft | 4559
8 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  | 137 | Cft | 14429.25 | %Cft | 19768
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  | 2700 | Cft | 2206.6 | %Sft | 59578
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  | 2700 | Sft | 2197.52 | %Sft | 59333
11 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  | 808 | Sft | 27747.06 | %Sft | 224196
12 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  | 428 | Sft | 28299.3 | %Sft | 121125
13 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) |  |  | 60 | Sft | 726.72 | P.Sft | 43603
14 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  | 64 | Sft | 180.5 | P.Sft | 11552
15 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  | 34 | Sft | 1273.76 | P.Sft | 43307.84
14 | Distempering 3 Coats (S.I.No 24-C-P.No 53) |  |  | 2828 | Sft | 1079.65 | %Sft | 30533
|  | Amount of Schedule Items |  |  |  |  | Total | 904863.84
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete with and i/c the cost of white black bast quality and lid with c.p sraws hinges and buffer 3 gallon white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white precelian flush bound 3/4" dia and making required no of hold in wall plinth and floor for pipe crossing and making good cement concret 1:2:4: ( foregion quality.) S.I.No. 5 (P-2) |  |  | 2 | Nos | 4846.6 | Each | 9693.2
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | P/F: Nyloon connection 1/2" dia complete with bracess stop cook with pair of brass nuts and linding joints to nyloon connection (S.I.No 23 P.No 6) |  |  | 1 | Nos | 447.15 | Each | 447.15
4 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed |  |  | 1 | Nos | 938.47 | Each | 938.47
5 | Providing RCC Pipe with colour class "B" and digging trenches etc complete. (S.I.No 2 P.NO 23)
| 6" dia |  |  | 40 | Rft | 199.25 | P.Rft | 7970
| 4" dia |  |  | 35 | Rft | 146.57 | P.Rft | 5129.95
6 | Construction of Main Hole or inspection chamber for the required diameter of circular sewer and 3'.6" (1067mm) depth with walls of BB in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick inside of walls and 1" (25mm) thick over benching and channel i/c fixing C.I hole cover with frame of clear opening 1-1/2' x 1-1/2' (457x457mm) of 1.cwt (88.9kg) embaded in plain C.C 1:2:4 and fixing 1" (25mm) dia M.S steps 6" (150mm) wide projecting 4" (102mm) from the fac of walls at 12" (305mm) C.C duly painted etc. complete as per standard specification and drawing (S.I.1 P.No 46 )(PHE) |  |  | 1 | Nos: | 14748 | P.No. | 14748
7 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| A---do--- 1/2" dia |  |  | 80 | Rft | 73.21 | P.Rft | 5856.8
| B---do--- 3/4" dia |  |  | 50 | Rft | 95.79 | P.Rft | 4789.5
| C---do--- 1" dia |  |  | 40 | Rft | 128.55 | P.Rft | 5142
8 | S/F: long bib cock of superier quality with 1/2" thick c.p head |  |  | 6 | Nos: | 1109.46 | Each | 6656.76
9 | P/F: Handle valve (Chine Make) (3/4" dia) |  |  | 2 | Nos: | 271.92 | Each | 543.84
10 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  | 2 | Nos: | 509.74 | Each | 1019.48
11 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  | 4 | Nos: | 2042.43 | Each | 8169.72
12 | P/F 4" C.I plain bend of the required degree i/c extra painting to match the colour of the building (S.I.No. 10 P.No 10) |  |  | 4 | Nos: | 566.7 | Each | 2266.8
13 | Providing & Fixing 4"X4" dia C.I branch of the required degree with access door, rubber washer 3/8" thick and bolts and nuts and extra painting to match the colour of the building (S.I.No 3 P.No 9) |  |  | 4 | Nos: | 702 | Each | 2808
14 | Providing & Laying UPVC pioe of Class "B" fixing in trench i/c cutting, fitting, and jointing with solvent cement i/c testing with water to a head of 61 meter or 200 ft (S.I.No 4-b-P.No 23) (P.H.E) |  |  | 30 | Nos: | 136 | Each | 4080
15 | P/F: Chamber 15" X 9" ( Inside dimension) x 24" deep for house maters with 6" thick c.c 1:2 block get on 1:6 cement morter 6" thick c,c, 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cast concrate a cover and frame 15" x 9" (inside) clear opning wt: 1"qr : etc fixed in cement concrate 1:2:4 i/c curring excavation back filling and disposal of earth etc complete (S.I.No 4 P.No 20) |  |  | 1 | Nos: | 4905.67 | Each | 4905.67
|  | Amount of Schedule Items |  |  |  | Total |  | 1528373.82
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
Note on P24: Anwer ali:

## 5
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation/Renovation of Assistant Commissioner Shahdadpur ( Residential Block)
S.# | Items of Work |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  | 63 | Cft | 1285.63 | %Cft | 810
2 | Dismentling RCC work in salb I/c sepraty(S.I.No. 20 P.No,10) |  |  | 61 | Cft | 5445 | %Cft | 3321
3 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  | 66 | Sft | 1273.76 | P.Sft | 84068.16
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  | 944 | Cft | 3176.25 | %0Cft | 2998
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  | 511 | Cft | 8694.95 | %Cft | 44431
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  | 652 | Cft | 11948.36 | %Cft | 77903
7 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  | 327 | Cft | 337 | P.Cft | 110199
8 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) |  |  | 14.72 | cwt | 4820.2 | P.cwt | 70953
9 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  | 408 | Cft | 12674.36 | %Cft | 51711
10 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) |  |  | 389 | Cft | 12346.65 | %Cft | 48028
11 | Removing cement palster from walls (S.I.No. 53 P-13) |  |  | 64 | Sft | 121 | %Sft | 77.44
11 | Applying fleating coat of cement 1/32" thick (S.I.No.14 P-52) |  |  | 64 | Sft | 660 | %Sft | 422
12 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  | 2341 | Cft | 2206.6 | %Sft | 51657
13 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  | 2341 | Sft | 2197.52 | %Sft | 51444
14 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  | 297 | Cft | 14429.25 | %Cft | 42855
15 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  | 106 | Sft | 27747.06 | %Sft | 29412
16 | Providing and Lying 3" thick C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-B-P.No 41) 2" thick |  |  | 900 | Sft | 3275.5 | %Sft | 29480
18 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  | 32 | Sft | 180.5 | P.Sft | 5776
19 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 59) |  |  | 32 | Sft | 190.72 | P.Sft | 6103
20 | White washing 3 coats (S.I.No 26-C-P.No 53) |  |  | 144 | Sft | 829.95 | %Sft | 1195
21 | Distempering three coats over primary coat (S.I.No S.I.No 24-b-P.No 54) |  |  | 2768 | Sft | 1646.15 | %Sft | 45565
22 | Colour wash 2 Coats (S.I.No 24 P.No 53) |  |  | 1181 | Cft | 859.9 | %Sft | 10155
22 | Preparing / Painting guard bars (New Surface 3 Coat ) (S.I.No 5-D-P.No 69) |  |  | 335 | Sft | 1270.83 | %Sft | 4257
|  | Amount of Schedule Items |  |  |  |  | Total | 772820.6
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
|  | Deduct _________ % Below of Marble item rates oc CSR Rs: | [6 empty] | 631097
76729
[6 empty] | Total |  |  | 64995
Non-Schedule Item.
23 | Providing G.I Sheet i/c Angle Iron fixing cutting fitting complete with the cost of brecking making good etc painting. |  |  | 128 | Sft |  | P.Sft
Total N.S
Total (A)
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete with and i/c the cost of white black bast quality and lid with c.p sraws hinges and buffer 3 gallon white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white precelian flush bound 3/4" dia and making required no of hold in wall plinth and floor for pipe crossing and making good cement concret 1:2:4: ( foregion quality.) S.I.No. 5 (P-2) |  |  | 2 | Nos | 4846.6 | Each | 9693.2
2 | P/F: Europen type white glazed earthen ware wash down w3.c pan complete with and i/c cost of white / black plastic set best quality & lid with C.P brass hinges best quality and buffers 3 gallons plastic flashing cistern with dia and cutting and making requsite number of holes and walls, plinth & foller for pipe connection and making good in cement concrete (1:2:4) (S.I.No. 4 P.No. 2) |  |  | 2 | Nos | 5339.4 | Each | 10678.8
3 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  | 1 | Nos | 4694.8 | Each | 4694.8
4 | P/F: Nyloon connection 1/2" dia complete with bracess stop cook with pair of brass nuts and linding joints to nyloon connection (S.I.No 23 P.No 6) |  |  | 1 | Nos | 447.15 | Each | 447.15
5 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed |  |  | 1 | Nos | 938.47 | Each | 938.47
6 | Providing RCC Pipe with colour class "B" and digging trenches etc complete. (S.I.No 2 P.NO 23)
| 9" dia |  |  | 60 | Rft | 250.6 | P.Rft | 15036
| 6" dia |  |  | 40 | Rft | 199.25 | P.Rft | 7970
| 4" dia |  |  | 35 | Rft | 146.57 | P.Rft | 5129.95
6 | Construction of Main Hole or inspection chamber for the required diameter of circular sewer and 3'.6" (1067mm) depth with walls of BB in cement sand mortar 1:3 cement plastered 1:3, 1/2" thick inside of walls and 1" (25mm) thick over benching and channel i/c fixing C.I hole cover with frame of clear opening 1-1/2' x 1-1/2' (457x457mm) of 1.cwt (88.9kg) embaded in plain C.C 1:2:4 and fixing 1" (25mm) dia M.S steps 6" (150mm) wide projecting 4" (102mm) from the fac of walls at 12" (305mm) C.C duly painted etc. complete as per standard specification and drawing (S.I.1 P.No 46 )(PHE) |  |  | 1 | Nos: | 14748 | P.No. | 14748
7 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| A---do--- 1/2" dia |  |  | 50 | Rft | 73.21 | P.Rft | 3660.5
| B---do--- 3/4" dia |  |  | 42 | Rft | 95.79 | P.Rft | 4023.18
| C---do--- 1" dia |  |  | 50 | Rft | 128.55 | P.Rft | 6427.5
8 | S/F: long bib cock of superier quality with 1/2" thick c.p head |  |  | 6 | Nos: | 1109.46 | Each | 6656.76
9 | P/F: Handle valve (Chine Make) (3/4" dia) |  |  | 2 | Nos: | 271.92 | Each | 543.84
10 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  | 2 | Nos: | 509.74 | Each | 1019.48
11 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  | 4 | Nos: | 2042.43 | Each | 8169.72
12 | P/F 4" C.I plain bend of the required degree i/c extra painting to match the colour of the building (S.I.No. 10 P.No 10) |  |  | 4 | Nos: | 566.7 | Each | 2266.8
13 | Providing & Fixing 4"X4" dia C.I branch of the required degree with access door, rubber washer 3/8" thick and bolts and nuts and extra painting to match the colour of the building (S.I.No 3 P.No 9) |  |  | 4 | Nos: | 702 | Each | 2808
14 | Providing & Laying UPVC pioe of Class "B" fixing in trench i/c cutting, fitting, and jointing with solvent cement i/c testing with water to a head of 61 meter or 200 ft (S.I.No 4-b-P.No 23) (P.H.E) |  |  | 30 | Nos: | 136 | Each | 4080
15 | P/F: Chamber 15" X 9" ( Inside dimension) x 24" deep for house maters with 6" thick c.c 1:2 block get on 1:6 cement morter 6" thick c,c, 1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M to all inside wall surface and to top 1" thick c.c. 1:2:4 flooring complete with hinged cast concrate a cover and frame 15" x 9" (inside) clear opning wt: 1"qr : etc fixed in cement concrate 1:2:4 i/c curring excavation back filling and disposal of earth etc complete (S.I.No 4 P.No 20) |  |  | 1 | Nos: | 4905.67 | Each | 4905.67
|  | Amount of Schedule Items |  |  |  | Total |  | 113897.82
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
Note on P26: Anwer ali:
Note on P27: Anwer ali:
Note on P38: Anwer ali:

## 6
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Rehabilitation/Renovation of Assistant Commissioner Sinjhoro ( Residential Block)
S.# | Items of Work |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  | 1332 | Cft | 3176.25 | %0Cft | 4231
2 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  | 567 | Cft | 8694.95 | %Cft | 49300
3 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  | 858 | Cft | 11948.36 | %Cft | 102517
4 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  | 314 | Cft | 337 | P.Cft | 105818
5 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16) |  |  | 14.11 | cwt | 5001.7 | P.cwt | 70574
6 | Pacca Brick work in other than building (1:6) (S.I.No 7-e- P.No 21) |  |  | 962 | Cft | 12346.65 | %Cft | 118775
7 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  | 2565 | Cft | 2206.6 | %Sft | 56599
8 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  | 2565 | Sft | 2197.52 | %Sft | 56366
9 | Laying white marble flooring fine dreosed in the surface wihtout winging set in line mortar 1:2: I/c rubbing and polishing of the joint (28-P/ (a) 3/4" thick flooring (S.I.No.28 P-42) |  |  | 225 | Sft | 567.48 | P.Sft | 127683
10 | Providing and Fixing 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc. over 1/2" thick base of cement mortar 1:3 setting of tils in slurry of white cement over mortar base i/c filling the joints and washing the tiles with white cement slurry, currient finishing cleaning and (New work) (S.I.No 68 P.No 48) |  |  | 60 | Sft | 186.04 | P.Sft | 11162
11 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  | 36 | Sft | 27747.06 | %Sft | 9989
12 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  | 120 | Sft | 28299.3 | %Sft | 33963
13 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) (only Chowkat) |  |  | 42 | Sft | 370.83 | P.Sft | 15574.86
14 | Making and Fixing Steel Grated Door with 1/16" thick sheeting i/c angle iron frame 2"x2"x 3/8" size and 3/4" square bars at 4" center to center i/c locking arrangments (S.I. 24 P.No 91) |  |  | 120 | Sft | 726.72 | P.Sft | 87206
15 | Colour wash 2 Coats (S.I.No .. P.No ..) |  |  | 2565 | Cft | 1303.17 | %Sft | 33426
16 | Preparing / Painting guard bars (New Surface 3 Coat ) (S.I.No 5-D-P.No 69) |  |  | 176 | Sft | 1270.83 | %Sft | 2237
|  | Amount of Schedule Items |  |  |  |  | Total | 885420.86
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete with and i/c the cost of white black bast quality and lid with c.p sraws hinges and buffer 3 gallon white glazed earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white precelian flush bound 3/4" dia and making required no of hold in wall plinth and floor for pipe crossing and making good cement concret 1:2:4: ( foregion quality.) S.I.No. 5 (P-2) |  |  | 1 | Nos | 4846.6 | Each | 4846.6
3 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  | 1 | Nos | 4694.8 | Each | 4694.8
4 | Add: Extra for labour for providing and fixing of earthen ware pedestal white or coloured glazed |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/F: Nyloon connection 1/2" dia complete with bracess stop cook with pair of brass nuts and linding joints to nyloon connection (S.I.No 23 P.No 6) |  |  | 2 | Nos | 447.15 | Each | 894.3
5 | P/F Brass Tower rail complete 24" long 3/4" dia best quality (S.I.No. 1-iii P.No.7) |  |  | 1 | Nos | 1082.95 | Each | 1082.95
6 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| A---do--- 1/2" dia |  |  | 20 | Rft | 73.21 | P.Rft | 1464.2
| B---do--- 3/4" dia |  |  | 20 | Rft | 95.79 | P.Rft | 1915.8
| C---do--- 1" dia |  |  | 20 | Rft | 128.55 | P.Rft | 2571
5 | Add: Extra for labour cancelled G.I pipe and fitting 1/2" dia |  |  | 20 | Rft | 7.82 | P.Rft | 156.4
6 | P/F: Handle valve (Chine Make) (3/4" dia)
| a) 3/4" dia |  |  | 1 | Nos: | 271.92 | Each | 271.92
| b) 1" dia |  |  | 1 | Nos: | 365.42 | Each | 365.42
7 | S/F: long bib cock of superier quality with 1/2" thick c.p head |  |  | 2 | Nos: | 1109.46 | Each | 2218.92
8 | S/F Long bib cock of superior quality with 1/2" thick C.P head (S.I.No. 13-b-P.No 19) |  |  | 2 | Nos: | 889.46 | Each | 1778.92
9 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  | 2 | Nos: | 509.74 | Each | 1019.48
10 | S/F Jet Shower with rod of superiro quality with C.P head (S.I.No 11-b-P.No. 19) |  |  | 2 | Nos: | 1142.24 | Each | 2284.48
11 | S/F Sawan type piller cock superior quality sing C.P 1/2" dia (S.I.No 16-b-P.No. 19) |  |  | 1 | Nos: | 877.8 | Each | 877.8
12 | Providing & Laying UPVC pioe of Class "B" fixing in trench i/c cutting, fitting, and jointing with solvent cement i/c testing with water to a head of 61 meter or 200 ft (S.I.No 4-b-P.No 23) (P.H.E) |  |  | 5 | Nos: | 136 | Each | 680
13 | UPVC fitting 4" dia of class "B"
| a) 4" dia tee |  |  | 2 | Nos: | 725 | Each | 1450
| b) 4" elbow |  |  | 2 | Nos: | 577 | Each | 1154
|  | Amount of Schedule Items |  |  |  | Total |  | 30665.46
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 7
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK: - |  | Construction of Rama Pir Mandir Village Muhibullah Shah Taluka Jam Nawaz Ali District Sanghar.
S.# | Items of Work |  |  | Qty: |  | Rate | Unit | Amount
Part-A (Civil Work)
1 | Dismentaling Rolled steel beams iron rails etc complete (S.I.No. 42 P.13) |  |  | 3.84 | Cwt | 126.04 | P.Cwt | 484
2 | Dismentaling 2nd Class Tile Roofing (S.I.No 22-b-P.No 11 ) |  |  | 100 | Sft | 378.13 | %Sft | 378
3 | Dismentling pacca brick work in cment send moter (S.I.No.13 P.No. 10) |  |  | 135 | Sft | 1285.63 | %Sft | 1736
4 | Excavation in foundation of building bridges and other sturture I/c degtelling gretting refilling around structure with excavated earth watering and remming lead upto 5' feet ordinary soil (S.I.No. 18 (b) P-4) |  |  | 268 | Cft | 3176.25 | %0Cft | 851
5 | Cement concrete brick work or stone ballast 1:5:10 (S.I.No.4 ( C ) P-14) |  |  | 522 | Cft | 8694.95 | %Cft | 45388
6 | Pacca Brick work in foundation to plinth cement sand ratio (1:6) (S.I.No 4 (e) P.20) |  |  | 192 | Cft | 11948.36 | %Cft | 22941
7 | Cement Concrete palin including placing compacting finishing and curring complete including screending and washing of stone aggregate without shuttering ratio 1:2:4 ( S.I.No 5-f-P.No 15) . |  |  | 231 | Cft | 14429.25 | %Cft | 33332
8 | Pacca Brick Work in ground floor with cement sand mortar ratio (1:6) (S.I.No 5 (e) Page No: 20) |  |  | 492 | Cft | 12674.36 | %Cft | 62358
9 | Cement plaster 1/2" thick upto height ratio 1:6 (S.I.No. 13-b- P-51) |  |  | 1553 | Sft | 2206.6 | %Sft | 34268
10 | Cement plaster 3/8" thick ratio 1:4 (S.I.No: 11 (a) P.No: 51) |  |  | 1553 | Sft | 2197.52 | %Sft | 34127
11 | R.C.C work I/c all labour and material except the cost of steel reinforcement for c.c and its labour for bending and binding which will be paid sepretely (a)RC work in roof slabs beams coloumns rafts, and lintles and other structural members laid in situe or pre cost laid in position making joints and fastening (1:2:4) ratio (S.I.No 6 P.No 16) |  |  | 394 | Cft | 337 | P.Cft | 132778
12 | Febrication of mild steel reinfored for cc i/c cutting bending and lying in position making joints and fasting includes all cost of removal of rust from bars. (S.I.No. 8 (a) P-16)Tar Bar |  |  | 15.83 | cwt | 5001.7 | P.cwt | 79177
13 | Providing and Lying C.C topping (1:2:4) i/c surface finishing dividing into panles (S.I.No 16-d-P.No 42) 2" thick |  |  | 601 | Sft | 3275.5 | %Sft | 19686
14 | Two Coat of Bitumen laid hot using 34 Lbs for % Sft over roof and blinded with sand at one C.ft Per % Sft (S.I.No 13 P.No 34) |  |  | 601 | Sft | 1887.4 | %Sft | 11343
15 | First Class deodar wood rought joinery in door and windows etc fixied in position I/c chwkat hold fast hinges iron tower bit chowk cleats handles and coard with hooks etc 1 3/4" thick (S.I.No 7-b-P.No 57) |  |  | 118 | Sft | 1273.76 | P.Sft | 150303.68
16 | Supplying and fixing in position iron steel grillies of 3/4" x1/4" size flat iron of approved design I/c painting 3 cost etc complete finishing grill (S.I.No. 26 P-92) |  |  | 48 | Sft | 180.5 | P.Sft | 8664
17 | Galvonized wire guaze fixed to chowkats with 3/4" deodar strip and screws (S.I.No 14-D-P.No: 60) |  |  | 48 | Sft | 190.72 | P.Sft | 9155
18 | Laying Floor of approved colour glazed tiles 1/4" thick laid in white cement and pigments on the bad of 3/4" thick cement morter (S.I.No 25 P.No 42) |  |  | 324 | Sft | 27747.06 | %Sft | 89900
19 | Glazed tiles dado 1/4" thick laid in pigment over 1:2 cement sand morter 3/4" thick i/c finishing (S.I.No 38 P.No 44) |  |  | 200 | Sft | 28299.3 | %Sft | 56599
20 | Distempering three coats over primary coat (S.I.No S.I.No 24-b-P.No 54) |  |  | 1553 | Sft | 1646.15 | %Sft | 25565
21 | Preparing New Surface Painting doors and windows any type i/c edges 03 Coats (S.I.No 5-c-P.No 70) |  |  | 235 | Sft | 2116.41 | %Sft | 4974
|  | Amount of Schedule Items |  |  |  |  | Total | 824007.68
Add: / Deduct _________ %Above / Below of rates oc CSR Rs:
Deduct _________ % Below of Marble item rates oc CSR Rs:
Total (A)
PART-(B) Water Supply & Sanitary Fitting
1 | P/F: squanting eurptan type white glazed earthen ware w.c pan with complete flushing cistern with internal fitting and flush pipe with bend & making requisite number of holes in walls plinth & floor for pipe constructions & making good in cement concrete1:2:4 (W.C Pan o not less than 23" clear opening between flushing rins and 3 gallons flushing tank with 4" dia C.I Pipe (S.I.No 1-b-P.No 1) |  |  | 1 | Nos | 5486.8 | Each | 5486.8
2 | P/f: 22"x16" lavatory basin in white glazed earthen ware complete white and I/c the cost at of W.I or c.I Cost of W.I or C.I cantilever brackets 6" built into walls, painted white in 2 coat after a primary coat of red lead paint, a pair of 1/2" rubber plug & chrome brass waste of approved pattern 1-1/4" dia malloable iron or C.P brass traps, amlloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connection & making good in cement concrete 1:2:4 (Foreign or Equivalant ) (S.I.No 13 P.No: 4) |  |  | 1 | Nos | 4694.8 | Each | 4694.8
3 | Add: Extra for providing and fixing of earthen ware pedestal (S.I.No: 9 P.No: 03). |  |  | 1 | Nos | 938.47 | Each | 938.47
4 | P/f: 6" X 2" or 6" X 3" C.I floor trap of the approved self cleaning design with a C.I srew down gating with out a vent arm complete with a nd I/c making requost number of holes in cement walls plinth and floor pipe connection and making good in c.c. 1:2:4 ratio (S.I.No 20 P.No 6) |  |  | 1 | Nos | 2042.43 | Each | 2042.43
5 | P/F 1/2" dia nyloon connection with peir of slip cock and jointed to nyloon connection (S.i.No 23 P.No 6) |  |  | 1 | Nos | 447.15 | Each | 447.15
6 | S/F: long bib cock of superier quality with 1/2" thick c.p head (S.I.No 13-b-P.No 19) |  |  | 2 | Nos | 1109.46 | Each | 2218.92
7 | S/F: Cancelled stop cock of superier quality with c.p head 1/2" dia (S.I.No 11-b-P.No 18) |  |  | 1 | Nos | 509.74 | P.No: | 509.74
8 | S/F: Jet shower with rod of superior quality with C.P handle 1/2" dia (S.I.No: 15 / P-19). |  |  | 1 | Nos | 1142.24 | P.No: | 1142.24
9 | S/F: sawan type of piler cock superier quality single C.P hea 1/2" dia (S.I.No 16-b-P.No 19) |  |  | 1 | Nos | 877.8 | P.No: | 877.8
10 | P/F: Handle valve (Chine Make) 3/4" dia |  |  | 2 | Nos | 271.92 | P.No: | 543.84
11 | Providing G.I pipe special etc including fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match. (S.I.No 1 P.No 12)
| i) 1/2" dia |  |  | 55 | Rft | 73.21 | P.RRft | 4027
| ii) 3/4" dia |  |  | 55 | Rft | 95.79 | P.RRft | 5268.45
|  | Amount of Schedule Items |  |  |  | Total |  | 28197.64
Add: / Deduct _________ %Above / Below on Sanitary Items Rs:
Add: / Deduct _________ %Above / Below only G.I & RCC Pipe Rs:
Total
Non-Schedule Item.
1 | Providing & Fixing 0.50 HPMotor With pump set |  |  | 1 | Nos |  | Each
Total (B)
Total (A+B)
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.
Note on P27: Anwer ali:

## 8
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Lavatory Block in Deputy Commissioner Office Sanghar ( Electrification)
S.No | Description |  |  | Quantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 15 | Nos | 910 | Each | Rs | 13650
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 4 | Nos | 742 | Each | Rs | 2968
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 100 | Mtr | 171 | P.Mtr | Rs: | 17100
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 100 | Mtr | 305 | P.Mtr | Rs: | 30500
5 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 15 | Nos | 58 | Each |  | 870
6 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 4 | Nos | 83 | Each | Rs | 332
7 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 2 | Nos | 151 | Each | Rs | 302
8 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 15 | Nos | 70 | Each. | Rs: | 1050
9 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 2 | Nos | 72 | Each. | Rs: | 144
10 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 4 | Nos | 916 | Each. | Rs: | 3664
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
12 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
13 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
| Amount of Schedule Items | [7 empty] | 75089
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 4 | Nos |  | Each. | Rs:
2 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 10 | Nos |  | Each. | Rs:
3 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 1 | Sft |  | P.Sft | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 9
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Treasury Officer Bungalow Sanghar ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 38 | Nos | 910 | Each | Rs | 34580
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti ( S.I.NO.13 P.15) |  |  | 1 | Nos | 1590 | Each | Rs | 1590
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 10 | Nos | 742 | Each | Rs | 7420
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 200 | Mtr | 171 | P.Mtr | Rs: | 34200
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 150 | Mtr | 305 | P.Mtr | Rs: | 45750
6 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 38 | Nos | 58 | Each |  | 2204
7 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 10 | Nos | 83 | Each | Rs | 830
8 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 3 | Nos | 151 | Each | Rs | 453
9 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 30 | Nos | 70 | Each. | Rs: | 2100
10 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 8 | Nos | 72 | Each. | Rs: | 576
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 10 | Nos | 916 | Each. | Rs: | 9160
12 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
13 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 42 | Mtr | 605 | P.Mtr | Rs: | 25410
14 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
15 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
16 | P/F of Brass Bracket Fan 18" (good Quality) (S.I.No 236 P.No 34) |  |  | 1 | Nos | 2791 | Each | Rs: | 2791
17 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 8 | Nos | 3185 | Each. | Rs: | 25480
| Amount of Schedule Items | [7 empty] | 197053
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 8 | Nos |  | Each. | Rs:
2 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (L.Q.R) |  |  | 1 | Nos |  | Each. | Rs:
3 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 30 | Nos |  | Each. | Rs:
4 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 2 | Sft |  | P.Sft | Rs:
5 | Fixing A.C Fan regulator on SW Board |  |  | 8 | Nos |  | Each. | Rs:
6 | Errection of ceilling fan |  |  | 8 | Nos |  | Each. | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 10
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Dargah Syed Muhib Ali Shah UC-Koro Khan Umrani Taluka Shahdadpur District Sanghar ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 20 | Nos | 910 | Each | Rs | 18200
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 6 | Nos | 742 | Each | Rs | 4452
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 150 | Mtr | 171 | P.Mtr | Rs: | 25650
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 150 | Mtr | 305 | P.Mtr | Rs: | 45750
6 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 20 | Nos | 58 | Each |  | 1160
7 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 6 | Nos | 83 | Each | Rs | 498
8 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 3 | Nos | 151 | Each | Rs | 453
9 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 20 | Nos | 70 | Each. | Rs: | 1400
10 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 2 | Nos | 72 | Each. | Rs: | 144
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 6 | Nos | 916 | Each. | Rs: | 5496
12 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
13 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 55 | Mtr | 605 | P.Mtr | Rs: | 33275
14 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
15 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
16 | P/F of Brass Bracket Fan 18" (good Quality) (S.I.No 236 P.No 34) |  |  | 1 | Nos | 2791 | Each | Rs: | 2791
17 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 4 | Nos | 3185 | Each. | Rs: | 12740
| Amount of Schedule Items | [7 empty] | 156518
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 4 | Nos |  | Each. | Rs:
2 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 15 | Nos |  | Each. | Rs:
3 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 2 | Sft |  | P.Sft | Rs:
4 | Fixing A.C Fan regulator on SW Board |  |  | 4 | Nos |  | Each. | Rs:
5 | Errection of ceilling fan |  |  | 4 | Nos |  | Each. | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 11
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Mukhtiarkar Office Sinjhoro ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 64 | Nos | 910 | Each | Rs | 58240
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti ( S.I.NO.13 P.15) |  |  | 6 | Nos | 1590 | Each | Rs | 9540
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 20 | Nos | 742 | Each | Rs | 14840
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 300 | Mtr | 171 | P.Mtr | Rs: | 51300
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 300 | Mtr | 305 | P.Mtr | Rs: | 91500
6 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 64 | Nos | 58 | Each |  | 3712
7 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 20 | Nos | 83 | Each | Rs | 1660
8 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 6 | Nos | 151 | Each | Rs | 906
9 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 50 | Nos | 70 | Each. | Rs: | 3500
10 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 20 | Nos | 72 | Each. | Rs: | 1440
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 20 | Nos | 916 | Each. | Rs: | 18320
12 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 83 | Mtr | 605 | P.Mtr | Rs: | 50215
12 | P/F Circuit breaker 15,20,30,40,50, 60, TP on prepared board. (S.I.No: 206 P.31). |  |  | 2 | Nos | 5521 | Each. | Rs: | 11042
13 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 2 | Nos | 999 | Each. | Rs: | 1998
14 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 2 | Nos | 1054 | Each. | Rs: | 2108
16 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 15 | Nos | 3185 | Each. | Rs: | 47775
| Amount of Schedule Items | [7 empty] | 368096
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 20 | Nos |  | Each. | Rs:
2 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (L.Q.R) |  |  | 6 | Nos |  | Each. | Rs:
3 | P/F 2-40 watts tublight complete with 400 watts is lying chowk stater putty with philips component i/c necessary electric connection fixing on wall or ceilling etc complet (L.Q.R) |  |  | 6 | Nos |  | Each. | Rs:
4 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 50 | Nos |  | Each. | Rs:
5 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 5 | Sft |  | P.Sft | Rs:
6 | Fixing A.C Fan regulator on SW Board |  |  | 15 | Nos |  | Each. | Rs:
7 | Errection of ceilling fan |  |  | 15 | Nos |  | Each. | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 12
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Rehabilitation / Renovation of Mukhtiarkar Office Tando Adam ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 71 | Nos | 910 | Each | Rs | 64610
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti ( S.I.NO.13 P.15) |  |  | 6 | Nos | 1590 | Each | Rs | 9540
3 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 20 | Nos | 742 | Each | Rs | 14840
4 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 350 | Mtr | 171 | P.Mtr | Rs: | 59850
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 350 | Mtr | 305 | P.Mtr | Rs: | 106750
6 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 71 | Nos | 58 | Each |  | 4118
7 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 20 | Nos | 83 | Each | Rs | 1660
8 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 6 | Nos | 151 | Each | Rs | 906
9 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 50 | Nos | 70 | Each. | Rs: | 3500
10 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 26 | Nos | 72 | Each. | Rs: | 1872
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 28 | Nos | 916 | Each. | Rs: | 25648
12 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 100 | Mtr | 605 | P.Mtr | Rs: | 60500
12 | P/F Circuit breaker 15,20,30,40,50, 60, TP on prepared board. (S.I.No: 206 P.31). |  |  | 3 | Nos | 5521 | Each. | Rs: | 16563
13 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 3 | Nos | 999 | Each. | Rs: | 2997
14 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 3 | Nos | 1054 | Each. | Rs: | 3162
16 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 18 | Nos | 3185 | Each. | Rs: | 57330
| Amount of Schedule Items | [7 empty] | 433846
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 20 | Nos |  | Each. | Rs:
2 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (L.Q.R) |  |  | 6 | Nos |  | Each. | Rs:
3 | P/F 2-40 watts tublight complete with 400 watts is lying chowk stater putty with philips component i/c necessary electric connection fixing on wall or ceilling etc complet (L.Q.R) |  |  | 8 | Nos |  | Each. | Rs:
4 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 60 | Nos |  | Each. | Rs:
5 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 6 | Sft |  | P.Sft | Rs:
6 | Fixing A.C Fan regulator on SW Board |  |  | 18 | Nos |  | Each. | Rs:
7 | Errection of ceilling fan |  |  | 18 | Nos |  | Each. | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.

## 13
Schedule A to Bid
SCHEDULE OF PRICES (BOQ)
(Description and rate of items based on Composite Schedule of Rates)
NAME OF WORK :- |  | Construction of Office Building for Union Council Office Koro Khan Umrani Taluka Shahdadpur District Sanghar ( Electrification)
S.No | Description |  |  | Qutantity |  | Rate | Unit |  | Amount
1 | Wiring for light or fan point with 1.1.13(3/.029) pvc insulated wire in PVC in Channel Patti ( S.I.NO.129 P.15) |  |  | 38 | Nos | 910 | Each | Rs | 34580
2 | Wiring for Call Bell point with 1.1.13(3/.029) pvc insulated wire in Channel Patti ( S.I.NO.13 P.15) |  |  | 3 | Nos | 1590 | Each | Rs | 4770
2 | Wiring for plug point with 1.1.13(3/.029) PVC insulated wire in 20mm (3/4") PVC in Channel Patti (S.I.No.13 P. 15) |  |  | 10 | Nos | 742 | Each | Rs | 7420
3 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.029 coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 3 P.No. 1 ). |  |  | 200 | Mtr | 171 | P.Mtr | Rs: | 34200
5 | Providing and laying (Main or Sub-Main) PVC insulated with size 2-7/.044 (16mm 2) coper conductor in 3/4" dia PVC conduit on surface as required ( S.I.No. 5 P.No. 1 ). |  |  | 150 | Mtr | 305 | P.Mtr | Rs: | 45750
6 | Providing and fixing A.C one way S.P 10 to 15 Amp switch flush type on given prepared board (.S.I.No. 218 P.33). |  |  | 38 | Nos | 58 | Each |  | 2204
7 | Providing and fixing flush type 2 pin 5 ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:225 P.33). |  |  | 10 | Nos | 83 | Each | Rs | 830
8 | Providing and fixing flush type 3 pin 10 to 15 Amps ampress S.P plug socket switch and shoe unit on a given prepared board on surface as required (S.I.No:224 P.33). |  |  | 3 | Nos | 151 | Each | Rs | 453
9 | Providing and fixing B.C Brass batton holder and 254mm(10") E.I Shade(S.I.No. 232 P. 33). |  |  | 30 | Nos | 70 | Each. | Rs: | 2100
10 | Providing and fixing S.W canopy block and bakclite ceiling rose SW block (S.I.No: 28-B P.33). |  |  | 8 | Nos | 72 | Each. | Rs: | 576
11 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps 5P on prepared board. (S.I.No: 203 P.31). |  |  | 10 | Nos | 916 | Each. | Rs: | 9160
12 | P/F Circuit breaker 10,15,20,30,40,50, 63, Amps DB on prepared board. (S.I.No: 204 P.31). |  |  | 1 | Nos | 2456 | Each. | Rs: | 2456
13 | Wiring for main with 2-7/0.85 (7./.064) pvc insulated in 30 mm (1/4") pvc instulled wire (S.I.No: 7 P.1 ). |  |  | 50 | Mtr | 605 | P.Mtr | Rs: | 30250
14 | P/F Voltmeter size 96/96 mm 500 volts as required (S.I.No:285 P41) |  |  | 1 | Nos | 999 | Each. | Rs: | 999
15 | P/F Ampmeter size 96/96 mm direct 15-60 Amps 100 Amps as required (S.I.No:284 P41) |  |  | 1 | Nos | 1054 | Each. | Rs: | 1054
16 | P/F of Brass Bracket Fan 18" (good Quality) (S.I.No 236 P.No 34) |  |  | 1 | Nos | 2791 | Each | Rs: | 2791
17 | P/F: Brass Ceilling Fan 56 good quality (S.I.N 235 P.No 34 ) |  |  | 8 | Nos | 3185 | Each. | Rs: | 25480
| Amount of Schedule Items | [7 empty] | 205073
Add: / Deduct _________ %Above / Below of rates
Total (A)
PART" B" NON SCHEDULE ITEM.
1 | P/F Capsule light with reflector, holder and energy sever (L.Q.R) |  |  | 8 | Nos |  | Each. | Rs:
2 | P/F A.C or D.C Electric Bell 220 Volts ding dong condy (L.Q.R) |  |  | 3 | Nos |  | Each. | Rs:
3 | P/F Energy sever superior quality 24 watts i/c fixing existing holder etc complete (L.Q.R) |  |  | 30 | Nos |  | Each. | Rs:
4 | Providing and Fixing distribution board shutter (L.Q.R) |  |  | 2 | Sft |  | P.Sft | Rs:
5 | Fixing A.C Fan regulator on SW Board |  |  | 8 | Nos |  | Each. | Rs:
6 | Errection of ceilling fan |  |  | 8 | Nos |  | Each. | Rs:
Amount of Non-Schedule Items
|  |  | Total (A+B) Bid |  |  | Rs:
Note: Any variation in the description on item Quantites, Rates if
any as per Sanctioned Estimate will be accepted
| CONTRACTOR |  |  |  |  | EXECUTIVE ENGINEER
BUILDINGS DIVISION
SANGHAR.