## Part-B
*! Schedule -B (PART---'B') !*
NAME OF WORK: |  | Maintenance & Repair to Government Girls Middle School Bachal Chandio Taluka Qasimabad.
S # | DESCRIPTION | QUANTITY |  | RATE |  | UNIT | AMOUNT
1 | P/F squatting type white glazed earthenware W.C pan with front flush inlet & complete with i/c the cost of flushing internal fitting & flush pipe with bend & making requisite no: ofcistern with holes inwall plinth & floor for pipe connection &making good in C.C.1:2:4 a)W.C pan 23" & low level earthenware flush tank 3-gallons (i) with 4" dia C.I Trape.(S/I/NO:2/P-1)
|  | 5 | Nos: | @ | 5088.2 | Each | Rs: | 25441
2 | P/F 24"x16" Lav: Basin in white glazed earthenware complete with& i/c the cost of W.I or C.I cantilever brackets 6 inches built into wall plinth white in 2-coats after a primary coat of led paint a pair of 1/2 " dia brass chain 1-1/4" dia malleable iron of C.P brass trape m,aelleable iron or brass union & making requiatei nos: of holes in wall & plinth &for pipe connection & making good in C.C 1:2:4.(standard Patterns) (S.I.NO:12/P-4)
|  | 1 | Nos: | @ | 4694.8 | Each | Rs: | 4695
3 | Add extra for labour for P/Fixing of earthenware PEDESTAL white or coloured glazed .(standard Patterns)(S.I.NO: 9/P-3)
|  | 1 | Nos: | @ | 938.47 | Each | Rs: | 938
5 | Providing Chambers (15"x19") (inside dimension)x24" deep for house meter with 6" thick C.C 1:3:6 block set on 1:6 cement mortor 6" thicvk C.C 1:4:8 in foundation 1/2" thick cement plaster 1:3 to all inside wall surfsace & top 1" thick C.C 1:2:4 flooring complete with hinges cast iron cover & frame 15"x9" (inside) clear opening (wt: 1 Qr) etc fixedin 1:2:4 i/curing excavated back filling & disposal of surplus earth etc complete .(S.I.NO: 4/P-20)
|  | 4 | Nos: | @ | 4905.67 | Each | Rs: | 19623
6 | P/Fixing Long-Bib-Cock of supperior quality with C.P head 1/2" dia.(S.I.NO13/P19)
|  | 10 | Nos: | @ | 1109.46 | Each | Rs: | 11095
7 | Concealed C.P fittings of Superior quality fortiles Bath Rooms (a) S/Fixing cancealed stop cock of superior quality with C.P head 1/2" dia.(S.I.NO11-a/P18)
|  | 8 | Nos: | @ | 478.25 | Each | Rs: | 3826
8 | P/Fixing HANDLE VALVES (CHINA). (S.I.NO:5/P-17)
| 3/4" dia | 6 | Nos: | @ | 258.6 | Each | Rs: | 1504
9 | Proviuding G.I.Pipes specials & clamps etc i/c fixing cutting & fitting complete with & i/c the cost of breaking through wall & roof making good etc painting 2-coats after cleaning the pipe with white zink paint with pigment to match the colour of the building & testing water to a pressure head of 200 ft: & handling. (S.I.NO:1/P-12)
a | 1/2" DIA | 80 | Rft | @ | 73.21 | P.Rft | Rs: | 5857
b | 3/4" DIA | 150 | Rft | @ | 95.79 | P.Rft | Rs: | 14369
10 | P/Laying PVC pressure pipes of class "C" (equivalent make) fixing in trench i/c cutting fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 91.5 meter or 300 ft..(S.I.NO:2/P-22)
| 6" DIA | 80 | Rft | @ | 370 | P.Rft | Rs: | 29600
[6 empty] | Total:- | Rs: | 116948
Non Schedule Item
1 | P/Fixing Water Pumping Set 1/ 2-H.P Mono-Block Single-Phase 220 Volts with 1"x1-1/4" suction & delivery 50 ft: head i/c making C.C.1:3:6 plateform of required size & fixing with nuts & bolts (local made) (R.A)
|  | 1 | Nos: | @ | 14417.7 | Each | Rs: | 14417.7
2 | P/Fixing UPVC Soil and vent Pipe (R.A)
| 3" DIA | 80 | Rft | @ | 105.93 | P.Rft | Rs: | 8474
4 | P/Fixing UPVC Plaw Bend (R.A)
|  | 6 | Nos: | @ | 388.74 | Each | Rs: | 2332
0 | P/Fixing UPVC Tee (R.A)
|  | 5 | Nos: | @ | 479.82 | Each | Rs: | 2399
[6 empty] | Total:- | Rs: | 27622.7
[6 empty] | G.Total:- | Rs: | 144571
`
DISTRICT OFFICER,
EDUCATI ON WORKS (W&S),
HYDERABAD.
DEPUTY DISTRICT OFFICER,
EDUCATION WORKS (W&S),
CITY HYDERABAD..
SUB-ENGINEER
EDUCATION WORKS (W&S),
HYDERABAD CITY.
DISTRICT OFFICER,
EDUCATI ON WORKS (W&S),
HYDERABAD.
DEPUTY DISTRICT OFFICER,
EDUCATION WORKS (W&S),
CITY HYDERABAD..
SUB-ENGINEER
EDUCATION WORKS (W&S),
HYDERABAD CITY.

## Schedule-B
*! Schedule-B !*
NAME OF WORK: |  | Maintenance & Repair to Government Girls Middle School Bachal Chandio Taluka Qasimabad.
S # | DESCRIPTION |  | QUANTITY |  | RATE |  | UNIT | AMOUNT
1 | Dismantling cement concrete plain 1:3:6.(S.I.NO:19(b)/P-10)
|  |  |  | 32 | @ | 1306.8 | % Cft | Rs. | 418.176
2 | S/Filling sand under floor & plugging in wells.(S.I.NO:29/P-25)
|  |  |  | 708 | @ | 1141.25 | % Cft | Rs. | 8080.05
3 | Cement concrete brick or stone ballaste 1 1/2" to 2" guage ratio 1:4:8 (S.I.NO:4/ (b) P-14)
|  |  |  | 303 | @ | 9416.28 | % Cft | Rs. | 28531.3284
4 | Dismantling brick work in lime or cement mortor (S.I.NO:13/P-10)
|  |  |  | 27 | @ | 1286.63 | % Cft | Rs. | 347.3901
5 | R.C.C work i/c all labour and material except the cost of steel reinforcement for cement concrete i/c cutting bending which will be paid separately .This ratel also i/call kinds of moulds liftinbg shuttering curing rendering infinishing the exposed surface a) R.C.C work in roof slab beams coloumns raft lintels & other structural membors laid in situ in poistion complete ratio 1:2:4.(S.I.NO: 6/P-16)
|  |  |  | 64 | @ | 337 | P.Cft | Rs. | 21568
6 | Fabrication of mild steel reinforcement for bending cutting binding & laying making joints & fastening i/c cost of binding wire & also i/c removal of rust from bars.(S.I.NO.7/P-19)
|  |  |  | 2.85 | @ | 5001.7 | P.Cwt | Rs. | 14254.845
7 | R.C.C Spout i/c fixing in position of 2-1/2"x6"x5" (S.I.NO:14/P-17)
|  |  |  | 6 | @ | 261.25 | Each | Rs. | 1567.5
8 | Two coat of bitumen laid hot using 34lbs for % Sft over roof and blinded with cement sand @ one Cft per % Sft (S.I No. 13/P- 34)
|  |  |  | 4060 | @ | 1887.4 | % Sft | Rs. | 76628.44
9 | P/L 3" Thick TOPPING cement concrete (1:2:4) i/c surface finshuing &divising into pannels.(S.I.NO:16 /P-41 )
|  |  |  | 598 | @ | 4411.82 | % Sft | Rs. | 26382.6836
10 | Pacca brick work in G,FLOOR in i/c stricking of joints in cement sand mortor ratio 1:6. (S.I.NO5(I) (e)/P-20)
|  |  |  | 61 | @ | 12346.65 | % Cft | Rs. | 7531.4565
11 | Cement plaster 1: 6 upto 20" hiehgt 1/2" thick (S.I No.13 /P-51)
|  |  |  | 194 | @ | 2206.6 | % Sft | Rs. | 4280.804
12 | Cement plaster 1: 4 upto 20" hiehgt 1/2" thick (S.I No.13 /P-51)
|  |  |  | 194 | @ | 2197.52 | % Sft | Rs. | 4263.1888
13 | Applying floating coat of cement 1/32" thick. (S.I.NO: 14/P-58)
|  |  |  | 197 | @ | 1029.05 | % Sft | Rs. | 2027.2285
14 | P/F G.I Expanded metal 3/32 (20-gauge) fixed to chowkhats.(S.I.NO:67(b)/P-65).
|  |  |  | 197 | @ | 60.43 | P.Sft | Rs. | 11904.71
15 | Cement plaster 1: 3 upto 20" hiehgt 3/4" thick (S.I No.67(b) /P-51)
|  |  |  | 197 | @ | 2795.3 | % Sft | Rs. | 5506.741
16 | P/F G.I Frames / chowkats of size 7" x2" or 4-1/2"x3" for Door& windows using 20-guage G.I sheets I./C walded hings and fixing at site with neccesary hold fasts, filling with cement sand sulury of ratio 1:6 and reparing the james. The cost of also I/C all carage tools and plants used in making and fixing. (S.I.NO:28/P-92).
|  |  |  | 81 | @ | 228.9 | P.Rft | Rs. | 18540.9
17 | First class deodar wood wrought joinery in doors & winbdows etc fixed in posoition i/c chowkhat holds fasts hinghs iron tower bolts cleats handlkes cords with hooks etc.Deodar wood panelled or panlelled glaszed or fully glazed 1-3/4" thick.(S.I.NO 07 P/-57)
|  |  |  | 96 | @ | 902.93 | P.Rft | Rs. | 86681.28
18 | Laying floor of approved white glazed tiles 1/4" thick in white cement 1:2 over 3/4" thick cement mortar 1:2 complete (S.I No.24/P-42)
|  |  |  | 110 | @ | 27678.86 | % Sft | Rs. | 30446.746
19 | White glazed tiles 1/4" thick dado jointed in white cement & laid over 1:2 cement sand motar 3/4" thick i/c finishing (S.I No. 37/P-44)
|  |  |  | 330 | @ | 28253.61 | % Sft | Rs. | 93236.913
20 | Distembering 2-coat (S.I No. 24 /P-59)
|  |  |  | 2718 | @ | 1043.6 | %Sft | Rs. | 28365.048
21 | Painting NEW surface painting of Door & Window any type i/c edge (3-coats) (S.I.NO: 5/P-68)
|  |  |  | 211 | @ | 2116.41 | %Sft | Rs. | 4465.6251
22 | Painting OLD surface painting guard bars, gates, iron bars, gretting, railing i/c standard braces etc. & similar open work (2-coat) (S.I. No: 4/P-68)
|  |  |  | 168 | @ | 674.6 | %Sft | Rs. | 1133.328
[6 empty] | Total:- |  | Rs. | 476162.382
T.A.Zaidi