## WS & SW
Schedule of Prices
REPAIR AND MAINTENANCE @ GOVERNMENT BOYS SECONDARY SCHOOL JUNIOR MODEL SADDAR TOWN KARACHI
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 0 | Nos | 5772.8 | Each | Rs. | 0
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 0 | Nos | 11477.4 | Each | Rs. | 0
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 3 | Nos | 4928 | Each | Rs. | 14784
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 3 | Nos | 2533.47 | Each | Rs. | 7600
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 5 | Nos | 2042.43 | Each | Rs. | 10212
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 5 | Nos | 1412.95 | Each | Rs. | 7065
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 5 | Nos | 2376 | Each | Rs. | 11880
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 4 | Nos | 4905.67 | Each | Rs. | 19623
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 1 | Nos | 37505.42 | Each | Rs. | 37505
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 5 | Nos | 1071.4 | Each | Rs. | 5357
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 5 | Nos | 14748 | Each | Rs. | 73740
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 0 | Nos | 169.4 | Each | Rs. | 0
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 1 | Nos | 3179 | Each | Rs. | 3179
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 10 | Nos | 509.74 | Each | Rs. | 5097
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 5 | Nos | 1109.46 | Each | Rs. | 5547
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 100 | Rft | 414 | P.Rft | Rs. | 41400
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 70 | Rft | 516 | P.Rft | Rs. | 36120
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 170 | Rft | 363.35 | P.Rft | Rs. | 61770
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 170 | Rft | 102 | P.Rft | Rs. | 17340
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 1 | Nos | 26246.55 | Each | Rs. | 26247
[5 empty] | Total:. | Rs. | 408142
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 205 | Rft | 290 | P.Rft | Rs. | 59450
| 6" dia | 100 | Rft | 434 | P.Rft | Rs. | 43400
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 8 | Nos | 2449.37 | Each | Rs. | 19595
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 15 | Nos | 395.34 | Each | Rs. | 5930
| 6" dia | 10 | Nos | 750 | Each | Rs. | 7500
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 15 | Nos | 292 | Each | Rs. | 4380
| 6" dia | 10 | Nos | 690 | Each | Rs. | 6900
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 9 | Nos | 945.78 | Each | Rs. | 8512
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 573.3 | Each | Rs. | 5733
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 690 | Each | Rs. | 6900
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 10 | Nos | 578 | Each | Rs. | 5780
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 303 | Each | Rs. | 1515
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 6 | Nos | 800 | Each | Rs. | 4800
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 50 | Rft | 45 | P.Rft | Rs. | 2250
| 3/4" dia | 100 | Rft | 59 | P.Rft | Rs. | 5900
| 1" dia | 150 | Rft | 92 | P.Rft | Rs. | 13800
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 38 | Each | Rs. | 190
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 55 | Each | Rs. | 275
| 3/4" dia | 5 | Nos | 76 | Each | Rs. | 380
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 1 | Nos | 350 | Each | Rs. | 350
| 3/4" dia | 1 | Nos | 381 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471 | Each | Rs. | 471
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 2 | Nos | 109 | Each | Rs. | 218
| 3/4" dia | 2 | Nos | 136 | Each | Rs. | 272
| 1" dia | 2 | Nos | 160 | Each | Rs. | 320
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 2 | Nos | 61.7 | Each | Rs. | 123
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 2 | Nos | 260.7 | Each | Rs. | 521
| 1" dia | 3 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 5.83 | Each | Rs. | 58
| 3/4" dia | 10 | Nos | 10.56 | Each | Rs. | 106
| 1" dia | 10 | Nos | 10.36 | Each | Rs. | 104
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 225.06 | Each | Rs. | 450
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 30 | Nos | 69.03 | Each | Rs. | 2071
| 3/4" dia | 30 | Nos | 89.65 | Each | Rs. | 2690
| 1" dia | 30 | Nos | 154.66 | Each | Rs. | 4640
|  |  | Cost of Non Sch: Items |  |  | Rs. | 225260
__________%above/below
( CONTRACTOR SIGNATURE )
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )

## SCH OF PRICES
Schedule of Prices
REPAIR AND MAINTENANCE @ GOVERNMENT BOYS SECONDARY SCHOOL JUNIOR MODEL SADDAR TOWN KARACHI
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | Cost of Scheduel items.
1 | Dismantling c.c.plain 1:2:4.(P/10-19,C)
| 1423.54 | Cft |  | 3327.5 |  | %Cft | Rs. | 47368
2 | Scraping white wash or colour wash.
| 8448.97 | Sft |  | 75.65 |  | %Sft | Rs. | 6392
3 | Scraping ordinary distemper oil bound distemper or paint on walls (P/13-54,b)
| 47760.64 | Sft |  | 226.88 |  | %Sft | Rs. | 108359
4 | Applying chemical polishing on existing mosic / Marble flooring / dado i/c cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement (P/49-70)
| 11946.92 | Sft |  | 36.6 |  | P.Sft | Rs. | 437257
5 | Erection and removal of centering for R.C.C or plain c.c.work of deodar wood (2nd class) for partal wood (b) vertical (P/18-19,b-ii)
| 407.52 | Sft |  | 3127.41 |  | %Sft | Rs. | 12745
6 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:3:6 (P/16-5-h)
| 119.52 | Cft |  | 12595 |  | %Cft | Rs. | 15054
7 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:4:8 (P/16-5-i)
| 2274.77 | Cft |  | 11288.75 |  | %Cft | Rs. | 256793
8 | First class deodar wood wrought joinery in doors & windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts chocks cleats handles cords with hook 1-3/4" thick (Only shutters) (P/58-7,).
| 80.8 | Sft |  | 902.93 |  | P.Sft | Rs. | 72957
9 | Scraping & Brushing old paint from wood work (P/68-2)
| 2196 | Sft |  | 151.25 |  | %Sft | Rs. | 3321
10 | Scraping and brushing old paint from metal surface (P/68-3)
| 2353.84 | Sft |  | 605 |  | %Sft | Rs. | 14241
11 | M/F Notice board made with cement sand on walls (P/95-1)
| 336 | Sft |  | 58.11 |  | P.Sft | Rs. | 19525
12 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 30 | Nos |  | 261.25 |  | Each | Rs. | 7838
13 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P/42-16,c)
| 5677.58 | Sft |  | 3275.5 |  | %Sft | Rs. | 185969
14 | Two coat of bitumen laid hout using 34 lbs %Sft over roof and blinded with sand at one Cft per %Sft (P/35-13).
| 5677.58 | Sft |  | 1887.4 |  | %Sft | Rs. | 107159
15 | P/L 3" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P/42-16,d)
| 2876.6 | Sft |  | 4411.82 |  | %Sft | Rs. | 126910
16 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 161.6 | Sft |  | 2116.41 |  | %Sft | Rs. | 3420
17 | Painting doors & windows any type old surface three coats.(P/68-4,c)
| 2196 | Sft |  | 976.58 |  | %Sft | Rs. | 21446
18 | Painting New surface Preparing surface and painting corrugated surface, patent roofing etc 3 coats (P/69-5)
| 240 | Sft |  | 2116.41 |  | %Sft | Rs. | 5079
19 | Painting new surface Preparing surface and painting guard bars, gates of iron bars, grating railings (i/c standards braces etc) three coats. (P/70-5,d)
| 2353.84 | Sft |  | 1270.83 |  | %Sft | Rs. | 29913
20 | Distempring three coats.(P/54-24,c)
| 8448.97 | Sft |  | 1079.65 |  | %Sft | Rs. | 91219
21 | Preparing the surface and painting with plastic emulsion paint of approved make i/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of pairs three coats (P/55-40,A+B)
| 47760.64 | Sft |  | 2237.95 |  | %Sft | Rs. | 1068859
22 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk / plastrer of paris and then painting with weather coat of approved make three coats (P/56-38,A+B)
| 2637.96 | Sft |  | 2567.95 |  | %Sft | Rs. | 67741
23 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 1261 | Rft |  | 49.97 |  | P.Rft | Rs. | 63012
24 | Providing Anti Termmite treatment by spraying / sprinking / spreading Neptachlar 0.5% Emulsion as an over all pre construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer Incharge (P/109-92)
| 10956.48 | Sft |  | 9.74 |  | P.Sft | Rs. | 106716
25 | P/F 3/8" thick marble tiles of approved quality & colour shade size 8" x 4/6" x 4" in dado skirting and facing removal / tucking of existing plaster surface etc over 1/2" thick base of cement mortar 1:3 setting mortar base i/c filling the joints and washing the tiles with white cement slurry, currnt, finishing cleaning and polishing etc complete (for New work) (P/49-68-i).
| 112 | Sft |  | 186.04 |  | P.Sft | Rs. | 20836
26 | S/F in position iron/steel grill 3/4"x1/4" size flatiiron of approved design i/c painting 3 coats etc complete (weight not be less than 3.7 Lbs/sq. ft) .(P/93-26).
| 120 | Sft |  | 180.5 |  | P.Sft | Rs. | 21660
27 | P/F in position door and windows and ventilator for first class deodar wood frames 1-1/2" thick and teak wood ply shutters of first class deodar wood skelton (Solid) stiled and ply wood stiled and rails core of Partal wood and teak ply wood ( 3 ply) on both sides i/c hold fasts hinges al-drops iron Tower Bolts handles cleats with cords etc complete (Only shutter)(P/64-51)
| 308 | Sft |  | 875.13 |  | P.Sft | Rs. | 269540
[6 empty] | Total | Rs. | 3191329
__________%above/below
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
28 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 1898 | Sft |  | 310.43 |  | P.Sft | Rs. | 589196
29 | Removing of dismantling existing warm out concrete to damaged because of errestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand reparing the same for total removal and cleaning of rust and applying required No of coats of binding against the directed of Engineer / Incharge (R.A).
| 719 | Sft |  | 35.89 |  | P.Sft | Rs. | 25805
30 | Treatment of fragmented and decayed c.c.St: members with cement sand mortar 1:3 nearer mix in layer of 2"x2/12 thick after applying suitable slurry of bending against water and cement 1:3 between now and welf surface could be proced finly on the prepared and primary usded fully completed. This rate also i/c all kinds of tools and planted req: for proper application & material complete of andisture along with arrangment for supporting the st: members (R.A).
| 719 | Sft |  | 137.77 |  | P.Sft | Rs. | 99057
31 | Providing earth at site passing 4 sieve and plasticity index less than 6 watering by adding optimum moisture content, compacting up to 95% of relative dry density by using mechanical means, under floors & other desired areas as per approved section (Rate includes the cost of earth) (R.A).
| 3715.94 | Cft |  | 19.05 |  | P.Cft | Rs. | 70789
32 | P/L porcelene tiles glazed and polished 24"x24"x1/4" on floor or wall facing in required colour and pattern in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc complete i/c cutting tiles to proper profile (R.A).
| 2551.94 | Sft |  | 323 |  | P.Sft | Rs. | 824277
33 | Removing dabries for 20 miles.
| 1423.54 | Cft |  | 1227.8 |  | %Cft | Rs. | 17478
[6 empty] | Total | Rs. | 1626602
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )

## SUI GAS SCH
| PART- C SUI GAS :. |  | Schedule of Prices
REPAIR AND MAINTENANCE @ GOVERNMENT BOYS SECONDARY SCHOOL JUNIOR MODEL SADDAR TOWN KARACHI
1 | Providing G.I.pipe specials, and clamps etc, including fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc, painting two coats after cleaniang the pipe etc with white zink paintg with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling (P/12-1.,i,iv)
2"dia | 300 | Rft |  | 233 | P.Rft | Rs. | 69900
1/2"di | 150 | Rft |  | 73.21 | P.Rft | Rs. | 10981
[6 empty] | Total Rs. | 80881
__________%above/below
( CONTRACTOR SIGNATURE )
2 | S/I manifold Brass Union Cocks of approved patterns and make suitable for Gas line also i/c the cost of testing complete in all respect (3/4" dia) (R.A).
| 15 | Nos |  | 384 | Each | Rs. | 5760
3 | S/I lock wing pattern plug type meter lock cock complete of approved quality/ make complete in all respect as Directed by Engineer Incharge (R.A).
| 10 | Nos |  | 934 | Each | Rs. | 9340
4 | S/F Bunsen Burner of approved make testing with required pressure complete in all respect (R.A).
| 15 | Nos |  | 417 | Each | Rs. | 6255
5 | P/F Lab cock of standard make approved quality i/c testing with required pressure complete in all respect (R.A).
| 15 | Nos |  | 527 | Each | Rs. | 7905
6 | P/F Single Gas Stove 12" x 12" of approved quality/make complete in all respect as directed by Engineer Incharge (R.A).
| 10 | Nos |  | 917 | Each | Rs. | 9170
7 | Making required Sui Gas Point for fixing of Bunsen Burner, Gas Stove etc i/c the cost of required fitting fixture and special connection Rubber pipe of required size and length (where reqauired) making Hoes in tables etc complete in all respect as directed by Engineer Incharge (R.A)
| 10 | Nos |  | 182 | Each | Rs. | 1820
[6 empty] | Total Rs. | 40250
| ______%above/below |  |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
__________%above/below
( CONTRACTOR SIGNATURE )