## WS & SW
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS PRIMARY SCHOOL ABDULLAH SHAH GHAZI SHAH RASOOL COLONY SADDAR TOWN KARACHI.
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 3 | Nos | 5772.8 | Each | Rs. | 17318
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 1 | Nos | 11477.4 | Each | Rs. | 11477
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 2 | Nos | 4928 | Each | Rs. | 9856
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 2 | Nos | 2533.47 | Each | Rs. | 5067
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 2 | Nos | 2042.43 | Each | Rs. | 4085
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 2 | Nos | 1412.95 | Each | Rs. | 2826
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2376 | Each | Rs. | 4752
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 1 | Nos | 4905.67 | Each | Rs. | 4906
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 1 | Nos | 37505.42 | Each | Rs. | 37505
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 1 | Nos | 1071.4 | Each | Rs. | 1071
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 1 | Nos | 14748 | Each | Rs. | 14748
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 3 | Nos | 169.4 | Each | Rs. | 508
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 1 | Nos | 3179 | Each | Rs. | 3179
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 5 | Nos | 509.74 | Each | Rs. | 2549
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 5 | Nos | 1109.46 | Each | Rs. | 5547
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 100 | Rft | 414 | P.Rft | Rs. | 41400
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 40 | Rft | 516 | P.Rft | Rs. | 20640
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 140 | Rft | 363.35 | P.Rft | Rs. | 50869
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 140 | Rft | 102 | P.Rft | Rs. | 14280
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 1 | Nos | 26246.55 | Each | Rs. | 26247
[5 empty] | Total:. | Rs. | 302506
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 150 | Rft | 290 | P.Rft | Rs. | 43500
| 6" dia | 37 | Rft | 434 | P.Rft | Rs. | 16058
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 8 | Nos | 2449.37 | Each | Rs. | 19595
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 6 | Nos | 395.34 | Each | Rs. | 2372
| 6" dia | 5 | Nos | 750 | Each | Rs. | 3750
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 292 | Each | Rs. | 1460
| 6" dia | 5 | Nos | 690 | Each | Rs. | 3450
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 945.78 | Each | Rs. | 4729
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 690 | Each | Rs. | 3450
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 578 | Each | Rs. | 2890
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 2 | Nos | 303 | Each | Rs. | 606
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 2 | Nos | 800 | Each | Rs. | 1600
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 0 | Rft | 45 | P.Rft | Rs. | 0
| 3/4" dia | 50 | Rft | 59 | P.Rft | Rs. | 2950
| 1" dia | 50 | Rft | 92 | P.Rft | Rs. | 4600
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 0 | Nos | 38 | Each | Rs. | 0
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 0 | Nos | 55 | Each | Rs. | 0
| 3/4" dia | 5 | Nos | 76 | Each | Rs. | 380
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 0 | Nos | 350 | Each | Rs. | 0
| 3/4" dia | 1 | Nos | 381 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471 | Each | Rs. | 471
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 0 | Nos | 109 | Each | Rs. | 0
| 3/4" dia | 2 | Nos | 136 | Each | Rs. | 272
| 1" dia | 2 | Nos | 160 | Each | Rs. | 320
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 0 | Nos | 44.99 | Each | Rs. | 0
| 3/4" dia | 2 | Nos | 61.7 | Each | Rs. | 123
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 0 | Nos | 244.75 | Each | Rs. | 0
| 3/4" dia | 2 | Nos | 260.7 | Each | Rs. | 521
| 1" dia | 3 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 0 | Nos | 64.34 | Each | Rs. | 0
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 0 | Nos | 5.83 | Each | Rs. | 0
| 3/4" dia | 10 | Nos | 10.56 | Each | Rs. | 106
| 1" dia | 10 | Nos | 10.36 | Each | Rs. | 104
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 0 | Nos | 225.06 | Each | Rs. | 0
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 0 | Nos | 69.03 | Each | Rs. | 0
| 3/4" dia | 10 | Nos | 89.65 | Each | Rs. | 897
| 1" dia | 10 | Nos | 154.66 | Each | Rs. | 1547
|  |  | Cost of Non Sch: Items |  |  | Rs. | 127875
CERTIFICATE
It is certified that scope of work taken up in the cost estimate of the scheme namely " REHABILITATION & PROVISION OF MISSING FACILITIES IN EXISTING COLLEGES IN KARACHI DIVISION AT GOVT COLLEGE FOR COMMERCE & ECONOMICS NEAR P.I.D.C.HOUSE SADDAR TOWN KARACHI (FIRST FLOOR) (ADP NO# 433 OF 2016-2017 PROGRAMME) is essentially required at site and the same scope of work is not included nor any payment is made is any other on going / new scheme under Provincial ADP, District ADP, MNA/MPA Priority Programme ETC.
__________%above/below
( CONTRACTOR SIGNATURE )
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )

## sch of prices
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS PRIMARY SCHOOL ABDULLAH SHAH GHAZI SHAH RASOOL COLONY SADDAR TOWN KARACHI.
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | COST OF SCHEDULE ITEMS
1 | Dismantlaing glazed or encaustic tiles etc (P/13-55)
| 3688 | Sft |  | 786.5 |  | %Sft |  | Rs. | 29006
2 | Dismantling c.c.plain 1:2:4.(P/10-19,C)
| 973.08 | Cft |  | 3327.5 |  | %Cft |  | Rs. | 32379
3 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:3:6 (P/16-5-h)
| 973.08 | Cft |  | 12595 |  | %Cft |  | Rs. | 122559
4 | Scraping white wash or colour wash.
| 4249.25 | Sft |  | 75.65 |  | %Sft |  | Rs. | 3215
5 | Scraping ordinary distemper oil bound distemper or paint on walls (P/13-54,b)
| 15630 | Sft |  | 226.88 |  | %Sft |  | Rs. | 35461
6 | Scraping & Brushing old paint from wood work (P/68-2)
| 56 | Sft |  | 151.25 |  | %Sft |  | Rs. | 85
7 | Scraping and brushing old paint from metal surface (P/68-3)
| 1120 | Sft |  | 605 |  | %Sft |  | Rs. | 6776
8 | M/F Notice board made with cement sand on walls (P/95-1)
| 336 | Sft |  | 58.11 |  | P.Sft |  | Rs. | 19525
9 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 10 | Nos |  | 261.25 |  | Each |  | Rs. | 2613
10 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P/42-16,c)
| 2036 | Sft |  | 3275.5 |  | %Sft |  | Rs. | 66689
11 | Two coat of bitumen laid hout using 34 lbs %Sft over roof and blinded with sand at one Cft per %Sft (P/35-13).
| 2036 | Sft |  | 1887.4 |  | %Sft |  | Rs. | 38427
12 | P/L 3" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P/42-16,d)
| 210 | Sft |  | 4411.82 |  | %Sft |  | Rs. | 9265
13 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 448 | Sft |  | 2116.41 |  | %Sft |  | Rs. | 9482
14 | Painting doors & windows any type old surface three coats.(P/68-4,c)
| 56 | Sft |  | 976.58 |  | %Sft |  | Rs. | 547
15 | Painting New surface Preparing surface and painting corrugated surface, patent roofing etc 3 coats (P/69-5)
| 6252 | Sft |  | 2116.41 |  | %Sft |  | Rs. | 132318
16 | Painting new surface Preparing surface and painting guard bars, gates of iron bars, grating railings (i/c standards braces etc) three coats. (P/70-5,d)
| 1120 | Sft |  | 1270.83 |  | %Sft |  | Rs. | 14233
17 | Distempring three coats.(P/54-24,c)
| 4249.25 | Sft |  | 1079.65 |  | %Sft |  | Rs. | 45877
18 | Preparing the surface and painting with plastic emulsion paint of approved make i/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of pairs three coats (P/55-40,A+B)
| 9378 | Sft |  | 2237.95 |  | %Sft |  | Rs. | 209875
19 | Painting New surface Preparing surface and painting corrugated surface, patent roofing etc 3 coats (P/69-5)
| 6252 | Sft |  | 2116.41 |  | %Sft |  | Rs. | 132318
20 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 191 | Sft |  | 49.97 |  | P.Rft |  | Rs. | 9544
21 | Providing Anti Termmite treatment by spraying / sprinking / spreading Neptachlar 0.5% Emulsion as an over all pre construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer Incharge (P/109-92)
| 1299.45 | Sft |  | 121 |  | %Sft |  | Rs. | 1572
23 | Damp Proof course with cement sand Ratio (1:2) mixed with dampo (b) 3/4" thick (P/107-69,b)
| 464 | Sft |  | 2401.58 |  | %Sft |  | Rs. | 11143
24 | Extra labour for each storey above ground floor mosaic conglomerate or tiles stone and wooden floor (for 2nd floor) (P/42-18)
| 2036 | Sft |  | 453.76 |  | %Sft |  | Rs. | 9239
25 | Extra labour for two coat of bitumen 23% of composite rate.(P/33-1, Remarks)
| 2036 | Sft |  | 434.1 |  | %Sft |  | Rs. | 8838
26 | Extra labour for lifting of steel above first floor for every additional floor (For 2nd floor roof) (P/19-29)
| 18.32 | Cwt |  | 302.5 |  | P.Cwt |  | Rs. | 5542
27 | S/F in position iron/steel grill 3/4"x1/4" size flatiiron of approved design i/c painting 3 coats etc complete (weight not be less than 3.7 Lbs/sq. ft) .(P/93-26).
| 610 | Sft |  | 180.5 |  | P.Sft |  | Rs. | 110105
28 | Expanded metal 1/2" to 3/4" mesh 16 gauze fixed in chowkats with 1 cover moulding and screws including teak wood frame 2" x 2" (P/58-6)
| 170 | Sft |  | 334.24 |  | P.Sft |  | Rs. | 56821
29 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/17-8,a).
| 18.32 | Cwt |  | 5001.7 |  | P.Cwt |  | Rs. | 91631
30 | P/F in position door and windows and ventilator for first class deodar wood frames 1-1/2" thick and teak wood ply shutters of first class deodar wood skelton (Solid) stiled and ply wood stiled and rails core of Partal wood and teak ply wood ( 3 ply) on both sides i/c hold fasts hinges al-drops iron Tower Bolts handles cleats with cords etc complete (Only shutter)(P/64-51)
| 224 | Sft |  | 875.13 |  | P.Sft |  | Rs. | 196029
31 | S/F in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) deluxe model (Bronze) (P/108-84,b)
| 122 | Sft |  | 1647.69 |  | P.Sft |  | Rs. | 201018
32 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 565 | Sft |  | 28299.3 |  | %Sft |  | Rs. | 159891
33 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43.25).
| 255.45 | Sft |  | 27747.06 |  | %Sft |  | Rs. | 70880
[6 empty] | Total Rs. |  |  | 1842903
| SUB ENGINEER |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
34 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 318 | Sft |  | 310.43 |  | P.Sft |  | Rs. | 98717
35 | Removing of dismantling existing warm out concrete to damaged because of errestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand reparing the same for total removal and cleaning of rust and applying required No of coats of binding against the directed of Engineer / Incharge (R.A).
| 360 | Sft |  | 35.89 |  | P.Sft |  | Rs. | 12920
36 | Treatment of fragmented and decayed c.c.St: members with cement sand mortar 1:3 nearer mix in layer of 2"x2/12 thick after applying suitable slurry of bending against water and cement 1:3 between now and welf surface could be proced finly on the prepared and primary usded fully completed. This rate also i/c all kinds of tools and planted req: for proper application & material complete of andisture along with arrangment for supporting the st: members (R.A).
| 360 | Sft |  | 137.77 |  | P.Sft |  | Rs. | 49597
37 | P/L porcelene tiles glazed and polished 24"x24"x1/4" on floor or wall facing in required colour and pattern in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc complete i/c cutting tiles to proper profile (R.A).
| 3688 | Sft |  | 323 |  | P.Sft |  | Rs. | 1191224
38 | Removing dabries for 20 miles.
| 4661.08 | Cft |  | 1227.8 |  | %Cft |  | Rs. | 57229
[6 empty] | Total Rs. |  |  | 1409687
| SUB ENGINEER |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )