## WS&SW
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS HIGHER SECONDARY SCHOOL C.M.S.NISHTER ROAD SADDAR TOWN KARACHI
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 3 | Nos | 5772.8 | Each | Rs. | 17318
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 1 | Nos | 11477.4 | Each | Rs. | 11477
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 2 | Nos | 4928 | Each | Rs. | 9856
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 2 | Nos | 2533.47 | Each | Rs. | 5067
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 2 | Nos | 2042.43 | Each | Rs. | 4085
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 2 | Nos | 1412.95 | Each | Rs. | 2826
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2376 | Each | Rs. | 4752
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 2 | Nos | 4905.67 | Each | Rs. | 9811
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (250 gallons).(P/21-3,a)
|  | 1 | Nos | 21989.61 | Each | Rs. | 21990
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 1 | Nos | 1071.4 | Each | Rs. | 1071
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 3 | Nos | 14748 | Each | Rs. | 44244
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 2 | Nos | 169.4 | Each | Rs. | 339
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 0 | Nos | 3179 | Each | Rs. | 0
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 5 | Nos | 509.74 | Each | Rs. | 2549
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 5 | Nos | 1109.46 | Each | Rs. | 5547
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 0 | Rft | 414 | P.Rft | Rs. | 0
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 0 | Rft | 516 | P.Rft | Rs. | 0
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 0 | Rft | 363.35 | P.Rft | Rs. | 0
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 0 | Rft | 102 | P.Rft | Rs. | 0
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 0 | Nos | 26246.55 | Each | Rs. | 0
[5 empty] | Total:. | Rs. | 164608
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 70 | Rft | 290 | P.Rft | Rs. | 20300
| 6" dia | 24 | Rft | 434 | P.Rft | Rs. | 10416
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 1 | Nos | 2449.37 | Each | Rs. | 2449
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 5 | Nos | 395.34 | Each | Rs. | 1977
| 6" dia | 5 | Nos | 750 | Each | Rs. | 3750
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 292 | Each | Rs. | 1460
| 6" dia | 5 | Nos | 690 | Each | Rs. | 3450
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 945.78 | Each | Rs. | 4729
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 2 | Nos | 690 | Each | Rs. | 1380
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 2 | Nos | 578 | Each | Rs. | 1156
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 2 | Nos | 303 | Each | Rs. | 606
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 0 | Nos | 800 | Each | Rs. | 0
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 50 | Rft | 45 | P.Rft | Rs. | 2250
| 3/4" dia | 30 | Rft | 59 | P.Rft | Rs. | 1770
| 1" dia | 20 | Rft | 92 | P.Rft | Rs. | 1840
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 38 | Each | Rs. | 190
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 55 | Each | Rs. | 275
| 3/4" dia | 5 | Nos | 76 | Each | Rs. | 380
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 1 | Nos | 350 | Each | Rs. | 350
| 3/4" dia | 1 | Nos | 381 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471 | Each | Rs. | 471
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 2 | Nos | 109 | Each | Rs. | 218
| 3/4" dia | 2 | Nos | 136 | Each | Rs. | 272
| 1" dia | 2 | Nos | 160 | Each | Rs. | 320
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 2 | Nos | 61.7 | Each | Rs. | 123
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 2 | Nos | 260.7 | Each | Rs. | 521
| 1" dia | 1 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 5 | Nos | 5.83 | Each | Rs. | 29
| 3/4" dia | 5 | Nos | 10.56 | Each | Rs. | 53
| 1" dia | 5 | Nos | 10.36 | Each | Rs. | 52
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 225.06 | Each | Rs. | 450
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 5 | Nos | 69.03 | Each | Rs. | 345
| 3/4" dia | 5 | Nos | 89.65 | Each | Rs. | 448
| 1" dia | 5 | Nos | 154.66 | Each | Rs. | 773
|  |  | Cost of Non Sch: Items |  |  | Rs. | 75346
| __________%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )
CERTIFICATE
It is certified that scope of work taken up in the cost estimate of the scheme namely " REHABILITATION & PROVISION OF MISSING FACILITIES IN EXISTING COLLEGES IN KARACHI DIVISION AT GOVT COLLEGE FOR COMMERCE & ECONOMICS NEAR P.I.D.C.HOUSE SADDAR TOWN KARACHI (FIRST FLOOR) (ADP NO# 433 OF 2016-2017 PROGRAMME) is essentially required at site and the same scope of work is not included nor any payment is made is any other on going / new scheme under Provincial ADP, District ADP, MNA/MPA Priority Programme ETC.
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )

## sch of prices
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS HIGHER SECONDARY SCHOOL C.M.S.NISHTER ROAD SADDAR TOWN KARACHI
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | Cost of Schedule Items
1 | Dismantling c.c.plain 1:2:4.(P/10-19,C)
| 161 | Cft |  | 3327.5 |  | %Cft | Rs. | 5357
2 | Dismantling c.c.plain 1:4:8.(P/10-19,a)
| 161 | Cft |  | 1663.75 |  | %Cft | Rs. | 2679
3 | Excvation in foundation of building bridges and other structure i/c degbelling dressing refilling around structure with excvated earth watering and ramming lead upto 5 ft (b) ordinary soil (P/4-18,b).
| 644 | Cft |  | 3176.25 |  | %0Cft | Rs. | 2046
4 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:4:8 (P/16-5-i)
| 160.05 | Cft |  | 11288.75 |  | %Cft | Rs. | 18068
5 | P/L 1:3:6 c.c.solid block masonary & below in 6" thikness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-24)
| 478 | Cft |  | 15771.01 |  | %Cft | Rs. | 75385
6 | Erection and removal of vertical centering for R.C.C.or plain c.c.work for partal wood (ii) vertical) (P/18-19,b-ii)
| 29 | Sft |  | 3127.41 |  | %Sft | Rs. | 907
7 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:3:6 (P/15,5,h).
| 42 | Cft |  | 12595 |  | %Cft | Rs. | 5290
8 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,a-i).
| 193.07 | Cft |  | 337 |  | P.Cft | Rs. | 65065
9 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 .
| 283.5 | Sft |  | 3175.5 |  | %Sft | Rs. | 9003
10 | Two coat of bitumen laid hot using 34 lbs for %Sft over roof and blinded with sand at one cft per %Sft (P/35-13).
| 283.5 | Sft |  | 1887.4 |  | %Sft | Rs. | 5351
11 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary work) (P/52-11,d)
| 1981.5 | Sft |  | 3191.76 |  | %Sft | Rs. | 63245
12 | P/F in position, doors windows and ventilators of first class deodar wood frames, and 1-1/2" thick teak wood, ply shutters of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood and Teak Ply wood (3-ply) on both sides i/c hold fasts, hinges, iron tower bolts, handles and cleats with cord etc complete (P/65-57).(Only shutters)
| 91 | Sft |  | 811.73 |  | P.Sft | Rs. | 73867
13 | First class deodar wood wrought joinery doors & windows fixed in position i/c chowkets hold fasts hinges tower bolts chocks cleats handles cords with hook 1-3/4" thick (Only Shutters) (P/58-7,b)
| 150 | Sft |  | 902.93 |  | P.Sft | Rs. | 135440
14 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:2:4 (P/16,5,f).
| 27.71 | Cft |  | 14429.25 |  | %Cft | Rs. | 3998
15 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 590 | Sft |  | 28299.3 |  | %Sft | Rs. | 166966
16 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43-25).
| 163 | Sft |  | 27747.06 |  | %Sft | Rs. | 45228
17 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 137 | Rft |  | 49.97 |  | P.Rft | Rs. | 6846
18 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 212 | Sft |  | 2116.41 |  | %Sft | Rs. | 4487
19 | P/F 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirtin and facing removal / tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c fillin the joints and washing the tiles with white cement slurry, currint finishing, cleaning and polishing etc complete (ii) on old works (P/49-68-ii)
| 29 | Sft |  | 201.07 |  | P.Sft | Rs. | 5831
20 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 3 | Nos |  | 261.25 |  | Each | Rs. | 784
21 | Preparing the surface and painting with plastic emulsion paint of approved make i/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of pairs three coats (P/55-40,A+B)
| 826 | Sft |  | 2237.95 |  | %Sft | Rs. | 18485
22 | Distempring three coats.(P/54-24,C)
| 247 | Sft |  | 1079.65 |  | %Sft | Rs. | 2667
23 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 8.62 | Cwt |  | 5001.7 |  | P.Cwt | Rs. | 43115
24 | P/F G.I.frames / chowkhats of size 7" x 2" or 4-1/2" x 3" ifor door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (P/93-29)
| 83 | Rft |  | 228.9 |  | P.Rft | Rs. | 18999
25 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for windows using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-28).
| 35 | Rft |  | 240.5 |  | P.Rft | Rs. | 8418
[6 empty] | Total | Rs. | 787527
__________%above/below
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
26 | Removing dabries for 20 miles.
| 322 | Cft |  | 1227.8 |  | %Cft | Rs. | 3954
27 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 24 | Sft |  | 310.43 |  | P.Sft | Rs. | 7450
[6 empty] | Total | Rs. | 11404
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )