## WS & SW
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS SECONDARY SCHOOL QAMAR-UL-ISLAM PUNJAB COLONY SADDAR TOWN KARACHI.
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 4 | Nos | 5772.8 | Each | Rs. | 23091
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 1 | Nos | 11477.4 | Each | Rs. | 11477
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 4 | Nos | 4928 | Each | Rs. | 19712
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 4 | Nos | 2533.47 | Each | Rs. | 10134
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 4 | Nos | 2042.43 | Each | Rs. | 8170
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 1 | Nos | 1412.95 | Each | Rs. | 1413
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 1 | Nos | 2376 | Each | Rs. | 2376
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 3 | Nos | 4905.67 | Each | Rs. | 14717
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 1 | Nos | 37505.42 | Each | Rs. | 37505
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 5 | Nos | 1071.4 | Each | Rs. | 5357
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 3 | Nos | 14748 | Each | Rs. | 44244
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 5 | Nos | 169.4 | Each | Rs. | 847
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 1 | Nos | 3179 | Each | Rs. | 3179
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 10 | Nos | 509.74 | Each | Rs. | 5097
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 6 | Nos | 1109.46 | Each | Rs. | 6657
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 100 | Rft | 414 | P.Rft | Rs. | 41400
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 75 | Rft | 516 | P.Rft | Rs. | 38700
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 75 | Rft | 363.35 | P.Rft | Rs. | 27251
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 100 | Rft | 102 | P.Rft | Rs. | 10200
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 1 | Nos | 26246.55 | Each | Rs. | 26247
[5 empty] | Total:. | Rs. | 361450
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 200 | Rft | 290 | P.Rft | Rs. | 58000
| 6" dia | 78 | Rft | 434 | P.Rft | Rs. | 33852
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 10 | Nos | 2449.37 | Each | Rs. | 24494
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 10 | Nos | 395.34 | Each | Rs. | 3953
| 6" dia | 8 | Nos | 750 | Each | Rs. | 6000
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 10 | Nos | 292 | Each | Rs. | 2920
| 6" dia | 10 | Nos | 690 | Each | Rs. | 6900
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 945.78 | Each | Rs. | 9458
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 573.3 | Each | Rs. | 5733
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 10 | Nos | 690 | Each | Rs. | 6900
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 10 | Nos | 578 | Each | Rs. | 5780
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 303 | Each | Rs. | 1515
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 6 | Nos | 800 | Each | Rs. | 4800
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 150 | Rft | 45 | P.Rft | Rs. | 6750
| 3/4" dia | 100 | Rft | 59 | P.Rft | Rs. | 5900
| 1" dia | 62 | Rft | 92 | P.Rft | Rs. | 5704
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 10 | Nos | 38 | Each | Rs. | 380
| 3/4" dia | 10 | Nos | 46 | Each | Rs. | 460
| 1" dia | 10 | Nos | 55 | Each | Rs. | 550
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 10 | Nos | 55 | Each | Rs. | 550
| 3/4" dia | 10 | Nos | 76 | Each | Rs. | 760
| 1" dia | 10 | Nos | 140 | Each | Rs. | 1400
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 350 | Each | Rs. | 1750
| 3/4" dia | 5 | Nos | 381 | Each | Rs. | 1905
| 1" dia | 6 | Nos | 471 | Each | Rs. | 2826
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 109 | Each | Rs. | 545
| 3/4" dia | 5 | Nos | 136 | Each | Rs. | 680
| 1" dia | 5 | Nos | 160 | Each | Rs. | 800
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 5 | Nos | 44.99 | Each | Rs. | 225
| 3/4" dia | 5 | Nos | 61.7 | Each | Rs. | 309
| 1" dia | 5 | Nos | 130.9 | Each | Rs. | 655
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 6 | Nos | 244.75 | Each | Rs. | 1469
| 3/4" dia | 6 | Nos | 260.7 | Each | Rs. | 1564
| 1" dia | 6 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 5.83 | Each | Rs. | 58
| 3/4" dia | 10 | Nos | 10.56 | Each | Rs. | 106
| 1" dia | 11 | Nos | 10.36 | Each | Rs. | 114
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 5 | Nos | 225.06 | Each | Rs. | 1125
| 3/4" dia | 5 | Nos | 229.9 | Each | Rs. | 1150
| 1" dia | 5 | Nos | 375.16 | Each | Rs. | 1876
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 30 | Nos | 69.03 | Each | Rs. | 2071
| 3/4" dia | 30 | Nos | 89.65 | Each | Rs. | 2690
| 1" dia | 30 | Nos | 154.66 | Each | Rs. | 4640
|  |  | Cost of Non Sch: Items |  |  | Rs. | 225514
CERTIFICATE
It is certified that scope of work taken up in the cost estimate of the scheme namely " REHABILITATION & PROVISION OF MISSING FACILITIES IN EXISTING COLLEGES IN KARACHI DIVISION AT GOVT COLLEGE FOR COMMERCE & ECONOMICS NEAR P.I.D.C.HOUSE SADDAR TOWN KARACHI (FIRST FLOOR) (ADP NO# 433 OF 2016-2017 PROGRAMME) is essentially required at site and the same scope of work is not included nor any payment is made is any other on going / new scheme under Provincial ADP, District ADP, MNA/MPA Priority Programme ETC.
__________%above/below
( CONTRACTOR SIGNATURE )
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )

## sch of prices
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS SECONDARY SCHOOL QAMAR-UL-ISLAM PUNJAB COLONY SADDAR TOWN KARACHI.
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | Scheduel items which stands at par.
1 | Scraping white wash or colour wash.
| 12903.55 | Sft |  | 75.65 |  | %Sft | Rs. | 9762
2 | Scraping ordinary distemper oil bound distemper or paint on walls (P/13-54,b)
| 47862.4 | Sft |  | 226.88 |  | %Sft | Rs. | 108590
3 | Removing cement or lime plaster (P/13-53).
| 11192.98 | Sft |  | 121 |  | %Sft | Rs. | 13544
4 | Dismantling c.c.reinforced separating reinfor cement from concrete cleaning and straightening the same (P/10-20).
| 123 | Sft |  | 5445 |  | %Cft | Rs. | 6697
5 | Dismantling cement block masonary (P/10-14)
| 222.5 | Cft |  | 1134.38 |  | %Cft | Rs. | 2524
6 | Dismantling c.c.plain 1:2:4.(P/10-19,c)
| 1639.4 | Cft |  | 3327.5 |  | %Cft | Rs. | 54551
7 | Dismantling c.c.plain 1:4:8.(P/10-19,a)
| 1395.61 | Cft |  | 1663.75 |  | %Cft | Rs. | 23219
8 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:4:8 (P/16-5,i).
| 1563.94 | Cft |  | 11288.75 |  | %Cft | Rs. | 176549
9 | P/L 3" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4.(P/42-16,d)
| 140 | Sft |  | 4411.82 |  | %Sft | Rs. | 6177
10 | Erection and removal of centering for R.C.C or plain c.c.work of deodar wood (2nd class) for partal wood (b) vertical (P/18-19,b-ii)
| 673.32 | Sft |  | 3127.41 |  | %Sft | Rs. | 21057
11 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 (P/42-16,C)
| 150 | Sft |  | 3275.5 |  | %Sft | Rs. | 4913
12 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:3:6 (P/16-5,h).
| 3278.8 | Cft |  | 12595 |  | %Cft | Rs. | 412965
13 | P/F jute felt paper of 60 Lbs over roof i/c cleaning of roof with wire brush an removing dust, applying bitumen coat at the rate of 34 Lbs per %Sft as premix inter coats and then laying felt paper with 10% over laps, then applying and spreading hill sand at the rate of 1 cft for 100 sft. The cost also i/c necessary fire material, kerosene oil, wood etc (P/39-42)
| 4866.4 | Sft |  | 106.73 |  | P.Sft | Rs. | 519391
14 | P/L 1:3:6 c.c.solid block masonary set in 1:6 C.M.in plinth and foundation i/c racking out joints and curing etc complete (P/19-22).
| 178.2 | Cft |  | 14268.53 |  | %Cft | Rs. | 25427
15 | P/L 1:3:6 c.c.solid block masonary & below in 6" thikness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-24)
| 222.5 | Cft |  | 15771.01 |  | %Cft | Rs. | 35090
16 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,).
| 168 | Cft |  | 337 |  | P.Cft | Rs. | 56616
17 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary work ) (P/52-11,d)
| 11192.98 | Sft |  | 3191.76 |  | %Sft | Rs. | 357253
18 | Asbestos cement corrugated sheet roofing i/c necessary over laps and G.I.hook bolts nuts screws washers and bitumen washers etc (excluding valleys and ridges etc (P/37-28)
| 1000 | Sft |  | 12141.25 |  | %Sft | Rs. | 121413
19 | Providing Anti Termmite treatment by spraying / sprinking / spreading Neptachlar 0.5% Emulsion as an over all pre construction treatment in slab type construction under the slab and along attached perches or entrances etc, complete as per direction of Engineer Incharge (P/109-92)
| 11751.55 | Sft |  | 9.74 |  | %Sft | Rs. | 114460
20 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge (P/66-60)
| 806 | Rft |  | 49.97 |  | P.Rft | Rs. | 40276
21 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 20 | Nos |  | 261.25 |  | Each | Rs. | 5225
22 | Applying chemical polishing on existing mosic / Marble flooring / dado i/c cleaning, grinding with carborandum stone / sand paper and applying chemical polish as per requirement (P/49-70)
| 592 | Sft |  | 36.6 |  | P.Sft | Rs. | 21667
23 | Scraping & Brushing old paint from metal surface (P/68-3)
| 690 | Sft |  | 605 |  | %Sft | Rs. | 4175
24 | Excvation in foundation of building bridges and other structure i/c degbelling dressing refilling around structure with excvated earth watering and ramming lead upto 5 ft (b) ordinary soil (P/4-18,b).
| 186 | Cft |  | 3176.25 |  | %0Cft | Rs. | 591
25 | Extra labour for each storey above ground for mosaic, conglomerate or tiles, stone and wooden floor (P/42-18)
| 150 | Sft |  | 680.64 |  | %Sft | Rs. | 1021
26 | Extra labour for two coat of bitumen 6% of composite rate.(P/33-1, Remarks)
| 4866.4 | Sft |  | 113.24 |  | %Sft | Rs. | 5511
27 | Distempring three coats.(P/54-24,C)
| 12903.55 | Sft |  | 1079.65 |  | %Sft | Rs. | 139313
28 | Preparing the surface & painting with plastic emulsion of approved make (Old Surface) etc complete three coats (P/56-41,a,+b).
| 22175.82 | Sft |  | 1980.83 |  | %Sft | Rs. | 439265
29 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk / plastrer of paris and then painting with weather coat of approved make three coats (P/56-38,A+B)
| 21773.2 | Sft |  | 2567.95 |  | %Sft | Rs. | 559125
30 | Painting Old surface painting doors and windows any type three coats (P/68-4,C)
| 352 | Sft |  | 976.58 |  | %Sft | Rs. | 3438
31 | Painting New surface Preparing surface and painting corrugated surface, patent roofing etc 3 coats (P/69-5)
| 400 | Sft |  | 2116.41 |  | %Sft | Rs. | 8466
32 | Painting new surface, Preparing surface & painting guard bars gates of iron bars, gratings, railings (i/c standard braces, etc ) and similar open work three coats (P/71-5-d).
| 240 | Sft |  | 1270.83 |  | %Sft | Rs. | 3050
33 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 1968 | Sft |  | 2116.41 |  | %Sft | Rs. | 41651
34 | S/F in position iron steel grill 3/4"x1/4" approved design & shape i/c painting 3 coats.(P93-26).
| 672 | Sft |  | 180.5 |  | P.Sft | Rs. | 121296
35 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 9 | Cwt |  | 5001.7 |  | P.Cwt | Rs. | 45015
36 | M/F steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement (P/92-24).
| 96 | Sft |  | 726.72 |  | P.Sft | Rs. | 69765
37 | P/F in position, doors windows and ventilators of first class deodar wood frames, and 1-3/4" thick commercial, ply veneer shutters of first class deodar wood skeleton (Hollow) and commercial ply wood ( 3 ply) on both sides (P/58-9).
| 308 | Sft |  | 1227.36 |  | P.Sft | Rs. | 378027
b) | _________do________(Only shutters)
| 144 | Sft |  | 856.53 |  | P.Sft | Rs. | 123340
38 | S/F in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) Deluxe model (Bronze) (P/108-84,b)
| 36 | Sft |  | 1647.69 |  | P.Sft | Rs. | 59317
39 | P/L tiles glazed 6" x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 4277.8 | Sft |  | 30509.77 |  | %Sft | Rs. | 1305147
40 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 440 | Sft |  | 28299.3 |  | %Sft | Rs. | 124517
41 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43.25).
| 125.5 | Sft |  | 27747.06 |  | %Sft | Rs. | 34823
[6 empty] | Total | Rs. | 5604219
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
42 | P/L porcelene tiles glazed and polished 24"x24"x1/4" on floor or wall facing in required colour and pattern in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, cleaning and coat of wax polish etc complete i/c cutting tiles to proper profile (R.A).
| 7328.3 | Sft |  | 323 |  | P.Sft | Rs. | 2367041
43 | P/F mild steel ½” square bars fence at c/c with a clear height of 18” above the structure embedded into the structure with 2” x 1/3” flat iron strip at bottom and ½” square bar at mid with Lents 3 Nos of two sided equilateral semi circular and flat hammed steel Lents each have a hammered tip of 2” to 3” and length of 9” inches etc (R.A).
| 286.66 | Rft |  | 400.25 |  | P.Rft | Rs. | 114736
44 | P/F hosting ceiling panell (False ceiling) of PVC LUMINATED Gypsum board, core of texture venly surfed (Frost, Elefoil, Fissured Al-Islam Granular Backing witgh alluminium silver foil having thickness 9mm (3/8) suspended alluminium plastic coated or galvanized Tee bar system i/c cost of all Accessories such as aluminium hanger plastic coated tee be jointer corner hocks luminated gypsum also i/c the cost of scaffolding etc, complete in all respect complete.(R.A).
| 362.5 | Sft |  | 123.41 |  | P.Sft | Rs. | 44736
45 | Providing earth at site passing 4 sieve and plasticity index less than 6 watering by adding optimum moisture content, compacting up to 95% of relative dry density by using mechanical means, under floors & other desired areas as per approved section (Rate includes the cost of earth) (R.A).
| 497 | Cft |  | 19.05 |  | P.Cft | Rs. | 9468
46 | Removing of dismantling existing warm out concrete to damaged because of errestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand reparing the same for total removal and cleaning of rust and applying required No of coats of binding against the directed of Engineer / Incharge (R.A).
| 1639 | Sft |  | 35.89 |  | P.Sft | Rs. | 58824
47 | Treatment of fragmented and decayed c.c.St: members with cement sand mortar 1:3 nearer mix in layer of 2"x2/12 thick after applying suitable slurry of bending against water and cement 1:3 between now and welf surface could be proced finly on the prepared and primary usded fully completed. This rate also i/c all kinds of toos and planted req: for proper application & material complete of andisture along with arrangment for supporting the st: members (R.A).
| 1639 | Sft |  | 137.77 |  | P.Sft | Rs. | 225805
48 | P/A Graffito (3/8" to 1/2" thick) the product composede of material marble guard stone, iron oxide, detonium HSC natural colour, chips and pigments ammonia nitrogen, jelicoal, heated on high temperature on ultra violet lamp mixed with acrylic resin anti bacterial & fungal additives & anti fuming against alkali, showing no blistering wrinkling or lifting after application, resistant to accelerated weather change and resistant to water head of 100 ft liters per 8 hours drying time, having tocuhn dry from 4 to 8 hours and full dry in 72 hours, the specific gravity various from texture to texture form 2.5 to 2.8 (R.A).
| 3913.38 | Sft |  | 35 |  | P.Sft | Rs. | 136968
49 | Removing dabris for 20 miles.
| 3380.51 | Cft |  | 1227.8 |  | %Cft | Rs. | 41506
50 | Difference of S.R.Cement (R.A)
| 309.29 | bag |  | 40 |  | P.bag | Rs. | 12372
[6 empty] | Total | Rs. | 3011456
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )

## SUI GAS SCH OF PRICES
| PART- C SUI GAS :. |  | Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT BOYS SECONDARY SCHOOL QAMAR-UL-ISLAM PUNJAB COLONY SADDAR TOWN KARACHI.
1 | Providing G.I.pipe specials, and clamps etc, including fixing cutting & fitting complete with and i/c the cost of breaking through walls and roof, making good etc, painting two coats after cleaniang the pipe etc with white zink paintg with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling (P/12-1.,i,iv)
2"dia | 200 | Rft |  | 233 | P.Rft | Rs. | 46600
1/2"di | 150 | Rft |  | 73.21 | P.Rft | Rs. | 10981
[6 empty] | Total Rs. | 57581
__________%above/below
( CONTRACTOR SIGNATURE )
2 | S/I manifold Brass Union Cocks of approved patterns and make suitable for Gas line also i/c the cost of testing complete in all respect (3/4" dia) (R.A).
| 12 | Nos |  | 384 | Each | Rs. | 4608
3 | S/I lock wing pattern plug type meter lock cock complete of approved quality/ make complete in all respect as Directed by Engineer Incharge (R.A).
| 12 | Nos |  | 934 | Each | Rs. | 11208
4 | S/F Bunsen Burner of approved make testing with required pressure complete in all respect (R.A).
| 10 | Nos |  | 417 | Each | Rs. | 4170
5 | P/F Lab cock of standard make approved quality i/c testing with required pressure complete in all respect (R.A).
| 10 | Nos |  | 527 | Each | Rs. | 5270
6 | P/F Single Gas Stove 12" x 12" of approved quality/make complete in all respect as directed by Engineer Incharge (R.A).
| 12 | Nos |  | 917 | Each | Rs. | 11004
7 | Making required Sui Gas Point for fixing of Bunsen Burner, Gas Stove etc i/c the cost of required fitting fixture and special connection Rubber pipe of required size and length (where reqauired) making Hoes in tables etc complete in all respect as directed by Engineer Incharge (R.A)
| 12 | Nos |  | 182 | Each | Rs. | 2184
[6 empty] | Total Rs. | 38444
__________%above/below
( CONTRACTOR SIGNATURE )
___%above/below
( Contractor Signature )