## WS&SW
SCHEDULE OF PRICES
REPAIR & MAINTENANCE TO GOVERNMENT GIRLS ELEMENTARY SCHOOL TALEEM-E-GAH NISWAN SADDAR TOWN KARACHI
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 4 | Nos | 5772.8 | Each | Rs. | 23091
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 2 | Nos | 11477.4 | Each | Rs. | 22955
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 2 | Nos | 4928 | Each | Rs. | 9856
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 2 | Nos | 2533.47 | Each | Rs. | 5067
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 2 | Nos | 2042.43 | Each | Rs. | 4085
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 2 | Nos | 1412.95 | Each | Rs. | 2826
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2376 | Each | Rs. | 4752
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 2 | Nos | 4905.67 | Each | Rs. | 9811
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (250 gallons).(P/21-3,a)
|  | 1 | Nos | 21989.61 | Each | Rs. | 21990
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 3 | Nos | 1071.4 | Each | Rs. | 3214
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 2 | Nos | 14748 | Each | Rs. | 29496
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 2 | Nos | 169.4 | Each | Rs. | 339
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 0 | Nos | 3179 | Each | Rs. | 0
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 5 | Nos | 509.74 | Each | Rs. | 2549
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 5 | Nos | 1109.46 | Each | Rs. | 5547
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 0 | Rft | 414 | P.Rft | Rs. | 0
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 0 | Rft | 516 | P.Rft | Rs. | 0
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 0 | Rft | 363.35 | P.Rft | Rs. | 0
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 0 | Rft | 102 | P.Rft | Rs. | 0
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 0 | Nos | 26246.55 | Each | Rs. | 0
[5 empty] | Total:. | Rs. | 169254
| __________%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 133 | Rft | 290 | P.Rft | Rs. | 38570
| 6" dia | 50 | Rft | 434 | P.Rft | Rs. | 21700
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 2 | Nos | 2449.37 | Each | Rs. | 4899
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 6 | Nos | 395.34 | Each | Rs. | 2372
| 6" dia | 5 | Nos | 750 | Each | Rs. | 3750
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 292 | Each | Rs. | 1460
| 6" dia | 5 | Nos | 690 | Each | Rs. | 3450
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 945.78 | Each | Rs. | 4729
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 2 | Nos | 690 | Each | Rs. | 1380
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 2 | Nos | 578 | Each | Rs. | 1156
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 2 | Nos | 303 | Each | Rs. | 606
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 0 | Nos | 800 | Each | Rs. | 0
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 50 | Rft | 45 | P.Rft | Rs. | 2250
| 3/4" dia | 30 | Rft | 59 | P.Rft | Rs. | 1770
| 1" dia | 20 | Rft | 92 | P.Rft | Rs. | 1840
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 38 | Each | Rs. | 190
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 55 | Each | Rs. | 275
| 3/4" dia | 5 | Nos | 76 | Each | Rs. | 380
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 1 | Nos | 350 | Each | Rs. | 350
| 3/4" dia | 1 | Nos | 381 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471 | Each | Rs. | 471
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 2 | Nos | 109 | Each | Rs. | 218
| 3/4" dia | 2 | Nos | 136 | Each | Rs. | 272
| 1" dia | 2 | Nos | 160 | Each | Rs. | 320
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 2 | Nos | 61.7 | Each | Rs. | 123
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 2 | Nos | 260.7 | Each | Rs. | 521
| 1" dia | 1 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 5 | Nos | 5.83 | Each | Rs. | 29
| 3/4" dia | 5 | Nos | 10.56 | Each | Rs. | 53
| 1" dia | 5 | Nos | 10.36 | Each | Rs. | 52
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 225.06 | Each | Rs. | 450
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 5 | Nos | 69.03 | Each | Rs. | 345
| 3/4" dia | 5 | Nos | 89.65 | Each | Rs. | 448
| 1" dia | 5 | Nos | 154.66 | Each | Rs. | 773
|  |  | Cost of Non Sch: Items |  |  | Rs. | 107745
CERTIFICATE
It is certified that scope of work taken up in the cost estimate of the scheme namely " REHABILITATION & PROVISION OF MISSING FACILITIES IN EXISTING COLLEGES IN KARACHI DIVISION AT GOVT COLLEGE FOR COMMERCE & ECONOMICS NEAR P.I.D.C.HOUSE SADDAR TOWN KARACHI (FIRST FLOOR) (ADP NO# 433 OF 2016-2017 PROGRAMME) is essentially required at site and the same scope of work is not included nor any payment is made is any other on going / new scheme under Provincial ADP, District ADP, MNA/MPA Priority Programme ETC.
__________%above/below
( CONTRACTOR SIGNATURE )
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )

## SCH OF PRICES
SCHEDULE OF PRICES
REPAIR & MAINTENANCE TO GOVERNMENT GIRLS ELEMENTARY SCHOOL TALEEM-E-GAH NISWAN SADDAR TOWN KARACHI
S.NO. | Description of items |  |  |  | Unit
| Quantity |  | Rate
a) | Cost of Schedule Items
1 | Dismantling c.c.plain 1:2:4.(P/10-19,C)
| 49.34 | Cft |  | 3327.5 |  | %Cft | Rs. | 1642
2 | Dismantling cenebt concrete reinforced separating reinforcement from concrete cleaning and straightening the same (P/10-20)
| 333.5 | Cft |  | 5445 |  | %Cft | Rs. | 18159
3 | Dismantling cement block masonary (P/10-14)
| 598.6 | Cft |  | 1134.38 |  | %Cft | Rs. | 6790
4 | Dismantling c.c.plain 1:4:8.(P/10-19,a)
| 52.56 | Cft |  | 1663.75 |  | %Cft | Rs. | 874
5 | Excvation in foundation of building bridges and other structure i/c degbelling dressing refilling around structure with excvated earth watering and ramming lead upto 5 ft (b) ordinary soil (P/4-18,b).
| 528 | Cft |  | 3176.25 |  | %0Cft | Rs. | 1677
6 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:4:8 (P/16-5-i)
| 120.62 | Sft |  | 11288.75 |  | %Cft | Rs. | 13616
7 | P/L 1:3:6 c.c.solid block masonary set in 1:6 C.M.in plinth and foundation i/c racking out joints and curing etc complete (P/19-22).
| 131.58 | Cft |  | 14268.53 |  | %Cft | Rs. | 18775
8 | Damp proof course with cement sand and shingle concrete (1:2:4) including 2 coats of asphaltic mixture (b) 2" thick. (P/19-28,b)
| 102 | Sft |  | 3912.85 |  | %Sft | Rs. | 3991
9 | Filling watering and ramming earth under floor with new earth (Excvated from out side) lead upto one chain and lift upto 5 feet (P/4-22)
| 237 | Cft |  | 3630 |  | %Cft | Rs. | 860
10 | P/L 1:3:6 c.c.solid block masonary above 6" thikness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-23)
| 625.88 | Cft |  | 14621.44 |  | %Cft | Rs. | 91513
11 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,a-i).
| 332.94 | Cft |  | 337 |  | P.Cft | Rs. | 112201
12 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 14.86 | Cwt |  | 5001.7 |  | P.Cwt | Rs. | 74325
13 | P/L 1:3:6 c.c.solid block masonary & below in 6" thikness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-24)
| 31 | Cft |  | 15771.01 |  | %Cft | Rs. | 4889
14 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 .
| 185.25 | Sft |  | 3175.5 |  | %Sft | Rs. | 5883
15 | Two coat of bitumen laid hot using 34 lbs for %Sft over roof and blinded with sand at one cft per %Sft (P/35-13).
| 185.25 | Sft |  | 1887.4 |  | %Sft | Rs. | 3496
16 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 4 | Nos |  | 261.25 |  | Each | Rs. | 1045
17 | P/F G.I.frames / chowkhats of size 7" x 2" or 4-1/2" x 3" ifor door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (P/93-29)
| 133 | Rft |  | 228.9 |  | P.Rft | Rs. | 30444
18 | P/F in position, doors windows and ventilators of first class deodar wood frames, and 1-1/2" thick teak wood, ply shutters of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood and Teak Ply wood (3-ply) on both sides i/c hold fasts, hinges, iron tower bolts, handles and cleats with cord etc complete (P/65-57).(Only shutters)
| 147 | Sft |  | 811.73 |  | P.Sft | Rs. | 119324
19 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for windows using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-28).
| 56 | Rft |  | 240.5 |  | P.Rft | Rs. | 13468
20 | P/F with sunk iron screws wooden Architrave approved design / shape having width not less than 2-1/2" as directed by Engineer Incharge.(P/66-60)
| 123 | Rft |  | 49.97 |  | P.Rft | Rs. | 6146
21 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary work) (P/52-11,d)
| 3383.75 | Sft |  | 3191.76 |  | %Sft | Rs. | 108001
22 | First class deodar wood wrought joinery doors & windows fixed in position i/c chowkets hold fasts hinges tower bolts chocks cleats handles cords with hook 1-3/4" thick (Only Shutters) (P/58-7,b)
| 24 | Sft |  | 902.93 |  | P.Sft | Rs. | 21670
23 | S/F in position iron steel grill of 3/4"x1/4" size flat iron of approved design & shape i/c painting 3 coats etc complete (weight not to be less than 3.7 Lbs / Sq. Foot of finished grill ).(P/93-26).
| 33 | Sft |  | 180.5 |  | P.Sft | Rs. | 5957
24 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 875 | Sft |  | 28299.3 |  | %Sft | Rs. | 247619
25 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43-25).
| 261.75 | Sft |  | 27747.06 |  | %Sft | Rs. | 72628
26 | Preparing the surface and painting with plastic emulsion paint of approved make i/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of pairs three coats (P/55-40,A+B)
| 3122 | Sft |  | 2237.95 |  | %Sft | Rs. | 69869
27 | Distempring three coats.(P/54-24,C)
| 590.5 | Sft |  | 1079.65 |  | %Sft | Rs. | 6375
28 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 342 | Sft |  | 2116.41 |  | %Sft | Rs. | 7238
29 | Extra for lime mud or cement plaster and pointing from 12' and above (for each additional 10' height) (P/54-29)
| 1691.88 | Sft |  | 140.97 |  | %Sft | Rs. | 2385
30 | Extra labour for each storey above ground for mosaic, conglomerate or tiles, stone and wooden floor (P/42-18)
| 185.25 | Sft |  | 226.88 |  | %Sft | Rs. | 420
31 | Extra labour for two coat of bitumen 6% of composite rate.(P/33-1, Remarks)
| 185.25 | Sft |  | 113.24 |  | %Sft | Rs. | 210
[6 empty] | Total | Rs. | 1071490
__________%above/below
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
32 | Removing dabries for 20 miles.
| 1034.01 | Cft |  | 1227.8 |  | %Cft | Rs. | 12696
12696
__________%above/below
( CONTRACTOR SIGNATURE )