## WS & SW
Schedule of Prices
REPAIR & MAINTENANCE @ GOVERNMENT GIRLS DEGREE COLLEGE GIZRI ZAM ZAMA CLIFTON KARACHI.
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 2 | Nos | 5772.8 | Each | Rs. | 11546
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 2 | Nos | 11477.4 | Each | Rs. | 22955
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 2 | Nos | 4928 | Each | Rs. | 9856
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 2 | Nos | 2533.47 | Each | Rs. | 5067
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 2 | Nos | 2042.43 | Each | Rs. | 4085
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 2 | Nos | 1412.95 | Each | Rs. | 2826
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2376 | Each | Rs. | 4752
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 3 | Nos | 4905.67 | Each | Rs. | 14717
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 2 | Nos | 37505.42 | Each | Rs. | 75011
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 4 | Nos | 1071.4 | Each | Rs. | 4286
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 5 | Nos | 14748 | Each | Rs. | 73740
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 2 | Nos | 271.92 | Each | Rs. | 544
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 5 | Nos | 169.4 | Each | Rs. | 847
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 2 | Nos | 3179 | Each | Rs. | 6358
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 4 | Nos | 509.74 | Each | Rs. | 2039
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 10 | Nos | 1109.46 | Each | Rs. | 11095
18 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (P/19-16,a)
|  | 5 | Nos | 795.3 | Each | Rs. | 3977
19 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 0 | Rft | 414 | P.Rft | Rs. | 0
20 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 0 | Rft | 516 | P.Rft | Rs. | 0
21 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 0 | Rft | 363.35 | P.Rft | Rs. | 0
22 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 0 | Rft | 102 | P.Rft | Rs. | 0
23 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 0 | Nos | 26246.55 | Each | Rs. | 0
[5 empty] | Total:. | Rs. | 276833
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
24 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 200 | Rft | 290 | P.Rft | Rs. | 58000
| 6" dia | 100 | Rft | 434 | P.Rft | Rs. | 43400
25 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 5 | Nos | 2449.37 | Each | Rs. | 12247
26 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 10 | Nos | 395.34 | Each | Rs. | 3953
| 6" dia | 2 | Nos | 750 | Each | Rs. | 1500
27 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 8 | Nos | 292 | Each | Rs. | 2336
| 6" dia | 2 | Nos | 690 | Each | Rs. | 1380
28 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 945.78 | Each | Rs. | 4729
29 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
30 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 690 | Each | Rs. | 3450
31 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 10 | Nos | 578 | Each | Rs. | 5780
32 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 0 | Nos | 303 | Each | Rs. | 0
33 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 0 | Nos | 800 | Each | Rs. | 0
34 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 300 | Rft | 45 | P.Rft | Rs. | 13500
| 3/4" dia | 250 | Rft | 59 | P.Rft | Rs. | 14750
| 1" dia | 300 | Rft | 92 | P.Rft | Rs. | 27600
35 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 2 | Nos | 38 | Each | Rs. | 76
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
36 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 55 | Each | Rs. | 275
| 3/4" dia | 10 | Nos | 76 | Each | Rs. | 760
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
37 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 10 | Nos | 350 | Each | Rs. | 3500
| 3/4" dia | 6 | Nos | 381 | Each | Rs. | 2286
| 1" dia | 6 | Nos | 471 | Each | Rs. | 2826
38 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 15 | Nos | 109 | Each | Rs. | 1635
| 3/4" dia | 15 | Nos | 136 | Each | Rs. | 2040
| 1" dia | 10 | Nos | 160 | Each | Rs. | 1600
39 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 10 | Nos | 44.99 | Each | Rs. | 450
| 3/4" dia | 6 | Nos | 61.7 | Each | Rs. | 370
| 1" dia | 5 | Nos | 130.9 | Each | Rs. | 655
40 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 10 | Nos | 244.75 | Each | Rs. | 2448
| 3/4" dia | 6 | Nos | 260.7 | Each | Rs. | 1564
| 1" dia | 5 | Nos | 350.9 | Each | Rs. | 5614
41 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 12 | Nos | 64.34 | Each | Rs. | 772
| 3/4" dia | 10 | Nos | 85.8 | Each | Rs. | 858
| 1" dia | 8 | Nos | 140.8 | Each | Rs. | 1126
42 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 25 | Nos | 5.83 | Each | Rs. | 146
| 3/4" dia | 33 | Nos | 10.56 | Each | Rs. | 348
| 1" dia | 15 | Nos | 10.36 | Each | Rs. | 155
43 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 225.06 | Each | Rs. | 2251
| 3/4" dia | 10 | Nos | 229.9 | Each | Rs. | 2299
| 1" dia | 10 | Nos | 375.16 | Each | Rs. | 3752
44 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 25 | Nos | 69.03 | Each | Rs. | 1726
| 3/4" dia | 20 | Nos | 89.65 | Each | Rs. | 1793
| 1" dia | 15 | Nos | 154.66 | Each | Rs. | 2320
|  |  | Cost of Non Sch: Items |  |  | Rs. | 240342
CERTIFICATE
It is certified that scope of work taken up in the cost estimate of the scheme namely " REHABILITATION & PROVISION OF MISSING FACILITIES IN EXISTING COLLEGES IN KARACHI DIVISION AT GOVT COLLEGE FOR COMMERCE & ECONOMICS NEAR P.I.D.C.HOUSE SADDAR TOWN KARACHI (FIRST FLOOR) (ADP NO# 433 OF 2016-2017 PROGRAMME) is essentially required at site and the same scope of work is not included nor any payment is made is any other on going / new scheme under Provincial ADP, District ADP, MNA/MPA Priority Programme ETC.
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
| __________%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )

## SCH OF PRICES
Schedule of Prices
REPAIR & MAINTENANCE @ GOVERNMENT GIRLS DEGREE COLLEGE GIZRI ZAM ZAMA CLIFTON KARACHI.
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | Cost of Scheduel items.
1 | Scraping white wash or colour wash (P/13-54,a)
| 37044.44 | Sft |  | 75.63 |  | %Sft | Rs. | 28017
2 | Scraping ordinary distemper oil bound distemper or paint on walls.(P/13-54,b)
| 111424.16 | Sft |  | 226.88 |  | %Sft | Rs. | 252799
3 | Dismantling c.c.plain 1:2:4.(P/10-19,C)
| 3953.6 | Cft |  | 3327.5 |  | %Cft | Rs. | 131556
4 | Dismantling c.c.plain 1:3:6.(P/10-19,b)
| 80 | Cft |  | 1306.8 |  | %Cft | Rs. | 1045
5 | Dismantling c.c.reinforced separating reinfor cement from concrete cleaning and straightening the same (P/10-20).
| 310 | Cft |  | 5445 |  | %Cft | Rs. | 16880
6 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:4:8 (P/16,5,i).
| 220 | Cft |  | 11288.75 |  | %Cft | Rs. | 24835
7 | C.C.plain i/c placing compacting finishing & curring, complete (i/c screening and washing of stone aggregate without shutter ratio 1:3:6 (P/16,5,h).
| 220 | Cft |  | 12595 |  | %Cft | Rs. | 27709
8 | P/L 1:3:6 c.c.solid block masonary wall 6" & below thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-24).
| 489.5 | Cft |  | 15771.01 |  | %Cft | Rs. | 77199
9 | P/L 1:3:6 c.c.solid block masonary wall above 6" thickness set in 1:6 C.M.in G/F superstructure i/c racking out joints and curing etc complete (P/19-23).
| 68 | Cft |  | 14621.44 |  | %Cft | Rs. | 9943
10 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary wall) (P/52-11,d)
| 6474 | Sft |  | 3191.76 |  | %Sft | Rs. | 206635
11 | P/L tiles glazed 6" x 6"x1/4" on floor or wall facing in required colour and pattern STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slaurry of white cement and pigment in deired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 363.67 | Sft |  | 30509.77 |  | %Sft | Rs. | 110955
12 | P/L 2" thick topping c.c.i/ surface finishing & dividing into the panells ratio 1:2:4. (P/42-16,c).
| 18356 | Sft |  | 3275.5 |  | %Sft | Rs. | 601251
13 | Two coat of bitumen laid hout using 34 Lbs for % sft, over roof and blinded with sand at one cft per % Sft (P/35-13)
| 18356 | Sft |  | 1887.4 |  | %Sft | Rs. | 346451
14 | Extra labour for each storey above ground for mosaic, conglomerate or tiles, stone and wooden floor (P/42-18)
| 18356 | Sft |  | 226.88 |  | %Sft | Rs. | 41646
15 | Extra labour for two coat of bitumen 6% of composite rate.
| 18356 | Sft |  | 113.24 |  | %Sft | Rs. | 20786
16 | P/L 3" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 (P/42-16,d)
| 440 | Sft |  | 4411.82 |  | %Sft | Rs. | 19412
17 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 20 | Nos |  | 261.25 |  | Each | Rs. | 5225
18 | P/F deodar Almirah 9" - 12" depth i/c boxing with back shelves, shutters brass fittings complete (P/61-23)
| 102 | Sft |  | 1778.5 |  | P.Sft | Rs. | 181407
19 | Expanded metal 1/2" to 3/4" mesh 16 gauze fixed in chowkats with 1 cover moulding and screws i/c teak wood frame 2" x 2" (P/58-6)
| 1043.75 | Sft |  | 334.24 |  | P.Sft | Rs. | 348863
20 | P/F iron steel grill using solid square bars of size 1/2" x 1/2" placed and 4" i/c and frame of flat iron patti of 3/4" x 3/4" i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3 coats with Ist coat of red oxide paint etc (P/94-30).
| 600 | Sft |  | 194.16 |  | P.Sft | Rs. | 116496
21 | S/F in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) Deluxe model (Bronze).(P/108-84,b)
| 182 | Sft |  | 1647.69 |  | P.Sft | Rs. | 299880
22 | S/F in position iron steel grill 3/4"x1/4" approved design & shape i/c painting 3 coats.(P93-26).
| 182 | Sft |  | 180.5 |  | P.Sft | Rs. | 32851
23 | M/F Notice board made with cement on walls (P/95-1)
| 144 | Sft |  | 58.11 |  | P.Sft | Rs. | 8368
24 | Distempring three coats (P/54-24)
| 37044.44 | Sft |  | 1079.65 |  | %Sft | Rs. | 399950
25 | Preparing the surface & painting with plastic emulsion paint of approved make i/c rubbing the surface with sand Paper, filling the voids with chalk / plaster of paris and then etc complete three coats (P/56-40,a,+b).
| 78057.16 | Sft |  | 2237.95 |  | %Sft | Rs. | 1746880
26 | Preparing the surface and painting with weather coat i/c rubbing the surface with rubbing brick / sand paper, filling the voids with chalk / plaster of paris and then painting wioth weather coat of approved make three coats (P/56-38)
| 37112.25 | Sft |  | 2567.95 |  | %Sft | Rs. | 953024
27 | S/F window printed blinds (Horizontal / Vertical) with plain design and of approved colour i/c fixing in windows with necessary accessories (P/66-71)
| 72 | Rft |  | 91.11 |  | P.Sft | Rs. | 6560
28 | P/F G.I.frames / chowkhats of size 7"x2" or 4-1/2x3" for door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c also i/c all carriage tools and plants used in making and fixing (P/93-29).
| 185 | Rft |  | 228.9 |  | P.Rft | Rs. | 42347
29 | P/F in position door and windows and ventilator of first class deodar wood frames 1-1/2" thick teak wood ply shuttes of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood and Teak ply wood (3-Ply) on both side i/c holf fasts, hinges, iron tower bolts, handles and cleats with cord etc complete (P/65-58) (Only shutters.
| 280 | Sft |  | 706.23 |  | P.Sft | Rs. | 197744
30 | Painting new surface preparing surface and painting of doors & windows any type 3 coats (P/69-5,c)
| 560 | Sft |  | 2116.41 |  | %Sft | Rs. | 11852
31 | Applying chemical polishing on existing mosaic / Marble flooring / dado i/c cleaning, grinding with carborandum stone / sand paper and pplying chemical polish as per requiremen (P/49-70)
| 36904.44 | Sft |  | 36.3 |  | P.Sft | Rs. | 1339631
32 | Painting Old surface painting painting doors & windows any type three coats (P/68-4,C)
| 2331 | Sft |  | 1662.21 |  | %Sft | Rs. | 38746
33 | P/F railing for curtains with deodar wooden patti i/c fixed in all with screws etc complete (P/109-90)
| 72 | Sft |  | 347.49 |  | P.Sft | Rs. | 25019
34 | Providing Anti Termmite treatment by spraying / sprinkling / spreading Neptachlar 0.5% Emulsion as an over all re construction treatment in slab type construction undewr the slab and along attached perches or entrances etc, complete as per directions of Engineer Incharge (P/109-92)
| 37044.44 | Sft |  | 9.74 |  | P.Sft | Rs. | 360813
35 | M/F steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement (P/92-24).
| 76 | Sft |  | 726.72 |  | P.Sft | Rs. | 55231
36 | Painting new surface, Preparing surface & painting guard bars gates of iron bars, gratings, railings (i/c standard braces, etc ) and similar open work three coats (P/71-5-d).
| 152 | Sft |  | 1270.83 |  | %Sft | Rs. | 1932
[6 empty] | Total | Rs | 8089938
__________%above/below
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
37 | Removing of dismantling existing warm out concrete to damaged because of errestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand reparing the same for total removal and cleaning of rust and applying required No of coats of binding against the directed of Engineer / Incharge (R.A).
| 2082.75 | Sft |  | 35.89 |  | P.Sft | Rs. | 74750
38 | Treatment of fragmented and decayed c.c.St: members with cement sand mortar 1:3 nearer mix in layer of 2"x2/12 thick after applying suitable slurry of bending against water and cement 1:3 between now and welf surface could be proced finly on the prepared and primary usded fully completed. This rate also i/c all kinds of tools and planted req: for proper application & material complete of andisture along with arrangment for supporting the st: members (R.A).
| 2082.75 | Sft |  | 137.77 |  | P.Sft | Rs. | 286940
39 | Removing dabries for 15 miles.
| 4343.6 | Cft |  | 1065 |  | %Cft | Rs. | 46259
40 | Difference of S.R.cement (R.A).
| 440 | bag |  | 40 |  | P.bag | Rs. | 17600
41 | P/F angle iron posts for spiral barbed Wire fencing of size 2" x 2" x 1/4" embeded in cement concrete 1:3:6 i/c two sides angle iron bars of size 1-1/2" x 1-1/2" x 1/4" the spiral barbed wire will be fixed on 18" dia round @ 4" C/C (L.Q.R)
| 173 | Rft |  | 755 |  | P.Rft | Rs. | 130615
[6 empty] | Total | Rs | 556164
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )