## WS&SW
SCHEDULE OF PRICES
REPAIR & MAINTENANCE TO GOVERNMENT DEGREE COLLEGE AISHA BAWANY SHAHRAH FAISAL SADDAR TOWN KARACHI.
S.NO. | DESCRIPTION OFITEM | QUANTITY |  | RATE | UNIT | AMOUNT
SCHEDULE ITEMS :.
1 | P/F squatting type white glazed earthen ware W.C.pan with front flush inlet & complete with including the cost of flushing cistern with intrnal fitting and flush pipe with bend and making requisiter number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2;4 (ii) with 4" dia white glazed earthen ware trap and plastic thumble (Foreign Equivalant).(P/1-2-ii).
|  | 2 | Nos | 5772.8 | Each | Rs. | 11546
2 | P/F European white lazed earthen war wash down w.c.pan complete with & i/c cost of white/black plastic seat (Best Quality) & laid with C.P.brass hinges best quality and buffers 3 gallons white glazed earthen ware low level flusing cistern with siphon fitting 1-1/2 dia white porcelain enamelled flush bend 3/4" dia and making requiste number of holes in walls plinth & floor for pipe connection & making good in c.c.1:2:4 (Foreign quality) (P/2-5)
|  | 1 | Nos | 11477.4 | Each | Rs. | 11477
3 | P/F 25" x 18" lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I. or C.I.cantilever brackets 6" built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia chrome plated pillar taps, 1-1/2" dia rubber plug and chrome plated brass chain 1-1/4" dia. malloable or C.P. brass traps malloable iron or brass unions and making requisite number of holes in walls plinth and floor for pipe connections and making good in cc.1:2:4 (Foreign or equivalent) (P/3-10).
|  | 2 | Nos | 4928 | Each | Rs. | 9856
4 | Add extra for labour for providing & fixing of earthen ware pedestal white or coloured glazed ((Foreign or equivalent) (P/3-11).
|  | 2 | Nos | 2533.47 | Each | Rs. | 5067
5 | P/F 6"x2" or 6" x 3" C.I.floor trap of approved self cleaning design with a C.I.screwed down grating with a or without a vent arm complete with & i/c making requisite numnbner of holes in walls, plinth & floor for pipe connections & making good in c.c.1:2:4.(P/6-20)
|  | 3 | Nos | 2042.43 | Each | Rs. | 6127
6 | P/F chrome plated brass towel rail complete with brackets fixing on wooden cleats with 1" long C.P. brass screws (b) superior pattern (P/7-1,b).
|  | 1 | Nos | 1412.95 | Each | Rs. | 1413
7 | P/F 24" x 18" bevelled edge mirror of belgium glass complete with 1/8" thick hard board C.P.screw fixed to wooden pleat (b) superior pattern (P/7-3,b)
|  | 2 | Nos | 2376 | Each | Rs. | 4752
8 | Providing chambers 15" x 9" (inside dimensions) x 24" deep for house meters with 6" thick c.c.1:3:6 block set on 1:6 cement mortor 6" thick c.c.1:4:8 in foundation 1/2" thick cement plaster 1:3 C.M.to all inside wall surface and to top 1" thick c.c.1:2:4 flooring complete with hinged cast iron cover and frame 15" x 9" inside clear opening wt 1" Qr etc fixed in c.c.1:2:4 i/c curing excvation back filling & disposal of earth etc complete (P/20-4).
|  | 2 | Nos | 4905.67 | Each | Rs. | 9811
9 | S/F water pumping set 1 H.P.with 1400 RPM single phase 220 Volts 2" x 1.5" x 1.5.
|  | 1 | Nos | 22000 | Each | Rs. | 22000
10 | S/F Fiber Glass Tank of approved quality & design & wall thickness as specified i/c cost of nuts bolts & fixing in plateform of C.C.1:3:6 & making connections for inlet & over flow pipe etc complete (500 gallons).(P/21-3,C)
|  | 1 | Nos | 37505.42 | Each | Rs. | 37505
11 | P/F C.P.brass toilet paper holder of standar size with chrome plated brass brackets complete (b) superior Quality (P/7-2,b)
|  | 1 | Nos | 1071.4 | Each | Rs. | 1071
12 | Constructing manhole or inspecting chamber for the required dia of circular sewer and 3'-6" depth with walls B.B in cement mortar 1:3 plastered 1:3 1/2" thick inside of walls and 1" thick over benching and channel i/c R.C.C. manhole cover etc complete in all respect complete i/c angle iron frame all respect complete.(P/46-P)
|  | 5 | Nos | 14748 | Each | Rs. | 73740
13 | P/F handle valve (China) .(P/17-50)
| 1/2" dia | 2 | Nos | 200.42 | Each | Rs. | 401
| 3/4" dia | 3 | Nos | 271.92 | Each | Rs. | 816
| 1" dia | 2 | Nos | 365.42 | Each | Rs. | 731
14 | S/F soap tray made of plastic of superior quality.(P/8-6)
|  | 2 | Nos | 169.4 | Each | Rs. | 339
15 | S/F wash basen mixture of superior quality with C.P.head 1/2" dia (P/19-14,b).
|  | 0 | Nos | 3179 | Each | Rs. | 0
16 | P/F cancelled stop cock of superior quality with C.P.l head 1/2" dia (P/18-11,b)
|  | 6 | Nos | 509.74 | Each | Rs. | 3058
17 | P/F long bib cock of superior quality with C.P.head 1/2" dia (P/19-13,a)
|  | 6 | Nos | 1109.46 | Each | Rs. | 6657
18 | Boring for tube well in all water bearing soils from ground level upto 100 ft for 30.50 meter depth i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/41-1d)
|  | 0 | Rft | 414 | P.Rft | Rs. | 0
19 | Boring for tube well in all water bearing soils from depth 100 to 200 ft for 30.51 to 61 meter below ground level i/c sinking and with drawing of casing pipe 150 mm 6" dia.(P/42-2,b)
|  | 0 | Rft | 516 | P.Rft | Rs. | 0
20 | S/I PVC strainers B class of approved design quality and make i/c necessary sockets etc complete (b) 150 mm 6" dia (P/43-9,d).
|  | 0 | Rft | 363.35 | P.Rft | Rs. | 0
21 | Srounding with graded bajri (3/8" to 1/8") or ( 9 to 3 mm) in between bore and blind pipe for the following dim meter of stainers (150mm 6" dia) (P/38-16).
|  | 0 | Rft | 102 | P.Rft | Rs. | 0
22 | P/F water pumping set with Seimen Motor & Javed Pump 5 H.P.2800 PRM single phase 440 volts 2"x1 1/2 suction and delivery 100 ft head i/c base plate and also required size and fixing with nuts and bolts complete in all respect (P/29-5)
|  | 0 | Nos | 26246.55 | Each | Rs. | 0
[5 empty] | Total:. | Rs. | 206367
| SUB ENGINEER |  |  | ASSISTANT ENGINEER
EDU:WORKS SUB-DIV: SADDAR
KARACHI
__________%above/below
( CONTRACTOR SIGNATURE )
NON SCHEDULE ITEMS :.
23 | P/F "U" PVC pipe (PAK ARB or equivalent) Schedule 40 on surface and digging the trenches to required depth not less then 12" and fixing in position in/c cutting fitting and jointing using approved solvent (AGM or equivalent) etc complete. This rate also in/c all kind of labour, material, cartage etc as per approved by Engineer Incharge.(R.A).
| 4" dia | 157 | Rft | 290 | P.Rft | Rs. | 45530
| 6" dia | 80 | Rft | 434 | P.Rft | Rs. | 34720
24 | P/F "U" PVC cross 4" dia i/c fitting jointing with special "U" PVC cement soulation as appproved and directed by D.O.Incharge.
|  | 2 | Nos | 2449.37 | Each | Rs. | 4899
25 | P/F "U" P.V.C Elbow i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).(90 Degree).
| 4" dia | 5 | Nos | 395.34 | Each | Rs. | 1977
| 6" dia | 5 | Nos | 750 | Each | Rs. | 3750
26 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 292 | Each | Rs. | 1460
| 6" dia | 5 | Nos | 690 | Each | Rs. | 3450
27 | P/F "U" P.V.C "Y" tee 4" dia i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 945.78 | Each | Rs. | 4729
28 | P/F "U" P.V.C male thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 573.3 | Each | Rs. | 2867
29 | P/F "U" P.V.C female thread adopter i/c fitting jointing with special "U" P.V.C cement soulation as pproved and directed by D.I.Incharge (R.A).
|  | 5 | Nos | 690 | Each | Rs. | 3450
30 | P/F "U" PVC TEE 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 578 | Each | Rs. | 2890
31 | P/F "U" PVC "Cowel" 4" dia (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 4" dia | 5 | Nos | 303 | Each | Rs. | 1515
32 | S/F swan type piller cock of superior quality single C.P.head 1/2" dia (Master or equivalent ) (L.Q.R)
|  | 0 | Nos | 800 | Each | Rs. | 0
33 | P/F "U"P.V.C (PAK ARAB or equivelent) of Schedule 40 on surface or concealled masonary / Cement Concrete or R.C.C.upto required height jointing by using solvent (AGM or equivalent) and making good with c.c.in/c curing finishing etc complete. This rate also in/c all kinds of labour, material, cartage etc as approved by Engineer Incharge (R.A).
| 1/2" dia | 27 | Rft | 45 | P.Rft | Rs. | 1215
| 3/4" dia | 76 | Rft | 59 | P.Rft | Rs. | 4484
| 1" dia | 40 | Rft | 92 | P.Rft | Rs. | 3680
34 | P/F "U" PVC Socket (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 4 | Nos | 38 | Each | Rs. | 152
| 3/4" dia | 5 | Nos | 46 | Each | Rs. | 230
| 1" dia | 5 | Nos | 55 | Each | Rs. | 275
35 | P/F Elbow 90% (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 5 | Nos | 55 | Each | Rs. | 275
| 3/4" dia | 5 | Nos | 76 | Each | Rs. | 380
| 1" dia | 5 | Nos | 140 | Each | Rs. | 700
36 | P/F "U" PVC Union "Solvent" (PAK ARAB or equavelent) Schedule 40 make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 1 | Nos | 350 | Each | Rs. | 350
| 3/4" dia | 1 | Nos | 381 | Each | Rs. | 381
| 1" dia | 1 | Nos | 471 | Each | Rs. | 471
37 | P/F "U" PVC TEE (PAK ARAB or equavelent) make of approved quality and design of various size fixed to "U" PVC pipe using approved adhensive compound upto required height etc complete. This rate also in/c all kind of labour, Material, cartage as approved by Engineer Incharge (R.A).
| 1/2" dia | 2 | Nos | 109 | Each | Rs. | 218
| 3/4" dia | 2 | Nos | 136 | Each | Rs. | 272
| 1" dia | 2 | Nos | 160 | Each | Rs. | 320
38 | P/F P.V.C male thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 44.99 | Each | Rs. | 45
| 3/4" dia | 2 | Nos | 61.7 | Each | Rs. | 123
| 1" dia | 3 | Nos | 130.9 | Each | Rs. | 393
39 | P/F P.V.C female thread adoptoer of schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 1 | Nos | 244.75 | Each | Rs. | 245
| 3/4" dia | 2 | Nos | 260.7 | Each | Rs. | 521
| 1" dia | 1 | Nos | 350.9 | Each | Rs. | 5614
40 | P/F P.V.C bush of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 64.34 | Each | Rs. | 129
| 3/4" dia | 2 | Nos | 85.8 | Each | Rs. | 172
| 1" dia | 2 | Nos | 140.8 | Each | Rs. | 282
41 | P/F P.V.C clamp of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 10 | Nos | 5.83 | Each | Rs. | 58
| 3/4" dia | 5 | Nos | 10.56 | Each | Rs. | 53
| 1" dia | 5 | Nos | 10.36 | Each | Rs. | 52
42 | P/F P.V.C END cap of schedule 40 in/c fitting etc complete as directed by D.O.Incharge (R.A).
| 1/2" dia | 2 | Nos | 225.06 | Each | Rs. | 450
| 3/4" dia | 2 | Nos | 229.9 | Each | Rs. | 460
| 1" dia | 2 | Nos | 375.16 | Each | Rs. | 750
43 | P/F P.V.C Elbow 45 degree Schedule 40 in/c fitting etc complete as directed by D.O.incharge (R.A).
| 1/2" dia | 5 | Nos | 69.03 | Each | Rs. | 345
| 3/4" dia | 5 | Nos | 89.65 | Each | Rs. | 448
| 1" dia | 5 | Nos | 154.66 | Each | Rs. | 773
|  |  | Cost of Non Sch: Items |  |  | Rs. | 135553
| SUB ENGINEER |  |  |  |  | ASSISTANT ENGINEER
EDU:WORKS SUB-DIV:SADDAR
KARACHI
| ______%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( Contractor Signature )
| __________%above/below |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )

## SCH OF PRICES
Schedule of Prices
REPAIR & MAINTENANCE TO GOVERNMENT DEGREE COLLEGE AISHA BAWANY SHAHRAH FAISAL SADDAR TOWN KARACHI.
S.NO. | Description of items |  |  |  | Unit |  | Amount
| Quantity |  | Rate
a) | Cost of Schedule Items except Less steel Items
1 | Dismantling c.c.plain 1:3:6 (P/10-19,b)
| 1333.92 | Cft |  | 1306.8 |  | %Cft | Rs. | 17432
2 | Dismantling cement concrete reinforced separating reinfor cement from concrete cleaniang and straightening the same (P/10-20).
| 6.7 | Cft |  | 5445 |  | %Cft | Rs. | 365
3 | Scraping white wash or colour wash (P/13-54,a)
| 19951.57 | Sft |  | 75.63 |  | %Sft | Rs. | 15089
4 | Scraping ordinary distemper oil bound distemper or paint on walls.(P/13-54,b)
| 41161.29 | Sft |  | 226.88 |  | %Sft | Rs. | 93387
5 | P/L 1:3:6 c.c.solid block masonary wall above 6" in thickness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-23)
| 203.01 | Cft |  | 14621.44 |  | %Cft | Rs. | 29683
6 | P/L 1:3:6 c.c.solid block masonary & below in 6" thikness set in 1:6 C.M in ground floor superstructure i/c racking out joints & curring etc complete.(P/19-24)
| 233.91 | Cft |  | 15771.01 |  | %Cft | Rs. | 36890
7 | Cement concerete plain i/c placing compacting finishing and curing, concrete (including screeening and washing at stone aggregate without shuttering ratio 1:4:8 (P/16-5-i)
| 1193.87 | Cft |  | 11288.75 |  | %Cft | Rs. | 134773
8 | Cement plaster (1:4) upto 12' height 3/4" thick (Only for block masonary work) (P/52-11,d)
| 3240 | Sft |  | 3191.76 |  | %Sft | Rs. | 103413
9 | R.C.C. work i/c all labour and material except the cost of steel reinforcement and its labour for bending and binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering and finishing the exposed surface (i/c screening and washing of shingle) (a) R.C. work in roof slab, beams coloumns rafts, lintels and other structural members laid in situ or precast laid in position completed in all respect ratio 1:2:4 (P/16-6,a-i).
| 96.6 | Cft |  | 337 |  | P.Cft | Rs. | 32554
10 | P/F 3/8" thick marble tiles of approved quality and colour and shade size 8" x 4" / 6" x 4" in dado skirtin and facing removal / tucking of existing plaster surface etc. Over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c fillin the joints and washing the tiles with white cement slurry, currint finishing, cleaning and polishing etc complete (ii) on old works (P/49-68-ii)
| 40 | Sft |  | 201.07 |  | P.Sft | Rs. | 8043
11 | P/L 3" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 .(P/42-16,d)
| 4499.15 | Sft |  | 4411.82 |  | %Sft | Rs. | 198494
12 | M/F Notice board made with cement sand on walls (P/95-1)
| 144 | Sft |  | 58.11 |  | P.Sft | Rs. | 8368
13 | RCC Spout i/c fixing in position 2-1/2" x 6" x 5" (P/18-14).
| 5 | Nos |  | 261.25 |  | Each | Rs. | 1306
14 | P/L 2" thick topping c.c.i/c surface finishing & dividing into the panells ratio 1:2:4 .
| 401.92 | Sft |  | 3175.5 |  | %Sft | Rs. | 12763
15 | Extra labur for each storey above ground for mosaic, conglomerate or tiles, stone and wooden floor (P/42-18)
| 401.92 | Sft |  | 226.88 |  | %Sft | Rs. | 912
16 | Two coat of bitumen laid hot using 34 lbs for %Sft over roof and blinded with sand at one cft per %Sft (P/35-13).
| 401.92 | Sft |  | 1887.4 |  | %Sft | Rs. | 7586
17 | Extra labour for bitumen.
| 401.92 | Sft |  | 245.36 |  | %Sft | Rs. | 986
18 | Distempring three coats.(P/54-24,C)
| 55343.65 | Sft |  | 1079.65 |  | %Sft | Rs. | 597518
19 | Painting doors & windows any type new surface three coats.(P/69-5,c)
| 350 | Sft |  | 2116.41 |  | %Sft | Rs. | 7407
20 | Preparing surface and painting guard bars, gates of iron bars railaings (i/c standards braces etc) and similar open work three coats (P/70-5,d)
| 224 | Sft |  | 1270.83 |  | %Sft | Rs. | 2847
21 | P/F railing for curtains with deodar wooden patti i/c fixed in walls with screws etc complete (P/109-90)
| 168 | Sft |  | 347.49 |  | P.Sft | Rs. | 58378
22 | S/F window printed blinds (Horizontal / Vertical) with plain design and of approved colour i/c fixing in windows with necessary accessoriesn (P/67-71)
| 168 | Sft |  | 347.49 |  | P.Sft | Rs. | 58378
23 | Painting Old surace painting doors and windows any type three coats (P/68-4,c)
| 168 | Sft |  | 976.58 |  | %Sft | Rs. | 1641
24 | P/L tiles glazed 6" x6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick i/c washing and filling of joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc complete i/c cutting tiles to proper profile (P/47-60).
| 172.5 | Sft |  | 30509.77 |  | %Sft | Rs. | 52629
25 | Glazed tile dado 1/4" thick laid in pigment over 1:2 cement sand mortar 3/4" thick i/c finishing (P/45-38).
| 552.5 | Sft |  | 28299.3 |  | %Sft | Rs. | 156354
26 | P/F in position, doors windows and ventilators of first class deodar wood frames, and 1-1/2" thick teak wood, ply shutters of 2nd class deodar wood skeleton (solid) styles and rails core of partal wood and Teak Ply wood (3-ply) on both sides i/c hold fasts, hinges, iron tower bolts, handles and cleats with cord etc complete (P/65-57).(Only shutters)
| 192.5 | Sft |  | 811.73 |  | P.Sft | Rs. | 156258
27 | Laying floor of approved coloured glazed tiles 1/4" thick laid in white cement and pigment on a bed of 3/4" thick cment mortar 1:2 (P/43-25).
| 300 | Sft |  | 27747.06 |  | %Sft | Rs. | 83241
28 | S/F in position Aluminium channels framing for slidding windows & ventilators of Alcop made with 5mm thick tinted glass glazing (Belgium) & Aluminium fly screen i/c handles stoppers & locking arrangement etc complete (b) deluxe model (Bronze) (P/108-84,b)
| 172 | Sft |  | 1647.69 |  | P.Sft | Rs. | 283403
29 | Fabrication of steel reinforcement for c.c.i/c cutting, bending, laying in position, making joints and fastening i/c cost of binding wire (also removal of rust from bars) (using tor bars) (P/18-7,a).
| 5.18 | Cwt |  | 5001.7 |  | P.Cwt | Rs. | 25909
30 | S/F in position iron steel grill 3/4"x1/4" approved design & shape i/c painting 3 coats.(P93-26).
| 448 | Sft |  | 180.5 |  | P.Sft | Rs. | 80864
31 | M/F steel grated door with 1/16" thick sheeting i/c angle iron frame 2" x 2" 3/8" and 3/4" square bars 4" centre to centre with locking arrangement (P/92-24).
| 112 | Sft |  | 726.72 |  | P.Sft | Rs. | 81393
32 | P/F G.I.frames / chowkhats of size 7" x 2" or 4-1/2" x 3" ifor door using 20 guage G.I.sheet i/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage, tools and plants used in making and fixing (P/93-29)
| 139.5 | Rft |  | 228.9 |  | P.Rft | Rs. | 31932
33 | P/F iron steel grill using solid square bars of size 1/2"x1/2" placed ant 4" c/c and frame of flat iron patti of 3/4" x 3/4" i/c circle shape at 1-0 apart equivalent fitted with screws are pins i/c painting 3 coats with Ist coat of red oxide paint etc (P/94-30)
| 288 | Sft |  | 194.16 |  | P.Sft | Rs. | 55918
34 | Expanded metal 1/2" to 3/4" mesh 16 gauze fixed in chowkats with 1 cover moulding and screws including teak wood frame 2" x 2" (P/58-6)
| 192 | Sft |  | 334.24 |  | P.Sft | Rs. | 64174
[6 empty] | Total | Rs. | 2500288
__________%above/below
( CONTRACTOR SIGNATURE )
b) | Cost of Non schedule Items
35 | Removing of dismantling existing warm out concrete to damaged because of errestion by any other reason wire brushing the surface chiseling of facted concrete removing rust from reinforcement bars and sand reparing the same for total removal and cleaning of rust and applying required No of coats of binding against the directed of Engineer / Incharge (R.A).
| 615.88 | Sft |  | 35.89 |  | P.Sft | Rs. | 22104
36 | Treatment of fragmented and decayed c.c.St: members with cement sand mortar 1:3 nearer mix in layer of 2"x2/12 thick after applying suitable slurry of bending against water and cement 1:3 between now and welf surface could be proced finly on the prepared and primary usded fully completed. This rate also i/c all kinds of toos and planted req: for proper application & material complete of andisture along with arrangment for supporting the st: members (R.A).
| 615.88 | Sft |  | 137.77 |  | P.Sft | Rs. | 84850
37 | Providing earth at site passing 4 sieve and plasticity index less than 6 watering by adding optimum moisture content, compacting up to 95% of relative dry density by using mechanical means, under floors & other desired areas as per approved section (Rate includes the cost of earth) (R.A)
| 3499.15 | Cft |  | 19.05 |  | P.Cft | Rs. | 66659
38 | P/L floor of Verona marble tiles of size 12" x 12" x 3/4" fine dressed on the surface without winding set in white cement laid over 3/4" thick bed of 1:2 grey C.M setting the tiles with grey cement slurry. Jointing and washing the tiles with sulrry of white cement and pigment to match the colur of the tiles i/c curing, grinding, rubbing and chemical polishing etc complete i/c cutting tiles to proper profile (R.A).
| 320 | Sft |  | 310.43 |  | P.Sft | Rs. | 99338
39 | P/L porcelain tiles glazed 16"x16"x1/4" on floor or wall facing in required colour and patterns in white cement & pigment over a base of 1:2 grey cement mortar 3/4" thick washing and filling of joints with slurry of white cement and pigment in desired shape with finishing & coats of wax polish in/c cutting tiles to proper profile (R.A).
| 217.94 | Sft |  | 262 |  | P.Sft | Rs. | 57100
40 | Removing dabries for 20 miles.
| 1340.62 | Cft |  | 1227.8 |  | %Cft | Rs. | 16460
41 | Difference of S.R Cement (R.A)
| 149.23 | bag |  | 40 |  | P.bag | Rs. | 5969
[6 empty] | Total | Rs | 352480
| __________%above/below |  |  |  | EXECUTIVE ENGINEER
EDUCATION WORKS DIVISION-I
KARACHI
( CONTRACTOR SIGNATURE )