SCHEDULE-B

M/R to Main Pump Room at PMC&H Nawabshah. (New Pump Sets)

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

- Providing and fixing  circuit breaker 125,150 , 200 and 225 amps  TP(XS225 –NS)

On a prepared board as required (S.I.NO;208-P-31)

2-Nos:	25541/-	Each	51,082/-

2)	Providng and fixing  magtnetic contactor FC 130-No:as required  and as per instruction of EI ( S.I.No:257 p-37)

02-Nos:	32860/-	Each       65,720/-

3)	Providing and fixing over load  relays for sizes 11 and above  model FT 300 as

Per  instruction  of  EI.  (S,I.No:267 page-38 )

2 Nos         46956/-          Each     93,912/=

4)	Providing and fixing  ammeters size 96/96 mm direct 15 A	30 A60A &100amps

As required and as per  instruction of E,I,(S,I,NO;284 P; 41)

2-Nos:	1054/-	Each	2,108/-

5)	P/F volt meter  size 96x96 mm 500 volts as required and as per instruction of E.I

(S.I..No:285P-41)

2-Nos:	999/-	Each	1,998/-

6)	Providing and fixing  timer 500 hours power backup  (National ) after removing of         existing  burnt damage old timer after  disconnection of main  power supply and reconnection the same after fixing the  timer  as required as per instruction of E.I

(S.I.No:288 p-41)

2-Nos:	9609/-	Each	19,218/-

7)	Providing and laying  Main or Sub- Man  PVC  insulated wire with size 4/.07/.064           PVC ( 16  mm2 ) Copper  conductor in 1 ½  dia PVC conduit  recessed in the wall or

Columns as required (S.I.No:42 p—6)

50-Mtr:	1213/-	P-Mtr:		60,650/-

8)	Providing and laying  main or sub-main PVC insulated and PVC sheated  with  4 core

Copper conductor 600/1000 volts size 76 mm 2 (S.I.NO;106.P-12)

44—Meters 4722/-         per mtr:		207,768/- 					__________

Total=          502,456/-

__________

PART B ) NON SCHEDULE ITEMS)

- Boring tube well  in all water bearing soil  from ground level up to 100 ft or

30.5 Mtr: depth  sinking and drawing of casing  pipe 300 mm or 12” dia

200.rft		p-rft

2)  	 Boring tube well  in all water bearing soil  from ground level up to 100 ft or

30.5 Mtr: to 61 mtr: depth  sink and drawing of casing  pipe 300 mm or 12” dia

160.rft		p-rft

3)   	 Providing and laying  UKPVC pressure pipes of class D aquiline  make fixing                                                               	entrench of boring  i/c cutting fitting and joints  with one rubber  ring seal  i/c testing     with water to a  head 122 mtr: or 400 rft  in all respects

320-RFT		P.Rft

4)		Providing and  fixing  of   M.S  ball  plug.

4-Nos:		Each

5)		Providing and fixing G.I. bend (China make )

8-Nos:		Each

6)		Providing  and fixing of 3 phase motor pump set  25 (HP horse power make  siemens company  having  suction and delivery of size 6”x6” dia and an other pump set of size 05 HP Motor pump set  440 volt 3 phase  having suction and delivery of size 2-1/2” dia i/c both pump sets  fixed  on  separate  C .I .channel  stand with nut bolt and rubber coup line etc complete as directed as site incharge .

2-Nos:			 Each

7	P/F of water pump size 5/6”  i/c railing for pulley for bolt  and nuts etc complete

2-Nos:			  Each

8)	Providing and fixing  check valve 6/8” dia brass approved quality.

2-Nos:			      Each

9)	Providing and fixing  of G.I. matel Box 18”x24”i/c cost of nut bolts krawal bolts ketc complete

2-Nos:			     Each

10)      Providing and fixing  main panel board double shutter to accommodate heavy duty

Circuit  breaker  i/c painting with enemelled paint for other similar job on surface

21.SFT		P.SFT

11)Providing and laying  of over head services wire PVC  shearted almunam conductor

With the size of 2-7/.052 i/c connection of main supply

200-Mtr:		P=Mtr:

_________

Total=

__________

Contractor				         			        Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B

M/R to Trauma Centre at PMC&H Nawabshah. (Installation of A.C)

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point 		12-Nos:	   910/-		Each		10920/-

2)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15

10-Nos:            742/-           Each             7420/-

3)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:31p-1)

126Mtr:	    171/-             P-Mtr:           21546/-

4) P/F Circuit breaker 6 amps to 63   SP (TB SS)  on a prepared board(S.I.No: 203-p31)

9-Nos:           916/-            Each               8244/-

5)Providing and laying (Main or Sub-Main PVC insulated  and PVC Sheated  with two core

Copper conductor 300/5// volts size 10 mm2 (S.I.NO:63 P-08)

280-Mtr:       375/-             P-Mtr:           105,000/-

__________

Total=	153,130/-

__________

(PART B NON SCHEDULE ITEMS)

1) P/F energy sever superior quality

130-No:                 		   Each

2) S/F  AC ceiling fan56 sweep  size pak fan GFC SK  company  i/c fixing                                                                     and wiring connection etc complete

72-Nos:           		Each

3)  P/F of split A/C 1.50 ton  18000 BTU 3220 volts Mitsubishi made i/c  fixing

Copper piping  insulation i/c angle iron stand red rowel bolts etc complete

10-Nos:                                Each

4)  Providing and installation  of stabilizer 10000 watt made of copper winding

Good quality wiring between  a.c and stabilizer  complete in all respects

10-Nos:        32000/-          Each

_________

Total=

___________

Contractor				        Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad

SCHEDULE-B

CONSTRUCTION OF CRICKET STADIUM AT MEHRABPUR TALUKA MEHRABPUR  DISTRICT NAUSHEHRO FEROZE (PROVIDING INTERNAL ELECTRIFICATION.

| S.NO: | ITEM OF WORK | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |

(PART A SCHEDULE ITEMS)

1.  Wiring for light or fan point with 1.1.13/.029)PVC insulated wire in 20 mm PVC

Insulated wire in ¾ PVC conduit recessed in the wall or columns as required(SINO:129/p:15)

Light point 		15-Nos:	   910/-		Each		13650/-

Fan point	                                           02-Nos:	    910/-             Each.	             1820/-

2)  Wiring  for plug point with 1.1.13(3/.029) PVC insulated wire in 20 mm ¾ PVC conduit recessed in the wall or columns as required (S.i.no:130P-15

4-Nos:            742/-           Each                2968/-

3)  Wiring for main with 2-7/.029)PVC insulated wire in 20 mm PVC conduite recessed in the wall or columns as required (SINO:31p-1)

30-Mtr:	    171/-             P-Mtr:             5131/-

4)  )  Wiring for main with 2-7/..036)PVC insulated wire in 25 mm PVC conduite recessed in the wall or columns as required (SINO4.p-1)

15- Mtr:	   200/-              P.Mtr:		3000/-

5)P/F flush type 2 pin 5amps  switch flush l type on a prepared board  in the wall or columns as required(S.I.No:225 p-25

04-Nos:       83/-                 Each                 332/-

6) P/F Circuit breacker 6 amps to 63   SP (TB SS)  on a prepared board(S.I.No: 203-p31)

2-Nos:          916/-                Each                1832/-

7) Providing  and fixing  brass baton  holder (S.I.No:232 P=33)

15-Nos:         70/-                 Each.                1050/-

8) P/F SP one way  switch flush type (S.I.NO:219.p33)

17-Nos:	54/-	Each	918/-

9) P/F  backlit ceiling rose with two terminals (S.I.NO;228P—33)

2-Nos:    	72/-	Each	144/-

________

Total=	     30,844/-

_______

(PART B EXTERNAL SCHEDULE ITEMS)

- Providing and fixing  of MS hexagonal pole as  following specification to be fixed

On precast  foundation with help  of hydraulic crane and manual  labour 40 ft  long

With dia  of pole at the top 4” bottom 12” Wall thickness 6mmm Base plate 24”x24”x1”

Stiffener 12”x6”x1/2” 8-Nos” Holes 6 Nos: Making  window in the pole required

Size with  LN key  provision  Two coats red oxide  as rust preventive  Two coat of oil       paint as per site Requirement and instruction of E.I  (S.I.NO:135 P-17)					4-Nos:            109843/-   Each                439372/-

- P/F  Flood light 400 watt s (SON)  having  IP 65  classification with 400 watt  lamp

Choke capacitor , igniter and internal wiring complete in all  respect at the height

Up ;to 40 ft with the help hydraulic crane and manual labour  as per  site requirement

And instruction of E>I> (SS.I.NO;166-p-26)

16-Nos          17585/-       Each                   281360/-

3)   Construction of RCC foundation  as per following specification and instruction  of  E.I	For 40/50 ft  long hexagonal pole 18”x6”, Excavation of soft/ hard  soil 4’x4’x6” Stone           soling 4’x4’x6”  making lean in The ratio  of 1:4:8  legnth of  MS pole Bolt 9 ½”(1 ¼” dia) 8 Nos: and  making Thread of MS rod  tempate 22’x22’x ¼” Rniongs ¼”  dia  round bar to  the welded With MS rod  RCC foundation  ratio 1:2:4 with appropriate size2.5”x2.5”x8.5”

(S.I.NO;141p-19

4-Nos:          31580/-       Each                126320/-

4)      Providing and laying Main or Sub-Main  PVC  insulated and PVC sheated  with  4 core

Armoued copper conductor 600/1000 volts size 16mm2 (S.I.NO;113P-134)

225-Mtr’    1679/-            P-Mtr:             377,775/-

5)      Providing and fixing  circuite breaker 125,150,.200,and 225 amps TP(XS225 NS)

On a prepared as required (S.I.No:208p-31)

02-Nos:     25541/-           Each                 51082/-

11)    P/F circuit bracker 15 amps to 60 amps TP XE-100 on a prepared as required.                                                            ,                                                                      04-No:           5521/-      Each                  22084/-

_________

Total=	   1381943/-

(PART B NON SCHEDULE ITEMS)

1)  P/F   main Pannel board  double shutter to accommodate heavy duty circuit breackerr

i/c painting  with enemelled paint for other similar job on surface

08 SFT                		 Each

2) P/F energy sever superior quality

15-No:            		 Each

5) P/F Earthing set with  2x2x1/4 copper plate buried in the ground at a depth  of  12 ft or  less if the water comes  out from the ground level  with salt and cholorocal  etc i/c providing G.I. pipe and copper wire size size 8 SWG in all respe

5-No:                                  Each

__________

Total=

_________

Contractor				        Executive Engineer

Provincial Buildings Division

Shaheed Benazir Abad