SCHEDULE-B	RENOVATION / REHABLITATION OF DATE PALM KOT DIJI DOSTRICT KHAIRPUR

S.NO		ITEM  OF  WORK		QTY:			RATE		UNIT	AMOUNT.

1/-	Dismantling cement concrete plain (1:2:4) etc complete (S.I no:19(c)P.NO:10)/.

Qty: 410 Cft		@Rs: 5445/-					% Cft		RS:22325/-

2/-	Removing  cement or lime plaster (S.I No:53 P.NO:14).

Qty: 4401 Sft		@Rs:121/-					% Sft		RS: 5325/-

3/-	Scraping Ordinary oil bond under distemper etc.

Qty: 9668 Sft		@RS: 226.88					% Sft		RS:21935/-

4/-	Applying Floating Coat of cement 1/32” thick (S.I No: 14 P.NO:59).

Qty:4401 sft		@Rs:660/-					% Sft		RS: 29047/-

5/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick. (S.I No:     P.NO:       ).

Qty:4401 sft		@Rs:2206.60					% Sft		RS:97112/-

6/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick. (S.I No:     P.NO:       ).

Qty:4401 sft		@Rs:2197.52					% Sft		RS: 96713/-

7/-	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty: 413 cft		@RS: 14429.25				% Cft		RS: 59593/-

8/-	Laying white marble flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty: 1018 Sft		@RS: 567.68					P.Sft		RS: 577695/-

9/-	Laying white marble dado fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.28 (a) P-43)

Qty: 315 Sft		@RS: 567.48					P.Sft		RS: 179324/-

10/-	Providing and laying tile glazed (6”x 6”1/4”) on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I.o. 60, P. No.47)

Qty: 3486 Sft		@RS: 30509.77				% Sft		RS: 1063571/-

11/-	Supplying & Fixing in position Aluminum channel framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks including handles stoppers etc (S.I NO:83 P.NO:108)

Qty: 217 Sft		@RS: 1507.66					P.Sft		RS: 327162/-

12/-	Supplying & Fixing in position Aluminum channel framing for windows using  or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks including handles stoppers etc (S.I NO:83 P.NO:108)

Qty: 108 Sft		@RS: 1647.69					P.Sft		RS: 177951/-

13/-	First class deodar wood  wrought joinery  in doors & windows  etc fixed in position  including  hold fasts hinges  iron  tower bolts chock, cleats  handles  and  cords  with hooks etc complete.(S.I No: 54 P.NO:  65).

Qty: 359 Sft		@RS: 1273.70					P.Sft		RS: 457258/-

14/-	Providing & Fixing Colour Create  to wall surface to provide etc complete

Qty: 2904 Sft		@RS: 6319.50					% Sft		RS: 183518/-

15/-	Single Layer of tiles 9”x4 ½”x2” laid over 4” earth 1” mud plaster w/o bhoosa grouted with cement sand (1:3) on top of R.C.C slab etc complete.

Qty: 4797 Sft		@RS: 5310.35					% Sft		RS: 254737/-

16/-	Supplying & Fixing false ceiling  of plaster , in panels including making frame , work of deodar wood including painting with soligia paint.(S.NO:52 P.NO:64).

Qty: 1260 Sft		@RS: 25293.42				% Sft		RS: 318697/-

17/-	Providing & Fixing plaster of pairs ceiling border of 8” -10” with of specified design & thickness i/c fixing besides ceiling with nails/screws with jetties.(S.I No:44 P.NO:39)

Qty: 314 rft		@RS: 104.22					P.Rft		RS: 32725/-

18/-	Galvanized wire gauze fixed to choakats with ¾” strips (S.I no: 14 P.NO:60).

Qty: 108 Sft		@RS: 190.22					P.Sft		RS: 20544/-

19/-	P/L HALA pattern tiles glazed 8”x8”x¼” on floor of wall facing in required pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing cleaning and cost of wax polish etc. complete i/c cutting

Qty: 224 Sft		@RS: 47651.56				% Sft		RS: 106739/-

20/-	Making & Fixing Steel Graed Door complete with locking arengement iron frame 2”x2”x3/8” and ¾” sq: bars 4” center to center (S.I NO: 23 P-97).

Qty: 84 Sft		@RS: 726.72					P.Sft		RS: 61044/-

21/-	Supplying & Fixing in position Aluminum channel framing for SLIDES USING  or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks including handles stoppers etc (S.I NO:83 P.NO:108)

Qty: 32 Sft		@RS: 1394.69					P.Sft		RS: 44630/-

==================================

Total					RS: 4137645/-

PART-B PATH

S.NO		ITEM  OF  WORK		QTY:			RATE		UNIT	AMOUNT.

01/-	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4)

Qty: 1800 Cft		@RS: 3176.25				%0Cft			RS: 5717/-

2/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15)

Qty: 450 Cft		@RS: 8694.95				% Cft			RS: 39127/-

3/-	Pacca Brick work in  foundation / Plinth  in cement sand  mortar Ratio 1:6 (S.I No:   P.NO:    ).

Qty: 2373 Cft		@RS: 11948.36			% Cft			RS: 283535/-

4/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty: 2400 Cft		@RS: 2206.60				% Cft			RS: 52958/-

5/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick.

Qty: 2400 sft		@RS: 2197.52				% Sft			RS: 52740/-

6/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15)

Qty: 2400 Cft		@RS: 9416.28				% Cft			RS: 225991/-

7/-	P/F cement paving blocks flooring having size of 197x97x80(mm)of cuty/ quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc. complete. (S.I. No.74 P. No.50).

Qty:  4800 Sft		@RS:223.97				P.Sft			RS: 1075056/-

==================================

Total					RS: 1735124/-

S.NO 		NAME OF WORK		QTY:		 RATE	      	 UNIT	       AMOUNT.

(PART-C   Sch: Item  W/S  S/F)

1/-	P/F squatting type white glazed of flushing cistern with internal fitting and flush pipe with band and making requisite Nos. of holes in wall plinth & floor for pipe connections and making good in cement concrete 1:2:4. (A) W.C pan of not less than 23” clear opening between flashing rims and 3 gallons flushing tank. With 4” dia C.I. tape. (S.I.NO.1(A) P.No.1)

Qty:01 Nos		@Rs:4802/60			each			RS:4803/-

2/-	P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connections & making good in CC 1:2:4. (S.I. No. 20 P. No.5)

Qty:01 Nos		@Rs:2042/43			each			RS: 2042/-

3/-	Providing & Fixing Nylon connection  complete with  ½” dia Brass stop cock  with pair  of brass  nuts  and lining  joints  to nylon  connection (S.I No:23 P-6).

Qty:02 Nos		@Rs:447/15			each			RS:894/-

4/-	Supplying and fixing long bib-cock of superior quality with C.P. head ½” dia.

(S.I.NO.15(a) P. No.15)

Qty:03 Nos		@Rs:1109/46			each			RS: 3328/-

5/-	Supplying and fixing concealed stopcock of superior quality with c.p head ½” dia.

(S.I.NO.13 (a) P. No.15)

Qty:03 Nos		@Rs:509.74			each			RS: 1529.22

6-		Supplying and fixing jet shower with rod of superior quality with c.p head ½” dia.

(S.I.NO.17 P. No.15).

Qty:01 Nos		@Rs:1142/24			each			RS:1142/-

7/-	P/F 22”x16” lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6” built into wall painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1-1/2” dia rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or c.p brass traps malleable iron or brass union & making requisite number of holes in walls plinth & floor for pipe connection and making good in cement concrete 1:2:4 (standard pattern). Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 8 P. No.3).

Qty:01 No		@Rs:4694.80			each			RS:4695/-

8/-	Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 9 P. No.3)

Qty:01 nos		@Rs:938/47			each			RS:938/-

9/-	Providing & Fixing Swan type pillar cock etc complete

Qty:01 No			@Rs:795/-		each			RS:795/-

9/-	Providing & Fixing Handle valves  (china) etc complete

¾” Dia 		02 No		@Rs:271.92		each			RS: 544/-

1” Dia		05 No		@Rs:365.42		each			RS: 1827/-

==================================

Total				RS: 23649/-

PART-C- NON SHEDULE ITEM

01/-	P/F UPVC pipe ¾” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee / elbow etc .or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.c i/c curing rinishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty:32 rft		@Rs:83/-			P.rft				RS:2656/-

02/-	P/F UPVC pipe 1” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee / elbow etc .or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.c i/c curing finishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty: 188 rft		@Rs:91/-			P.rft				RS:17108/-

03/-	P/F UPVC pipe 4” dia PAK-ARAB) SCH-40 surface by using clip /saddler/socket/reducer/bush/tee /  etc . or recessed in masonry C.C or R.C.C upto 20’ ft. height and making good wih C.C i/c curing finishing etc complete as per instruction of the Engineer In charge ,.Specification of the material should meet the requirement of class 12454-Bin accordance with the ASTM-D-1784 type 1 Grade 1. rate include all costs of labor ,material, cartage scaffolding ladders .etc complete (R.A Sanction).

Qty:11 rft		@Rs:290/-			P.rft				RS: 3190/-

==================================

Total			RS: 22954/-

(PART-E   Public Health  Schedule

1/-	Providing UPVC pressure  pipes of class “C” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to head of 61 meter or 200ft. 4” dia. (P.H.E)  (S.I.No. 01 (b) P.No.22)

6” dia 	58 rft		@Rs:373/-			P.Rft			RS: 21634/-

2/-	Boring for tube well in all water bearing soils from ground level up-to 100 ft or 30.5 meter depth i/c sinking and with drawing of casing pipe. (100 mm 4”) (S.I.No. 01 (b) Page No.36).

4” Dia

Qty: 50 rft		@Rs:242/-			P,rft			RS:12100/-

3/-	Construction of manhole  or inspection chamber  for the required dia  of circular sewer   and 3’-6’ (1067 mm ) depth with walls  of B.B  in cement mortar  1:3 cement plaster  1:3 ½”  thick in side 1”  (25 mm ) thick over  beching  and channel i/c  fixing C.I main hole cover with frame of clear opening  1 ½”x 1 ½”” 457x457 mm) of 1.75 cwt . (88.9 kg) embedded in plain c.c 1:2:4) & fixing (25 mm) dia M.S steps 6” 150 mm)   white projecting 4” (102 mm) from the face of walls at 12” (305 mm) c/c duly painted etc complete as per standard specification & drawing.(S.I No- P-46).

Qty:03 No		@Rs:14748/-			P.rft			RS:44244/-

___________________________________

Total					RS: 77798/-

CONTRACTOR					                 EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD