SCHEDULE-B

NAME OF WORK:-	RENOVATION OF AGRO PROCESS ZONE @ DISTRICT KHAIRPUR.

S.NO      NAME OF ITEM	QTY:				RATE	UNIT 		AMOUNT

01/-	Removing  cement or lime plaster (S.I No:53 P.NO:14).

Qty: 1239 Sft			@RS: 121/-	% Sft		RS: 1499/-

02/-	Applying Floating Coat of cement 1/32” thick (S.I No: 14 P.NO:59).

Qty: 1239 Sft			@RS: 660/-	% Sft		RS: 8177/-

03/-	Cement Plaster 1:6 up to 20’-0’ height ½” thick. (S.I No:     P.NO:       ).

Qty: 1239 Sft			@RS: 2206.60	% Sft		RS: 27340/-

04/-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick. (S.I No:     P.NO:       ).

Qty: 1239 Sft			@RS: 2197.52	% Sft		RS: 27227/-

05/-	Two coats of bitumen laid hot using 34 Lbs for % Sft. Ober roof and blinded with sand at one Cft. Per % Sft.(S.I 13 P.NO; 35)

Qty: 2697 Sft			@RS: 1887.40	  % Sft		RS: 50903/-

06/-	Cement pointing   struck joints on walls 1:2.(S.I NO: 19 (i)

Qty: 402 Sft			@RS: 1726.73		% Sft	RS: 6941/-

07/-	Cement pointing   struck joints on walls 1:2.(S.I NO: 19 (a) P-53)

Qty: 2120 Sft			@RS: 1287.44		% Sft	RS: 27294/-

08/-	Laying white marble flooring fine dressed in the surface without winding set in lime mortar 1:2 i/c rubbing and polishing pf the joints (a) ¾” thick flooring. (S.I.NO.28 (a) Page No. 43)

Qty: 90 sft			@RS: 567.48		P.Sft	RS: 51073/-

09/-	Supplying & Fixing false ceiling  of plaster , in panels including making frame , work of deodar wood including painting with soligia paint.(S.NO:52 P.NO:64).

Qty: 792 Sft			@RS: 25293.42	% Sft	RS:200324/-

10/-	Providing & Fixing plaster of pairs ceiling border of 8” -10” with of specified design & thickness i/c fixing besides ceiling with nails/screws with jetties.(S.I No:44 P.NO:39)

Qty: 231 Rft			@RS: 104.22		P.Rft	RS: 24075/-

11/-	Painting guard bars, gates iron bars gratings , railings including standard braces (etc.) and similar open work.(S.I NO: 1 P.NO: 69)

Qty: 847 Sft			@RS: 977.40		% Sft	RS: 8279/-

12/-	Painting Old Surface Panting doors & window  any type 02 coats.(S.I NO:     P.NO:     ).

Qty: 1026 sft			@RS: 2116.41		% Sft	RS: 21714/-

13/-	White washing. 03 three coats (S.I NO: 26 ©P.NO: 54).

Qty:2074 sft			@RS:829/95	% Sft		RS:17213/-

14/-	Galvanized wire gauze fixed to choakats with ¾” strips (S.I no: 14 P.NO:60).

Qty: 206 sft			@RS: 190.72		P.Sft	RS: 39288/-

15/-	Distempering 02 coats.(S.I NO:     P.NO:     ).

Qty: 6509 Sft			@RS: 1043.90		% Sft	RS: 67947/-

====================================

Total					RS: 579294/-

PART-B COMPOUND WALL

| S.NO | NAME OF WORK | NO:L.B.D | = | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.5) |  |  |  |  |  |  |
|  |  | Total | = | 1951 Cft | 3176.25 | %0Cft | 6197/- |
| 02 | Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (b) P.No.17) |  |  |  |  |  |  |
|  |  | Total | = | 488 Cft | 8694/95 | % Cft | 42431/- |
| 03 | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20) |  |  |  |  |  |  |
|  |  |  |  | 43.857 cwt | 5001.70 | P.cwt | 219360/- |
| 04 | R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I NO: 6 P-19) |  |  |  |  |  |  |
|  |  | Total | = | 1104 cft | 337/- | P.Cft | 372048/- |
| 05/- | Random Rubble masonry (Un-Coursed )including hammer dressing in cement /sand mortar Ratio (1:6).(S.NO: 1 (iv)P26) |  |  |  |  |  |  |
|  |  | Total | = | 694 cft | 17723/- | %Cft | 122998/- |
| 06 | Coursed Rubble Masonry including hammer dressing in cement sand mortar Ratio (1:6). (S.I NO: P.NO: ) |  |  |  |  |  |  |
|  |  | Total | = | 1215 cft | 25321/- | % Cft | 307650/- |

| 07 | Paca Brick work in other than building including sticking of joints upto 20’ height in (e) cement sand mortar ratio 1:6. (S.I.No.7(i-e) P.No.26) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Total | = | 2053 cft | 12346.65 | % Cft | 253477/- |
| 08 | Cement Plaster 1:6 up to 20-0 height ½” thick (S.I NO: P.NO: ). |  |  |  |  |  |  |
|  |  | Total | = | 5920 sft | 2206.60 | % Sft | 130630/- |
| 08 | Cement Plaster 1:4 up to 20-0 height 3/8” thick (S.I NO: P.NO: ). |  |  |  |  |  |  |
|  |  | Total | = | 5920 sft | 2197/52 | % Sft | 130093/- |
| 09 | Cement Pointing flush on stone work (S.I NO: P.NO: ). |  |  |  |  |  |  |
|  |  | Total | = | 2220 Sft | 1758/08 | % Sft | 39029/- |
| 10 | Preparing the surface and painting with weather coat of approved make to old weather coat surface.(S.I NO: 39(b) A P-56) |  |  |  |  |  |  |
|  |  | Total | = | 5920 sft | 2118.33 | % Sft | 125405/- |

Total:         1749318/-

PART-C     ROAD

Laying to proper line and grade thick plant mixed ASPHALT concrete paver finished hydraulic/electric control to specified formula according to job mix formula approved by Engineer/Incharge including rolling and finshed to proper line grade level and camber etc complete Rate i/c all cost of materials T & P and carriage up to site of work.

@RS: 11501.10		P%Sft			RS: 984494/-

=====================================

Total				RS: 984494/-

PART-D

S.NO	ITEM  OF  WORK		QTY:		RATE		UNIT		AMOUNT.

1/- 	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.4)

Qty:1024 Cft		@RS:3176/25			% Cft			RS:3252.48

02/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (c) P.No.15)

Qty:256 cft		@RS:8694/95			% Scft			RS:22259/-

03/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Qty:56.998 cwt	@RS:5001.70				P.cwt		RS:285089/-

04/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty:1755 cft		@RS:337/-				P.Cft		RS:92001/-

05/-	Making & Fixing  Steel grated door with 1/16” thick sheeting  including angle iron frame 2”x2”x3/” and square bars 4” center to center with locking arrangement .(S.I NO:24)P.NO:92

Qty:199 Sft		@RS:726.12				P.Sft		RS:144498/-

06/-	Pacca Brick work in Ground Floor in cement sand mortar Ratio 1:6 (S.I No:     P.NO:      ).

Qty:109 cft		@RS:12674.36				% Cft		RS:13815/-

07/-	Cement Plaster 1:6 up to 20’-0 height ½” thick. ( S.I NO: 13(b)    P:NO:52   )

Qty:109 Cft		@RS:2206.60				 % Sft		RS:6399/-

08/-	Cement Plaster 1:4 up to 20”-0 height 3/8” thick. . ( S.I NO: 11(a) P:NO:52   )

Qty:109 Cft		@RS:2197.52				 % Sft		RS:6372/-

9/-	Providing and laying HALA or gattewrn tilles glazed  8" x 8" x1/4" on floor or wall facing in required  pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slurry of white cement and pigment in desired shape with finishing , cleaning and cost of wax ploish etc. complete including cutting tiles to proper  profile.(S.I NO: 62 P-48)

Qty: 792 sft		@RS: 34520.31			% Sft		RS: 273401/-

Total					RS: 1434380/-

(PART-E   Public Health  Schedule

1/-	Providing UPVC pressure  pipes of class “C” equivalent make fixing in trench i/c cutting, fitting and jointing with “Z” joint with one rubber ring i/c testing with water to head of 61 meter or 200ft. 4” dia. (P.H.E)  (S.I.No. 01 (b) P.No.22)

6” dia 	300 rft		@Rs:373/-			P.Rft				RS: 111900/-

2/-	Boring for tube well in all water bearing soils from ground level up-to 100 ft or 30.5 meter depth i/c sinking and with drawing of casing pipe. (100 mm 4”) (S.I.No. 01 (b) Page No.36).

4” Dia

Qty:50 rft		@Rs:242/-			P,rft				RS:12100/-

3/-	Construction of manhole  or inspection chamber  for the required dia  of circular sewer   and 3’-6’ (1067 mm ) depth with walls  of B.B  in cement mortar  1:3 cement plaster  1:3 ½”  thick in side 1”  (25 mm ) thick over  beching  and channel i/c  fixing C.I main hole cover with frame of clear opening  1 ½”x 1 ½”” 457x457 mm) of 1.75 cwt . (88.9 kg) embedded in plain c.c 1:2:4) & fixing (25 mm) dia M.S steps 6” 150 mm)   white projecting 4” (102 mm) from the face of walls at 12” (305 mm) c/c duly painted etc complete as per standard specification & drawing.(S.I No- P-46).

Qty: 12 No		@Rs:14748/-			P.rft				RS:176976/-

==============================================

Total						RS: 300976/-

CONTRACTOR					               EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD