SCHEDULE-B

NAME OF WORK:-	M/R TO STAFF QUARTERS no:1,2& 3 DATE PALM KOT DIJI DISTRICT KHAIRPUR.

| S# | NAME OF ITEM |  | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

PART-A

1/ 	Dismantling cement concrete reinforcement separating   (S.I No:20 P-1).

.

Qty:292.0 cft			@Rs:5445/-				% cft		RS:15899/-

2-	Dismantling Brick works  in lime  or cement  mortar.(S.I No:13 P-10).

Qty:55.0 cft			@Rs:1285/63				% cft		RS:707

3-	Removing  door with chowakats (S.I NO:33(a)P-12).

Qty:03 Nos			@Rs:142/18				each		RS:427/-

4-	Removing windows & Sky light with chowakats (S.I NI:33(b)P-12).

Qty:02 Nos			@Rs:102/85				each		RS:206/-

5-	Removing  cement  or lime plaster (S.I No:53 P-13).

Qty:1992.0 sft			@Rs:121/-				%.sft		RS:2410/-

6/-	Dismantling glazed or encaustic tile etc (S.I No:55 P-13).

Qty:110 Cft			@RS:786.50				% Cft		RS:865/-

7/-	Pacca Brick work in Ground Floor in cement sand mortar Ratio 1:6 (S.I NO:      P.NO:      ).

Qty:122 Cft			@Rs:12674.36				% Cft		RS:15463/-

8-	Supplying R.S Girder (4”x8”) Material Schedule.

Qty:16.339 cwt		@Rs:3850/-				P.cwt		RS:62906/-

9-	Supplying T-ron (2”x2”x1/4”) size material Schedule

Qty:12.580 cwt		@Rs:3575/-				P.cwt		RS:44975/-

10-	Erecting rolled steel beams or old rails in roof etc erection and fixing in position.

(S.I.No.6 P.No.96)

Qty:28.919 cwt		@Rs:186/34				P.cwt		RS:5403/-

11-	Second class tile roofing consisting of 4” earth and 1” mud plaster with gobri leaping over ½” thick cement plaster 1:6 with 34 Lbs of hot bitumen coating sand blinded provided over one layer of 12”x6”x2” tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc.S.I.NO. 2 Page No. 38).

Qty:674.0 sft			@Rs:7607/25				% sft		RS:51273/-

| S# | NAME OF ITEM |  | QTY: | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |

12/	Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.16)

Qty:181 cft			@RS:14429.25				% Cft		RS:26117/-

13-	Applying floating coat of cement 1/32” thick.

Qty:1992 sft			@Rs:660/-				% sft		RS:13147/-

14-	Cement Plaster 1:6 up to 20’-0’ height ½” thick.

Qty:6953 sft			@Rs:2206/60				% sft		RS:153425/-

15-	Cement Plaster 1:4 up to 20’-0’ height 3/8” thick.

Qty:6953 sft			@Rs:2197/52				% sft		RS:152794/-

16/-	Providing & Fixing colour create  in to  wall surface to (S.I No:44 P-56).

Qty:2400 sft			@Rs:6319/50				% sft		RS:151668/-

17/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Qty:1.419 cwt			@RS:5001.70				P.cwt		RS:7100/-

18/-	R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge. (S.I.No.6 (a-i) P.No. 17)

Qty:19 cft			@RS:337/-				P.Cft		RS:6403/-

21-	Providing and laying tile glazed (6”x 6”x¼” )on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.47)

Qty:352 sft			@Rs:30509/77			% sft		RS:107394/-

22-	Preparing the surface and painting with mat finish paint of approved make to old matt finish surface paris and then painting with weather coat of approved make. (02 Coats)

(old surface) (S.I. No. 37  (a+b)  P. No.61)

Qty:1656 sft			@Rs:2717/-				% sft		RS:44994/-

23/-	Cement Pointing 1:2 flush on stone floor (S.I No: 18 -53).

Qty:263 Sft			@RS:939.57				%.Sft		RS:2472/-

24-	Distempering 02 coats.

Qty:655 sft			@Rs:1043/90				% sft		RS:6838/-

25-	Painting old surfaces:-  (c) Painting  doors and windows any type 01 coats.

(S.I.NO.4 (c) Page No.76)

Qty:417 sft			@Rs:1160/06				% sft		RS:4837/-

26-	Painting old surfaces: Painting guard bars, gates iron bars grating railing i/c standard braces etc. and similar open work. First coats.  (S.I.NO.4 (d-i) Page No.69)

Qty:798 sft			@Rs:674/60				% sft		RS:5383/-

=================================

Total					RS: 883106/-

(PART-B   Sch: Item  W/S  S/F)

1-	P/F squatting type white glazed of flushing cistern with internal fitting and flush pipe with band and making requisite Nos. of holes in wall plinth & floor for pipe connections and making good in cement concrete 1:2:4. (A) W.C pan of not less than 23” clear opening between flashing rims and 3 gallons flushing tank. With 4” dia C.I. tape. (S.I.NO.1(A) P.No.1)

Qty:02 Nos		@Rs:4802/60			each				RS:9605/-

2/-	P/F European type white glazed earthenware wash down w.c pan complete with and i/c the cost of white/black plastic seat (Best Quality) and lid with c.p brass hinges and buffers. 3 gallons white glazed earthen low level flushing cistern with siphon fitting 1-1/2” dia white porcelain enameled flush bend ¾” dia & cutting & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4. (Foreign Quality).

(S.I.NO.4 P. No2)

Qty:01 no		@Rs:11477/40		each				RS:11477/-

3/-	P/F 24”x16” lavatory basin in white glazed earthen ware complete with & i/c the cost of W.I or C.I cantilever brackets 6” built into wall painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1-1/2” dia rubber plug & chrome plated brass chain 1-1/4” dia malleable iron or c.p brass traps malleable iron or brass union & making requisite number of holes in walls plinth & floor for pipe connection and making good in cement concrete 1:2:4 (standard pattern). Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 8 P. No.3).

Qty:02 No		@Rs:4253.70			each				RS:8507/-

4/-	Add extra for labour for providing & fixing of earthenware pedestal white or colored glazed (Standard pattern) .  (S.I.NO. 9 P. No.3)

Qty:02 nos		@Rs:938/47			each				RS:1877/-

5/-	Providing & Fixing Nylon connection  complete with  ½” dia Brass stop cock  with pair  of brass  nuts  and lining  joints  to nylon  connection (S.I No:23 P-6).

Qty:08 Nos		@Rs:447/15			each				RS:3577/-

6/-	P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connections & making good in CC 1:2:4. (S.I. No. 20 P. No.5)

Qty:05 Nos		@Rs:2042/43			each				RS:10212/-

7/-	Supplying and fixing concealed stopcock of superior quality with c.p head ½” dia.

(S.I.NO.13 (a) P. No.15)

Qty:08 Nos		@Rs:889.46			each				RS:7116/-

8/-	Supplying and fixing long bib-cock of superior quality with C.P. head ½” dia.

(S.I.NO.15(a) P. No.15)

Qty:08 Nos		@Rs:1109/46			each				RS:8876/-

9/-	Supplying & Fixing wash-basin mixture of superior quality with C.P head ½” dia

(S.I No: 16P.NO:15)

Qty:02 No’s		@Rs:2882/-			each				RS:5764/-

10/-	Supplying & Fixing swan type pillar cock of superior quality with crystal head

(S.I No: 18(b) P.NO:16)

Qty:03 No’s		@Rs:795.30			each				RS:2386/-

11/-	Supplying & Fixing C.P Muslim shower with double  bib cock & ring pipe etc complete

Qty:02 No’s		@Rs:3432/-			each				RS:6864/-

12/-	Providing G.I pipes special & clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (Internal)(ii) ¾” dia G.I Pipe. (S.I.NO.1 (ii) ) P. No.11)	¾” dia

Qty:100 rft		@Rs:95/79			P.Rft				RS:9579/-

13/-	Supplying & Fixing Bath Room accessories set (7 pieces)  including towel rod, brush holder soap tray shelf of approved quality & design etc complete (S.I No: 22 P-19).

Qty:02 NO’s		@RS:8122.40			each				RS:16245/-

====================================

Total					RS:102085/-

PART-   Non Schedule item

1/-	Providing UPVC pressure pipes of class C equivelant make fixing in trench i/c cutting fitting etc complete….

6” dia   Qty: 25-Rft			@ Rs: 373		P.Rft			  Rs: 9325/-

2/-	Const: of manhole r inspection chamber for the required dia of circular sewer and 3’-6’ (1067) depth with wall of B.B in cement mortar 1:3 cement plaster 1:3 ½” thick in side 1” (25mm) thick over beching and channel i/c fixing C.I main hole cover with frame of clear opening 1 1/-“x1 ½” 457x457mm) of 1.75 cwt (88.9 kg) etc complete….

Qty: 3-Nos				@ Rs: 14748/-		Each			  Rs: 44244/-

___________________________________

Total			Rs: 53569/-

CONTRACTOR					                 EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD