SCHEDULE-B

ESTABLISHMENT OF CATTLE COLONY WITH DISTRICT & PRIVATE PARTICIPATION IN SINDH @ KHAHIRPUR

PART-A   (Supplying & Installation of Machinery /Pump Room for Drainage Disposal System)

| S.NO | NAME OF ITEM | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Supplying & Installing Diesel Oil Engine 16 BHP (Golden made) model GD-1100 B 2200 RPM coupled with golden Non Closing Horizontal semi open impeller pump type G3WG -103 size 4”x3” discharging 150 charge per minutes ahead of 47 ft: frame pulley for Engine & Pump with belt and installing of Pump set C.C foundation nuts & bolts and testing of pumping set against the required head 48 hours (R.S Attached) | 01 Set | 204000 | P.Set | 204000 |
|  |  |  |  | Total | 204000 |

PART-B

INTER CONNECTION  RCC PIPE

| S.NO | NAME OF ITEM | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Excavation for pipe line in trenches, and pits in slushy daldaly soils i/c trimming and dressing sides to true alignment and shape levelling of beds of trenches to correct level and grade, cutting joint holes and disposal of surplus earth within a one chain as directed by Engineer Incharge . Providing fence guards, lights, flags and temporary crossings for non-vehicular traffic where ever required lift upto 5 ft. (1.52m) and lead upto one chain (30.5m). (phsi nO:15 P-53) | 84.0 Cft | 3600.0 | P%0Cft | 302 |
| 2 | Excavation for tanks and reservoir in soft soils i/c trimming and dressing sides to true alignment/design sections/profiles and shape levelling of beds of trenches to correct level and grade i/c laying of earth in 6" layer for construction of banks and dressing and disposal of surplus earth. Excavated earth within a one chain as directed by Engineer Incharge i/c providing fence guards, lights, flags and temporary crossings for non-vehicular traffic where ever required lift upto 5 ft. (1.52m) and lead upto one chain (30.5m). | 84.0 Cft | 5400.60 | P%0Cft | 454 |
| 3 | Providing, Laying RCC pipes of A.S.T.M C-76-62 T/C-76-70 of Class II wall B and fixing in trench i/c cutting, fitting and jointing with rubber ring i/c testing with water to specified pressure.(phsi no: 1 ©P-3) | 8.0 Rft | 515.0 | P.Rft | 4120 |
| 4 | Refilling the excavated stuff in trenches 6" thick layer i/c watering ramming to full compaction etc. complete.(PHSI NO: 24 P63) | 151.0 Cft | 2760.0 | P%0Cft | 417 |
| 5 | Carriage of RCC Pipe of any class with collars from Sukkur to site of work Lead 8-0 Miles 15” Dia RCC Pipe | 8.0 Cft | 1009.94 | P% CFt | 808 |
|  | Total |  |  |  | 6101 |

PART-C CONNECTION ACCESSORIES.

| S.NO | NAME OF ITEM | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | P/F M.S Flanger made out of M,S Sheet 3/8” thick (S.I NO: 12 P-17). 6” Dia | 08 No’s | 804.77 | each | 6438 |
|  | 8” Dia | 11 NO’s | 1293.28 | each | 14226 |
| 2 | Reflex valve heavy pattern (Test pressure 21 Kg/sq: cm or 300 Lbs/sq: inch imported (SRMI NO: 6P-11) | 04 No’s | 4062.50 | each | 16250 |
| 3 | C.I sluice valve heavy pattern pattern (Test pressure 21 Kg/sq: cm or 300 Lbs/sq: inch imported (SRMI NO: 2,P-11) | 02 NO’s | 9360.0 | each | 18720 |
| 4 | C.I Bends with flanged ends with holes including turning and facing of flangers for all size (SRMI NO: 8, P-12) | 165 Kg | 120.0 | P.Kg | 19800 |
| 5 | C.I Tapper flat bottomed or Centeral Taoered flangrd ends with holes including turning and facing of flangers for all size (SRMI NO: 9, P-12) | 74.0 Kg | 120.0 | P.Kg | 8880 |
| 6 | Foot vlave heavy pattern with one type gate (imported) (PHSI NO: 4, P-11) | 02 NO’s | 1381.25 | each | 2763 |
| 7 | C.I Tees flanged ends with holes i/c turning and facing of flangers for all size (SRMI NO: 12, P-12) | 25 Kg | 120.0 | P/Kg | 3000 |
| 8 | Butt fusiion Toint etc complete 6” Dia | 08 No’s | 1000.0 | each | 8000 |
|  | 8” Dia | 10 No’s | 1800.0 | each | 18000 |
|  | Flange Adopter (N.S.I) 6” Dia | 08 No’s | 2025.0 | Each | 16200 |
|  | 8” Dia | 10 No’s | 4725.0 | Each | 47250 |
| 9 | Jointing C.I/M.S flanged pipes and specials flanged and inside a trench i/c supplying rubber packing of the required thickness nuts, bolts with washers etc,and other tools required for jointing and testing the joints to the specified pressure etc complete.(PHSI NO: M-1 -h No:40 8” Dia joints | 08 No’s | 940.0 | P.Joints | 7520 |
|  | 6” Dia joints | 14 No’s | 938.0 | P.Joints | 13132 |
|  | Total |  |  |  | 242291 |

PART-D Submersible Pump

| S.NO | NAME OF ITEM | QTY | RATE | UNIT | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 1 | Supplying installing in position at site of Drainage Scheme for Scheme Establishment of Cattle Colonies with district & private participation in sindh @ Khairpur Electric Motor set 7.5 BHP (Siemens Made) 4 pole 1500 RPM 3-Phase 400 VAC 50 cycle coupled KSB non-Closing Pump (Type KWPZ 65-315) size 3”x2 ½” i/c steel frame and coupling with sleeve complete capable of discharging 150 gallons per minute against a head of 45 ft: i/c installing of pumping set on CC foundation Ratio 1:2:4 with M.S nuts & bolts to be embedded in CC foundation i/c Providing & Fixing Motor control unit (MCU) consist oil starter (MEECO Pakistan) MCCB breaker 10 A to 50-A (shihin Taiwan) cutout 60-A (China ampere meter (60-A) (SELECO) China ) volt meter (500-V) (SELCO china) Phase indication light (China) including Transformer oil (2 liter) (panel board 18”x26”x9” and internal wiring etc complete) and Providing Internal electric wiring for main or sub main PVC insulated with size 3-7/0.44 (6mm2) including providing & fixing earthing set with 0.6 m x6.3 m 2’x2 ½ C.I Plate buried inn the ground at depth 3.7 mm ( 12’) of less per PAK. PWD specification & testing of the pumping set against the required head or 72 hours etc complete (R.A Attached | 01 Set | 686475/- | P.Set | 686475/- |
|  |  |  |  | Total | 686475/- |

CONTRACTOR                                                       	                          EXECUTIVE ENGINEER,

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD