SCHEDULE-B

NAME OF WORK:-	M /R TO  AEN   OOFICE PROVIINCIAL BUILDINGS SUB-DIVISION KHAIRPUR .

S.NO.	NAME OF WORK	NO.L.B.D.	QTY.		RATE.	UNIT.		AMOUNT.

01/-	Re-handling of earth work etc (S.I NO:     P.NO:      ).

Qty: 1761 cft			@RS: 756.25	%0Cft		RS: 1332/-

02/-	Dismantling 2nd class tile roofing etc (S.I NO:    P.NO:     ).

Qty: 1617 cft			@RS: 378.13	% Cft		RS: 6114/-

03/-	Dismantling brick work in lime or cement mortar (S.I NO:     P.NO:     ).

Qty: 3608 cft			@RS: 1285.63	% Cft		RS: 46386/-

04/-	Removing Door with Chowakats (S.I NO:     P.NO:   )

Qty: 11 No’s			@RS: 142.18	each		RS: 1564/-

05/-	Removing windows with chowkats (S.I NO:    P.NO:     ).

Qty: 02 NO’s			@RS: 102.85	each		RS: 206/-

06/- 	Excavation in foundation of building bridges and other structures i/c dag balling dressing refilling around structure with excavated earth watering and ramming lead up-to 5ft. (b) in ordinary soil. (S.I.No.18 (b) P.No.5)

Qty:112.0 cft			@RS:3176/25	% cft		RS:3557/-

07/- 	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:5:10). (S.I.No.4 (b) P.No.17)

Qty: 28 cft			@RS: 8694.95	% cft		RS: 2435/-

08/-	Random rubble masonry (un-coursed) (d) in cement sand mortar (iv) Ratio (S.I.No.1 (d)(iv) P.No.32).

Qty:68.0 cft			@Rs: 17723/-	% cft		RS:12052/-

09/-	Coursed rubble masonry including hammer dressing (d) in cement sand mortar (iv) Ratio 1:6.(S.I.No.2 (d)(iv) P.No.32)

Qty: 122 cft			@Rs:25321/-	% cft		RS:30892/-

10/-	Fabrication of mild steel reinforcement for cement concrete i/c cutting bending laying in position making joints and fastenings i/c cost of binding wire (also includes removal of rust from bars) (a) Using tor bars. (S.I.No.7 (a) P.No.20)

Qty: 28.419cwt	@Rs:5001/70		P.cwt		RS:142143/-

11/-		R.C.C. work in roof slab beams columns rafts lintels and other structural members laid in situ or precast laid in position complete in all respects: (i) Ratio (1:2:4) 90 lbs cement 2 cft sand 4 cft shingle 1/8” to 1/4” gauge.

Qty: 664 cft			@RS:337/-	P.cft		RS:223768/-

12/-	Supplying & Fixing sand under floor  plugging in to wall etc.(S.I NO:   P.NO:    ).

Qty: 4501 cft			@RS: 1141.41	   % Cft		RS: 51375/-

12/	Extra Lead 3-miles     Qty: 4501-Cf			@Rs:579.41       % Cft		Rs:26079/-

13/-	Cement concrete stone of brick ballast 1½” to 2” gauge. Ratio (1:6:12)

(S.I.No.4 (b) P.No.17)

Qty: 425 cft			@RS: 8122.95	  % Cft		RS: 34523/-

14/-	Pacca Brick work in ground Floor  in cement sand mortor 1:6 etc.

(S.I.No.7(    ) P.No.26)

Qty: 2548 cft			@RS: 12674.36	% Cft	RS: 322943/-

15/-	Supplying & Fixing R.S Girder .(Material Schedule)(4”x8”)

Qty: 44.069 cwt		@Rs:3850/-		P.cwt	RS:169666/-

16/-	Supplying & Fixing R.S T-iron.(Material Schedule)

Qty: 28.893 cwt		@RS: 3575/-		P.cwt	RS: 103292/-

17/-	Second class tile roofing consisting of 4” earth and 1” mud plaster with gobri leaping over ½” thick cement plaster 1:6 with 34 Lbs of hot bitumen coating sand blinded provided over one layer of 12”x6”x2” tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc.S.I.NO. 2 Page No. 38).

Qty: 1761 sft			@RS: 7607.25		% Sft	RS: 133964/-

18/-	Cement  Plaster (1:6) up to 20’-0” height ½” thick.(S.I NO:     P.NO:     ).

Qty: 4076 Sft			@RS: 2206.60		% Sft	RS: 89941/-

19/-	Cement  Plaster (1:4) up to 20’-0” height 3/8” thick.(S.I NO:     P.NO:     ).

Qty: 4076 sft			@RS: 2197.52		% Sft	RS: 89571/-

20/-		Cement Concrete plain including placing compacting finishing & curing, complete (including screening and washing of stone aggregate without shuttering. Ratio 1:2:4. (S.I. No. 5(f), P. No.18)

Qty: 217 cft			@RS: 14429.25	% Cft	RS: 31311/-

21/-	Providing and laying tile glazed 6”x ¼” on floor of wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 gray cement mortar ¾” thick i/c washing and filling joints with slurry of white cement and pigment in desired shape with finishing, clearing and cost of was polish etc. complete i/c cutting tiles to proper profile. Amended  (S.I. No. 60, P. No.52)

Qty: 144 Sft			@RS: 30509.77	% Sft	RS: 43934/-

22/-	First Class Deodar wood wrought, joinery in doors and windows etc, fixed in position including Chowkhats hold fats hinges, iron tower bolts, chocks cleats, handles and cords with hooks etc. deodar paneled or paneled and glazed or fully glazed, (b) 1 ¾’’ thick.(S.I. No. 7, (b) P. No. 65)

Qty: 16 Sft			@RS: 1273.76		P.Sft	RS: 20380/-

23/-	Supplying & Fixing false ceiling  of plaster , in panels including making frame , work of deodar wood including painting with soligia paint.(S.NO:52 P.NO:64).

Qty: 288 Sft			@RS: 25293.42	% Sft	RS: 72845/-

24/-	Providing & Fixing plaster of pairs ceiling border of 8” -10” with of specified design & thickness i/c fixing besides ceiling with nails/screws with jetties.(S.I No:44 P.NO:39)

Qty: 96 Rft			@RS: 104.22		P.Rft	RS: 10005/-

25/-	Galvanized wire gauze fixed to chowakats with ¾’  deodar strip  and screw. (S.I No: 4(c) P:58 ).

Qty: 48 Sft			@RS: 190.72		P.Sft	RS: 9155/-

26/-	Distempering 03 coats (S.I NO:     P.NO:     ).

Qty: 2112 Sft			@RS: 1043.		% Sft	RS: 22028/-

27/-	Preparing the surface & painting with matt finsih paint of approved make to old matt finish surface.(S.I NO: 37 (b)P.NO: 55)

Qty: 2334 Sft			@RS: 3444.38		% Sft	RS: 80392/-

28/-	Painting New Surface Painting Guard bars gets iron steel work etc complete (S.I NO:   P.NO:    ).

Qty: 1688 Sft			@RS: 1270.83		% Sft	RS: 21452/-

29/-	Providing & Fixing R.C.C Spouts fixing in position

Qty: 02 NO’s			@RS: 524.98		each	RS: 1050/-

==================================

Total					RS: 1804355/-

CONTRACTOR					               EXECUTIVE ENGINEER

PROVINCIAL BUILDINGS DIVISION

SHAHEED BENAZIR ABAD