KARACHI WATER AND SEWERAGE BOARD

OFFICE OF THE RESIDENT ENGINEER, DHABEJI DIVISION (PUMPING)

ANNUAL PROCUREMENT PLAN FOR THE YEAR 2016-17

(Revised-2)

| S.No. | Description of Procurement | Quantity where applicable | Estimated unit cost where applicable | Estimated Total Cost (In Million Rs.) | Funds Allocated (In Million Rs.) | Sources of Funds ADP / Non-ADP | Proposed Procurement Method | Timing of Procurement (2016-2017) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Q1 | Q2 | Q3 | Q4 |
|  | BG # 6123-26 (Rs.45,00,000/=) Repair and maintenance of machinery at Dhabeji Pumping Station |  |  |  |  |  |  |  |  |  |  |
|  | REMETALLING OF MAIN BEARING FOR MAN ENGINE G7V-40/60 OF 1ST. PHASE PUMP HOSE, DHABEJI | Copy attached | Copy attached | 2.1673 | 4.50 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | REPAIR / RECONDITIONING OF DOUBLE ENTRY IMPELLER, BEARING HOUSING, BEARING SLEEVE & P/F OF BEARINGS NO.7328 BCBM AND 6324 M/C-3 FOR PUMP SET NO.2 OF 4TH PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.6909 | 4.50 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | BG # 6123-27 (Rs.1,30,00,000/=) Misc. work at 1st, 2nd, 3rd, 4th & 5th Phase i/c K-3 Pump House at Dhabeji. |  |  |  |  |  |  |  |  |  |  |
|  | P/F BEARING NO.7324 BCBM, 23130 CC/W-33 FOR PUMP SET ‘A’ ALONG WITH SERVICES AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.1362 | 13.00 | Non ADP | Single Stage One Envelope System | - | Oct. 2016 | - | - |
|  | REPAIR / REBUILDING & CORROSION PROTECTIVE COATING OF BADLY DAMAGED AND ERODED DOUBLE ENTRY IMPELLER AND CASING OF 35 MGD PUMP SET ‘A’ AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 2.2880 | 13.00 | Non ADP | Single Stage One Envelope System | - | Oct. 2016 | - | - |
|  | R/M AND REPLACEMENT OF WORN OUT PARTS OF 35MGD WEIR PUMP SET ‘A’ AT K-2 P/H, DHABEJI. | Copy attached | Copy attached | 1.9835 | 13.00 | Non ADP | Single Stage One Envelope System | - | Nov. 2016 | - | - |
|  | REPAIR & MAINTENANCE OF 25 MGD KSB PUMP TYPE RDLV-600-830A PUMP SET NO.2 BY REPLACEMENT OF WORN-OUT PARTS OF 4TH PHASE P/H, DHABEJI | Copy attached | Copy attached | 1.9852 | 13.00 | Non ADP | Single Stage One Envelope System | - | Dec. 2016 | - | - |
|  | LOCAL MANUFACTURING OF 35 MGD STANDBY WEIR PUMP ROTARY WITH ALL ACCESSORIES AT K-2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 2.1091 | 13.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | BG # 6123-28 (Rs.25,00,000/=) Reconditioning of Siemens 250 KW Generator at Old Pump House 1st Phase Dhabeji. |  |  |  |  |  |  |  |  |  |  |
|  | RE-METALLING OF BIG END BEARING OF M.A.N. ENGINE G7V-40/60 OF 1ST. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 2.1673 | 2.500 | Non ADP | Single Stage One Envelope System | - | Dec. 2016 | - | - |
|  | BG # 6123-45 (Rs.1,00,00,000/=) Servicing & Insulation of Motors at Dhabeji Pumping Station. |  |  |  |  |  |  |  |  |  |  |
|  | MANUFACTURING AND PROVIDING OF CARBON BRUSHES FOR 1635 KW SLIP RING TYPE H.T. MOTORS AT K-2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 2.1476 | 10.00 | Non ADP | Single Stage One Envelope System | - | Dec. 2016 | - | - |
|  | SERVICING / OVERHAULING OF 1635 KW H.T. MOTOR ‘B’ (MATHER & PLATTEE) U.K. SLIP RIG TYPE AT K-2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 2.3329 | 10.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | MANUFACTURING AND PROVIDING OF SLIP RING SET FOR 1635 KW H.T. MOTORS AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 2.1283 | 10.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | MANUFACTURING OF MULTIPLE BOX CARBON BRUSH HOLDER AND ROCKER ARM SET FOR 1635 KW, SLIP RING TYPE H.T. MOTORS OF K- 2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.8114 | 10.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | BG # 6024-16 (Rs.7,50,00,000/=) Misc. works under Electrical & Mechanical Wing. |  |  |  |  |  |  |  |  |  |  |
|  | RENOVATION OF MAIN ENTRANCE GATE, SECURITY GUARD ROOM, INCLUDING BEAUTIFICATION OF MAIN GATE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 0.9150 | 75.00 | Non ADP | Single Stage One Envelope System | - | Dec. 2016 | - | - |
|  | REMETALLING OF SEGMENT THRUST BLOCK & REPAIR / RECONDITIONING OF THRUST PLATE AND BEVEL GEAR (PINION) OF RENK GEAR BOX OF ENGINE NO.3 OF 1ST. PHASE P/H, DHABEJI. | Copy attached | Copy attached | 0.9840 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Jan., 2017 | - |
|  | REPAIR & RECONDITIONING OF CYLINDER LINNNER OF MAN ENGINE G7V-40/60 OF ENGINE NO.3 OF 1ST. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.4799 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | SERVICING AND MAINTENANCE OF INLET & OUTLET VALVE OF MAN ENGINE G7V-40/60 OF 1ST. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.6877 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Jan. 2017 | - |
|  | P/F OF ANGULAR CONTACT BALL BEARING NO.7324 BCBM AND REPAIR / REBUILDING & CORROSION PROTECTIVE COATING ON THE DOUBLE ENTRY IMPELLER FOR STANDBY 35 MGD WEIR PUMP ROTARY AT K-2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.5196 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | P/F OF ROLLER BEARING NO.20232 REPAIR/ RECONDITIONING OF MULTIDIMENSIONAL PUMP CASING OF PUMP NO.5 OF 1ST. PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.9054 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | REPAIR / MAINTENANCE OF 35 MGD KSB PUMP TYPE RDLV-700-820A PUMP SET NO.5 BY REPLACEMENT OF WORN OUT PARTS OF K-3 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 2.2058 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | REPAIR / MAINTENANCE AND REPLACEMENT WORN-OUT PARTS OF 35 MGD WEIR PUMP SET ‘E’ AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 2.0466 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | REPAIR / RECONDITIONING OF INJECTOR AUTOMIZER & LOCAL MANUFACTURING OF INJECTOR BODY & INJECTOR NOZZLE WITH PRESSURE TESTING OF MAN ENGINE G7V-40/60 OF 1ST. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.3559 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | OVERHAULING OF MAN PUMP TYPE RRS-7 (SPL) NO.4 INSTALLED AT 2ND. PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.3455 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | REPAIR / MAINTENANCE OF 25 MGD KSB PUMP TYPE RDLV-600-830A PUMP SET NO.5 BY REPLACEMENT OF WORN-OUT PARTS OF 3RD. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.9852 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | LOCAL MFG. OF RUBBER COUPLING BUSH FOR COUPLING MOTOR AND PUMP I/C REPAIR / RECONDITIONING S.S. COUPLING STUD OF MOTOR & PUMP FOR 3RD. AND 4TH PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.4135 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Feb. 2017 | - |
|  | REPAIR / MAINTENANCE OF 35 MGD MODIFIED WEIR PUMP SET ‘B’ BY REPLACEMENT OF WORN-OUT PARTS AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.9364 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | REPAIR / RECONDITIONING OF ROCKER ARM CONTROL LEVEL OF M.A.N. ENGINE NO.3 & 5 OF 1ST. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 2.2587 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | SERVICING AND OVERHAULING OF 6.6 KV, 1050 KW, 114 AMPS. A.E.G. ELECTRIC MOTOR NO.2 OF 2ND. PHASE PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.1233 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | REPLACEMENT OF BEARING 11KV, 1050 KW, 69 AMPS. AEG ELECTRIC MOTOR NO.2 OF 3RD. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.6004 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | P/F BEARING NO.7324 BCBM, 6324 N/C & 23130 CC/W-33 FOR MODIFIED PUMP SET ‘B’ ALONG WITH SERVICES AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.6456 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | - | - |
|  | SERVICING AND OVERHAULING OF 11 KV, 1050 KW, 69AMPS. AEG ELECTRIC MOTOR NO.2 OF 3RD. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.1248 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | - | - |
|  | MANUFACTURING OF PUMP SHAFT FOR WEIR PUMP SET ‘B’ AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 0.8342 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | LOCAL MANUFACTURING OF PUMP SHAFT FOR WEIR PUMP SET ‘E’ AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 0.8342 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | LOCAL MFG. OF FUEL SUPPLY PUMP GEAR DRIVER, DRIVEN AND REPAIR / RECONDITIONING OF FUEL PUMP OF 1ST. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 0.9970 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Mar. 2017 | - |
|  | P/F BEARING NO.7324 BCBM, 6324 N/C & 23130 CC/W-33 FOR MODIFIED PUMP SET ‘B’ ALONG WITH SERVICES AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.6455 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | SERVICING AND OVERHAULING OF 11 KV, 1050 KW, 69AMPS. AEG ELECTRIC MOTOR NO.2 OF 3RD. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.1248 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | PROVIDING/FIXING OF BEARING NO.7324 BCBM, 6324M/C3 FOR MODIFIED PUMP SET "D" ALONGWITH SERVICES AT K-2 PUMP HOUSE DHABEJI. | Copy attached | Copy attached | 1.2239 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPAIR / REBUILDING & CORROSION PROTECTIVE COATING OF DOUBLE ENTRY IMPELLER & PUMP CASING OF 35 MGD WEIR PUMP SET "D" AT K-2 PUMP HOUSE DHABEJI. | Copy attached | Copy attached | 2.2780 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | RE-BUILDING AND PROTECTIVE COATING OF BADLY ERODED AND DAMAGED PORTION OF KSB PUMP CASING TYPE RDLV-700-820A, WITH BELZONA PRODUCT OF PUMP NO.2 AT K-3 PUMP HOUSE DHABEJI. | Copy attached | Copy attached | 1.7920 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPLACEMENT OF BEARING 11KV, 1050 KW, 69 AMPS. AEG ELECTRIC MOTOR No.2 OF 3RD. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.6240 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | LOCAL MFG. OF TURBO CHARGER PLAIN & GUIDE BEARING AND BEARING SLEEVE OF MAN ENGINE OF 1ST PHASE DHABEJI. | Copy attached | Copy attached | 1.6609 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPAIR/MAINTENANCE OF 24 MGD CAPACITY MAN PUMP TYPE RRS-7(SPL) WITH REPLACEMENT OF WORN OUT PARTS OF PUMP NO.5 OF 1ST PHASE PUMP HOUSE DHABEJI. | Copy attached | Copy attached | 2.3035 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | SERVICING / OVERHAULING OF 11 KV, 1050 KW, 69 AMPS AEG ELECTRIC STANDBY MOTOR OF 3RD PHASE PUMP HOUSE DHABEJI | Copy attached | Copy attached | 1.1098 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPAIR / RECONDITIONING AND MAITNEANNCE OF DELIVERY VALVE 1000MM DIA PUMP SET 'A' AT K-2 PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 2.0673 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | LOCAL MANUFACTURING OF PUMP SHAFT OF MODIFIED WEIR PUMP SET ‘D’ AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 0.8342 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | RECONDITONING OF COMPONENTS AND REPLACMEENT OF BEARING OF MAN PUMP TYPE RRS-7 (SPL) NO.4 OF 2ND. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.0472 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPLACEMENT OF BEARING NO.7328 BCBM & 6330 M/C-3 WITH ALLIED SERVCES OF H.T. 6.6 KV, 1050 KW AEG ELECTRIC MOTOR NO.2 OF 2ND. PHASE PUMP HOUSE, DHABEJI | Copy attached | Copy attached | 1.1667 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |
|  | REPAIR / MAINTENANCE OF 35 MGD MODIFIED WEIR PUMP SET ‘D’ BY REPLACEMENT OF WORN-OUT PARTS AT K-2 PUMP HOUSE, DHABEJI. | Copy attached | Copy attached | 1.9650 | 75.00 | Non ADP | Single Stage One Envelope System | - | - | Apr., 2017 | - |

Note:-

This may be possible 100% that this Divisional works pertain to repair and maintenance whenever and where require, the works

shown in the above noted Plan are not final, because in case of emergency and other reason another works can be includes in excess of above noted works or may be replaced from existing works.

This is for your information, please.

RESIDENT ENGINEER

DHABEJI (PUMPING) DIVISION

KW&SB