| BILL OF QUANTITIES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description & Rate of items based on Schedule/ Market (offered Rates). |  |  |  |  |  |  |
| Name of Work:- 01 |  |  | M&R TO DISTRICT HEALTH OFFICER OFFICE SUKKUR ( GROUND FLOOR). |  |  |  |
| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
|  |  |  | PART "A" BUILDINGS SCHEDULE ITEMS. |  |  |  |
| 278 | CFT | 1- | Dismantling cement concrete (1:2:4). (S.I.No:19© P-10). | 3327.50 | %Cft | 9260/- |
|  |  |  |  | (Rupees Three Thousand Three Hundred Twenty Seven & Ps:Fifty ) Only |  |  |
| 1673 | SFT | 2- | Removing cement or lime plaster. (S.I.No:53 P-14). | 121.00 | %SFT | 2024/- |
|  |  |  |  | (Rupees One Hundred Twenty One ) Only |  |  |
| 1673 | SFT | 3- | Applying floating coat of cement 1/32" thick. (S.I.No:14 P-59). | 660.00 | %SFT | 11042/- |
|  |  |  |  | (Rupees Six Hundred Sixty)Only. |  |  |
| 1673 | SFT | 4- | Cement plaster (1:6) upto 20' ft height 1/2" thick. (S.I.No:13(b) P-57). | 2206.60 | %SFT | 36916/- |
|  |  |  |  | (Rupees Two Thousand Two Hundred Six & Ps: Sixty)Only. |  |  |
| 1673 | SFT | 5- | Cement plaster (1:4) upto 20' ft height 3/8" thick. (S.I.No:11(a) P-57). | 2197.52 | %SFT | 36765/- |
|  |  |  |  | (Rupees Two Thousand One Hundred Ninety Seven & Ps: Fifty Two)Only. |  |  |
| 1673 | SFT | 6- | Laying white marble flooring fine dressed in the surface without winding set lime mortar 1:2 i/c rubbing & polishing f the joints. 3/4" thick. | 567.48 | %SFT | 928965/- |
| 640 | SFT | 7- | Providing and fixing 3/8"thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado stricking and facing removal /trucking of existing plaster surface etc. Over 1/2" thick base of cement mortar (1:3) setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry, curing finishing, cleaning and polishing etc complete. (S.I.No:68 P-49). | 201.07 | P.Sft | 128685/- |
|  |  |  |  | (Rupees Two Hundred One & Seven) Only |  |  |
| 180 | SFT | 8- | Galvanized wire gauze fixed to chowkats with 3/4"thick deodar strips and screws. (S.I.No:14(d)P-59). | 190.72 | P.Sft | 34330/- |
| 4868 | SFT | 9- | Preparing the surface and painting with matt finishing i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make et complete. (New surface) (S.I.No:3 A P-54). | 2717.00 | %SFT | 132264/- |
|  |  |  |  | Rupees Two Thousand Seven Hundred Seventeen )Only. |  |  |
| 963 | SFT | 10- | Painting guard bars gates iron, bars grating railings i/c standard bracket etc and similar open work. (S.I.No:4(d+i+ii) P-69). | 674.60 | %SFT | 6496/- |
|  |  |  |  | Rupees Six Hundred Seventy Four & Sixty)Only. |  |  |
| 2178 | SFT | 11- | Preparing the surface and painting weather coat of approved make to old weather coat surface. (S.I.No:39 A P-55). | 1498.48 | %SFT | 32637/- |
| 1299 | SFT | 12- | S/F false ceiling of plaster of paris, in panels including making frame, work of deodar wood including painting with soligia paint. (S.I.No:52 P-72). | 25293.42 | %SFT | 328562/- |
| 420 | SFT | 13- | S/F plaster of Paris, ceiling border of 8”x10” with specified design and thickness i/c fixing besides ceiling with nails/ screws with getties. (S.I.No:44 P-38). | 104.22 | P.RFT | 43772/- |
|  |  |  | PART "A" BUIDLINGS SCHEDULE ITEMS TOTAL RS:- |  |  | 17,31,718/- |

Page No:2.

| Quantities | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS. |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 02 | Nos. | 1- | P/F Orisa type white or colour glazed earthen ware W.C. with i/c the cost of flushing cistern with internal fitting and flush pipe with bend & making with plinth and floor for pipe connection and making with good in cement concrete (1:2:4) (Foreign Equivalent)W.C. pan or not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4"”dia C.I. trape.(S.I.No:3-a(iii) P-2). | 6166.60 | EACH | 12333/- |
|  |  |  |  | (Rupees Six Thousand One Hundred Sixty Six & Sixty)Only |  |  |
| 02 | Nos. | 2- | Providing and fixing 24"x18" lavatory basin inwhite glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6" inches built into wall, painted white in two coats after primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P. brass traps malloable iron or brass, union and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete (1:2:4) (Standard pattern) . (S./I.No:8 P-3). | 4253.70 | EACH | 8507/- |
|  |  |  |  | (Rupees Four Thousand Two Hundred Fifty Three & Ps:Seventy)Only |  |  |
| 02 | Nos. | 3- | Providing and fixing 6"x2" or 6"x3" C.I. floor trap of the approved self cleaning design with a C.I. screwed down greating with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connection and making good in cement concrete. (S.I.No: 20 P- 5 ). | 2042.43 | EACH | 4085/- |
|  |  |  |  | (Rupees Two Thousand Forty Two & Ps:Forty Three )Only |  |  |
| 02 | Nos. | 4- | Supplying and fixing Nyloon connection complete with 1/2" dia brass stop cock with pairs of brass nuts and lining jointing to nyloon connection. (S.I.No:23 P-6). | 447.15 | EACH | 894/- |
|  |  |  |  | (Rupees Four Hundred Forty Seven & Fifteen)Only |  |  |
| 02 | Nos. | 5- | Providing and fixing 24"x18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and C.P. screws fixed to wooden pleat(Standard pattern). (S.I.No:3 P-7). | 2376.00 | EACH | 4752/- |
|  |  |  |  | (Rupees Two Thousand Three Hundred Seventy Six)Only |  |  |
| 24 | RFT | 6- | Providing and fixing 4" dia C.I. soil and vent pipes including cutting and fitting and extra painting to match the colour o the building(S.I.No:1 P-8). | 333.29 | EACH | 7999/- |
|  |  |  |  | (Rupees Three Hundred Thirty Three & Ps:Twenty Nine )Only |  |  |
| 04 | Nos. | 7- | Providing and fixing M.S. clamps of the approved design to 4" dia C.I. pipe sockets including the cost of cutting and making good to wall or M.S. bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I.No:2 P-9). | 72.16 | EACH | 289/- |
|  |  |  |  | (Rupees Seventy Two & Ps:Sixteen )Only |  |  |
| 02 | Nos. | 8- | Providing and fixing 4"x4"x4" dia C.I branch of the required degree with access doors rubber washer 1/8" thick and builts and nuts including extra painting to match the colour of the building(S.I.No:5 P-8). | 704.20 | EACH | 1408/- |
|  |  |  |  | (Rupees Seven Hundred Four & Ps:Twenty )Only |  |  |
| 02 | Nos. | 9- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). | 566.70 | EACH | 1133/- |
|  |  |  |  | (Rupees Five Hundred Sixty Six & Seventy) Only |  |  |

Page No:3.

| Quantities | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 02 | RFT | 10- | Supplying and fixing position brass bib cocks 1/2" dia. (S.I.No:1(b) P-16). 3/4" dia. | 348.92 | P.RFT | 698/- |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (Rupees Three Hundred Forty Eight & Ninety Two) Only |  |  |
| 02 | Nos. | 11- | Supplying and fixing in position bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(b) P-16). | 1109.46 | EACH | 2219/- |
|  |  |  |  | (Rupees One Thousand One Hundred Nine & Forty Six)Only |  |  |
|  |  | 12- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |
| 20 | RFT | a) | 1/2" dia G.I.Pipe. | 73.21 | P.RFT | 1464/- |
|  |  |  |  | (Rupees Seventy Three & Ps:Twenty One)Only |  |  |
| 80 | Nos. | b) | 3/4" dia G.I. Pipe. | 95.79 | P.RFT | 7663/- |
|  |  |  |  | (Rupees Ninety Five & Seventy Nine)Only |  |  |
| 50 | RFT | 13- | RCC pipe with colar class "B" and digging the tranched to the required depth and fixing in position i/c cutting fitting and jointing with max phalt composition and cement mortar (1:1) and testing with water pressure to a head 4' feet above the top of the height. (S.I.No: P- ). | 199.25 | P.RFT | 9963/- |
|  |  |  |  | ( |  |  |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS TOTAL RS:- |  |  | 63,407/- |
| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  | Total Rs:- |  |
| PART "B" |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  | Total (A to B)RS:- |  |  |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
|  | CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |

| BILL OF QUANTITIES |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Description & Rate of items based on Schedule/ Market (offered Rates). |  |  |  |  |  |  |
| Name of Work:- 02 |  |  | M&R TO DISTRICT HEALTH OFFICER OFFICE SUKKUR. |  |  |  |
| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
|  |  |  | PART "A" BUILDINGS SCHEDULE ITEMS. |  |  |  |
| 1307 | CFT | 1- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). | 5445.00 | %SFT | 71166/- |
|  |  |  |  | Rupees Five Thousand Four Hundred Forty Five )Only. |  |  |
| 1307 | CFT | 2- | Reinforcement cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4) 90 Lbs cement 2 Cft shingle 1/8” to ¼” gauge.(S.I.No:6(a)(i) P-16). | 337.00 | P.CFT | 440459/- |
|  |  |  |  | (Rupees Three Hundred & Thirty Seven)Only |  |  |
| 65.35 | CWT | 3- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars)(S.I.No: 8 P-16). | 5001.70 | P.CWT. | 326861/- |
|  |  |  |  | (Rupees Five Thousand One & Ps:Seventy)Only. |  |  |
| 65.35 | Nos. | 4- | Add extra labour for RCC in 2nd: or Subsequent storey. | 12.10 | EACH | 791/- |
|  |  |  |  | (Rupees Twelve & Ps:Ten)Only. |  |  |
| 323 | CFT | 5- | Dismantling cement concrete (1:2:4). (S.I.No:19© P-10). | 3327.50 | %Cft | 10748/- |
|  |  |  |  | (Rupees Three Thousand Three Hundred Twenty Seven & Ps:Fifty ) Only |  |  |
| 1265 | SFT | 6- | Removing cement or lime plaster. (S.I.No:53 P-14). | 121.00 | %SFT | 1531/- |
|  |  |  |  | (Rupees One Hundred Twenty One ) Only |  |  |
| 1265 | SFT | 7- | Applying floa;ting coat of cement 1/32" thick. (S.I.No:14 P-59). | 660.00 | %SFT | 8349/- |
|  |  |  |  | (Rupees Six Hundred Sixty)Only. |  |  |
| 1265 | SFT | 8- | Cement plaster (1:6) upto 20' ft height 1/2" thick. (S.I.No:13(b) P-57). | 2206.60 | %SFT | 27913/- |
|  |  |  |  | (Rupees Two Thousand Two Hundred Six & Ps: Sixty)Only. |  |  |
| 1265 | SFT | 9- | Cement plaster (1:4) upto 20' ft height 3/8" thick. (S.I.No:11(a) P-57). | 2197.52 | %SFT | 27799/- |
|  |  |  |  | (Rupees Two Thousand One Hundred Ninety Seven & Ps: Fifty Two)Only. |  |  |
|  |  | 10- | Providing and laying 1" thick topping cement concrete (1;2;4) including surface finishing dividing into panels.(S.I.No:16© P-42). |  |  |  |
| 2404 | SFT | A) | 2" thick C.C. topping. | 3275.50 | %SFT | 78743/- |
|  |  |  |  | (Rupees Thirty Thousand Five Hundred Nine & Seventy Seven)Only |  |  |
| 2404 | SFT | 11- | Two coats of bitumen laid hot using 34 Lbs %SFT over roof and blinded with sand at 1 Sft per %SFT. (S.I.No:13 P-35). | 1887.40 | %SFT | 45373/- |
|  |  |  |  | (Rupees One Thousand Eight Hundred Eighty Seven & Forty )Only |  |  |

Page No:2.

| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 202 | SFT | 12- | Providing and fixing 3/8"thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado stricking and facing removal /trucking of existing plaster surface etc. Over 1/2" thick base of cement mortar (1:3) setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry, curing finishing, cleaning and polishing etc complete. (S.I.No:68 P-49). | 201.07 | P.Sft | 40616/- |
|  |  |  |  | (Rupees Two Hundred One & Seven) Only |  |  |
| 339 | SFT | 13- | Laying floors of approved glazed tiles ¼” thick laid in white cement and pigment on a bed of ¾” thick cement mortar (1;2) (S.I.No:25 P-42). | 27747.06 | %SFT | 94063/- |
|  |  |  |  | (Rupees Twenty Seven Thousand Seven Hundred Forty Seven & Ps:Six) Only |  |  |
| 147 | SFT | 14- | Glazed tile dado ¼” thick laid in pigment over (1:2) cement sand mortar ¾”thick including finishing. (S.I.No:38 P-44). | 28299/30 | %SFT | 41600/- |
|  |  |  |  | (Rupees Twenty Eight Thousand Two Hundred Ninety Nine & Ps: Thirty) Only |  |  |
| 1898 | SFT | 15- | Distempering two coats (S.I.No:24(b) P-54). | 1043/90 | %SFT | 19813/- |
|  |  |  |  | (Rupees One Thousand Forty Three & Ps: Ninety) Only |  |  |
| 2849 | SFT | 16- | Preparing the surface and painting with matt finishing i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make et complete. (New surface) (S.I.No:3 A P-54). | 2717.00 | %SFT | 77407/- |
|  |  |  |  | Rupees Two Thousand Seven Hundred Seventeen )Only. |  |  |
| 566 | SFT | 17- | Painting guard bars gates iron, bars grating railings i/c standard bracket etc and similar open work. (S.I.No:4(d+i+ii) P-69). | 674.60 | %SFT | 3818/- |
|  |  |  |  | Rupees Six Hundred Seventy Four & Sixty)Only. |  |  |
| 2502 | SFT | 18- | Colour washing two coat over one coat of white wash. (S.I.No:25 P-53). | 829/95 | %SFT | 20765/- |
|  |  |  |  | Rupees Eight Hundred Twenty Nine & Ps: Ninety Five)Only. |  |  |
|  |  |  | PART "A" BUIDLINGS SCHEDULE ITEMS TOTAL RS:- |  |  | 13,37,815/- |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS. |  |  |  |
| 1 | No. | 1- | P/F Orisa type white or colour glazed earthen ware W.C. with i/c the cost of flushing cistern with internal fitting and flush pipe with bend & making with plinth and floor for pipe connection and making with good in cement concrete (1:2:4) (Foreign Equivalent)W.C. pan or not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4"”dia C.I. trape.(S.I.No:3-a(iii) P-2). | 6166.60 | EACH | 6167/- |
|  |  |  |  | (Rupees Six Thousand One Hundred Sixty Six & Sixty)Only |  |  |
| 1 | No. | 2- | Providing and fixing 24"x18" lavatory basin inwhite glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6" inches built into wall, painted white in two coats after primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P. brass traps malloable iron or brass, union and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete (1:2:4) (Standard pattern) . (S./I.No:8 P-3). | 4253.70 | EACH | 4254/- |
|  |  |  |  | (Rupees Four Thousand Two Hundred Fifty Three & Ps:Seventy)Only |  |  |

Page No:3.

| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | No. | 3- | Providing and fixing 6"x2" or 6"x3" C.I. floor trap of the approved self cleaning design with a C.I. screwed down greating with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connection and making good in cement concrete. (S.I.No: 20 P- 5 ). | 2042.43 | EACH | 2042/- |
|  |  |  |  | (Rupees Two Thousand Forty Two & Ps:Forty Three )Only |  |  |
| 2 | Nos. | 4- | Supplying and fixing Nyloon connection complete with 1/2" dia brass stop cock with pairs of brass nuts and lining jointing to nyloon connection. (S.I.No:23 P-6). | 447.15 | EACH | 894/- |
|  |  |  |  | (Rupees Four Hundred Forty Seven & Fifteen)Only |  |  |
| 1 | No. | 5- | Providing and fixing 24"x18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and C.P. screws fixed to wooden pleat(Standard pattern). (S.I.No:3 P-7). | 2376.00 | EACH | 2376/- |
|  |  |  |  | (Rupees Two Thousand Three Hundred Seventy Six)Only |  |  |
| 12 | RFT | 6- | Providing and fixing 4" dia C.I. soil and vent pipes including cutting and fitting and extra painting to match the colour o the building(S.I.No:1 P-8). | 333.29 | EACH | 3999/- |
|  |  |  |  | (Rupees Three Hundred Thirty Three & Ps:Twenty Nine )Only |  |  |
| 03 | Nos. | 7- | Providing and fixing M.S. clamps of the approved design to 4" dia C.I. pipe sockets including the cost of cutting and making good to wall or M.S. bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I.No:2 P-9). | 72.16 | EACH | 216/- |
|  |  |  |  | (Rupees Seventy Two & Ps:Sixteen )Only |  |  |
| 01 | No. | 8- | Providing and fixing 4"x4"x4" dia C.I branch of the required degree with access doors rubber washer 1/8" thick and builts and nuts including extra painting to match the colour of the building(S.I.No:5 P-8). | 704.20 | EACH | 704/- |
|  |  |  |  | (Rupees Seven Hundred Four & Ps:Twenty )Only |  |  |
| 01 | No. | 9- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). | 566.70 | EACH | 567/- |
|  |  |  |  | (Rupees Five Hundred Sixty Six & Seventy) Only |  |  |
| 01 | No. | 10- | Supplying and fixing position brass bib cocks 1/2" dia. (S.I.No:1(b) P-16). 3/4" dia. | 348.92 | P.RFT | 349/- |
|  |  |  |  | (Rupees Three Hundred Forty Eight & Ninety Two) Only |  |  |
| 01 | No. | 11- | Supplying and fixing in position bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(b) P-16). | 1109.46 | EACH | 1109/- |
|  |  |  |  | (Rupees One Thousand One Hundred Nine & Forty Six)Only |  |  |
|  |  | 12- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |
| 10 | RFT | a) | 1/2" dia G.I.Pipe. | 73.21 | P.RFT | 732/- |
|  |  |  |  | (Rupees Seventy Three & Ps:Twenty One)Only |  |  |
| 20 | Nos. | b) | 3/4" dia G.I. Pipe. | 95.79 | P.RFT | 1916/- |
|  |  |  |  | (Rupees Ninety Five & Seventy Nine)Only |  |  |

Page No:4.

| Quantities | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 03 | Nos. | 13- | Supplying and fixing bath room accessories (Seven pieces) i/c towel rod, brush holder, soap tray, shelf of approved quality and design etc complete. (S.I.No:24 P-16). | 8122.40 | P.RFT | 24367/- |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (Rupees Eighty Thosuand One Hundred Twenty Two & Ps:Forty )Only |  |  |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS TOTAL RS:- |  |  | 49,694/- |
| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  | Total Rs:- |  |
| PART "B" |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  | Total (A to B)RS:- |  |  |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
|  | CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |

| BILL OF QUANTITIES |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Discription & Rate of items based on Schedule/ Market (offered Rates). |  |  |  |  |  |  |  |  |  |
| Name of Work:- |  | 1- | M&R TO DISTRICT HEALTH OFFICER OFFICE SUKKUR. |  |  |  |  |  |  |
| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit |  |  |  | Amount |
|  |  |  | PART "A" BUILDINGS SCHEDULE ITEMS. |  |  |  |  |  |  |
| 1626 | CFT | 1- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). | 5445.00 | %SFT |  |  |  | 88,536 |
|  |  |  |  | Rupees Five Thousand Four Hundred Forty Five )Only. |  |  |  |  |  |
| 1626 | CFT | 2- | Reinforcement cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4) 90 Lbs cement 2 Cft shingle 1/8” to ¼” gauge.(S.I.No:6(a)(i) P-16). | 337.00 | P.CFT |  |  |  | 547,962 |
|  |  |  |  | (Rupees Three Hundred & Thirty Seven)Only |  |  |  |  |  |
| 81.300 | CWT | 3- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars)(S.I.No: 8 P-16). | 5001.70 | P.CWT. |  |  |  | 406,638 |
|  |  |  |  | (Rupees Five Thousand One & Ps:Seventy)Only. |  |  |  |  |  |
| 1626 | Nos. | 4- | Add extra labour for RCC in 2nd: or Subsequent storey. | 12.10 | EACH |  |  |  | 19,675 |
|  |  |  |  | (Rupees Twelve & Ps:Ten)Only. |  |  |  |  |  |
| 602 | CFT | 5- | Dismantling cement concrete (1:2:4). (S.I.No:19© P-10). | 3327.50 | %Cft |  |  |  | 20,032 |
|  |  |  |  | (Rupees Three Thousand Three Hundred Twenty Seven & Ps:Fifty ) Only |  |  |  |  |  |
| 2609 | SFT | 6- | Removing cement or lime plaster. (S.I.No:53 P-14). | 121.00 | %SFT |  |  |  | 3,157 |
|  |  |  |  | (Rupees One Hundred Twenty One ) Only |  |  |  |  |  |
| 2609 | SFT | 7- | Applying floa;ting coat of cement 1/32" thick. (S.I.No:14 P-59). | 660.00 | %SFT |  |  |  | 17,219 |
|  |  |  |  | (Rupees Six Hundred Sixty)Only. |  |  |  |  |  |
|  |  | 8- | Providing and laying 1" thick topping cement concrete (1;2;4) including surface finishing dividing into panels.(S.I.No:16© P-42). |  |  |  |  |  |  |
| 2940 | SFT | A) | 2" thick C.C. topping. | 3275.50 | %SFT |  |  |  | 96,300 |
|  |  |  |  | (Rupees Thirty Thousand Five Hundred Nine & Seventy Seven)Only |  |  |  |  |  |
| 2940 | SFT | 8- | Two coats of bitumen laid hot using 34 Lbs %SFT over roof and blinded with sand at 1 Sft per %SFT. (S.I.No:13 P-35). | 1887.40 | %SFT |  |  |  | 55,490 |
|  |  |  |  | (Rupees One Thousand Eight Hundred Eighty Seven & Forty )Only |  |  |  |  |  |
| 2609 | SFT | 10- | Cement plaster (1:6) upto 20' ft height 1/2" thick. (S.I.No:13(b) P-57). | 2206.60 | %SFT |  |  |  | 57,570 |
|  |  |  |  | (Rupees Two Thousand Two Hundred Six & Ps: Sixty)Only. |  |  |  |  |  |
| 2609 | SFT | 11- | Cement plaster (1:4) upto 20' ft height 3/8" thick. (S.I.No:11(a) P-57). | 2197.52 | %SFT |  |  |  | 57,333 |
|  |  |  |  | (Rupees Two Thousand One Hundred Ninety Seven & Ps: Fifty Two)Only. |  |  |  |  |  |
| 3540 | SFT | 12- | Laying white marble flooring fine dressed in the surface without winding set lime mortar 1:2 i/c rubbing & polishing f the joints. 3/4" thick. | 567.48 | P.Sft |  |  |  | 2,008,879 |
|  |  |  |  | (Rupees Five Hundred Sixty Seven & Forty Eight)Only |  |  |  |  |  |
| 1122 | SFT | 13- | Providing and fixing 3/8"thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado stricking and facing removal /trucking of existing plaster surface etc. Over 1/2" thick base of cement mortar (1:3) setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry, curing finishing, cleaning and polishing etc complete. (S.I.No:68 P-49). | 201.07 | P.Sft |  |  |  | 225,601 |
|  |  |  |  | (Rupees Two Hundred One & Seven) Only |  |  |  |  |  |
| 288 | SFT | 14- | Galvanized wire gauze fixed to chowkats with 3/4"thick deodar strips and screws. (S.I.No:14(d)P-59). | 190.72 | P.SFT |  |  |  | 54927 |
|  |  |  |  | Rupees One Hundred Ninety & Ps:Seventy Two)Only. |  |  |  |  |  |
| 12312 | SFT | 15- | Preparing the surface and painting with matt finishing i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make et complete. (New surface) (S.I.No:3 A P-54). | 2717.00 | %SFT |  |  |  | 334,517 |
|  |  |  |  | Rupees Two Thousand Seven Hundred Seventeen )Only. |  |  |  |  |  |
| 1542 | SFT | 16- | Painting guard bars gates iron, bars grating railings i/c standard bracket etc and similar open work. (S.I.No:4(d+i+ii) P-69). | 674.60 | %SFT |  |  |  | 10,402 |
|  |  |  |  | Rupees Six Hundred Seventy Four & Sixty)Only. |  |  |  |  |  |
| 4146 | SFT | 17- | Preparing the surface and painting weather coat of approved make to old weather coat surface. (S.I.No:39 A P-55). | 1498.48 | %SFT |  |  |  | 62,127 |
|  |  |  |  | Rupees One Thousand Four Hundred Ninety Eight & Ps:Forty Eight)Only. |  |  |  |  |  |
|  |  |  |  |  | PART "A" BUIDLINGS SCHEDULE ITEMS TOTAL RS:- |  |  |  | 4,066,365 |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS. |  |  |  |  |  |  |
| 4 | Nos. | 1- | P/F Orisa type white or colour glazed earthen ware W.C. with i/c the cost of flushing cistern with internal fitting and flush pipe with bend & making with plinth and floor for pipe connection and making with good in cement concrete (1:2:4) (Foreign Equivalent)W.C. pan or not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4"”dia C.I. trape.(S.I.No:3-a(iii) P-2). | 6166.60 | EACH |  |  |  | 24666 |
|  |  |  |  | (Rupees Six Thousand One Hundred Sixty Six & Sixty)Only |  |  |  |  |  |
| 4 | Nos. | 2- | Providing and fixing 24"x18" lavatory basin inwhite glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6" inches built into wall, painted white in two coats after primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P. brass traps malloable iron or brass, union and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete (1:2:4) (Standard pattern) . (S./I.No:8 P-3). | 4253.70 | EACH |  |  |  | 17015 |
|  |  |  |  | (Rupees Four Thousand Two Hundred Fifty Three & Ps:Seventy)Only |  |  |  |  |  |
| 4 | Nos. | 3- | Providing and fixing 6"x2" or 6"x3" C.I. floor trap of the approved self cleaning design with a C.I. screwed down greating with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connection and making good in cement concrete. (S.I.No: 20 P- 5 ). | 2042.43 | EACH |  |  |  | 8170 |
|  |  |  |  | (Rupees Two Thousand Forty Two & Ps:Forty Three )Only |  |  |  |  |  |
| 8 | Nos. | 4- | Supplying and fixing Nyloon connection complete with 1/2" dia brass stop cock with pairs of brass nuts and lining jointing to nyloon connection. (S.I.No:23 P-6). | 447.15 | EACH |  |  |  | 3577 |
|  |  |  |  | (Rupees Four Hundred Forty Seven & Fifteen)Only |  |  |  |  |  |
| 4 | Nos. | 5- | Providing and fixing 24"x18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and C.P. screws fixed to wooden pleat(Standard pattern). (S.I.No:3 P-7). | 2376.00 | EACH |  |  |  | 9504 |
|  |  |  |  | (Rupees Two Thousand Three Hundred Seventy Six)Only |  |  |  |  |  |
| 48 | RFT | 6- | Providing and fixing 4" dia C.I. soil and vent pipes including cutting and fitting and extra painting to match the colour o the building(S.I.No:1 P-8). | 333.29 | EACH |  |  |  | 15998 |
|  |  |  |  | (Rupees Three Hundred Thirty Three & Ps:Twenty Nine )Only |  |  |  |  |  |
| 12 | Nos. | 7- | Providing and fixing M.S. clamps of the approved design to 4" dia C.I. pipe sockets including the cost of cutting and making good to wall or M.S. bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I.No:2 P-9). | 72.16 | EACH |  |  |  | 866 |
|  |  |  |  | (Rupees Seventy Two & Ps:Sixteen )Only |  |  |  |  |  |
| 4 | Nos. | 8- | Providing and fixing 4"x4"x4" dia C.I branch of the required degree with access doors rubber washer 1/8" thick and builts and nuts including extra painting to match the colour of the building(S.I.No:5 P-8). | 704.20 |  | EACH |  |  | 2817 |
|  |  |  |  | (Rupees Seven Hundred Four & Ps:Twenty )Only |  |  |  |  |  |
| 4 | Nos. | 9- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). | 566.70 |  |  | EACH |  | 2267 |
|  |  |  |  | (Rupees Five Hundred Sixty Six & Seventy) Only |  |  |  |  |  |
| 4 | RFT | 10- | Supplying and fixing position brass bib cocks 1/2" dia. (S.I.No:1(b) P-16). 3/4" dia. | 348.92 |  |  | P.RFT |  | 1396 |
|  |  |  |  | (Rupees Three Hundred Forty Eight & Ninety Two) Only |  |  |  |  |  |
| 4 | Nos. | 11- | Supplying and fixing in position bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(b) P-16). | 1109.46 |  |  | EACH |  | 4438 |
|  |  |  |  | (Rupees One Thousand One Hundred Nine & Forty Six)Only |  |  |  |  |  |
|  |  | 12- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |  |  |  |
| 30 | RFT | a) | 1/2" dia G.I.Pipe. | 73.21 |  |  | P.RFT |  | 2196 |
|  |  |  |  | (Rupees Seventy Three & Ps:Twenty One)Only |  |  |  |  |  |
| 150 | Nos. | b) | 3/4" dia G.I. Pipe. | 95.79 |  |  | P.RFT |  | 14369 |
|  |  |  |  | (Rupees Ninety Five & Seventy Nine)Only |  |  |  |  |  |
|  |  | 13- | RCC pipe with colar class "B" and digging the tranched to the required depth and fixing in position i/c cutting fitting and jointing with max phalt composition and cement mortar (1:1) and testing with water pressure to a head 4' feet above the top of the height. (S.I.No: P- ). |  |  |  |  |  |  |
| 150 | RFT |  | "A") 6" dia R.C.C.Pipes. | 199.25 |  |  | P.RFT |  | 29888 |
|  |  |  |  | (Rupees One Hundred Ninety Nine & Ps:Twenty Five)Only |  |  |  |  |  |
| 4 | Nos. | 14- | Supplying and fixing bath room accessories (Seven pieces) i/c towel rod, brush holder, soap tray, shelf of approved quality and design etc complete. (S.I.No:24 P-16). | 8122.40 |  |  | P.RFT |  | 32490 |
|  |  |  |  | (Rupees Eighty Thosuand One Hundred Twenty Two & Ps:Forty )Only |  |  |  |  |  |
|  |  |  |  |  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS TOTAL RS:- |  | 169657 |
| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  |  | Total Rs:- |  |  |
| PART "B" |  | ________________%Above/Below W/S & S/F Schedule Items |  |  |  |  | Total Rs:- |  |  |
|  |  |  |  |  |  |  | Total (A to C)RS:- |  |  |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |  |  |  |
|  | CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |  |  |  |
|  |  |  |  | SUKKUR |  |  |  |  |  |
| BILL OF QUANTITIES |  |  |  |  |  |  |  |  |  |
| Description & Rate of items based on Schedule/ Market (offered Rates). |  |  |  |  |  |  |  |  |  |

MR TO FISH FARM MANDO DERO (REPAIR OF NURSARY 10 NOS.)

(REPLACEMENT OF M.S PIPE, REPAIR OF WATER PUMP & REVINDING MOTOR, REPAIR OF H.S.R CEMENT PLASTER).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 740 | SFT | 5445/- |  | %SFT | 40293/- |
| 2/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 355 | CFT | 3327/50 |  | %CFT | 11812/- |
| 3/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 8.57 | Cwt | 3850/- | P.CWT |  | 32995/- |

| 4/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 7.56 | Cwt | 3575/- | P.CWT | 27027/- |

| 5/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 16.13 | CFT | 186/34 | P.CWT | 3006/- |

| 6/- | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leeping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc. (S.I.No.2 P-32). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 352 | SFT | 7607/25 | %SFT | 26778/- |

| 7/- | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering ratio 1:2:4. (S.I.No.05 P-15). |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 48 | CFT | 14429/25 | %CFT |  | 6926/- |  |  |

| 8/- | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement washing and filling of joints with slurry of white cement pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No. 60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 112 | SFT | 30509/77 | %SFT | 34171/- |

| 9/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 680 | SFT | 2206/60 | %SFT | 15005/- |

| 10/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 680 | SFT | 2197/52 | %SFT | 14943/- |

PAGE -02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 3” thick (S.I.No:4 (c) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 630 | SFT | 4411/82 | %SFT | 228750/- |

| 12/- | Distempering two coats (S.I.No.24 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 272 | SFT | 1079/65 | %SFT | 2937/- |

| 13/- | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No.24 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 84 | SFT | 726/72 | P.SFT | 61044/- |

| 14/- | POS, Painting doors and windows any type two coats. (S.I.No.4 P-69). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 332 | SFT | 1662/21 | %SFT | 5519/- |

| 15/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 740 | CFT | 337/- | P.CFT | 249380/- |

| 16/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 29.60 | Cwt | 5001/70 | P.CWT | 148050/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 626180/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 375 | RFT | 887/24 | P.RFT | 332715/- |
| 2/- | Providing & fixing full way gun metal valves with wheels, threaded or flabged ends with rubber washing 4" dia (Light Pattern). (S.I.No.4 a (ix) P-16). |  |  |  |  |  |  |  |
|  |  |  |  | 12 | Nos. | 2435/84 | EACH | 29230/- |

|  | TOTAL | RS: | 361945/- |
| --- | --- | --- | --- |

PAGE -03.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C” NON SCH: ITEMS

| 1/- | P/F Electric Motor i/c sanction and delivery pump 4’x4’ with making c.c foundation, |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

|  | TOTAL | RS: |  |
| --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 626180/- |
| --- | --- | --- |
| PART “B” | RS. | 3,61,945/- |
| PART “C” | RS: |  |
| TOTAL | RS. |  |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | __________________________________Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |

| 1307 | CFT | 1- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same. (S.I.No:20 P-10). | 5445.00 | %SFT | 71166/- |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Rupees Five Thousand Four Hundred Forty Five )Only. |  |  |
| 1307 | CFT | 2- | Reinforcement cement concrete work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4) 90 Lbs cement 2 Cft shingle 1/8” to ¼” gauge.(S.I.No:6(a)(i) P-16). | 337.00 | P.CFT | 440459/- |
|  |  |  |  | (Rupees Three Hundred & Thirty Seven)Only |  |  |
| 65.35 | CWT | 3- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars)(S.I.No: 8 P-16). | 5001.70 | P.CWT. | 326861/- |
|  |  |  |  | (Rupees Five Thousand One & Ps:Seventy)Only. |  |  |
| 65.35 | Nos. | 4- | Add extra labour for RCC in 2nd: or Subsequent storey. | 12.10 | EACH | 791/- |
|  |  |  |  | (Rupees Twelve & Ps:Ten)Only. |  |  |
| 323 | CFT | 5- | Dismantling cement concrete (1:2:4). (S.I.No:19© P-10). | 3327.50 | %Cft | 10748/- |
|  |  |  |  | (Rupees Three Thousand Three Hundred Twenty Seven & Ps:Fifty ) Only |  |  |
| 1265 | SFT | 6- | Removing cement or lime plaster. (S.I.No:53 P-14). | 121.00 | %SFT | 1531/- |
|  |  |  |  | (Rupees One Hundred Twenty One ) Only |  |  |
| 1265 | SFT | 7- | Applying floa;ting coat of cement 1/32" thick. (S.I.No:14 P-59). | 660.00 | %SFT | 8349/- |
|  |  |  |  | (Rupees Six Hundred Sixty)Only. |  |  |
| 1265 | SFT | 8- | Cement plaster (1:6) upto 20' ft height 1/2" thick. (S.I.No:13(b) P-57). | 2206.60 | %SFT | 27913/- |
|  |  |  |  | (Rupees Two Thousand Two Hundred Six & Ps: Sixty)Only. |  |  |
| 1265 | SFT | 9- | Cement plaster (1:4) upto 20' ft height 3/8" thick. (S.I.No:11(a) P-57). | 2197.52 | %SFT | 27799/- |
|  |  |  |  | (Rupees Two Thousand One Hundred Ninety Seven & Ps: Fifty Two)Only. |  |  |
|  |  | 10- | Providing and laying 1" thick topping cement concrete (1;2;4) including surface finishing dividing into panels.(S.I.No:16© P-42). |  |  |  |
| 2404 | SFT | A) | 2" thick C.C. topping. | 3275.50 | %SFT | 78743/- |
|  |  |  |  | (Rupees Thirty Thousand Five Hundred Nine & Seventy Seven)Only |  |  |
| 2404 | SFT | 11- | Two coats of bitumen laid hot using 34 Lbs %SFT over roof and blinded with sand at 1 Sft per %SFT. (S.I.No:13 P-35). | 1887.40 | %SFT | 45373/- |
|  |  |  |  | (Rupees One Thousand Eight Hundred Eighty Seven & Forty )Only |  |  |

Page No:2.

| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 202 | SFT | 12- | Providing and fixing 3/8"thick marble tiles of approved quality and colour and shade size 8" x 4" /6" x 4" in dado stricking and facing removal /trucking of existing plaster surface etc. Over 1/2" thick base of cement mortar (1:3) setting of tiles in slurry of white cement over mortar base including filling the joints and washing the tiles with white cement slurry, curing finishing, cleaning and polishing etc complete. (S.I.No:68 P-49). | 201.07 | P.Sft | 40616/- |
|  |  |  |  | (Rupees Two Hundred One & Seven) Only |  |  |
| 339 | SFT | 13- | Laying floors of approved glazed tiles ¼” thick laid in white cement and pigment on a bed of ¾” thick cement mortar (1;2) (S.I.No:25 P-42). | 27747.06 | %SFT | 94063/- |
|  |  |  |  | (Rupees Twenty Seven Thousand Seven Hundred Forty Seven & Ps:Six) Only |  |  |
| 147 | SFT | 14- | Glazed tile dado ¼” thick laid in pigment over (1:2) cement sand mortar ¾”thick including finishing. (S.I.No:38 P-44). | 28299/30 | %SFT | 41600/- |
|  |  |  |  | (Rupees Twenty Eight Thousand Two Hundred Ninety Nine & Ps: Thirty) Only |  |  |
| 1898 | SFT | 15- | Distempering two coats (S.I.No:24(b) P-54). | 1043/90 | %SFT | 19813/- |
|  |  |  |  | (Rupees One Thousand Forty Three & Ps: Ninety) Only |  |  |
| 2849 | SFT | 16- | Preparing the surface and painting with matt finishing i/c rubbing the surface with bathy (silicon carbide rubbing brick) filling the voids with zink/chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make et complete. (New surface) (S.I.No:3 A P-54). | 2717.00 | %SFT | 77407/- |
|  |  |  |  | Rupees Two Thousand Seven Hundred Seventeen )Only. |  |  |
| 566 | SFT | 17- | Painting guard bars gates iron, bars grating railings i/c standard bracket etc and similar open work. (S.I.No:4(d+i+ii) P-69). | 674.60 | %SFT | 3818/- |
|  |  |  |  | Rupees Six Hundred Seventy Four & Sixty)Only. |  |  |
| 2502 | SFT | 18- | Colour washing two coat over one coat of white wash. (S.I.No:25 P-53). | 829/95 | %SFT | 20765/- |
|  |  |  |  | Rupees Eight Hundred Twenty Nine & Ps: Ninety Five)Only. |  |  |
|  |  |  | PART "A" BUIDLINGS SCHEDULE ITEMS TOTAL RS:- |  |  | 13,37,815/- |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS. |  |  |  |
| 1 | No. | 1- | P/F Orisa type white or colour glazed earthen ware W.C. with i/c the cost of flushing cistern with internal fitting and flush pipe with bend & making with plinth and floor for pipe connection and making with good in cement concrete (1:2:4) (Foreign Equivalent)W.C. pan or not less than 23” clear opening between flushing rims and 3 gallons flushing tank with 4"”dia C.I. trape.(S.I.No:3-a(iii) P-2). | 6166.60 | EACH | 6167/- |
|  |  |  |  | (Rupees Six Thousand One Hundred Sixty Six & Sixty)Only |  |  |
| 1 | No. | 2- | Providing and fixing 24"x18" lavatory basin inwhite glazed earthen ware complete with & i/c the cost of W.I. or C.I. cantilever brackets 6" inches built into wall, painted white in two coats after primary coat of red lead paint, a pair of 1/2" dia rubber plug & chrome plate brass chain 1-1/4" dia malloable iron or C.P. brass traps malloable iron or brass, union and making requisite number of holes in walls, plinth and floor for pipe connection and making good in cement concrete (1:2:4) (Standard pattern) . (S./I.No:8 P-3). | 4253.70 | EACH | 4254/- |
|  |  |  |  | (Rupees Four Thousand Two Hundred Fifty Three & Ps:Seventy)Only |  |  |

Page No:3.

| Quantities |  | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | No. | 3- | Providing and fixing 6"x2" or 6"x3" C.I. floor trap of the approved self cleaning design with a C.I. screwed down greating with or without a vent arm complete with and i/c making requisite number or holes in walls plinth and floor for pipe connection and making good in cement concrete. (S.I.No: 20 P- 5 ). | 2042.43 | EACH | 2042/- |
|  |  |  |  | (Rupees Two Thousand Forty Two & Ps:Forty Three )Only |  |  |
| 2 | Nos. | 4- | Supplying and fixing Nyloon connection complete with 1/2" dia brass stop cock with pairs of brass nuts and lining jointing to nyloon connection. (S.I.No:23 P-6). | 447.15 | EACH | 894/- |
|  |  |  |  | (Rupees Four Hundred Forty Seven & Fifteen)Only |  |  |
| 1 | No. | 5- | Providing and fixing 24"x18" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and C.P. screws fixed to wooden pleat(Standard pattern). (S.I.No:3 P-7). | 2376.00 | EACH | 2376/- |
|  |  |  |  | (Rupees Two Thousand Three Hundred Seventy Six)Only |  |  |
| 12 | RFT | 6- | Providing and fixing 4" dia C.I. soil and vent pipes including cutting and fitting and extra painting to match the colour o the building(S.I.No:1 P-8). | 333.29 | EACH | 3999/- |
|  |  |  |  | (Rupees Three Hundred Thirty Three & Ps:Twenty Nine )Only |  |  |
| 03 | Nos. | 7- | Providing and fixing M.S. clamps of the approved design to 4" dia C.I. pipe sockets including the cost of cutting and making good to wall or M.S. bolts and nuts, 4" into wall including pipe distance pieces extra painting to match the colour of the building (S.I.No:2 P-9). | 72.16 | EACH | 216/- |
|  |  |  |  | (Rupees Seventy Two & Ps:Sixteen )Only |  |  |
| 01 | No. | 8- | Providing and fixing 4"x4"x4" dia C.I branch of the required degree with access doors rubber washer 1/8" thick and builts and nuts including extra painting to match the colour of the building(S.I.No:5 P-8). | 704.20 | EACH | 704/- |
|  |  |  |  | (Rupees Seven Hundred Four & Ps:Twenty )Only |  |  |
| 01 | No. | 9- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). | 566.70 | EACH | 567/- |
|  |  |  |  | (Rupees Five Hundred Sixty Six & Seventy) Only |  |  |
| 01 | No. | 10- | Supplying and fixing position brass bib cocks 1/2" dia. (S.I.No:1(b) P-16). 3/4" dia. | 348.92 | P.RFT | 349/- |
|  |  |  |  | (Rupees Three Hundred Forty Eight & Ninety Two) Only |  |  |
| 01 | No. | 11- | Supplying and fixing in position bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(b) P-16). | 1109.46 | EACH | 1109/- |
|  |  |  |  | (Rupees One Thousand One Hundred Nine & Forty Six)Only |  |  |
|  |  | 12- | Providing G.I. pipes and special etc clamps etc i/c fixing cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of the building and testing with water to a pressure head of 200 feet and handling. (S.I.No: 1 P-11). |  |  |  |
| 10 | RFT | a) | 1/2" dia G.I.Pipe. | 73.21 | P.RFT | 732/- |
|  |  |  |  | (Rupees Seventy Three & Ps:Twenty One)Only |  |  |
| 20 | Nos. | b) | 3/4" dia G.I. Pipe. | 95.79 | P.RFT | 1916/- |
|  |  |  |  | (Rupees Ninety Five & Seventy Nine)Only |  |  |

Page No:4.

| Quantities | Item No. | Description of items to be executed at site | Rate | Unit | Amount |
| --- | --- | --- | --- | --- | --- |

| 03 | Nos. | 13- | Supplying and fixing bath room accessories (Seven pieces) i/c towel rod, brush holder, soap tray, shelf of approved quality and design etc complete. (S.I.No:24 P-16). | 8122.40 | P.RFT | 24367/- |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (Rupees Eighty Thosuand One Hundred Twenty Two & Ps:Forty )Only |  |  |
|  |  |  | PART "B" W/S & S/F SCHEDULE ITEMS TOTAL RS:- |  |  | 49,694/- |
| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  | Total Rs:- |  |
| PART "B" |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  | Total (A to B)RS:- |  |  |
|  |  |  |  | EXECUTIVE ENGINEER |  |  |
|  | CONTRACTOR |  |  | PROVINCIAL BUILDINGS DIVISION |  |  |
|  |  |  |  | SUKKUR |  |  |