BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

### M/R TO CHIEF ENGINEER & SUPERINTENDENT ENGINEER OFFICE SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 01/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 264 | SFT | 5445/- | %SFT | 14375/- |

| 02/- | Scraping ordinary distemper or oil bound on wall. (S.I.No.54 (b) P-13). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 11071 | SFT | 226/88 | %SFT | 25118/- |

| 03/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 300 | CFT | 3176/25 | %0CFT | 953/- |

| 04/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 230 | CFT | 9416/28 | %CFT | 21657/- |

| 05/- | Pacca brick work in foundation and plinth in Cement sand mortar 1:6 (S.I.No. 4 P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 136 | CFT | 11948/36 | %CFT | 16250/- |

| 06/- | Pacca brick work in other than building in Cement sand mortar 1:6 (S.I.No.7 (e) P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 621 | CFT | 12346/65 | %CFT | 74224/- |

| 07/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 482 | CFT | 12674/36 | %CFT | 61090/- |

| 08/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 247 | CFT | 337/- | P.CFT | 83239/- |

| 09/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 7.05 | Cwt | 5001/70 | P.CWT | 35262/- |

PAGE -02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 10/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 15.0 | Cwt | 3850/- | P.CWT | 57750/- |

| 11/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | NET QTY: | 1708 / 112 | 15.25 | Cwt | 3575/- | P.CWT | 54519/- |

| 12/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 37.30 | CFT | 186/34 | P.CWT | 6941/- |

| 13/- | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leeping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc. (S.I.No.2 P-32). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 732 | SFT | 7607/25 | %SFT | 55685/- |

| 14/- | P/L single per layer of polythene sheet 0.13 mm thick for water proofing as per specification & instructions of Engineer (S.I.No.38 P-37). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 732 | SFT | 10/70 | P.SFT | 7832/- |

| 15/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels (S.I.No:4 P-16). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| a. | 2” thick | 811 | SFT | 3275/50 | %SFT | 26564/- |

| b. | 3” thick | 586 | SFT | 4411/82 | %SFT | 25853/- |
| --- | --- | --- | --- | --- | --- | --- |

| 16/- | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing. (S.I.No:29 P-98). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| a. | Door. |  | 34 | RFT | 228/90 | P.RFT | 7783/- |

| b. | Window |  | 23 | RFT | 240/50 | P.RFT | 5532/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 17/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3292 | SFT | 2206/60 | %SFT | 72641/- |

| 18/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3292 | SFT | 2197/52 | %SFT | 72342/- |

| 19/- | First class deodar wood wrought, joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. (S.I.No:7 (b) P-57). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1x2.50x7.0 | 18 | SFT | 1273/76 | P.SFT | 22928/- |

PAGE -03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 20/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) Only Shutter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 47 | SFT | 902/93 | P.SFT | 42438/- |

| 21/- | P/F iron steel grill using solid square brass of size 1/2”x1/2” placed at 4” i/c frame of flat iron patti of 3/4"x3/4” i/c circle shape at 1-0 part equivalent fitted with screw and painting etc. (S.I.No.30 P-95). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13 | SFT | 194/16 | P.SFT | 2524/- |

| 22/- | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk plaster of Paris mixture applying first coat matt finish & painting 3 coats with matt finish of approved made etc. complete. (S.I.No.36 A P-55). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1930 | SFT | 3444/38 | %SFT | 66476/- |

| 23/- | Distempering two coats (S.I.No.24 P-60). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 9083 | SFT | 1079/65 | %SFT | 98065/- |

| 24/- | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No:24 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 91 | SFT | 726/72 | P.SFT | 66132/- |

| 25/- | PNS, Painting doors and windows any type i/c edges three coats. (S.I.No.4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1227 | SFT | 2116/41 | %SFT | 25968/- |

| 26/- | Painting guard bars, gates iron bars gratings, railings including standard braces (etc.) and similar open work. (S.I.No:5d P-71). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 637 | SFT | 1270/83 | %SFT | 8095/- |

| 27/- | P/F angle iron vertical post of barbed wire framing of size 2x2x1/4 emdabed (S.I.No.08 P-95). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 24 | RFT | 169/18 | P.RFT | 4036/- |

| 28/- | Providing & fixing barbed wire fencing with 12 gauge -4 points @ 6" apart barbed wire I/c straightening & fixing in angle iron vertical posts. (S.I.No.9 P-96). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 175 | RFT | 8/38 | P.RFT | 1467/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 10,63,439/- |
| --- | --- | --- | --- |

PAGE -04

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A” W/S & S/F.

| 1/- | Supplying & Fixing swan type pillar cock of Superior quality single c.p. head 1/2" dia. (S.I.No.16 P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 877/80 | EACH | 878/- |

| 2/- | S/F Nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection. (S.I.No.23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 447/15 | EACH | 1341/- |

| 3/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 1109/46 | EACH | 2220/- |

| 4/- | S/Fixing concealed tee-stop cock of superior quality with c.p head 1/2" dia. (S.I.No.12 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 889/46 | EACH | 889/- |

| 5/- | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soap tray shelf of approved design I/c cost of screws, nuts etc Complete.(Master Brand). (S.I.No.23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 10322/40 | EACH | 10322/- |

| 6/- | Supplying & fixing C.P Muslim Shower with double Bib cock & ring Pipe etc complete. (S.I.No.19 (a) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3432/- | EACH | 6864/- |

| 7/- | Supplying/Fixing wash basin mixture of superior quality with c.p head 1/2" dia. (S.I.No.14 (b) P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3179/- | EACH | 6358/- |

| 8/- | P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number of holes in wall plinth and floor for pipe connection & making good in CC 1:2:4. (S.I.No.20 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2042/43 | EACH | 2042/- |

| 9/- | Supplying and installing PVC blind pipe 'B' Class of approved design quality and make i/c necessary sockets etc. complete. (S.I.No 12 P-44). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 4” dia | 1x3.0 | 03 | RFT | 237/00 | P.RFT | 711/- |

|  | PART “B” W/S & S/F SCGHEDULE ITEMS TOTAL | RS: | 31,625/- |
| --- | --- | --- | --- |

PAGE -05

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C” NON SCHEDULE ITEMS:

| 1/- | Shifting of dabries (Tractor hier). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 10 | Nos. |  | EACH |  |

| 2/- | S/F LED Samsung company 40" size etc. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 3/- | S/F Commode Porta company. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 4/- | S/Fixing Electric Heater |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. |  | EACH |  |

| 5/- | S/Fixing Electric Heater |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 6/- | S/Fixing Exhaust Fan. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 7/- | Supplying Blanket |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 8/- | Supplying Molty Foam double bed. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 9/- | Compressor for Gas. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 10/- | S/F Thermostat for Geezer i/c Labour charges. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 11/- | Supplying Plastic pipe ¾” dia. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | Rft |  | P.RFT |  |

| 12/- | S/F main hole cover. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 13/- | Supplying mirror for table. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 27 | SFT |  | P.SFT |  |

| 14/- | S/F Wall shower superior quality etc complete. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

|  | TOTAL | RS: |  |
| --- | --- | --- | --- |

PAGE -06.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 1262338/- |
| --- | --- | --- |
| PART “B” | RS. | 31,625/- |
| PART “C” | RS. |  |
| TOTAL | RS. |  |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | __________________________________Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |

BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

### M/R TO CHIEF ENGINEER & SUPERINTENDENT ENGINEER OFFICE SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 01/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 264 | SFT | 5445/- | %SFT | 14375/- |

| 02/- | Scraping ordinary distemper or oil bound on wall. (S.I.No.54 (b) P-13). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 11071 | SFT | 226/88 | %SFT | 25118/- |

| 03/- | Excavation in foundation of Building Bridges and other structures including dagbelling dressing, refilling around structure with excavated earth Watering and ramming lead upto 5 ft. In ordinary soil. (S.I.No.18 (b) P-05). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 300 | CFT | 3176/25 | %0CFT | 953/- |

| 04/- | Cement concrete brick or stone ballast 1-1/2” to 2” gauge Ratio(1:4:8). (S.I.No:4 (b) P-15). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 230 | CFT | 9416/28 | %CFT | 21657/- |

| 05/- | Pacca brick work in foundation and plinth in Cement sand mortar 1:6 (S.I.No. 4 P-20). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 136 | CFT | 11948/36 | %CFT | 16250/- |

| 06/- | Pacca brick work in other than building in Cement sand mortar 1:6 (S.I.No.7 (e) P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 621 | CFT | 12346/65 | %CFT | 74224/- |

| 07/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 482 | CFT | 12674/36 | %CFT | 61090/- |

| 08/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 247 | CFT | 337/- | P.CFT | 83239/- |

| 09/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 7.05 | Cwt | 5001/70 | P.CWT | 35262/- |

PAGE -02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 10/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 15.0 | Cwt | 3850/- | P.CWT | 57750/- |

| 11/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | NET QTY: | 1708 / 112 | 15.25 | Cwt | 3575/- | P.CWT | 54519/- |

| 12/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 37.30 | CFT | 186/34 | P.CWT | 6941/- |

| 13/- | Second class tile roofing consisting of 4" earth and 1" mud plaster with Gobri leeping over 1/2"thick cement plaster 1:6 with 34 Lbs. Of hot bitumen coating sand blinded, provided over one layer of 12" x 6"x2" tiles laid in 1:6 cement mortar including 1:2 cement pointing under neath of tiles complete including curing etc. (S.I.No.2 P-32). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 732 | SFT | 7607/25 | %SFT | 55685/- |

| 14/- | P/L single per layer of polythene sheet 0.13 mm thick for water proofing as per specification & instructions of Engineer (S.I.No.38 P-37). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 732 | SFT | 10/70 | P.SFT | 7832/- |

| 15/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels (S.I.No:4 P-16). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| a. | 2” thick | 811 | SFT | 3275/50 | %SFT | 26564/- |

| b. | 3” thick | 586 | SFT | 4411/82 | %SFT | 25853/- |
| --- | --- | --- | --- | --- | --- | --- |

| 16/- | Providing and fixing G.I frames /Choukhats of size 7" x 2" or 4 1/2" x 3" for door using 20 gauge G.I sheet I/c welded hinges and fixing at site with necessary hold fasts, filling with cement sand slurry of ratio 1:6 and repairing the jambs. The cost also i/c all carriage , tools and plants used in making and fixing. (S.I.No:29 P-98). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| a. | Door. |  | 34 | RFT | 228/90 | P.RFT | 7783/- |

| b. | Window |  | 23 | RFT | 240/50 | P.RFT | 5532/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 17/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 3292 | SFT | 2206/60 | %SFT | 72641/- |

| 18/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 3292 | SFT | 2197/52 | %SFT | 72342/- |

| 19/- | First class deodar wood wrought, joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. (S.I.No:7 (b) P-57). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1x2.50x7.0 | 18 | SFT | 1273/76 | P.SFT | 22928/- |

PAGE -03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 20/- | S/F false ceiling of Plaster of Paris, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No.52 P-65). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 169 | SFT | 25293/42 | %SFT | 42746/- |

| 21/- | Providing & fixing plaster of Paris ceiling border of 8" -10 " with of specified design & thickness I/c fixing besides ceiling with nails/ screws with jetties. (S.I.No.44 P-38). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 76 | SFT | 104/22 | P.SFT | 7921/- |

| 22/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) Only Shutter |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 47 | SFT | 902/93 | P.SFT | 42438/- |

| 23/- | Galvanized wire gauze fixed to chowkats with 3/4" deodar strips and screws. (S.I.No.14 (d) P-59). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 59 | SFT | 190/72 | P.SFT | 11252/- |

| 24/- | P/F iron steel grill using solid square brass of size 1/2”x1/2” placed at 4” i/c frame of flat iron patti of 3/4"x3/4” i/c circle shape at 1-0 part equivalent fitted with screw and painting etc. (S.I.No.30 P-95). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 13 | SFT | 194/16 | P.SFT | 2524/- |

| 25/- | Providing and laying tiles glazed 6" x 6" x 1/4" on floor or wall facing in required colour and pattern of STILE specification jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4" thick including washing and filling of joints with slaurry of white cement and pigment in desired shape with finishing, clearing and cost of wax polish etc. complete including cutting tiles to proper profile. (S.I.No.60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 96 | SFT | 30509/77 | %SFT | 29289/- |

| 26/- | Preparing the surface and painting with matt finish i/c rubbing the surface with bathy (Silicon carbide rubbing brick) filling the voids with zink/chalk plaster of Paris mixture applying first coat matt finish & painting 3 coats with matt finish of approved made etc. complete. (S.I.No.36 A P-55). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1930 | SFT | 3444/38 | %SFT | 66476/- |

| 27/- | Preparing the surface and painting with weather coat I/c rubbing the surface with rubbing brick / sand Paper, filling the voids with chalk/ plaster of Paris and then painting with weather coat of approved make. 2nd & subsequent coat. (S.I.No:38 P-56). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | NET QTY: | 5117 (-) 329 | 4788 | SFT | 2567/95 | %SFT | 122953/- |

| 28/- | Distempering two coats (S.I.No.24 P-60). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 9083 | SFT | 1079/65 | %SFT | 98065/- |

PAGE -04

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 28/- | Making & fixing steel grated door with 1/16" thick sheeting including angle iron frame 2" x 2" 3/8"and 3/4" square bars 4" centre to centre with locking arrangement. (S.I.No:24 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 70 | SFT | 726/72 | P.SFT | 50870/- |

| 29/- | PNS, Painting doors and windows any type i/c edges three coats. (S.I.No.4 P-76). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1227 | SFT | 2116/41 | %SFT | 25968/- |

| 30/- | Painting guard bars, gates iron bars gratings, railings including standard braces (etc.) and similar open work. (S.I.No:5d P-71). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 637 | SFT | 1270/83 | %SFT | 8095/- |

| 31/- | P/F angle iron vertical post of barbed wire framing of size 2x2x1/4 emdabed (S.I.No.08 P-95). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 24 | RFT | 169/18 | P.RFT | 4036/- |

| 32/- | Providing & fixing barbed wire fencing with 12 gauge -4 points @ 6" apart barbed wire I/c straightening & fixing in angle iron vertical posts. (S.I.No.9 P-96). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 175 | RFT | 8/38 | P.RFT | 1467/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 1262338/- |
| --- | --- | --- | --- |

PART “A” W/S & S/F.

| 1/- | Supplying & Fixing swan type pillar cock of Superior quality single c.p. head 1/2" dia. (S.I.No.16 P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 877/80 | EACH | 878/- |

| 2/- | S/F Nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection. (S.I.No.23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 03 | Nos. | 447/15 | EACH | 1341/- |

| 3/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 1109/46 | EACH | 2220/- |

| 4/- | S/Fixing concealed tee-stop cock of superior quality with c.p head 1/2" dia. (S.I.No.12 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 889/46 | EACH | 889/- |

| 5/- | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soap tray shelf of approved design I/c cost of screws, nuts etc Complete.(Master Brand). (S.I.No.23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 10322/40 | EACH | 10322/- |

| 6/- | Supplying & fixing C.P Muslim Shower with double Bib cock & ring Pipe etc complete. (S.I.No.19 (a) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3432/- | EACH | 6864/- |

PAGE -05

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 7/- | Supplying/Fixing wash basin mixture of superior quality with c.p head 1/2" dia. (S.I.No.14 (b) P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3179/- | EACH | 6358/- |

| 8/- | P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number of holes in wall plinth and floor for pipe connection & making good in CC 1:2:4. (S.I.No.20 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2042/43 | EACH | 2042/- |

| 9/- | Supplying and installing PVC blind pipe 'B' Class of approved design quality and make i/c necessary sockets etc. complete. (S.I.No 12 P-44). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 4” dia | 1x3.0 | 03 | RFT | 237/00 | P.RFT | 711/- |

|  | PART “B” W/S & S/F SCGHEDULE ITEMS TOTAL | RS: | 31,625/- |
| --- | --- | --- | --- |

PART “C” NON SCHEDULE ITEMS:

| 1/- | Shifting of dabries (Tractor hier). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 10 | Nos. |  | EACH |  |

| 2/- | S/F LED Samsung company 40" size etc. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 3/- | S/F Commode Porta company. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 4/- | S/Fixing Electric Heater |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. |  | EACH |  |

| 5/- | S/Fixing Electric Heater |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 6/- | S/Fixing Exhaust Fan. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 7/- | Supplying Blanket |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. |  | EACH |  |

| 8/- | Supplying Molty Foam double bed. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 9/- | Compressor for Gas. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 10/- | S/F Thermostat for Geezer i/c Labour charges. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

PAGE -06

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | Supplying Plastic pipe ¾” dia. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | Rft |  | P.RFT |  |

| 12/- | S/F main hole cover. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

| 13/- | Supplying mirror for table. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 27 | SFT |  | P.SFT |  |

| 14/- | S/F Wall shower superior quality etc complete. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. |  | EACH |  |

|  | TOTAL | RS: |  |
| --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 1262338/- |
| --- | --- | --- |
| PART “B” | RS. | 31,625/- |
| PART “C” | RS. |  |
| TOTAL | RS. |  |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | __________________________________Non Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |