BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M&R TO HEALTH TECHCNICIAN SCHOOL SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1412 | SFT | 121/- | %SFT | 1709/- |

| 2/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1412 | SFT | 660/- | %SFT | 9319/- |

| 3/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1412 | SFT | 2206/60 | %SFT | 31157/- |

| 4/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Same Qty item No. 03 | 1412 | SFT | 2197/52 | %SFT | 2198/- |

| 5/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 15.66 | Cwt | 3850/- | P.CWT | 2198/- |

| 8/- | S/F false ceiling of Plaster of Paris, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No.52 P-65). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 448 | SFT | 25293/42 | %SFT | 113315/- |

| 9/- | Providing & fixing plaster of Paris ceiling border of 8" -10 " with of specified design & thickness I/c fixing besides ceiling with nails/ screws with jetties. (S.I.No.44 P-38). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 180 | SFT | 104/22 | P.SFT | 18759/- |

| 10/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 49 | SFT | 902/93 | P.SFT | 44244/- |

| 11/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1760 | SFT | 3275/50 | %SFT | 57649/- |

| 12/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1760 | SFT | 1887/40 | %SFT | 33218/- |

PAGE-02

| S.NO: | NAME OF ITEM. |  |  |  | QUANTITY. |  |  | RATE. |  | UNIT. |  | AMOUNT. |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 13/- |  | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement washing and filling of joints with slurry of white cement pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No. 60 P-46). |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 330 |  | SFT | 30509/77 |  | %SFT |  | 100682/- |  |  |

| 14/- | Distempering two coats (S.I.No.24 P-53). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 7000 |  | SFT |  | 1079/65 |  | %SFT |  | 75576/- |  |
| 15/- |  | POS, Painting doors and windows any type two coats. (S.I.No.4 P-69). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 636 |  | SFT |  | 1662/21 |  | %SFT |  | 10572/- |  |  |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 5,87,258/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with C.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enameled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No 5 P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 11477/40 | EACH | 11477/- |

| 3/- | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalent). (S.I.No.10 P-3). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 4928/- | EACH | 4928/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2533/47 | EACH | 2533/- |

PAGE-03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 5/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia ` |  | 120 | RFT | 73/21 | P.RFT | 8785/- |
|  | b) 3/4" dia |  | 300 | RFT | 95/79 | P.RFT | 28737/- |

| 6/- | Supplying/Fixing wash basin mixture of superior quality with c.p head 1/2" dia. (S.I.No.14 (b) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 3179/- | EACH | 3179/- |

| 7/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1109/46 | EACH | 4438/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 76410/- |
| --- | --- | --- | --- |

PART “C” P.HEALTH.

| 2/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 150 | RFT | 226/- | P.RFT | 33900/- |

|  | PART “C” P.H. ENGR: SCHEDULE ITEMS TOTAL | RS: | 33900/- |
| --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 5,87,258/- |
| --- | --- | --- |
| PART “B” | RS. | 76,410/- |
| PART “C” | RS: | 33,900/- |
| TOTAL | RS. | 6,97,568/- |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | _________________% Above/Below P.H.Eng: Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |

BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M&R TO HEALTH TECHCNICIAN SCHOOL SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1412 | SFT | 121/- | %SFT | 1709/- |

| 2/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1412 | SFT | 660/- | %SFT | 9319/- |

| 3/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1412 | SFT | 2206/60 | %SFT | 31157/- |

| 4/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Same Qty item No. 03 | 1412 | SFT | 2197/52 | %SFT | 2198/- |

| 5/- | Supplying R.S Girder 8x4x3/8” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 15.66 | Cwt | 3850/- | P.CWT | 2198/- |

| 8/- | S/F false ceiling of Plaster of Paris, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No.52 P-65). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 928 | SFT | 25293/42 | %SFT | 234723/- |

| 9/- | Providing & fixing plaster of Paris ceiling border of 8" -10 " with of specified design & thickness I/c fixing besides ceiling with nails/ screws with jetties. (S.I.No.44 P-38). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 352 | SFT | 104/22 | P.SFT | 36685/- |

| 8/- | First class wrought, joinery in door & windows etc fixed to chowkats fixed in position i/c tower bolts cocks cleats, handles and cords with hooks etc. (S.I.No.07 (b) P-57) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 49 | SFT | 902/93 | P.SFT | 44244/- |

| 9/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1760 | SFT | 3275/50 | %SFT | 57649/- |

| 10/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1760 | SFT | 1887/40 | %SFT | 33218/- |

PAGE-02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement washing and filling of joints with slurry of white cement pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No. 60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 524 | SFT | 30509/77 | %SFT | 159871/- |

| 12/- | Distempering two coats (S.I.No.24 P-53). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 7000 |  | SFT |  | 1079/65 |  | %SFT |  | 75576/- |  |
| 13/- |  | POS, Painting doors and windows any type two coats. (S.I.No.4 P-69). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 636 |  | SFT |  | 1662/21 |  | %SFT |  | 10572/- |  |  |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 757258/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with C.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enameled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No 5 P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 11477/40 | EACH | 11477/- |

| 3/- | Providing & fixing 24" x 18" lavatory basin in white glazed earthen ware complete with & I/c the cost of W.I or C.I cantilever brackets 6 inches built into walls, painted white in two coats after a primary coat of red lead paint a pair of 1/2" dia rubber plug & chrome plated brass chain 1-1/4" dia, malloable iron or brass unions and making requisite number of holes in walls , plinth & floor for Pipe connections and making good in cement concrete 1: 2: 4 (Foreign or Equivalent). (S.I.No.10 P-3). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 4928/- | EACH | 4928/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 2533/47 | EACH | 2533/- |

PAGE-03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 5/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia ` |  | 120 | RFT | 73/21 | P.RFT | 8785/- |
|  | b) 3/4" dia |  | 300 | RFT | 95/79 | P.RFT | 28737/- |

| 6/- | Supplying/Fixing wash basin mixture of superior quality with c.p head 1/2" dia. (S.I.No.14 (b) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 3179/- | EACH | 3179/- |

| 7/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1109/46 | EACH | 4438/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 76410/- |
| --- | --- | --- | --- |

PART “C” P.HEALTH.

| 2/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 150 | RFT | 226/- | P.RFT | 33900/- |

|  | PART “C” P.H. ENGR: SCHEDULE ITEMS TOTAL | RS: | 33900/- |
| --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 757258/- |
| --- | --- | --- |
| PART “B” | RS. | 76,410/- |
| PART “C” | RS: | 33,900/- |
| TOTAL | RS. | 8,96,568/- |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | _________________% Above/Below P.H.Eng: Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |