BILL OF QUANTITIES

Description & Rate of items based on Schedule/ Market (offered Rates).

### M/R TO ASSISTANT  DIRECTOR  FISHERIES  OFFICE  MANDO  DERO.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1308 | SFT | 121/- | %SFT | 1583/- |

| 2/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 64 | CFT | 3327/50 | %CFT | 2130/- |

| 3/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 251 | SFT | 5445/- | %SFT | 13667/- |

| 4/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1215 | SFT | 5445/- | %SFT | 66157/- |

| 5/- | Supplying T.Iron 2x2x1/4” size. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 23.57 | Cwt | 3575/- | P.CWT | 84263/- |

| 6/- | Erecting rolled steel beams or old rails in roofs etc, erection and fixing in position. (S.I.No.6 P-93). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 43.90 | CFT | 186/34 | P.CWT | 8180/- |

| 7/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1308 | SFT | 660/- | %SFT | 8633/- |

| 8/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1308 | SFT | 2206/60 | %SFT | 28862/- |

| 9/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Same Qty item No. 8 | 1308 | SFT | 2197/52 | %SFT | 28744/- |

| 10/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1843 | SFT | 3275/50 | %SFT | 60367/- |

| 11/- | P/L tiles glazed 6”x6”x1/4” on floor or wall facing in required colour and pattern of STILE specification jointed in white cement washing and filling of joints with slurry of white cement pigment in desired shape with finishing cleaning and cost of wax polish etc complete i/c cutting tiles to proper profile. (S.I.No. 60 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 728 | SFT | 30509/77 | %SFT | 222111/- |

| 12/- | S/F false ceiling of Plaster of Paris, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No.52 P-65). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 240 | SFT | 25293/42 | %SFT | 60704/- |

Page No:2.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 13/- | Galvanized wire gauze fixed to chowkats with 3/4" deodar strips and screws. (S.I.No.14 (d) P-59). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 36 | SFT | 190/72 | P.SFT | 6866./- |

| 14/- | Supplying & fixing in position Aluminum channels framing for sliding windows & ventilators of Alcop made with 5 mm thick tinted glass glazing (Belgium) & Aluminum fly screen I/c handles stoppers & locking arrangement etc. complete Deluxe model (Bronze). (S.I.No.84 (b) P-108). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 18 | SFT | 1647/69 | P.SFT | 29658/- |

| 15/- | Supplying & fixing in position Aluminum channels framing for hinged doors or Alcop made with 5 mm thick tinted glass glazing (Belgium) and Alpha (Japan) locks i/c handles, stoppers etc. Deluxe model (Bronze) (S.I.No.83(b) P-108). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 25 | SFT | 1507/66 | P.SFT | 37692/- |

| 16/- | Distempering two coats (S.I.No.24 P-60). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 4112 | SFT | 1079/65 | P.SFT | 44395/- |

| 17/- | POS, Painting doors and windows any type two coats. (S.I.No.4 P-69). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 242 | SFT | 1662/21 | %SFT | 4023/- |

|  | BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 7,18,037/- |
| --- | --- | --- | --- |

| PART "A" | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |

| CONTRACTOR |  | EXECUTIVE ENGINEER PROVINCIAL BUILDINGS DIVISION SUKKUR |
| --- | --- | --- |