BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M&R TO DIRECTOR AGRICULTURE OFFICE @ SUKKUR.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A” BULDINGS SCHEDULE ITEMS.

| 1/- | Dismantling cement concrete reinforced separating reinforcement from concrete cleaning and straightening the same.(S.I.No:20 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 800 | SFT | 5445/- | %SFT | 43560/- |

| 2/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 600 | CFT | 3327/50 | %CFT | 19965/- |

| 3/- | Dismantling brick work in lime or cement mortar. (S.I.No.13 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 95 | CFT | 1285/63 | %CFT | 1221/- |

| 4/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1200 | SFT | 121/- | %SFT | 1452/- |

| 5/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1200 | SFT | 660/- | %SFT | 7920/- |

| 6/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 265 | CFT | 12674/36 | %CFT | 33587/- |

| 7/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1540 | SFT | 2206/60 | %SFT | 33982/- |

| 8/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1540 | SFT | 2197/52 | %SFT | 33842/- |

| 9/- | RCC work including all labour and material except the cost of steel reinforcement and its labour for bending and binding, which will be paid separately. This rate also includes all kinds of forms moulds: lifting shuttering curing rendering and finishing the exposed surface (including screening and washing of shingle)a) R.C. work in roof slab, beams columns rafts, lintels and other structural members laid in situ or pre cast laid in position complete in all respect. i) Ratio (1:2:4). (S.I.No:6(a)(i) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 800 | CFT | 337/00 | P.CFT | 269600/- |

| 10/- | Fabrication of mild steel reinforcement for cement concrete i/c cutting bending, bending, laying in position, making joints and fastenings including cost of binding wire (also includes removal of rust from bars). (S.I.No.7 (ii) P/20) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 44.80 | CWT | 5001.70 | P.CWT | 224076/- |

| 11/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1600 | SFT | 3275/50 | %SFT | 52408/- |

| 12/- | Two coat of bitumen laid hot using 34 lbs for % Sft over roof and binding with sand at one Cft per % Sft. (S.I.No:13 P-41). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1600 | SFT | 1887/40 | %SFT | 42408/- |

PAGE -02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 13/- | Providing and laying tiles glazed 6”x6” x1/4” on floor on wall facing in required colour and pattern of stile specification. (S.I.No:60 P-46). Flooring. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 350 | SFT | 30509/77 | %SFT | 106784/- |

| 14/- | First class wrought, joinery in door and windows etc fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc, 1-3/4" thick. (S.I.No:7(b) P-57). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Only Shutters. |  | 72 | SFT | 902/93 | P.SFT | 65011/- |

| 15/- | Painting old Surface:- Painting doors and windows any type 2 coats. (S.I.No:4 P-68). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 540 | SFT | 1160/06 | %SFT | 1600/- |

| 16/- | Laying white marble flooring fine dressed in the surface without winding set lime mortar 1:2 i/c rubbing & polishing f the joints. 3/4" thick. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 80 | SFT | 567/48 | P.SFT | 45398/- |

| 17/- | P/F 3/8"thick marble tiles of approved quality and colour and shade size 8x4"x6x4" in dado stricking and facing removal / tucking of existing plastre surface etc over 1/2" thick base of cement mortar 1:3 setting of tiles in slurry of white cement over mortar base i/c fitting the joints anf washing the tiles with white cement slurry curring finishing cleaning (S.I.No. 68 a P-48). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 110 | SFT | 186/04 | P.SFT | 46882/- |

| 18/- | Preparing the surface and painting with mat finish i/c rubbibng the surface with Bathy (Silicone carbide rubbing brick ) filling the voids with sink / chalk/ plaster of paris mixture, applying first coat premix making the surface smooth and then painting three coats with matt finish of approved make etc complete (New surface). (S.I.No:3 A P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1800 | SFT | 2717/00 | %SFT | 48906/- |

| 19/- | Distempering two coats (S.I.No:24 P-53). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 600 | SFT | 1079/65 | %SFT | 6478/- |

| 20/- | M/F Steel grated door with 1/16"thick sheeting including angle iron frame 2"x2"x3/8" and 3/4" squar bars 4" centre to Centre with locking arrangment. (S.I.No.24 P-92) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 60 | SFT | 726/72 | P.SFT | 43603/- |

| 21/- | Painting sashes, fan light , glazed or gauzed, door and windows two coats. (S.I.No:4 P- 67). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | SFT | 1270/83 | %SFT | 1525/- |

| 22/- | Supplying and fixing false ceiling or plaster of pairs, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No:52 P-72). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 448 | SFT | 25293/42 | %SFT | 113315/- |

| 23/- | Supplying and fixing of Paris, ceiling border of 8"x10" with specified design and thickness i/c fixing besides ceiling with nails/screws with getties. (S.I.No:44 P-38). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 120 | RFT | 104/22 | P.RFT | 12506/- |

| 24/- | Providing and fixing cement paving blocks flooring having size of 197 x 97 x 60 (mm) of city/ quddra / cobble shape with natural colours, having strength b/w 5000 psi to 8500 psi i/c filling the joints with hill sand and laying in specified manner / pattern and design etc: complete. (S.I.No:71 P-49) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 960 | SFT | 199/77 | P.SFT | 191779/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 1413846/- |
| --- | --- | --- | --- |

PAGE -03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No.5 P-1). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 11477/40 | EACH | 11477/- |

| 3/- | P/F 24”x18” lavatory basin in white glazed earthen ware complete with and cost of W.I or C.I cantilever brackets 6 inch built into walls painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1 ¼” dia mollable iron or cp brass union & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Standard or equivalent). (S.I.No.10 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 4928/00 | EACH | 9856/- |

| 4/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2533/47 | EACH | 5067/- |

| 5/- | P/F 24”x18” beveled edge mirror of Belgium glass complete with 1/8” thick hard board and C.P,. screws fixed to wooden pleat (Standard pattern). (S.I.No.3 P-7). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2376/00 | EACH | 4752/- |

| 6/- | Providing and fixing 4" dia C.I. plain bend of the required degree including extra painting to match the colour of the building. (S.I.No:10 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 566/70 | EACH | 2267/- |

| 7/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 20 | RFT | 73/21 | P.RFT | 1464/- |
|  | b) 3/4" dia |  | 140 | RFT | 95/79 | P.RFT | 13411/- |

| 8/- | Supplying and fixing wash basin mixture of superior quality with C.P. head ½” dia. (S.I.No:14 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3179/00 | EACH | 6358/- |

| 9/- | Supplying and fixing in position bib cock of superior quality with C.P. head 1/2" dia. (S.I.No:13(b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 06 | Nos. | 1109/46 | EACH | 6657/- |

| 10/- | Supplying and fixing Bath room accessories set ( 7 Piece ) i/c towel rod, brush holder soap tray shelf of approved design i/c cost of screws, nuts etc complete. (Master Brand). (S.I.No:23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 10322/40 | EACH | 10322/- |

PAGE -04

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | Supplying and fixing C.P. Muslim Shower with double bib cock and ring pipe etc complete (S.I.No:19(as) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3432/- | EACH | 6864/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL | RS: | 90828/- |
| --- | --- | --- | --- |

PART “C” P.H. ENGR: SCHEDULE ITEMS.

| 1/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1” dia |  | 200 | RFT | 28/00 | P.RFT | 5600/- |

|  | a) 1 ½” dia |  | 120 | RFT | 44/- | P.RFT | 5280/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

|  | a) 4” dia |  | 160 | RFT | 226/- | P.RFT | 36160/- |
| --- | --- | --- | --- | --- | --- | --- | --- |

| 2/- | Construction of manhole or inspection chamber for the required dia meter of circular sewer and 3'-6" (1067mm) depth with walls of B.B. in cement sand mortar (1:3) cement plaster (1:3), 1/2" thick, inside of walls and 1" (25mm) thick over benching and channel i/c fixing C.I. manhole cover with frame of clear opening 1-1/2'x 1-1/2' (457x457 mm) of 1.75 Cwt (88.9 Kg) embaded in plain C.C. (1:2:4) and fixing 1" (25mm) dia M.S. steps 6" (150 mm) wide projecting 4" (102 mm) from the face of wall at 12" *305 mm) C/C duly painted etc. Complete as per standard specification and drawing. (S.I.No:1 P-46). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | RFT | 14748/- | EACH | 29496/- |

|  | PART “C” P.H.ENGR: SCHEDULE ITEMS TOTAL | RS: | 76536/- |
| --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS:- | 1413846/- |
| --- | --- | --- |
| PART “B” | RS:- | 90828/- |
| PART “C” | RS:- | 76536/- |

| TOTAL | RS. | 15,81,210/- |
| --- | --- | --- |

| PART "A" | ________________%Above/Below Buildings Schedule Items | Total Rs:- |  |
| --- | --- | --- | --- |
| PART "B" | ________________%Above/Below W/S & S/F Schedule Items | Total Rs:- |  |
| PART "C" | ________________%Above/Below P.H. ENGR: Schedule Items | Total Rs:- |  |

|  |  |  | G. Total Rs:- |  |  |
| --- | --- | --- | --- | --- | --- |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |