BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

M&R TO ADC COLONY SUKKUR (REPAIR OF PUMP/ MOTOR & W/S  LINE

AND DAY TO DAY COMPLAINT.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “A” W/S & S/F.

| 1/- | Providing G.I pipes & Special etc including fixing cutting & fitting complete with & i/c the cost of cutting trench upto 2-1/2" feet deep refilling watering ramming and disposal of surplus earth within one chain and painting 2 coats of bitumen pain to pipes & specials after cleaning & hassian cloth soaked in maxphalt composition wrapped tightly round pipes testing to a pressure head of 200 feet &handling.(S.I.No.1 P-14). For Boring |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 4" dia | 2x80.0 | 160 | Rft | 887/24 | P.RFT | 141958/- |
|  | b) 3" dia | 3x2x100.0 | 600 | Rft | 355/27 | P.RFT | 213162/- |
|  | c) 2" dia | 4x100.0 | 400 | Rft | 225/73 | P.RFT | 90292/- |
|  | d) 1" dia | 7x100.0 | 700 | Rft | 116/20 | P.RFT | 81340/- |

|  |  | RS: | 526752/- |
| --- | --- | --- | --- |

PART “B” PUBLICH HEALTH SCHEDULE

| 1/- | Boring for tube well in all water bearing soils from depth 100.1 to 200 ft. or 30.51 meter below ground level i/c sinking and with drawing of casing pipe. (S.I.No.2 a P-42). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 10” dia |  | 200 | RFT | 724/- | P.RFT | 144800/- |

| 2/- | Supplying and installing PVC strainers 'B' class of approved design quality and make i/c necessary sockets etc. complete. (S.I.No.9 P-43). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 6” dia |  | 40 | RFT | 363/35 | P.RFT | 14534/- |

| 3/- | S/F local make coire strainer of approved quality completed. (6" dia) (S.I.No.10 (b) P-44). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 40 | RFT | 647/- | P.RFT | 25880/- |

|  | TOTAL | RS: | 185214/- |
| --- | --- | --- | --- |

NON SCHEDULE ITEMS

| 01/- | Repair of Router pump of 30 H.P Motor replacement of bearing shaft. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos: |  | EACH |  |
| 02/- | Supplying belt various size. |  |  |  |  |  |  |
|  |  | 60’’ Size | 30 | Nos: |  | EACH |  |
|  |  | 96’’ Size | 24 | Nos: |  | EACH |  |
|  |  | 72’’ Size | 21 | Nos: |  | EACH |  |
| 03/- | Supplying Check valve 6’’ dia ( For bearing) |  |  |  |  |  |  |
|  |  |  | 04 | Nos: |  | EACH |  |

|  | TOTAL | RS: |  |
| --- | --- | --- | --- |

PAGE-02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” W/S & S/F | RS. | 5,79,427/- |
| --- | --- | --- |
| PART “B” PUBLIC HEALTH | RS. | 1,85,214/- |
| PART “C” NON SCHEDULE | RS. |  |
| TOTAL | RS. |  |

| PART "A" |  | ________________%Above/Below W/S & S/F Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  | _________________% Above/Below P.H.Eng: Schedule Items |  |  |  | Total Rs:- |  |
| PART "C" |  | _________________Non Schedule Items |  |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |