BILL OF QUANTITIES

Discription & Rate of items based on Schedule/ Market (offered Rates).

MR TO DISTRICT COURT BUILDING SUKKUR (RESIDENTIAL BUILDING).

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 1/- | Dismantling cement concrete 1:2:4. (S.I.No.19 (c) P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 59 | CFT | 3327/50 | %CFT | 1963/- |

| 02/- | Removing door with chowkats (S.I.No:33 P-12). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 05 | Nos. | 142/18 | EACH | 711/- |

| 03/- | Removing cement or lime plaster. (S.I.No.53 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 999 | SFT | 121/- | %SFT | 1209/- |

| 04/- | Applying floating coat of cement 1/32”thick. (S.I.No:14 P-52). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 999 | SFT | 660/- | %SFT | 659/- |

| 05/- | Cement plaster (1:6) upto 20’ height ½”thick. (S.I.No:13 (b) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 999 | SFT | 2206/60 | %SFT | 22044/- |

| 06/- | Cement plaster (1:4) upto 20’ height 3/8”thick. (S.I.No:11 (a) P-51). |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 999 | SFT | 2197/52 | %SFT | 21953/- |

| 07/- | First class deodar wood wrought, joinery in doors and windows etc, fixed in position including chowkats hold fasts hinges, iron tower bolts, chocks cleats, handles and cords with hooks, etc. 1 3/4" thick. (S.I.No:7 (b) P-57). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | 109 |  | SFT |  | 1273/76 |  | P.SFT |  | 138840/- |  |
| 09/- |  | Cement concrete plain including placing compacting, finishing and curing, complete (including screening and washing at stone aggregate without shuttering ratio 1:2:4. (S.I.No.05 P-15). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2195 |  | SFT |  | 14429/25 |  | %SFT |  | 917412/- |  |  |
| 10/- |  | Galvanized wire gauze fixed to chowkats with 3/4" deodar strips and screws. (S.I.No.14 (d) P-59). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 376 |  | SFT |  | 190/72 |  | P.SFT |  | 71711/- |  |  |

| 11/- | Pacca brick work in G.Floor in cement sand mortar 1:6. (S.I.No:5 P-21). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 779 | CFT | 12674/36 | %CFT | 98733/- |

| 12/- | Providing and laying 1" thick topping cement concrete (1:2:4 ) including Surface finishing and dividing into panels 2” thick (S.I.No:4 P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 2190 | SFT | 3275/50 | %SFT | 71733/- |

PAGE-02

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 13/- | Two coats of bitumen laid hot using 34lbs for %sft over roof and blinded with sand at one cft per %sft. (S.I.No.13 P-34). |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Same Qty item No.12 |  |  |  | 2190 |  | SFT |  | 1887/40 |  | %SFT |  | 41334/- |  |
| 14/- |  | PNS, Painting doors and windows any type i/c edges two coats. (S.I.No.4 P-76). |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1134 |  | SFT |  | 1662/21 |  | %SFT |  | 18849/- |  |  |

| 15/- | Preparing the surface and painting with matt finish i/c rubbing the surface with Bathy (silicon carbide rubbing brick) filling the voids with zink /chalk / plaster of Paris mixture, applying first coat premix, making the surface smooth and then painting 3 coats with matt finish of approved make etc: complete .(new surface). (S.I.No.3 A P-54). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Net Qty: | 13360 (-) 98 | 13262 | SFT | 2717/- | %SFT | 360329/- |

| 16/- | S/F false ceiling of Plaster of Paris, in panels including making frame, work of deodar wood including painting with Soligia paint. (S.I.No.52 P-65). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 1819 | SFT | 25293/42 | %SFT | 460087/- |

| 17/- | Preparing the surface and painting with weather coat i/c rubbing the surface brick filling the voids with zink/chalk plaster of Paris and then painting with weather coat of approved made etc. complete (New Surface). (S.I.No.39 (a) P-56). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 38080 | SFT | 2118/33 | %SFT | 806660/- |

| 18/- | S/F Mortise lock approved quality. (S.I.No.21 P-60). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 36 | Nos. | 1786/13 | EACH | 64301/- |

|  | PART “A” BUILDINGS SCHEDULE ITEMS TOTAL | RS: | 2865252/- |
| --- | --- | --- | --- |

PART “B” W/S & S/F.

| 1/- | P/F Orisa type white or colour glazed earthenware W.C pan with cost of low level plastic flush tank of 3 gallon of approved quality (a) W.C pan Orisa type 23” with plastic tank of low down 3 gallons C.I trap. (S.I.No 3 (a) P-2). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 6166/60 | EACH | 12333/- |

| 2/- | Providing & fixing European white glazed earthen ware wash down w.c pan complete with and I/c the cost of white/black plastic seat (Best Quality ) and lid with c.P brass hinges and buffers, 3 gallons white glazed earthen earthen ware low level flushing cistern with siphon fitting 1-1/2" dia white porcelain enamelled flush bend 3/4" dia and making requisite number of holes in walls, plinth and floor for Pipe connections and making good in cement concrete 1: 2: 4. (Foreign Quality). (S.I.No.5 P-1). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 11477/40 | EACH | 11477/- |

PAGE-03

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 3/- | Add extra labour for providing and fixing of earthen ware pedestal white or coloured glazed. (S.I.No.11 P-4). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 2533/47 | EACH | 5067/- |
| 4/- | P/F 22”x16” lavatory basin in white glazed earthen ware complete with and cost of W.I or C.I cantilever brackets 6 inch built into walls painted white in two coats after a primary coat of red lead paint a pair of ½” dia chrome plate pillar traps 1 ½” dia rubber plug & chrome plasted brass chain 1¼” dia mollable iron or cp brass union & making requisite number of holes in walls plinth and floor for pipe connection and making good in cement concrete 1:2:4 (Standard or equivalent). (S.I.No.13 P-4). |  |  |  |  |  |  |
|  |  |  | 02 | Nos. | 6237/- | 6237/- | 12474/- |
| 5/- | P/F 6”x2” or 6”x3” C.I floor trap of the approved self cleaning design with a C.I screwed down gritting with or without a vent arm complete with and i/c making requisite number of holes in wall plinth and floor for pipe connection & making good in CC 1:2:4. (S.I.No.20 P-6). |  |  |  |  |  |  |
|  |  |  | 05 | Nos. | 2042/43 | EACH | 8170/- |

| 6/- | S/F Nylon connection complete with ½” dia brass stop cock with pair of brass nuts and lining jointing to nylon connection. (S.I.No.23 P-6). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 08 | Nos. | 447/15 | EACH | 3577/- |

| 7/- | Providing & fixing 15" x 12" beveled edge mirror of Belgium glass complete with 1/8" thick hard board and c.p screws fixed to wooden pleat. Standard Pattern. (S.I.No.04 (a) P-7). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 1161/60 | EACH | 2323/- |

| 08/- | Providing & fixing 4" x 4" x 4" dia plain C.I branch of the required degree including extra painting to match the colour of the building plain tee. (S.I.No.07 P-8). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 704/20 | EACH | 1408/- |

| 09/- | Providing & fixing 4” dia off set of various lenght including extra painting to match the colour of the building plain tee. (S.I.No.08 P-10). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 702/- | EACH | 1404/- |

| 10/- | P/F G.I specials and clamps etc including fixating cutting and fitting complete with and i/c the cost of breaking through walls and roof making good etc painting two coats after cleaning the pipe etc with white zink paint with pigment to match the colour of building and testing with water pressure head of 200 feet and handling. (S.I.No.1 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 200 | RFT | 73/21 | P.RFT | 14642/- |
|  | b) 3/4" dia |  | 100 | RFT | 95/79 | P.RFT | 9579/- |
|  | c) 1" dia |  | 50 | RFT | 128/59 | P.RFT | 6428/- |
|  | d) 2" dia |  | 150 | RFT | 233/- | P.RFT | 34950/- |

PAGE-04

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

| 11/- | Add extra labour for concealed G.I pipe & fitting i/c making recess in the wall for pipe & making good in cement mortar etc complete. (S.I.No.2 P-11). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 200 | RFT | 7/82 | P.RFT | 1564/- |
|  | b) 3/4" dia |  | 100 | RFT | 8/45 | P.RFT | 845/- |
|  | c) 1" dia |  | 50 | RFT | 9/96 | P.RFT | 498/- |

| 12/- | Providing G.I pipes & Special etc including fixing cutting & fitting complete with & i/c the cost of cutting trench upto 2-1/2" feet deep refilling watering ramming and disposal of surplus earth winthin one chain and painting 2 coats of bitumen pain to pipes & specials after cleaning & hassian cloth soaked in maxphalt composition wrapped tightly round pipes and testing to a pressure head of 200 feet and handling.(S.I.No.1 P-14). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 1/2" dia |  | 200 | Rft | 116/20 | P.RFT | 23240/- |

| 13/- | Supplying & fixing C.P Muslim Shower with double Bib cock & ring Pipe etc complete. (S.I.No.19 (a) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 02 | Nos. | 3432/- | EACH | 6864/- |

| 14/- | Supplying & fixing Bath room accessories set (7 Piece ) I/c towel rod, brush holder soap tray shelf of approved design I/c cost of screws, nuts etc Complete.(Master Brand). (S.I.No.23 P-18). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | Nos. | 10322/40 | EACH | 10322/- |

| 15/- | Supplying and fixing in position bib cocks of superior quality with c.p head ½” dia. (S.I.No.13 (b) P-16). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 04 | Nos. | 1109/46 | EACH | 4438/- |

| 16/- | Supplying/Fixing wash basin mixture of superior quality with c.p head 1/2" dia. (S.I.No.14 (a) P-19). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 01 | No. | 2882/- | EACH | 2882/- |

|  | PART “B” W/S & S/F SCHEDULE ITEMS TOTAL RS. | 174,486/- |
| --- | --- | --- |

PAGE-05.

| S.NO: | NAME OF ITEM. | QUANTITY. | RATE. | UNIT. | AMOUNT. |
| --- | --- | --- | --- | --- | --- |

PART “C” PUBLIC HEALTH SCHEDULE ITEMS:

| 1/- | Boring for tube well in all water bearing soils from depth 100.1 to 200 ft. or 30.51 meter below ground level i/c sinking and with drawing of casing pipe. 125 mm (6" dia) (S.I.No.2 a P-42). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 100 | RFT | 516/- | P.RFT | 51600/- |

| 2/- | Providing, Laying uPVC Pressure Pipes of Class 'D' (equivalent make) fixing in trench i/c cutting, fitting and jointing with 'Z' joint with one rubber ring i/c testing with water to a head 122 meter or 400 ft. (S.I.No.3 P-22). |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | a) 4” dia |  | 40 | RFT | 44/- | P.RFT | 9040/- |

|  |  |  |  | TOTAL RS. | 60,640/- |
| --- | --- | --- | --- | --- | --- |

GENERAL ABSTRACT

| PART “A” | RS. | 2865252/- |
| --- | --- | --- |
| PART “B” | RS. | 1,74,486/- |
| PART “C” | RS. | 60,640/- |
| TOTAL | RS. | 31,50,155/- |

| PART "A" |  | ________________%Above/Below Buildings Schedule Items |  |  |  | Total Rs:- |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| PART "B" |  |  | ________________%Above/Below W/S & S/F Schedule Items |  |  | Total Rs:- |  |
| PART "C" |  |  | _________________% Above/Below P.H.Eng: Schedule Items |  |  | Total Rs:- |  |
|  |  |  |  |  | G. Total Rs:- |  |  |

| CONTRACTOR. | EXECUTIVE ENGINEER PROVINCIAL BUILDING DIVISION SUKKUR |
| --- | --- |